## EU29-34
[8 empty] | Project Title |  |  |  | By | [10 empty] | Project Title |  |  |  | By |  |  |  |  | Project Title | By
AIR SCIENCES INC. | [7 empty] | Donlin Gold |  |  |  | K. Lewis |  |  |  | AIR SCIENCES INC. | [6 empty] | Donlin Gold |  |  |  | K. Lewis |  |  |  | AIR SCIENCES INC. | Donlin Gold | K. Lewis
[8 empty] | Project No |  |  |  | Page | of | Sheet | [8 empty] | Project No |  |  |  | Page | of | Sheet |  |  | Project No |  | of | Sheet
[8 empty] | 281-22B-1 |  |  |  | 1 | 2 | EU29-34 | [8 empty] | 281-22B-1 |  |  |  | 2 | 2 | EU29-34 |  |  | 281-22B-1 | 3 | 2 | EU29-34
AIR EMISSION CALCULATIONS | [7 empty] | Subject: |  |  |  | Date: |  |  |  | AIR EMISSION CALCULATIONS | [6 empty] | Subject: |  |  |  | Date: |  |  |  | AIR EMISSION CALCULATIONS | Subject: | Date:
[8 empty] | DPF Cost Effectiveness |  |  |  | 2022-03-22 | [10 empty] | DPF Cost Effectiveness |  |  |  | 2022-03-22 |  |  |  |  | DPF Cost Effectiveness | 2022-03-22
| Diesel Particulate Filter Cost |  |  |  | EU 29-30: Black Start Generator BEDG1&2 | [11 empty] | Diesel Particulate Filter Cost |  |  | EU 31-34: Camp Site Emergency Generator CEDG1-4
| Cost Item |  |  |  |  | Cost | Comment | [9 empty] | Cost Item |  |  |  | Cost | Comment
| Direct Cost | [15 empty] | Direct Cost
| Purchase Equipment Costs | [15 empty] | Purchase Equipment Costs
| Vendor Price ($/ekW) |  |  | 600 | ekW | 43.5 | (Moffat, W. 2022) | [9 empty] | Vendor Price ($/ekW) |  | 1500 | ekW | 43.5 | (Moffat, W. 2022)
| Equipment Cost |  |  |  |  | 26100 | [10 empty] | Equipment Cost |  |  |  | 65250
| Freight |  |  |  | 0.05 | 1305 | EPA Cost Manual, Sec 1, Ch 2, Table 2.4, 11/2017 (Typical value). | [9 empty] | Freight |  |  | 0.05 | 3262.5 | EPA Cost Manual, Sec 1, Ch 2, Table 2.4, 11/2017 (Typical value).
| Sales Tax |  |  |  | 0 | 0 | No sales tax in Alaska | [9 empty] | Sales Tax |  |  | 0 | 0 | No sales tax in Alaska
| Instrumentation |  |  |  | 0.1 | 2610 | EPA Cost Manual, Sec 1, Ch 2, Table 2.4, 11/2017 (Typical value). | [9 empty] | Instrumentation |  |  | 0.1 | 6525 | EPA Cost Manual, Sec 1, Ch 2, Table 2.4, 11/2017 (Typical value).
| Purchase equipment cost |  |  |  |  | 30015 | [10 empty] | Purchase equipment cost |  |  |  | 75037.5
| Direct installation costs | [15 empty] | Direct installation costs
| Foundation and supports |  |  |  | 0 | 0 | Assumed negligible - prefabricated unit | [9 empty] | Foundation and supports |  |  | 0 | 0 | Assumed negligible - prefabricated unit
| Handling and erection |  |  |  | 0 | 0 | Assumed negligible - prefabricated unit | [9 empty] | Handling and erection |  |  | 0 | 0 | Assumed negligible - prefabricated unit
| Electrical |  |  |  | 0 | 0 | Assumed negligible - prefabricated unit | [9 empty] | Electrical |  |  | 0 | 0 | Assumed negligible - prefabricated unit
| Piping |  |  |  | 0.01 | 300.15 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System). | [9 empty] | Piping |  |  | 0.01 | 750.375 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System).
| Insulation for ductwork |  |  |  | 0.07 | 2101.05 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System). | [9 empty] | Insulation for ductwork |  |  | 0.07 | 5252.625 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System).
| Painting |  |  |  | 0 | 0 | Assumed negligible - prefabricated unit | [9 empty] | Painting |  |  | 0 | 0 | Assumed negligible - prefabricated unit
| Direct installation cost |  |  |  |  | 2401.2 | [10 empty] | Direct installation cost |  |  |  | 6003
| Site preparation |  |  |  |  | 0 | Assumed negligible - prefabricated unit | [9 empty] | Site preparation |  |  |  | 0 | Assumed negligible - prefabricated unit
| Facilities and buildings |  |  |  |  | 0 | Assumed negligible - prefabricated unit | [9 empty] | Facilities and buildings |  |  |  | 0 | Assumed negligible - prefabricated unit
| Total Direct Cost |  |  |  |  | 32416.2 | [10 empty] | Total Direct Cost |  |  |  | 81040.5
| Indirect Costs (installation) | [15 empty] | Indirect Costs (installation)
| Engineering |  |  |  | 0.1 | 3001.5 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System). | [9 empty] | Engineering |  |  | 0.1 | 7503.75 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System).
| Construction and field expenses |  |  |  | 0.2 | 6003 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System). | [9 empty] | Construction and field expenses |  |  | 0.2 | 15007.5 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System).
| Contractor fees |  |  |  | 0.1 | 3001.5 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System). | [9 empty] | Contractor fees |  |  | 0.1 | 7503.75 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System).
| Start-up |  |  |  | 0.01 | 300.15 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System). | [9 empty] | Start-up |  |  | 0.01 | 750.375 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System).
| Performance test |  |  |  | 0.01 | 300.15 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System). | [9 empty] | Performance test |  |  | 0.01 | 750.375 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System).
| Contingencies |  |  |  | 0.03 | 900.45 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System). | [9 empty] | Contingencies |  |  | 0.03 | 2251.125 | EPA Cost Manual, Sec 6, Ch 1, Table 1.10 (Fabric Filter System).
| Total Indirect Cost |  |  |  |  | 13506.75 | [10 empty] | Total Indirect Cost |  |  |  | 33766.875
| Total Capital Investment |  |  |  |  | 45922.95 | [10 empty] | Total Capital Investment |  |  |  | 114807.375
| Direct Annual Costs | [15 empty] | Direct Annual Costs
| Operating labor |  | 0 | hr/yr |  | 0 | Assumed negligible - prefabricated unit | [9 empty] | Operating labor | 0 | hr/yr |  | 0 | Assumed negligible - prefabricated unit
| Maintenance | [15 empty] | Maintenance
| Labor |  | 10 | hr/yr | 23.44 | 234.4 | (EPA 2010) (BLS 2020) Cleaning every 6-12 months (5 hr, ea.). | [9 empty] | Labor | 10 | hr/yr | 23.44 | 234.4 | (EPA 2010) (BLS 2020) Cleaning every 6-12 months (5 hr, ea.).
| Material |  |  |  | 100% | 234.4 | EPA Cost Manual, Sec 6, Ch 1, Table 1.11 (Fabric Filter System). | [9 empty] | Material |  |  | 100% | 234.4 | EPA Cost Manual, Sec 6, Ch 1, Table 1.11 (Fabric Filter System).
| Total Direct Annual Cost |  |  |  |  | 468.8 | [10 empty] | Total Direct Annual Cost |  |  |  | 468.8
| Indirect Annual Costs | [15 empty] | Indirect Annual Costs
| Overhead |  |  |  | 60% | 281.28 | EPA Cost Manual, Sec 6, Ch 1, Table 1.11 (Fabric Filter System). | [9 empty] | Overhead |  |  | 60% | 281.28 | EPA Cost Manual, Sec 6, Ch 1, Table 1.11 (Fabric Filter System).
| Administrative charges |  |  |  | 2% | 918.459 | EPA Cost Manual, Sec 6, Ch 1, Table 1.11 (Fabric Filter System). | [9 empty] | Administrative charges |  |  | 2% | 2296.1475 | EPA Cost Manual, Sec 6, Ch 1, Table 1.11 (Fabric Filter System).
| Property Tax |  |  |  | 1% | 459.2295 | EPA Cost Manual, Sec 6, Ch 1, Table 1.11 (Fabric Filter System). | [9 empty] | Property Tax |  |  | 1% | 1148.0738 | EPA Cost Manual, Sec 6, Ch 1, Table 1.11 (Fabric Filter System).
| Insurance |  |  |  | 1% | 459.2295 | EPA Cost Manual, Sec 6, Ch 1, Table 1.11 (Fabric Filter System). | [9 empty] | Insurance |  |  | 1% | 1148.0738 | EPA Cost Manual, Sec 6, Ch 1, Table 1.11 (Fabric Filter System).
| Capital recovery |  |  |  | 10.19% | 4677.3539 | 20 | yr life | (EPA 2010) Replace every 5-10 years |  |  |  | 8% | (Annett, K. 2022) |  |  | Capital recovery |  |  | 10.19% | 11693.3847 | 20 | yr life | (EPA 2010) Replace every 5-10 years |  |  |  | 8% | (Annett, K. 2022)
| Total Indirect Annual Costs |  |  |  |  | 6795.5519 | [10 empty] | Total Indirect Annual Costs |  |  |  | 16566.9597
| Total Annual Cost |  |  |  |  | 7264.3519 | [10 empty] | Total Annual Cost |  |  |  | 17035.7597
| Filterable PM emissions |  |  | 0.25 | g/kWh | 500 | hr/yr | = | 0.082673 | ton/yr | 90% | control | = | 0.074406 | ton/yr |  | Filterable PM emissions |  | 0.25 | g/kWh | 500 | hr/yr | = | 0.20668 | ton/yr | 90% | control | = | 0.18602 | ton/yr
[11 empty] | (EPA 2010) | [14 empty] | (EPA 2010)
Conversions
| 453.592 | g/lb | 2000 | lb/ton |  | Cost effectiveness |  | = | 97631.1675 | per ton PM | [10 empty] | Cost effectiveness |  | = | 91582.6291 | per ton PM

## References
References
(Annett, K. 2022) | Annett, K. 2022. "FW: ADEC BACT RFI." Email from K. Annett, Barrick, to E. Fernandez , Donlin Gold., March 15.
(BLS 2020) | BLS. 2020. "Occupational Employment and Wage Statistics; 49-000" May 2020 National Occupational Employment and Wage Estimates. U.S. Bureau of Labor and Statistics (BLS), May. Accessed March 21, 2022. https://www.bls.gov/oes/current/oes_nat.htm#49-0000.
(EPA 2010) | EPA. 2010. "Technical Bulletin - Diesel Particulate Filter General Information." EPA-420-F-10-029. U.S. Environmental Protection Agancy (EPA), May. Accessed March 21, 2022. https://www.epa.gov/sites/default/files/2016-03/documents/420f10029.pdf.
(Moffat, W. 2022) | Moffat, W. 2022. "RE: DPF." Email from W. Moffat, Nett Technologies Inc., to K. Lewis, Air Sciences Inc., March 21.