Laboratory Data Review Checklist

| Completed By: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Title: |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |
| CS Report Name: |  |  |  |  |  |  |
| Report Date: |  |  |  |  |  |  |
| Consultant Firm: |  |  |  |  |  |  |
| Laboratory Name: |  |  |  |  |  |  |
| Laboratory Report Number: |  |  |  |  |  |  |
| ADEC File Number: |  |  |  |  |  |  |
| Hazard Identification Number: |  |  |  |  |  |  |
| Laboratory |  |  |  |  |  |
| Did an ADEC CS approved laboratory receive and perform all of the submitted sample analyses? |  |  |  |
| If the samples were transferred to another “network” laboratory or sub-contracted to an alternate laboratory, was the laboratory performing the analyses ADEC CS approved? |  |  |  |
| Chain of Custody (CoC) |  |  |  |  |  |
| CoC information completed, signed, and dated (including released/received by)? |  |  |  |
| Correct Analyses requested? |  |  |  |
| Laboratory Sample Receipt Documentation |  |  |  |  |  |
| Sample/cooler temperature documented and within range at receipt (0° to 6° C)? |  |  |  |
| Sample preservation acceptable – acidified waters, Methanol preserved VOC soil (GRO, BTEX, Volatile Chlorinated Solvents, etc.)? |  |  |  |
| Sample condition documented – broken, leaking (Methanol), zero headspace (VOC vials)? |  |  |  |
| If there were any discrepancies, were they documented? For example, incorrect sample containers/preservation, sample temperature outside of acceptable range, insufficient or missing samples, etc.? |  |  |  |
| Data quality or usability affected? Comments: |  |  |  |
| Case Narrative |  |  |  |  |
| Present and understandable? |  |  |
| Discrepancies, errors, or QC failures identified by the lab? |  |  |
| Were all corrective actions documented? |  |  |
| What is the effect on data quality/usability according to the case narrative? Comments: |  |  |
| Samples Results |  |  |  |  |  |
| Correct analyses performed/reported as requested on COC? |  |  |
| All applicable holding times met? |  |  |
| All soils reported on a dry weight basis? |  |  |
| Are the reported LOQs less than the Cleanup Level or the minimum required detection level for the project? |  |  |
| Data quality or usability affected? |  |  |
| QC Samples |  |  |  |  |  |
| Method Blank |  |  |
| One method blank reported per matrix, analysis and 20 samples? |  |  |
| All method blank results less than limit of quantitation (LOQ)? |  |  |
| If above LOQ, what samples are affected? Comments: |  |  |
| Do the affected sample(s) have data flags? If so, are the data flags clearly defined? |  |  |
| Data quality or usability affected? Comments: |  |  |
| Laboratory Control Sample/Duplicate (LCS/LCSD) |  |  |
| Organics – One LCS/LCSD reported per matrix, analysis and 20 samples? (LCS/LCSD required per AK methods, LCS required per SW846) |  |  |
| Metals/Inorganics – one LCS and one sample duplicate reported per matrix, analysis and 20 samples? |  |  |
| Accuracy – All percent recoveries (%R) reported and within method or laboratory limits? And project specified DQOs, if applicable. (AK Petroleum methods: AK101 60%-120%, AK102 75%-125%, AK103 60%-120%; all other analyses see the laboratory QC pages) |  |  |
| Precision – All relative percent differences (RPD) reported and less than method or laboratory limits? And project specified DQOs, if applicable. RPD reported from LCS/LCSD, MS/MSD, and or sample/sample duplicate. (AK Petroleum methods 20%; all other analyses see the laboratory QC pages) |  |  |
| If %R or RPD is outside of acceptable limits, what samples are affected? Comments: |  |  |
| Do the affected sample(s) have data flags? If so, are the data flags clearly defined? |  |  |
| Data quality or usability affected? (Use comment box to explain.) Comments: |  |  |
| Surrogates – Organics Only |  |  |
| Are surrogate recoveries reported for organic analyses – field, QC and laboratory samples? |  |  |
| Accuracy – All percent recoveries (%R) reported and within method or laboratory limits? And project specified DQOs, if applicable. (AK Petroleum methods 50-150 %R; all other analyses see the laboratory report pages) |  |  |
| Do the sample results with failed surrogate recoveries have data flags? If so, are the data flags clearly defined? |  |  |
| Data quality or usability affected? Comments: |  |  |
| Trip blank – Volatile analyses only (GRO, BTEX, Volatile Chlorinated Solvents, etc.): Water and Soil |  |  |
| One trip blank reported per matrix, analysis and for each cooler containing volatile samples? (If not, enter explanation below.) |  |  |
| Is the cooler used to transport the trip blank and VOA samples clearly indicated on the COC? (If not, a comment explaining why must be entered below) |  |  |
| All results less than LOQ? |  |  |
| If above LOQ, what samples are affected? Comments: |  |  |
| Data quality or usability affected? Comments: |  |  |
| Field Duplicate |  |  |
| One field duplicate submitted per matrix, analysis and 10 project samples? |  |  |
| Submitted blind to lab? |  |  |
| x 100 Precision – All relative percent differences (RPD) less than specified DQOs? (Recommended: 30% water, 50% soil) RPD (%) = Absolute value of: (R1-R2) ((R1+R2)/2) Where R1 = Sample Concentration R2 = Field Duplicate Concentration |  |  |
| Data quality or usability affected? (Use the comment box to explain why or why not.) Comments: |  |  |
| Decontamination or Equipment Blank (If not applicable, a comment stating why must be entered below). |  |  |
| All results less than LOQ? |  |  |
| If above LOQ, what samples are affected? Comments: |  |  |
| Data quality or usability affected? Comments: |  |  |
| Other Data Flags/Qualifiers (ACOE, AFCEE, Lab Specific, etc.) |  |  |  |  |  |
| Defined and appropriate? |  |  |