## Clear AS
Building 5 Mail Well | [5 empty] | Building 800
PRIMARY WELL | PFOA (ppb) | PFOS (ppb) | POST WTP TREATMENT PFOA (ppb) | POST WTP TREATMENT PFOS (ppb) | CUMMULATIVE PFOS/PFOA POST WTP (ppb) | PRIMARY WELL | PFOA (ppb) | PFOS (ppb) | POST WTP TREATMENT PFOA (ppb) | POST WTP TREATMENT PFOS (ppb) | CUMMULATIVE PFOS/PFOA POST WTP (ppb)
EPA PHA [ug/L] | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | EPA PHA [ug/L] | 0.07 | 0.07 | 0.07 | 0.07 | 0.07
GROUNDWATER [ug/L] | [5 empty] | GROUNDWATER [ug/L]
2016-11-03 | 0.002 | 0.002 | 0.002 | 0.002 | 0.004 | 2016-11-03 | 0.002 | 0.002 | 0.002 | 0.002 | 0.004
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
STANDARD DEVIATION | #DIV/0! | #DIV/0! |  |  | #DIV/0! | STANDARD DEVIATION | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Builidng 5 Backup Well | [5 empty] | Building 200 Mechanical Room
PRIMARY WELL | PFOA (ppb) | PFOS (ppb) | POST WTP TREATMENT PFOA (ppb) | POST WTP TREATMENT PFOS (ppb) | CUMMULATIVE PFOS/PFOA POST WTP (ppb) | PRIMARY WELL | PFOA (ppb) | PFOS (ppb) | POST WTP TREATMENT PFOA (ppb) | POST WTP TREATMENT PFOS (ppb) | CUMMULATIVE PFOS/PFOA (ppb)
EPA PHA [ug/L] | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | EPA PHA [ug/L] | 0.07 | 0.07 | 0.07 | 0.07 | 0.07
GROUNDWATER [ug/L] | [5 empty] | GROUNDWATER [ug/L]
2016-11-03 | 0.002 | 0.002 | 0.002 | 0.002 | 0.004 | 2016-11-03 |  |  | 0.002 | 0.002 | 0.004
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
STANDARD DEVIATION | #DIV/0! | #DIV/0! |  |  | #DIV/0! | STANDARD DEVIATION | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Building 199 Main Well | [5 empty] | Building 199 Backup Well
PRIMARY WELL | PFOA (ppb) | PFOS (ppb) | POST WTP TREATMENT PFOA (ppb) | POST WTP TREATMENT PFOS (ppb) | CUMMULATIVE PFOS/PFOA POST WTP (ppb) | PRIMARY WELL | PFOA (ppb) | PFOS (ppb) | POST WTP TREATMENT PFOA (ppb) | POST WTP TREATMENT PFOS (ppb) | CUMMULATIVE PFOS/PFOA (ppb)
EPA PHA [ug/L] | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | EPA PHA [ug/L] | 0.07 | 0.07 | 0.07 | 0.07 | 0.07
GROUNDWATER [ug/L] | [5 empty] | GROUNDWATER [ug/L]
2016-11-03 | 0.002 | 0.002 |  |  | 0.004 | 2016-11-03 | 0.002 | 0.002 | 0.002 | 0.002 | 0.004
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
[5 empty] | 0 | [5 empty] | 0
STANDARD DEVIATION | #DIV/0! | #DIV/0! |  |  | #DIV/0! | STANDARD DEVIATION | #DIV/0! | #DIV/0! |  |  | #DIV/0!