## 1-min gph
time | g/h | 2020-03-20 | full run Teom g/h avg: |  |  | full run Teom grams PM | Notes:
9:35 | 0.053208 | ESP4 |  | 4.2504 |  | 17.0017 | 1. Teom g/h on this tab should have neg values set to 0, and missing minutes interpolated, per the BNL SOP
9:36 | 5.8007 | Stove19 |  |  |  |  | and should use actual tunnel flow for conversion from ug/m3 to g/h
9:37 | 8.9774 | [5 empty] | 2. The BNL SOP says Teom PM should be at local t/p or at conditions used for reporting filter pull data and tunnel flows [??]
9:38 | 34.3669
9:39 | 41.1559
9:40 | 22.8985 |  | QC checks: |  | result:
9:41 | 97.5285 |  | min g/h: | 0 | should be zero, not negative
9:42 | 116.0312 |  | Count: | 241
9:43 | 111.4283 |  | # test min: | 241
9:44 | 109.3488 |  | Diff: | 0 | should be 0
9:45 | 107.3225
9:46 | 109.1819
9:47 | 108.3546
9:48 | 63.8058
9:49 | 15.633
9:50 | 5.7519
9:51 | 2.5639
9:52 | 0.065611
9:53 | 0
9:54 | 0
9:55 | 0
9:56 | 0
9:57 | 0
9:58 | 0
9:59 | 0
10:00 | 0
10:01 | 0
10:02 | 0
10:03 | 0
10:04 | 0
10:05 | 0
10:06 | 0
10:07 | 0
10:08 | 0
10:09 | 0
10:10 | 0
10:11 | 0
10:12 | 0
10:13 | 22.2929
10:14 | 2.4314
10:15 | 0
10:16 | 0
10:17 | 0
10:18 | 0
10:19 | 0
10:20 | 0
10:21 | 0
10:22 | 0
10:23 | 0
10:24 | 0
10:25 | 0
10:26 | 0
10:27 | 0
10:28 | 0
10:29 | 0
10:30 | 0
10:31 | 0
10:32 | 0
10:33 | 0
10:34 | 0
10:35 | 0
10:36 | 0
10:37 | 0
10:38 | 0
10:39 | 0
10:40 | 0
10:41 | 0
10:42 | 0
10:43 | 0
10:44 | 0
10:45 | 0
10:46 | 0
10:47 | 0
10:48 | 0
10:49 | 0
10:50 | 0
10:51 | 0
10:52 | 0
10:53 | 0
10:54 | 0
10:55 | 0
10:56 | 0
10:57 | 0
10:58 | 0
10:59 | 0
11:00 | 0
11:01 | 0
11:02 | 0
11:03 | 0
11:04 | 0
11:05 | 0
11:06 | 0
11:07 | 0
11:08 | 0
11:09 | 0
11:10 | 0
11:11 | 0
11:12 | 0
11:13 | 0
11:14 | 0
11:15 | 0
11:16 | 0
11:17 | 0
11:18 | 0
11:19 | 0
11:20 | 0
11:21 | 0
11:22 | 0
11:23 | 0
11:24 | 0
11:25 | 0
11:26 | 0
11:27 | 0
11:28 | 0
11:29 | 0
11:30 | 0
11:31 | 0
11:32 | 0
11:33 | 0
11:34 | 0
11:35 | 0
11:36 | 0
11:37 | 0
11:38 | 0
11:39 | 0
11:40 | 0
11:41 | 0
11:42 | 0
11:43 | 0
11:44 | 0
11:45 | 0
11:46 | 0
11:47 | 0
11:48 | 0
11:49 | 0
11:50 | 0
11:51 | 0
11:52 | 0
11:53 | 0
11:54 | 0
11:55 | 0
11:56 | 0
11:57 | 0
11:58 | 0
11:59 | 0
12:00 | 0
12:01 | 0
12:02 | 0
12:03 | 0
12:04 | 0
12:05 | 0
12:06 | 0
12:07 | 0
12:08 | 0
12:09 | 0
12:10 | 0
12:11 | 0
12:12 | 0
12:13 | 0
12:14 | 0
12:15 | 0
12:16 | 0
12:17 | 0
12:18 | 0
12:19 | 0
12:20 | 0
12:21 | 0
12:22 | 0
12:23 | 0
12:24 | 0
12:25 | 0
12:26 | 0
12:27 | 0
12:28 | 0
12:29 | 0
12:30 | 0
12:31 | 0
12:32 | 0
12:33 | 0
12:34 | 0
12:35 | 0
12:36 | 0
12:37 | 0
12:38 | 0
12:39 | 0
12:40 | 0
12:41 | 0
12:42 | 0
12:43 | 0
12:44 | 0
12:45 | 0
12:46 | 0
12:47 | 0
12:48 | 0
12:49 | 0
12:50 | 0
12:51 | 0
12:52 | 0
12:53 | 0
12:54 | 0
12:55 | 0
12:56 | 0
12:57 | 0
12:58 | 0
12:59 | 0
13:00 | 0
13:01 | 0
13:02 | 0
13:03 | 0
13:04 | 0
13:05 | 0.25466
13:06 | 36.2855
13:07 | 2.819
13:08 | 0
13:09 | 0
13:10 | 0
13:11 | 0
13:12 | 0
13:13 | 0
13:14 | 0
13:15 | 0
13:16 | 0
13:17 | 0
13:18 | 0
13:19 | 0
13:20 | 0
13:21 | 0
13:22 | 0
13:23 | 0
13:24 | 0
13:25 | 0
13:26 | 0
13:27 | 0
13:28 | 0
13:29 | 0
13:30 | 0
13:31 | 0
13:32 | 0
13:33 | 0
13:34 | 0
13:35 | 0
Note on B2: enter 1-m g/h data for full run in col a&b

## 1-min gph by phase
Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8 |  | Phase 9 |  | Phase 10
avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM | avg g/h: | g PM
25.2702 | 15.5833 | 0.14375 | 0.40968 | 1.2697 | 0.63483 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h | Time | g/h
9:35 | 0.053208 | 10:13 | 22.2929 | 13:05 | 0.25466 | 0:00 | 0 |  |  | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9:36 | 5.8007 | 10:14 | 2.4314 | 13:06 | 36.2855 |  |  | 0:00 | 0
9:37 | 8.9774 | 10:15 | 0 | 13:07 | 2.819
9:38 | 34.3669 | 10:16 | 0 | 13:08 | 0
9:39 | 41.1559 | 10:17 | 0 | 13:09 | 0
9:40 | 22.8985 | 10:18 | 0 | 13:10 | 0
9:41 | 97.5285 | 10:19 | 0 | 13:11 | 0
9:42 | 116.0312 | 10:20 | 0 | 13:12 | 0
9:43 | 111.4283 | 10:21 | 0 | 13:13 | 0
9:44 | 109.3488 | 10:22 | 0 | 13:14 | 0
9:45 | 107.3225 | 10:23 | 0 | 13:15 | 0
9:46 | 109.1819 | 10:24 | 0 | 13:16 | 0
9:47 | 108.3546 | 10:25 | 0 | 13:17 | 0
9:48 | 63.8058 | 10:26 | 0 | 13:18 | 0
9:49 | 15.633 | 10:27 | 0 | 13:19 | 0
9:50 | 5.7519 | 10:28 | 0 | 13:20 | 0
9:51 | 2.5639 | 10:29 | 0 | 13:21 | 0
9:52 | 0.065611 | 10:30 | 0 | 13:22 | 0
9:53 | 0 | 10:31 | 0 | 13:23 | 0
9:54 | 0 | 10:32 | 0 | 13:24 | 0
9:55 | 0 | 10:33 | 0 | 13:25 | 0
9:56 | 0 | 10:34 | 0 | 13:26 | 0
9:57 | 0 | 10:35 | 0 | 13:27 | 0
9:58 | 0 | 10:36 | 0 | 13:28 | 0
9:59 | 0 | 10:37 | 0 | 13:29 | 0
10:00 | 0 | 10:38 | 0 | 13:30 | 0
10:01 | 0 | 10:39 | 0 | 13:31 | 0
10:02 | 0 | 10:40 | 0 | 13:32 | 0
10:03 | 0 | 10:41 | 0 | 13:33 | 0
10:04 | 0 | 10:42 | 0 | 13:34 | 0
10:05 | 0 | 10:43 | 0 | 13:35 | 0
10:06 | 0 | 10:44 | 0
10:07 | 0 | 10:45 | 0
10:08 | 0 | 10:46 | 0
10:09 | 0 | 10:47 | 0
10:10 | 0 | 10:48 | 0
10:11 | 0 | 10:49 | 0
10:12 | 0 | 10:50 | 0
|  | 10:51 | 0
|  | 10:52 | 0
|  | 10:53 | 0
|  | 10:54 | 0
|  | 10:55 | 0
|  | 10:56 | 0
|  | 10:57 | 0
|  | 10:58 | 0
|  | 10:59 | 0
|  | 11:00 | 0
|  | 11:01 | 0
|  | 11:02 | 0
|  | 11:03 | 0
|  | 11:04 | 0
|  | 11:05 | 0
|  | 11:06 | 0
|  | 11:07 | 0
|  | 11:08 | 0
|  | 11:09 | 0
|  | 11:10 | 0
|  | 11:11 | 0
|  | 11:12 | 0
|  | 11:13 | 0
|  | 11:14 | 0
|  | 11:15 | 0
|  | 11:16 | 0
|  | 11:17 | 0
|  | 11:18 | 0
|  | 11:19 | 0
|  | 11:20 | 0
|  | 11:21 | 0
|  | 11:22 | 0
|  | 11:23 | 0
|  | 11:24 | 0
|  | 11:25 | 0
|  | 11:26 | 0
|  | 11:27 | 0
|  | 11:28 | 0
|  | 11:29 | 0
|  | 11:30 | 0
|  | 11:31 | 0
|  | 11:32 | 0
|  | 11:33 | 0
|  | 11:34 | 0
|  | 11:35 | 0
|  | 11:36 | 0
|  | 11:37 | 0
|  | 11:38 | 0
|  | 11:39 | 0
|  | 11:40 | 0
|  | 11:41 | 0
|  | 11:42 | 0
|  | 11:43 | 0
|  | 11:44 | 0
|  | 11:45 | 0
|  | 11:46 | 0
|  | 11:47 | 0
|  | 11:48 | 0
|  | 11:49 | 0
|  | 11:50 | 0
|  | 11:51 | 0
|  | 11:52 | 0
|  | 11:53 | 0
|  | 11:54 | 0
|  | 11:55 | 0
|  | 11:56 | 0
|  | 11:57 | 0
|  | 11:58 | 0
|  | 11:59 | 0
|  | 12:00 | 0
|  | 12:01 | 0
|  | 12:02 | 0
|  | 12:03 | 0
|  | 12:04 | 0
|  | 12:05 | 0
|  | 12:06 | 0
|  | 12:07 | 0
|  | 12:08 | 0
|  | 12:09 | 0
|  | 12:10 | 0
|  | 12:11 | 0
|  | 12:12 | 0
|  | 12:13 | 0
|  | 12:14 | 0
|  | 12:15 | 0
|  | 12:16 | 0
|  | 12:17 | 0
|  | 12:18 | 0
|  | 12:19 | 0
|  | 12:20 | 0
|  | 12:21 | 0
|  | 12:22 | 0
|  | 12:23 | 0
|  | 12:24 | 0
|  | 12:25 | 0
|  | 12:26 | 0
|  | 12:27 | 0
|  | 12:28 | 0
|  | 12:29 | 0
|  | 12:30 | 0
|  | 12:31 | 0
|  | 12:32 | 0
|  | 12:33 | 0
|  | 12:34 | 0
|  | 12:35 | 0
|  | 12:36 | 0
|  | 12:37 | 0
|  | 12:38 | 0
|  | 12:39 | 0
|  | 12:40 | 0
|  | 12:41 | 0
|  | 12:42 | 0
|  | 12:43 | 0
|  | 12:44 | 0
|  | 12:45 | 0
|  | 12:46 | 0
|  | 12:47 | 0
|  | 12:48 | 0
|  | 12:49 | 0
|  | 12:50 | 0
|  | 12:51 | 0
|  | 12:52 | 0
|  | 12:53 | 0
|  | 12:54 | 0
|  | 12:55 | 0
|  | 12:56 | 0
|  | 12:57 | 0
|  | 12:58 | 0
|  | 12:59 | 0
|  | 13:00 | 0
|  | 13:01 | 0
|  | 13:02 | 0
|  | 13:03 | 0
|  | 13:04 | 0
Note on B6: enter 1-m g/h data for full run in col a&b

## results table
| Teom | Teom | % PM | FP equiv | FP equiv | full run g/h from filter pull:
| g/h | PM, g | of Total | g/h | PM, g
Phase 1 | 25.2702 | 15.5833 | 93.7183 | #DIV/0! | #DIV/0!
Phase 2 | 0.14375 | 0.40968 | 2.4638 | #DIV/0! | #DIV/0!
Phase 3 | 1.2697 | 0.63483 | 3.8179 | #DIV/0! | #DIV/0!
Phase 4 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | Ratio of Teom to filterpull full run g/h:
Phase 5 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  | #DIV/0!
sum: |  | 16.6278 | 100 |  | #DIV/0!
Note: delete unused phases above since they show up as 0.
Note on K2: enter full run fp gph in k2