## All Pollutants_Small Gas Boiler
RBLCID | FACILITY_NAME | CORPORATE_OR_COMPANY_NAME | FACILITY_COUNTY | FACILITY_STATE | FACILITY_ZIP_CODE | FACILITY_COUNTRY | FACILTY_CONTACT_NAME | FACILITY_PHONE | FACILITY_CONTACT_EMAIL | EPA_REGION | AGENCY_CODE | AGENCY_NAME | AGENCY_CONTACT | AGENCY_PHONE | AGENCY_EMAIL | OTHER_AGENCY_CONTACT_INFO | PERMIT_NUM | SIC_CODE | NAICS_CODE | FACILITY_REGISTRY_SYSTEM_NUMBER | COMPLETE_APPLICATION_DATE | PERMIT_ISSUANCE_DATE | DATE_DETERMINATION_ENTERED_INTO_RBLC | DATE_DETERMINATION_LAST_UPDATED | PERMIT_TYPE | PERMIT_URL | FACILITY_DESCRIPTION | PERMIT_NOTES | PROCESS_NAME | PROCCESS_TYPE | PRIMARY_FUEL | THROUGHPUT | THROUGHPUT_UNIT | PROCESS_NOTES | POLLUTANT | TESTMETHOD | POLLUTANT_GROUP(S) | CAS_NUMBER | CONTROL_METHOD_CODE | CONTROL_METHOD_DESCRIPTION | EMISSION_LIMIT_1 | EMISSION_LIMIT_1_UNIT | EMISSION_LIMIT_1_AVG_TIME_CONDITION | CASE-BY-CASE_BASIS | OTHER_ APPLICABLE_REQUIREMENTS | OTHER_FACTORS | PERCENT_EFFICIENCY | COMPLIANCE_VERIFIED | EMISSION_LIMIT_2 | EMISSION_LIMIT_2_UNIT | EMISSION_LIMIT_2_AVGERAGE_TIME_CONDITION | STANDARAD_EMISSION_LIMIT | STANDARD_EMISSION_LIMIT_UNIT | STANDARD_LIMIT_AVERAGE_TIME_CONDITION | COST_EFFECTIVENESS | INCREMENTAL_COST_EFFECTIVENESS | Cost_Verified | DOLLAR_YEAR_USED_IN_COST_ESTIMATES | POLLUTANT_COMPLIANCE_NOTES
WY-0076 | ROCK SPRINGS FERTILIZER COMPLEX | SIMPLOT PHOSPHATES, LLC | SWEETWATER | WY | 82901 | USA | DARIN HOWE | 3073821519 | DARIN.HOWE@SIMPLOT.COM | 8 | WY001 | WYOMING AIR QUAL DIVISION, AIR QUALITY | MR. ANDREW KEYFAUVER | (307)777-7340 | andrew.keyfauver@wyo.gov |  | MD-14824 | 2874 | 325312 | 110040924033 | 11/13/2013 &nbsp;ACT | 07/01/2014 &nbsp;ACT | 2014-07-01 | 2016-01-08 | B |  | Phosphate fertilizer Plant | Installation of an anhydrous ammonia plant with a nominal production capacity of 600 short tons per day (t/day) | Startup Heater | 13.31 | Natural Gas | 16 | MMBTU/H | limited to 200 hours of operation per year | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | a limited to 200 hours of operation per year | 187 | T/YR | ANNUAL | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
MI-0410 | THETFORD GENERATING STATION | CONSUMERS ENERGY COMPANY | GENESEE | MI | 48548-9722 | USA | JAMES WALKER | 517-788-0428 | JAMES.WALKER@CMSENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | For technical questions regarding this permit action, please contact the permit engineer, David Riddle, at 517-284-6798 or at RIDDLED@michigan.gov. Thank you. | 191-12 | 4911 | 221112 | 2604900033 | 05/08/2013 &nbsp;ACT | 07/25/2013 &nbsp;ACT | 2014-08-01 | 2016-05-04 | B |  | Four (4) natural gas fired combined cycle combustion turbine generators (CTG) and heat recovery steam generators (HRSG) with duct burner firing capability; ancillary facility equipment. | Existing substation property to be used for new construction of this generating station--4 CTG/HRSG. Additional equipment included in the permit: 315 hp diesel RICE fire pump engine; two natural gas auxiliary boilers < 100 MMBtu/hr; two natural gas fired fuel heaters; two peaker units (natural gas fired simple cycle combustion turbine driving an electrical generator--CTG). | FGAUXBOILERS: Two auxiliary boilers &lt; 100 MMBTU/H heat input each | 13.31 | natural gas | 100 | MMBTU/H heat input each | There are two auxiliary boilers each rated at less than 100 MMBTU/H heat input. Fuel usage limited to not more than 416.3 MMscf of natural gas in each boiler per 12-month rolling timeperiod as determined at the end of each month. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Efficient combustion; energy efficiency. | 24304 | T/YR | 12-MO ROLL TIME PERIOD EACH MONTH | BACT-PSD | N/A | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The limit is 24,304 T/Y for each boiler based upon a 12-month rolling time period as determined at the end of each calendar month. Fuel usage is limited to not more than 416.3 MMscf of natural gas in each boiler per 12 month rolling time period as determined at the end of each month.
MI-0423 | INDECK NILES, LLC | INDECK NILES, LLC | CASS | MI | 49120 | USA | MICHAEL DUBOIS | 847-520-3212 | MDUBOIS@INDECKENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Catherine Asselin at 517-284-6786, or at asselinc@michigan.gov, for technical questions regarding the permit. Thank you. | 75-16 | 4911 | 221112 | Not Found | 10/25/2016 &nbsp;ACT | 01/04/2017 &nbsp;ACT | 2017-06-02 | 2018-03-08 | A |  | Natural gas combined cycle power plant. | The permit includes equipment not entered into the RBLC due to a lack of emission limits or material limits; these include a cold cleaner, a number of space heaters, and two fuel tanks. | FGFUELHTR (Two fuel pre-heaters identified as EUFUELHTR1 &amp; EUFUELHTR2) | 13.31 | Natural gas | 27 | MMBTU/H | Two natural gas fired dew point heaters for warming the natural gas fuel (EUFUELHTR1 & EUFUELHTR2 in flexible group FGFUELHTR). The total combined heat input during operation shall not exceed 27 MMBTU/H (each) as well. The CO2e limit is for both units combined; however the other limits are per unit. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Energy efficiency measures and the use of a low carbon fuel (pipeline quality natural gas). | 13848 | T/YR | 12-MO ROLLING TIME PERIOD; COMBINED LIMI | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The CO2e limit is for both units combined.
*MI-0433 | MEC NORTH, LLC AND MEC SOUTH LLC | MARSHALL ENERGY CENTER LLC | CALHOUN | MI | 49068 | USA | WILLARD LADD | 914-468-2402 | WLADD@DEVELOPMENTPARTNERS.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | There are two plants (MEC North, LLC and MEC South, LLC) that will operate as separate entities but they are considered a single stationary source and the installation of the two new plants was reviewed as a single project. There are two Air Permits to Install for the two plants (167-17 and 168-17). For technical questions regarding either of the two permits, please contact the permit engineer Ms. Catherine Asselin at 517-284-6786 or at asselinc@michigan.gov. Thank you. | 167-17 AND 168-17 | 4911 | 221112 | Not Found | 05/22/2018 &nbsp;ACT | 06/29/2018 &nbsp;ACT | 2018-08-17 | 2018-08-22 | A |  | Natural gas combined cycle power plant (two plants: north and south) | There are two plants that will operate as separate entities and each received a separate Air Permit to Install, but they are considered one stationary source and were reviewed as one project. | EUAUXBOILER (North Plant): Auxiliary Boilder | 13.31 | Natural gas | 61.5 | MMBTU/H | A natural gas-fired auxiliary boiler, rated at 61.5 MMBTU/H (HHV) to facilitate startup of the CTGHRSG train and to provide the required steam to support the startup of the facility, including but not limited to steam for sparging, STG seals, etc. The auxiliary boiler is equipped with low NOx burners (LNB) and flue gas recirculation (FGR). | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Energy efficiency measures and the use of a low carbon fuel (pipeline quality natural gas). | 31540 | T/YR | 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
*MI-0433 | MEC NORTH, LLC AND MEC SOUTH LLC | MARSHALL ENERGY CENTER LLC | CALHOUN | MI | 49068 | USA | WILLARD LADD | 914-468-2402 | WLADD@DEVELOPMENTPARTNERS.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | There are two plants (MEC North, LLC and MEC South, LLC) that will operate as separate entities but they are considered a single stationary source and the installation of the two new plants was reviewed as a single project. There are two Air Permits to Install for the two plants (167-17 and 168-17). For technical questions regarding either of the two permits, please contact the permit engineer Ms. Catherine Asselin at 517-284-6786 or at asselinc@michigan.gov. Thank you. | 167-17 AND 168-17 | 4911 | 221112 | Not Found | 05/22/2018 &nbsp;ACT | 06/29/2018 &nbsp;ACT | 2018-08-17 | 2018-08-22 | A |  | Natural gas combined cycle power plant (two plants: north and south) | There are two plants that will operate as separate entities and each received a separate Air Permit to Install, but they are considered one stationary source and were reviewed as one project. | EUAUXBOILER (South Plant): Auxiliary Boiler | 13.31 | Natural gas | 61.5 | MMBTU/h | A natural gas-fired auxiliary boiler, rated at 61.5 MMBTU/H (HHV) to facilitate startup of the CTGHRSG train and to provide the required steam to support the startup of the facility, including but not limited to steam for sparging, STG seals, etc. The auxiliary boiler is equipped with low NOx burners (LNB) and flue gas recirculation (FGR). | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Energy efficiency measures and the use of a low carbon fuel (pipeline quality natural gas). | 31540 | T/YR | 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
*MI-0435 | BELLE RIVER COMBINED CYCLE POWER PLANT | DTE ELECTRIC COMPANY | ST. CLAIR | MI | 48054 | USA | MATTHEW PAUL | 313-235-3374 | MATTHEW.PAUL@DTEENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | For technical questions regarding the permit, please contact the permit engineer, Mr. John Vial, at 517-284-6805 or at vialj@michigan.gov. Thank you. | 19-18 | 4911 | 221112 | Not Found | 06/22/2018 &nbsp;ACT | 07/16/2018 &nbsp;ACT | 2018-08-23 | 2018-08-24 | B |  | Natural gas combined-cycle power plant | The new combined cycle plant is proposed to be located near DTE's existing Belle River and St. Clair coal fired power plants. The three plants will be considered a single stationary source. It will have a capacity of 1,150 megawatts. | EUAUXBOILER: Auxiliary Boiler | 13.31 | Natural gas | 99.9 | MMBTU/H | A natural gas-fired auxiliary boiler, rated at 99.9 MMBTU/H to facilitate startup of the CTG/HRSG trains and to provide steam to the steam turbine generator seals. The auxiliary boiler is equipped with low NOx burners (LNB) and flue gas recirculation (FGR). | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Energy efficiency measures, use of natural gas. | 25623 | T/YR | 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
MI-0425 | GRAYLING PARTICLEBOARD | ARAUCO NORTH AMERICA | CRAWFORD | MI | 49738 | USA | RICH WEBER | 803-431-2046 | RICH.WEBER@ARAUCO-NA.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Mr. Andrew Drury, at 517-284-6792 or at drurya@michigan.gov for technical questions regarding this permit. Thank you. | 59-16A | 2493 | 321219 | Not Found | 03/06/2017 &nbsp;ACT | 05/09/2017 &nbsp;ACT | 2017-08-02 | 2017-11-15 | A |  | Particleboard manufacturing. |  | EUFLTOS1 in FGTOH | 13.31 | Natural gas | 10.2 | MMBTU/H | One natural gas-fired thermal oil system for thermally fused lamination lines rated at 10.2 MMBTU/H fuel heat input (EUFLTOS1 in FGTOH). Note: The throughput capacity, 10.2 MMBTU/H, is not a change but instead a correction from the previous entry. The previous entry is under MI-0421 for the original permit. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion and maintenance practices, natural gas only. | 5254 | T/YR | 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Control cost for carbon capture and sequestration determined to be $102 per ton, which is not cost effective. This cost is based on controlling the total GHG emissions from the facility.
MI-0421 | GRAYLING PARTICLEBOARD | ARAUCO NORTH AMERICA | CRAWFORD | MI | 49738 | USA | RICH WEBER | 803-431-2046 | RICH.WEBER@ARAUCO-NA.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Mr. Andrew Drury, at 517-284-6792 or at drurya@michigan.gov for technical questions related to the permit. Thank you. | 59-16 | 2493 | 321219 | Not Found | 06/30/2016 &nbsp;ACT | 08/26/2016 &nbsp;ACT | 2017-01-27 | 2017-07-20 | A |  | Particleboard manufacturing |  | EUTOH (In FGTOH)--Thermal Oil Heater | 13.31 | Natural gas | 34 | MMBTU/H | One natural gas fired thermal oil heater for press and sifter rated at 34 MMBTU/H fuel heat input (EUTOH in FGTOH). All falls under RBLC Process Type Code 30.590. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion and maintenance practices, natural gas only. | 17438 | T/YR | BASED UPON A 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Control cost for carbon capture and sequestration determined to be $102/ton which is not cost effective. This costs is based on controlling the total GHG emissions from the facility.
MI-0425 | GRAYLING PARTICLEBOARD | ARAUCO NORTH AMERICA | CRAWFORD | MI | 49738 | USA | RICH WEBER | 803-431-2046 | RICH.WEBER@ARAUCO-NA.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Mr. Andrew Drury, at 517-284-6792 or at drurya@michigan.gov for technical questions regarding this permit. Thank you. | 59-16A | 2493 | 321219 | Not Found | 03/06/2017 &nbsp;ACT | 05/09/2017 &nbsp;ACT | 2017-08-02 | 2017-11-15 | A |  | Particleboard manufacturing. |  | EUTOH in FGTOH | 13.31 | Natural gas | 38 | MMBTU/H | One natural gas-fired thermal oil heater for press and sifter rated at 38 MMBTU/hr fuel heat input (EUTOH in FGTOH). Also falls under the RBLC Process Type Code 30.590. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion and maintenance practices, natural gas only. | 19490 | T/YR | 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Control cost for carbon capture and sequestration determined to be $102/ton, which is not cost effective. This cost is based on controlling the total GHG emissions from the facility. The small increase in heat input capacity (4 MMBTU/HR) does not make add on control cost effective.
MI-0421 | GRAYLING PARTICLEBOARD | ARAUCO NORTH AMERICA | CRAWFORD | MI | 49738 | USA | RICH WEBER | 803-431-2046 | RICH.WEBER@ARAUCO-NA.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Mr. Andrew Drury, at 517-284-6792 or at drurya@michigan.gov for technical questions related to the permit. Thank you. | 59-16 | 2493 | 321219 | Not Found | 06/30/2016 &nbsp;ACT | 08/26/2016 &nbsp;ACT | 2017-01-27 | 2017-07-20 | A |  | Particleboard manufacturing |  | EUFLTOS1 in FGTOH (Thermal Oil System for Thermally Fused Lamination Lines) | 13.31 | Natural gas | 34 | MMBTU/H | One natural gas fired thermal oil system for thermally fused lamination lines rated at 10.2 MMBTU/H fuel heat input (EUFLTOS1 in FGTOH). | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion and maintenance practices. Natural gas only. | 5254 | T/YR | BASED UPON A 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Control cost for carbon capture and sequestration determined to be $102/ton which is not cost effective. This cost is based on controlling the total GHG emissions from the facility.
TX-0772 | PORT OF BEAUMONT PETROLEUM TRANSLOAD TERMINAL (PBPTT) | JEFFERSON RAILPORT TERMINAL I TEXAS LLC | ORANGE | TX |  | USA | PHILIP TREW | 409-239-5382 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Teresa Hurley, (512) 239-5316 Teresa.Hurley@tceq.texas.gov | 118901, GHGPSDTX108 AND PSDTX1 | 5171 | 424710 | 110055496379 | 09/21/2015 &nbsp;ACT | 11/06/2015 &nbsp;ACT | 2015-11-05 | 2016-07-06 | A |  | Crude oil, condensate, bitumen storage and marine/railcar loading terminal |  | Commercial/Institutional-Size Boilers/Furnaces | 13.31 | natural gas | 13.2 | MMBTU/H | Boiler will be operated continuously to maintain system temperatures in the intermittent boilers and heavy liquid storage tanks. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion practice to ensure complete combustion. | 6850 | T/YR |  | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0772 | PORT OF BEAUMONT PETROLEUM TRANSLOAD TERMINAL (PBPTT) | JEFFERSON RAILPORT TERMINAL I TEXAS LLC | ORANGE | TX |  | USA | PHILIP TREW | 409-239-5382 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Teresa Hurley, (512) 239-5316 Teresa.Hurley@tceq.texas.gov | 118901, GHGPSDTX108 AND PSDTX1 | 5171 | 424710 | 110055496379 | 09/21/2015 &nbsp;ACT | 11/06/2015 &nbsp;ACT | 2015-11-05 | 2016-07-06 | A |  | Crude oil, condensate, bitumen storage and marine/railcar loading terminal |  | Commercial/Institutional-Size Boilers/Furnaces | 13.31 | natural gas | 40 | MMBTU/H | Hot oil heater | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion practice to ensure complete combustion. | 20758 | T/YR |  | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
MI-0412 | HOLLAND BOARD OF PUBLIC WORKS - EAST 5TH STREET | HOLLAND BOARD OF PUBLIC WORKS | OTTAWA | MI | 49423 | USA | DAVID KOSTER | 616-355-1562 | DKOSTER@HOLLANDBPW.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Catherine Asselin, at 517-284-6786 or at AsselinC@michigan.gov, for technical questions regarding this permit. Thank you. | 107-13 | 4931 | 221112 | 26139P0465 | 10/17/2013 &nbsp;ACT | 12/04/2013 &nbsp;ACT | 2014-08-15 | 2016-05-05 | A |  | Natural gas combined heat and power plant. |  | Fuel pre-heater (EUFUELHTR) | 13.31 | natural gas | 3.7 | MMBTU/H | One natural gas-fired dew point heater for warming the natural gas fuel (EUFUELHTR). | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion practices | 1934 | T/YR | 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
MI-0412 | HOLLAND BOARD OF PUBLIC WORKS - EAST 5TH STREET | HOLLAND BOARD OF PUBLIC WORKS | OTTAWA | MI | 49423 | USA | DAVID KOSTER | 616-355-1562 | DKOSTER@HOLLANDBPW.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Catherine Asselin, at 517-284-6786 or at AsselinC@michigan.gov, for technical questions regarding this permit. Thank you. | 107-13 | 4931 | 221112 | 26139P0465 | 10/17/2013 &nbsp;ACT | 12/04/2013 &nbsp;ACT | 2014-08-15 | 2016-05-05 | A |  | Natural gas combined heat and power plant. |  | Auxiliary Boiler A (EUAUXBOILERA) | 13.31 | natural gas | 55 | MMBTU/H | One natural gas-fired auxiliary boiler rated at 55 MMBTU/hr fuel heat input (EUAUXBOILERA within flexible group FGAUXBOILERS). | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion practices | 28514 | T/YR | 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
MI-0412 | HOLLAND BOARD OF PUBLIC WORKS - EAST 5TH STREET | HOLLAND BOARD OF PUBLIC WORKS | OTTAWA | MI | 49423 | USA | DAVID KOSTER | 616-355-1562 | DKOSTER@HOLLANDBPW.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Catherine Asselin, at 517-284-6786 or at AsselinC@michigan.gov, for technical questions regarding this permit. Thank you. | 107-13 | 4931 | 221112 | 26139P0465 | 10/17/2013 &nbsp;ACT | 12/04/2013 &nbsp;ACT | 2014-08-15 | 2016-05-05 | A |  | Natural gas combined heat and power plant. |  | Auxiliary Boiler B (EUAUXBOILERB) | 13.31 | natural gas | 95 | MMBTU/H | One natural gas-fired auxiliary boiler rated at 95 MMBtu/hr fuel heat input (EUAUXBOILERB within flexible group FGAUXBOILERS). | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion practices | 49251 | T/YR | 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
AL-0282 | LENZING FIBERS, INC. | LENZING FIBERS, INC. | MOBILE | AL | 36505 | USA | MR. KEVIN, PLANT MANAGER ALLEN | 251-679-2814 | K.ALLEN@LENZING.COM | 4 | AL001 | ALABAMA DEPT OF ENVIRONMENTAL MGMT | MR. DALE HURST | (334) 271-7882 | ADH@ADEM.STATE.AL.US |  | 503-0047-X014 | 2823 | 325221 | 110043792278 | 11/19/2013 &nbsp;ACT | 01/22/2014 &nbsp;ACT | 2015-03-17 | 2016-05-09 | B |  | Production of lyocell fiber by solvent spinning process. | NAICS Code: 325220 | Natural Gas Fired Boilers (3) | 13.31 | Natural Gas | 100 | mm btu/hr |  | Carbon Dioxide Equivalent (CO2e) | Other - 1,2,3A and 4 | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion practices | 112508 | T/YR | 12 - MONTH ROLLING | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
WY-0075 | CHEYENNE PRAIRIE GENERATING STATION | BLACK HILLS POWER, INC | LARAMIE | WY | 82009 | USA | TIM ROGERS | (605) 721-2286 | TIM.ROGERS@BLACKHILLSCORP.COM | 8 | WY001 | WYOMING AIR QUAL DIVISION, AIR QUALITY | MR. ANDREW KEYFAUVER | (307)777-7340 | andrew.keyfauver@wyo.gov |  | MD-16173 | 491 | 221122 | Not Found | 05/01/2014 &nbsp;ACT | 07/16/2014 &nbsp;ACT | 2014-06-16 | 2018-05-11 | B |  | Nominal 220 megawatt (MW) gross electrical facility. | Installation of a 25.06 MMBtu/hr Auxiliary Boiler (Cleaver Brooks CBEX Elite 600). Subject to PSD based on project aggregation. | Auxiliary Boiler | 13.31 | natual gas | 25.06 | MMBtu/h |  | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | good combustion practices and energy efficiency | 12855 | TON/YR | 12 MONTH ROLLING | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0772 | PORT OF BEAUMONT PETROLEUM TRANSLOAD TERMINAL (PBPTT) | JEFFERSON RAILPORT TERMINAL I TEXAS LLC | ORANGE | TX |  | USA | PHILIP TREW | 409-239-5382 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Teresa Hurley, (512) 239-5316 Teresa.Hurley@tceq.texas.gov | 118901, GHGPSDTX108 AND PSDTX1 | 5171 | 424710 | 110055496379 | 09/21/2015 &nbsp;ACT | 11/06/2015 &nbsp;ACT | 2015-11-05 | 2016-07-06 | A |  | Crude oil, condensate, bitumen storage and marine/railcar loading terminal |  | Commercial/Institutional-Size Boilers/Furnaces | 13.31 | natural gas | 95.7 | MMBTU/H | Three boilers will be used intermittently to provide steam for heating tanks or railcars as necessary to reduce viscosity of heavy liquids. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion practices and use of low carbon fuel | 119195 | T/YR |  | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
MI-0424 | HOLLAND BOARD OF PUBLIC WORKS - EAST 5TH STREET | HOLLAND BOARD OF PUBLIC WORKS | OTTAWA | MI | 49423 | USA | DAVID KOSTER | 616-355-1562 | DKOSTER@HOLLANDBPW.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | For technical questions regarding the permit, please contact: Michelle Rogers at 517-284-6799; ROGERSM13@michigan.gov; OR Catherine Asselin at 517-284-6786; ASSELINC@michigan.gov Thank you. | 107-13C | 4931 | 221112 | Not Found | 10/17/2016 &nbsp;ACT | 12/05/2016 &nbsp;ACT | 2017-07-28 | 2018-03-08 | A |  | Natural gas combined heat and power plant. | Permit Number 107-13E revised Permit 107-13C as follows: 1) All ppmdv limits were changed to ppmvd in the CTGHRSG section for NOx, CO and VOC. Also, 2) The process notes for the natural gas emergency engine and the diesel fire pump emergency engine were revised as well. No other changes were made. As such, this RBLC entry includes the updated information as identified above. Additionally, this is an updated determination for this facility, which is still under construction and has not yet operated. The original RBLC determination for the facility is identified as MI-0412. | EUFUELHTR (Fuel pre-heater) | 13.31 | Natural gas | 3.7 | MMBTU/H | One natural gas fired dew point heater for warming the natural gas fuel (EUFUELHTR). | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion practices. | 1934 | T/YR | 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
MI-0406 | RENAISSANCE POWER LLC | LS POWER DEVELOPMENT LLC | MONTCALM | MI | 48811 | USA | BRADLEY COOLEY | 636-534-3268 | BCOOLEY@LSPOWER.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Melissa Byrnes, at 517-284-6790 or at BYRNESM@michigan.gov for technical questions regarding this permit. Thank you. | 51-13 | 4911 | 221112 | 2611705287 | 07/13/2013 &nbsp;ACT | 11/01/2013 &nbsp;ACT | 2014-03-19 | 2016-07-07 | C |  | For technical questions regarding this permit, please contact the permit engineer, Melissa Byrnes, at 517-284-6790. Thank you. | Other facility-wide pollutants not listed below (tpy): PM10=211.19+ PM2.5=205.24+ Lead=0.0027+ CO2e=5,398,441+ Sulfuric Acid Mist=5.67+ | FG-AUXBOILER1-2; Two (2) natural gas-fired auxiliary boilers. | 13.31 | natural gas | 40 | MMBTU/H | Two (2) natural gas-fired auxiliary boilers. 40 MMBTU/H each. Fuel restriction = 360.8 MMSCF/YR total for both units. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion practices. | 11503.7 | T/YR | TEST PROTOCOL; TOTAL FOR BOTH UNITS. | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The CO2e emission limit of 11503.7 T/YR is for both units combined.
MI-0424 | HOLLAND BOARD OF PUBLIC WORKS - EAST 5TH STREET | HOLLAND BOARD OF PUBLIC WORKS | OTTAWA | MI | 49423 | USA | DAVID KOSTER | 616-355-1562 | DKOSTER@HOLLANDBPW.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | For technical questions regarding the permit, please contact: Michelle Rogers at 517-284-6799; ROGERSM13@michigan.gov; OR Catherine Asselin at 517-284-6786; ASSELINC@michigan.gov Thank you. | 107-13C | 4931 | 221112 | Not Found | 10/17/2016 &nbsp;ACT | 12/05/2016 &nbsp;ACT | 2017-07-28 | 2018-03-08 | A |  | Natural gas combined heat and power plant. | Permit Number 107-13E revised Permit 107-13C as follows: 1) All ppmdv limits were changed to ppmvd in the CTGHRSG section for NOx, CO and VOC. Also, 2) The process notes for the natural gas emergency engine and the diesel fire pump emergency engine were revised as well. No other changes were made. As such, this RBLC entry includes the updated information as identified above. Additionally, this is an updated determination for this facility, which is still under construction and has not yet operated. The original RBLC determination for the facility is identified as MI-0412. | EUAUXBOILER (Auxiliary boiler) | 13.31 | natural gas | 83.5 | MMBTU/H | One natural gas fired auxiliary boiler rated at 83.5 MMBTU/hr fuel heat input (EUAUXBOILER). | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Good combustion practices. | 43283 | T/YR | 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
IA-0106 | CF INDUSTRIES NITROGEN, LLC - PORT NEAL NITROGEN COMPLEX | CF INDUSTRIES NITROGEN, LLC | WOODBURY | IA | 51054 | USA | MIKE MAAS | 712-233-6222 | MMAAS@CFINDUSTRIES.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV | Christopher A. Roling, PE Environmental Engineer Senior Iowa DNR - Air Quality Bureau 7900 Hickman Rd, Suite 1 Windsor Heights, IA 50324 (515) 242-6002 chris.roling@dnr.iowa.gov | PN 13-037 | 2873 | 325311 | 110000414089 | 02/01/2013 &nbsp;ACT | 07/12/2013 &nbsp;ACT | 2013-07-16 | 2016-05-04 | B |  | Nitrogenous fertilizer manufacturing including ammonia, urea, and urea-ammonium nitrate (UAN) solutions. |  | Startup Heater | 13.31 | natural gas | 58.8 | MMBTU/H | Limited to 5.76 MMCF of natural gas/yr | Carbon Dioxide Equivalent (CO2e) | Other - calculation based on GWP and mass of emissions | (Greenhouse Gasses (GHG)) | CO2e | P | good operating practices & use of natural gas | 345 | T/YR | ROLLING TWELVE (12) MONTH TOTAL | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0268 | PLAQUEMINE PVC PLANT (SPP-2) | SHINTECH LOUISIANA, LLC | IBERVILLE | LA | 70764 | USA | JAMES BELL | (225) 685-1199 | JBELL@SHIN-TECH.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit writer: Anthony Randall, (225) 219-3417 | PSD-LA-731(M-1) | 2821 | 325211 | Unknown | 11/27/2012 &nbsp;ACT | 09/25/2013 &nbsp;ACT | 2013-10-08 | 2016-05-04 | B |  | SPP-2 is a vertically integrated vinyl chloride monomer (VCM) manufacturing facility that also produces intermediate products, including chlorine (and caustic soda (NaOH) as a byproduct) and ethylene dichloride (EDC). Process units include a chlor-alkali unit and a VCM unit. Purified VCM may be polymerized to PVC in SPP-1. | Complete application date = date of administrative completeness. | Cracking Furnace E (2M-17) (EQT 0233) | 13.31 | Natural gas | 90 | MMBTU/H |  | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Improved combustion measures (i.e., combustion tuning, optimization, and installation of instrumentation and controls); insulation; and operational monitoring and proper maintenance to minimize air infiltration. | 46123 | T/YR | ANNUAL MAXIMUM | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0269 | PLAQUEMINE PVC PLANT (SPP-1) | SHINTECH LOUISIANA, LLC | IBERVILLE | LA | 70764 | USA | JAMES BELL | (225) 685-1199 | JBELL@SHIN-TECH.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit writer: Anthony Randall, (225) 219-3417 | PSD-LA-709(M-2) | 2821 | 325211 | Unknown | 11/26/2013 &nbsp;ACT | 09/25/2013 &nbsp;ACT | 2013-10-08 | 2016-05-04 | B |  | SPP-1 is a vertically integrated polyvinyl chloride (PVC) manufacturing facility that also produces intermediate products, including chlorine (and caustic soda (NaOH) as a byproduct), ethylene dichloride (EDC), and vinyl chloride monomer (VCM). Process units include a chlor-alkali unit, a VCM unit, and a PVC unit. | Complete application date = date of application receipt. | Cracking Furnace E (M-17) (EQT 0242) | 13.31 | Natural Gas | 90 | MMBTU/H |  | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Improved combustion measures (i.e., combustion tuning, optimization, and installation of instrumentation and controls); insulation; and operational monitoring and proper maintenance to minimize air infiltration. | 46123 | T/YR | ANNUAL MAXIMUM | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*MI-0435 | BELLE RIVER COMBINED CYCLE POWER PLANT | DTE ELECTRIC COMPANY | ST. CLAIR | MI | 48054 | USA | MATTHEW PAUL | 313-235-3374 | MATTHEW.PAUL@DTEENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | For technical questions regarding the permit, please contact the permit engineer, Mr. John Vial, at 517-284-6805 or at vialj@michigan.gov. Thank you. | 19-18 | 4911 | 221112 | Not Found | 06/22/2018 &nbsp;ACT | 07/16/2018 &nbsp;ACT | 2018-08-23 | 2018-08-24 | B |  | Natural gas combined-cycle power plant | The new combined cycle plant is proposed to be located near DTE's existing Belle River and St. Clair coal fired power plants. The three plants will be considered a single stationary source. It will have a capacity of 1,150 megawatts. | EUFUELHTR1: Natural gas fired fuel heater | 13.31 | Natural gas | 20.8 | MMBTU/H | A natural gas-fired 20.8 MMBTU/H heat input HP fuel heater. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Natural gas fuel | 6310 | T/YR | 12-MO ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The emission limit above is the Total for EUFUELHTR1 & EUFUELHTR2.
*MI-0435 | BELLE RIVER COMBINED CYCLE POWER PLANT | DTE ELECTRIC COMPANY | ST. CLAIR | MI | 48054 | USA | MATTHEW PAUL | 313-235-3374 | MATTHEW.PAUL@DTEENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | For technical questions regarding the permit, please contact the permit engineer, Mr. John Vial, at 517-284-6805 or at vialj@michigan.gov. Thank you. | 19-18 | 4911 | 221112 | Not Found | 06/22/2018 &nbsp;ACT | 07/16/2018 &nbsp;ACT | 2018-08-23 | 2018-08-24 | B |  | Natural gas combined-cycle power plant | The new combined cycle plant is proposed to be located near DTE's existing Belle River and St. Clair coal fired power plants. The three plants will be considered a single stationary source. It will have a capacity of 1,150 megawatts. | EUFUELHTR2: Natural gas fired fuel heater | 13.31 | Natural gas | 3.8 | MMBTU/H | A natural gas-fired 3.8 MMBTU/H heat input HP fuel heater. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Natural gas fuel | 6310 | T/YR | 12-MONTH ROLLING TIME PERIOD | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
IN-0158 | ST. JOSEPH ENEGRY CENTER, LLC | ST. JOSEPH ENERGY CENTER, LLC | ST. JOSEPH | IN | 46552 | USA | MR. WILLARD LADD | 9144682404 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: JOSIAH BALOGUN 317-234-5257 JBALOGUN@IDEM.IN.GOV SECTION CHIEF: MATT STUCKEY 317-233-0203 MSTUCKEY@IDEM.IN.GOV | 141-31003-00579 | 4911 | 221112 | 110054881963 | 10/03/2011 &nbsp;ACT | 12/03/2012 &nbsp;ACT | 2013-08-15 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/31003F.PDF | STATIONARY ELECTRIC UTILITY GENERATING STATION |  | TWO (2) NATURAL GAS AUXILIARY BOILERS | 13.31 | NATURAL GAS | 80 | MMBTU/H | BOTH BOILERS, LABELED AS B001 AND B002, ARE EQUIPPED WITH LOW NOX BURNERS WITH FLUE GAS REGULATION. THIS IS CONSIDERED A STEAM GENERATING UNIT. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | OPERATION AND MAINTENANCE PRACTICES; COMBUSTION TURNING; OXYGEN TRIM CONTROLS & ANALYZERS; ECONOMIZER; ENERGY EFFICIENT REFRACTORY; CONDENSATE RETURN SYSTEM, INSULATE STEAM AND HOT LINES. | 81996 | TON/YR | 12 CONSECUTIVE MONTH PERIOD | BACT-PSD |  |  | 0 |  | 80 | % HHV |  | 0 |  |  | 0 | 0 | N |  | CONTROL METHOD (CONTINUED): MINIMIZATION OF GAS-SIDE HEAT TRANSGER SURFACE DEPOSITS, TURBULATORS FOR FIRETUBE BOILERS STEAM LINE MAINTENANCE, OPERATING AND MAINTENANCE PRACTICES, CONDENSATION RETURN SYSTEM.
*WV-0029 | HARRISON COUNTY POWER PLANT | ESC HARRISON COUNTY POWER, LLC | HARRISON | WV | 26301 | USA | ANDREW DORN | 7163121042 | DREWDORN@ENSOLCONSORTIUM.COM | 3 | WV001 | WEST VIRGINIA DEPT. OF ENVRIONMENTAL PROTECTION; DIV. OF AIR QUALITY | MR. JOE KESSLER, PE | (304)926-0499X1219 | Joseph.r.kessler@wv.gov | Permit Engineer: Mr. Steve Pursley 304-926-0499 x1218 steven.r.pursley@wv.gov | R14-0036 | 4911 | 221112 | Not Found | 04/26/2017 &nbsp;ACT | 03/27/2018 &nbsp;ACT | 2018-06-25 | 2018-06-25 | A | https://dep.wv.gov/daq/Documents/March 2018 Permits and Evals/033-00264_PERM_R14-0036.pdf | Nominal 640 mWe natural gas-fired combined-cycle power plant. Small sources: Emergency Generator, Fire Water Pump, Fuel Gas Heater not included in RBLC - may request info or see permit for details. |  | Auxiliary Boiler | 13.31 | Natural Gas | 77.8 | mmBtu/hr | Annual emission based on 4600 hours/year. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Use of Natural Gas | 20837 | TONS/YEAR |  | BACT-PSD |  | U | 0 | U | 20837 | TONS/YEAR |  | 9107 | LB/HR |  | 0 | 0 | N
MI-0420 | DTE GAS COMPANY--MILFORD COMPRESSOR STATION | DTE GAS COMPANY | OAKLAND | MI | 48042 | USA | BARRY MARIETTA | 313-235-5611 | MARIETTAB@DTEENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | For permit related questions, please contact the permit engineer Ms. Catherine Asselin at 517-284-6786. | 185-15 | 4922 | 486210 | Not Found | 04/12/2016 &nbsp;ACT | 06/03/2016 &nbsp;ACT | 2016-09-16 | 2017-04-28 | B |  | Natural gas compressor station. |  | FGAUXBOILERS | 13.31 | Natural gas | 6 | MMBTU/H | Two natural gas-fired auxiliary boilers, each rated at 6 MMBTU/H fuel heat input. The boilers are identified as EUAUXBOIL2 and EUAUXBOIL3 within the flexible group FGAUXBOILERS. The boilers are subject to 40 CFR Part 63 Subpart DDDDD, which requires tune ups. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Use of pipeline quality natural gas and energy efficiency measures. | 6155 | T/YR | 12-MO ROLLING TIME PERIOD | BACT-PSD | N/A | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The emission limit is 6,155 tons per year based on a 12-month rolling time period as determined at the end of each calendar month, for both boilers combined. Carbon capture and sequestration was technically infeasible for small, intermittent sources. Terrestrial sequestration was $162 per ton of controlled combined CO2e and does not include annual maintenance costs.
MI-0426 | DTE GAS COMPANY - MILFORD COMPRESSOR STATION | DTE GAS COMPANY | OAKLAND | MI | 48042 | USA | BARRY MARIETTA | 313-235-5611 | MARIETTAB@DTEENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Ms. Catherine Asselin, at 517-284-6786 or at asselinc@michigan.gov, for technical questions regarding this permit. Thank you. | 185-15A | 4922 | 486210 | Not Found | 02/15/2017 &nbsp;ACT | 03/24/2017 &nbsp;ACT | 2017-12-04 | 2018-03-08 | B |  | Natural gas compressor station. | This permit, 185-15A, was for minor changes to the project permitted in PTI 185-15. The emergency engine and heating equipment were modified. The permit includes equipment not entered into the RBLC due to a lack of emission limits or material limits; these include four heaters and a furnace for comfort heating and one water heater. | FGAUXBOILERS (6 auxiliary boilers EUAUXBOIL2A, EUAUXBOIL3A, EUAUXBOIL2B, EUAUXBOIL3B, EUAUXBOIL2C, EUAUXBOIL3C) | 13.31 | Natural gas | 3 | MMBTU/H | Four natural gas-fired auxiliary boilers, each rated at 3 MMBTU/H fuel heat input (EUAUXBOIL2A, EUAUXBOIL3A, EUAUXBOIL2B and EUAUXBOIL3B in FGAUXBOILERS) and two natural gas-fired auxiliary boilers, each rated at 1 MMBTU/H fuel heat input (EUAUXBOIL2C and EUAUXBOIL3C in FGAUXBOILERS). The boilers are subject to 40 CFR Part 63 Subpart DDDDD which requires tune ups. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Use of pipeline quality natural gas and energy efficiency measures. | 7324 | T/YR | COMBINED FOR ALL BOILERS | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The emission limit above is 7324 T/YR combined for all boilers in FGAUXBOILERS. Carbon capture and sequestration was technically infeasible for small, intermittent sources. Terrestrial sequestration was $162 per ton of controlled combined CO2e and does not include annual maintenance costs.
OK-0164 | MIDWEST CITY AIR DEPOT | TINKER AIR FORCE BASE LOGISTICS CENTER | OKLAHOMA | OK | 73145 | USA | COL. CHRISTOPHER AZZANO | 405-734-2102 | 72ABW.WORKFLOW@TINKER.AF.MIL | 6 | OK001 | OKLAHOMA DEPARTMENT OF ENVIRONMENTAL QUALITY | MR. LEE WARDEN | (405)702-4182 | LEE.WARDEN@DEQ.OK.GOV |  | 2009-394-C(M-2)PSD | 9711 | 928110 | 109-00090 | 04/09/2014 &nbsp;ACT | 01/08/2015 &nbsp;ACT | 2015-08-07 | 2016-07-06 | B |  | In February 2011, the U.S. Air Force (USAF) selected the Boeing KC-767 to replace its aging KC-135 tankers and assigned the new aircraft the designation KC-46A. Tinker AFB was selected to perform the programmed depot-level maintenance of the KC-46A aircraft. | Applicant requests authorization to construct facilities to accommodate new workload associated with the KC-46 aircraft. | Heaters/Boilers | 13.31 | Natural Gas | 0 | MMBTUH | Eight 17.3-MMBTUH hot water boilers, four 14.5-MMBTUH and four 13.5-MMBTUH steam boilers will be subject to 40 CFR 60, NSPS, Subpart Dc, and 40 CFR 63 Subpart DDDDD. Note: Avg. Time/Condition for both VOC and GHG is a total for all units. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | P | Use pipeline-quality natural gas., Good Combustion Practices. | 153716 | TON/YR | TOTAL FOR ALL UNITS. | BACT-PSD | NSPS | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0746 | NUEVO MIDSTREAM, RAMSEY GAS PLANT | NUEVO MIDSTREAM LLC | REEVES | TX | 79770 | USA | CLINT CONE | 432-273-0010 | CC@NUEVOMIDSTREAM.COM | 6 | OT007 | EPA REGION VI | MS. ASHLEY MOHR | (214) 665-7289 | MOHR.ASHLEY@EPA.GOV | EPA Region 6 Permit Writer: Ms. Nevine Salem, Air Permitting Section (6PD-R), 1445 Ross Avenue, Dallas, Texas 75202 | PSD-TX-1392-GHG | 1321 | 211112 | 110054879985 | 10/10/2014 &nbsp;ACT | 11/18/2014 &nbsp;ACT | 2015-06-05 | 2016-07-06 | B | http://yosemite.epa.gov/r6/Apermit.nsf/AirP | This project authorizes Nuevo to build three additional facilities (Ramsey IV, V, and VI Plants) and associated Amine Plants (Amine I and II Plants). Nuevo Midstream core capabilities include gas gathering, treating and conditioning, compression, and processing. This expansion project will increase the processing capacity of the existing plant with three 200 MMSCF/D cryogenic plants and two 1,000-gpm amine plants, or equivalent, with combined rating being â‰¤ 2,000 gpm. A percentage of the acid gas from the amine still vents (EPNs: A-4 and A-5) will be captured and routed to a pipeline for Carbon Capture and Sequestration (CCS) purposes and the remaining acid gas from the amine still vents will be routed to the regenerative thermal oxidizer (EPNs: RTO-4 and RTO-5). | The Texas Commission on Environmental Quality (TCEQ) is the permitting authority for the non-GHG emissions associated with this project. See: CN604322891 and RN100228899 | Regeneration Heater | 13.31 | Natural Gas | 36 | MMBTU/H | The Regeneration Heaters EPN H-8 at Ramsey IV Plant, EPN H-10 at Ramsey V Plant, and EPN H-12 at Ramsey VI will be fired with residue gas and will each be rated at 36 MMBtu/hr, or equivalent, with the total combined rating for the regeneration heaters limited to 108 MMBtu/hr. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 18450 | TPY CO2E | 12-MONTH ROLLING WITH MSS | BACT-PSD |  | U | 0 | U | 18450 | TPY CO2E | 12-MONTH ROLLING AVG WITH MSS | 0 |  |  | 0 | 0 | N |  | An initial stack test demo is required for CO2 emissions. An initial stack test demo for CH4 and N2O emission are not required. Compliance with the CO2 limits for the heaters is based on metered fuel consumption and using the average HHV calculated according to the requirements at 40 CFR 98.33(a)(2)(ii) for the residue gas, and/or fuel composition and mass balance. The equation for estimating CO2 emissions as specified in 40 CFR 98.33(a)(3)(iii). The emission limits associated with CH4 and N20 are calculated based on emission factors provided in 40 CFR Part 98 Table C-2 and the actual heat input. To calculate the CO2e emissions the permit requires calculation of emissions based on the procedures and GWO contained in 40 CFR Part 98, Subpart A, Table A-1.
TX-0746 | NUEVO MIDSTREAM, RAMSEY GAS PLANT | NUEVO MIDSTREAM LLC | REEVES | TX | 79770 | USA | CLINT CONE | 432-273-0010 | CC@NUEVOMIDSTREAM.COM | 6 | OT007 | EPA REGION VI | MS. ASHLEY MOHR | (214) 665-7289 | MOHR.ASHLEY@EPA.GOV | EPA Region 6 Permit Writer: Ms. Nevine Salem, Air Permitting Section (6PD-R), 1445 Ross Avenue, Dallas, Texas 75202 | PSD-TX-1392-GHG | 1321 | 211112 | 110054879985 | 10/10/2014 &nbsp;ACT | 11/18/2014 &nbsp;ACT | 2015-06-05 | 2016-07-06 | B | http://yosemite.epa.gov/r6/Apermit.nsf/AirP | This project authorizes Nuevo to build three additional facilities (Ramsey IV, V, and VI Plants) and associated Amine Plants (Amine I and II Plants). Nuevo Midstream core capabilities include gas gathering, treating and conditioning, compression, and processing. This expansion project will increase the processing capacity of the existing plant with three 200 MMSCF/D cryogenic plants and two 1,000-gpm amine plants, or equivalent, with combined rating being â‰¤ 2,000 gpm. A percentage of the acid gas from the amine still vents (EPNs: A-4 and A-5) will be captured and routed to a pipeline for Carbon Capture and Sequestration (CCS) purposes and the remaining acid gas from the amine still vents will be routed to the regenerative thermal oxidizer (EPNs: RTO-4 and RTO-5). | The Texas Commission on Environmental Quality (TCEQ) is the permitting authority for the non-GHG emissions associated with this project. See: CN604322891 and RN100228899 | Hot Oil Heater | 13.31 | Natural Gas | 60 | MMBTU/H | The Hot Oil Heaters will be fired with plant residue gas, which is a very low carbon density gas equivalent to pipeline quality natural gas. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 30750 | TPY CO2E | 12-MONTH ROLLING AVERAGE WITH MSS | BACT-PSD |  | U | 0 | U | 30750 | TPY CO2E | 12-MONTH ROLLING AVERAGE WITH MSS | 0 |  |  | 0 | 0 | N |  | An initial stack test demo is required for CO2 emissions. An initial stack test demo for CH4 and N2O emission are not required. Compliance with the CO2 limits for the heaters is based on metered fuel consumption and using the average HHV calculated according to the requirements at 40 CFR 98.33(a)(2)(ii) for the residue gas, and/or fuel composition and mass balance. The equation for estimating CO2 emissions as specified in 40 CFR 98.33(a)(3)(iii). The emission limits associated with CH4 and N20 are calculated based on emission factors provided in 40 CFR Part 98 Table C-2 and the actual heat input. To calculate the CO2e emissions the permit requires calculation of emissions based on the procedures and GWO contained in 40 CFR Part 98, Subpart A, Table A-1.
TX-0757 | INDECK WHARTON ENERGY CENTER | INDECK WHARTON, LLC | WHARTON | TX | 77432 | USA | JAMES SCHNEIDER | 847-520-3212 | JSCHNEIDER@INDECKENERGY.COM | 6 | OT007 | EPA REGION VI | MS. ASHLEY MOHR | (214) 665-7289 | MOHR.ASHLEY@EPA.GOV | EPA Region 6 Permit Writer: Jennifer Huser, EPA Region 6, Air Permitting Section (6PD-R), 1445 Ross Avenue, Dallas, TX 75202 | PSD-TX-1374-GHG | 4911 | 221112 | Not Assigned | 04/05/2014 &nbsp;ACT | 05/12/2014 &nbsp;ACT | 2015-07-20 | 2016-07-06 | A | http://yosemite.epa.gov/r6/Apermit.nsf/AirP | Indeck proposes to construct a peaking power plant, the Indeck Wharton Energy Center, generally located south of Danevang, Texas. To meet the anticipated demand for peak power, Indeck proposes to construct three identical natural gas-fired F-class simple cycle combustion turbines with associated support equipment. Indeck proposes that the three new combustion turbine generators (CTGs) will be either General Electric (GE) 7FA.05 or Siemens SGT6-5000F(5). The GE 7FA.05 has a base-load electric power output of approximately 213 megawatts (MW, net nominal), and the Siemens SGT6-5000F(5) has a base-load electric power output of approximately 225 MW (net nominal). This project also proposes to install one emergency diesel generator, one diesel fire water pump, one natural gas pipeline heater, and other auxiliary equipment. | The Texas Commission on Environmental Quality is the permitting authority for the non-GHG emissions associated with this project. | Pipeline Heater | 13.31 | Natural Gas | 3 | MMBtu/hr (HHV) | The proposed project will be equipped with one new natural gas-fired heater (GH). The heater will have a capacity of 3 MMBtu/hr (HHV) and will be operated no more than 3,500 hours per year. This heater will serve to preheat the natural gas feed into the combustion turbines to maximize combustion efficiency. The pipeline heater represents 0.06% of the facility-wide GHG emissions. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 624.78 | T/YR | 12-MONTH ROLLING TOTAL | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The following specific BACT practices are proposed for the heaters: â€¢ Use of low carbon fuel (natural gas). Natural gas will be the only fuel fired in the proposed heaters. It is the lowest carbon fuel available for use at the facility. â€¢ Good heater design and operation to maximize thermal efficiency and reduce heat loss to the extent practical for heaters of this size in intermittent service. â€¢ Use of manual air/fuel controls to maximize combustion efficiency. â€¢ Clean and inspect heater burner tips and perform tune-ups as needed and per vendor recommendations. â€¢ Limit the operational use of the heaters to no more than 3,500 hours per year per heater on a 12-month rolling basis (2,500 operational hours and 1,000 hours for startup and shutdown). Use of these practices corresponds with a BACT limit of 624.86 tpy CO2e for the heater. Compliance with this limit will be determined by calculating the emissions on a monthly basis and keeping a 12-month rolling total of hours of operation, including during startup and shutdown.
TX-0758 | ECTOR COUNTY ENERGY CENTER | INVENERGY THERMAL DEVELOPMENT LLC | ECTOR | TX | 79741 | USA | MATTHEW THORNTON | 312-582-1527 | MTHORNTON@INVENERGYLLC.COM | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | EPA Region 6 Permit Writer: Anna Milburn, EPA Region 6, Air Permitting Section (6PD-R), 1445 Ross Avenue, Dallas, TX 75202 | GHGPSDTX1366 | 4911 | 221112 | Not Assigned | 04/18/2014 &nbsp;ACT | 08/01/2014 &nbsp;ACT | 2015-07-20 | 2016-07-06 | A | http://yosemite.epa.gov/r6/Apermit.nsf/AirP | Invenergy proposes to construct a 330 MW peak power plant (known as the Ector County Energy Center Plant (ECEC)), located in Goldsmith, Ector County, Texas. With this proposed project, Invenergy plans to construct two natural gas-fired simple-cycle turbines, General Electric (GE) Model 7FA.03, and associated equipment, a fire water pump engine, a natural gas-fired dew-point heater, and two circuit breakers. For the purposes of this proposed permitting action, GHG emissions are permitted for the two turbines, the fire water pump engine, the natural gas-fired dew-point heater, and the circuit breakers, as well as for fugitive emissions, and maintenance, startup and shutdown emissions. | Texas Commission on Environmental Quality is the permitting authority for the non-GHG emissions associated with this project. | Dew-Point Heater | 13.31 | Natural Gas | 9 | MMBTU/H |  | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 2631 | T/YR | 12-MONTH ROLLING TOTAL | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Not to exceed 5000 hrs per year on a 12-month rolling basis. The permittee shall install and maintain the gas-fired dew point heater to ensure a minimum thermal efficiency of 75%. The gas-fired dew point heater will be continuously monitored for exhaust temperature, input fuel temperature, and stack oxygen. Thermal efficiency for the heaters will be calculated monthly from these parameters using equation G-1 from American Petroleum Institute (API) methods 560 (4th ed.) Annex G.
OH-0352 | OREGON CLEAN ENERGY CENTER | ARCADIS, US, INC. | LUCAS | OH | 43616 | USA | LYNN GRESOCK | 978-322-4520 | LYNN.GRESOCK@ARCADIS-US.CO | 5 | OH001 | OHIO ENVIRONMENTAL PROTECTION AGENCY | MR. DANA THOMPSON | 614-644-3701 | Dana.thompson@epa.ohio.gov |  | P0110840 | 4931 | 221112 | 110064669737 | 04/03/2013 &nbsp;ACT | 06/18/2013 &nbsp;ACT | 2013-07-15 | 2016-05-04 | A |  | 799 Megawatt Combined Cycle Combustion Turbine Power Plant | The permit is set up to install either 2 Mitsubishi M501 GAC units or 2 Siemens SGT-8000H units, not both; with dedicated heat recovery steam generators (HRSG), steam turbine generator, and electric generator. | Auxillary Boiler | 13.31 | Natural Gas | 99 | MMBtu/H | 99 MMBTU/H auxillary boiler with low-NOx burners and flue gas re-circulation, burning only natural gas. Boiler restricted to 2000 hours of operation per rolling 12-months. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 11671 | T/YR | PER ROLLING 12-MONTHS | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Restricted to 2000 hours of operation per rolling 12-months.
*PA-0311 | MOXIE FREEDOM GENERATION PLANT | MOXIE FREEDOM LLC | LUZERNE | PA | 18603 | USA |  |  |  | 3 | PA001 | PENNSYLVANIA DEPT OF ENVIRONMENTAL PROTECTION, BUREAU OF AIR QUALITY | MR. ROBERT COOK | (717)772-3974 | rwcook@pa.gov |  | 40-00129A | 4911 | 221112 | 110064098541 | 10/06/2014 &nbsp;ACT | 09/01/2015 &nbsp;ACT | 2017-07-28 | 2017-07-31 | A |  | The Project is for the construction and operation of two identical 1 x 1 power blocks, each consisting of a combustion gas turbine (CGT or CT) and a steam turbine (ST) configured in single shaft alignment, where each CT and ST train share one common electric generator. The turbines to be used for this project are Two General Electric (GE) 7HA.02 CTs, each in 1 x 1 single shaft combined- cycle power islands. Each CT and duct burner will exclusively fire pipeline-quality natural gas. The HRSGs will be equipped with selective catalytic reduction (SCR) to minimize nitrogen oxide (NOx) emissions and oxidation catalysts to minimize carbon monoxide (CO) and volatile organic compound (VOC) emissions from the CTs and DBâ€™s. The Project will also include several pieces of ancillary equipment. The list of equipment includes: One fuel gas dew-point heater - natural gas fired, common for all CTs Two CT inlet evaporative coolers - one for each CT (not emissions sources) Two air-cooled condensers (ACCs) - one for each HRSG (not emissions sources) One auxiliary boiler, natural gas-fired One diesel engine powered emergency generator One diesel engine powered fire water pump Diesel fuel, lubricating oil, and aqueous ammonia storage tanks The project once operational will produce 1050 MW Electric Generation |  | Auxilary Boiler | 13.31 | Natural Gas | 55.4 | MMBtu/hr | Shall construct qualifying small gas combustion units capable of reducing nitrogen oxides (NOx) and carbon monoxide (CO) emissions to or below: i. 30 ppmdv NOx at 3% O2 when firing gas; ii. 300 ppmdv CO at 3% O2. The combustion unit(s) shall be fired only on natural gas or liquefied petroleum gas Total fuel usage of the auxiliary boiler shall not exceed 214.9 MMscf on a 12-month rolling basis. Shall maintain and operate the source in accordance with good engineering practice. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 13561 | T/YR | 12-MONTH ROLLING BASIS | BACT-PSD | NSPS | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
AL-0307 | ALLOYS PLANT | CONSTELLIUM | COLBERT | AL | 35661 | USA | STEVE RICKMAN | 2563866759 | STEVE.RICKMAN@CONSTELLIUM.COM | 4 | AL001 | ALABAMA DEPT OF ENVIRONMENTAL MGMT | MR. DALE HURST | (334) 271-7882 | ADH@ADEM.STATE.AL.US | TYLER PHILLIPS | 701-0007-X121-X126 | 3353 | 331315 | 110000516683 | 08/11/2015 &nbsp;ACT | 10/09/2015 &nbsp;ACT | 2016-03-04 | 2017-11-30 | D | HTTP: | SECONDARY ALUMINUM PROCESSING |  | PACKAGE BOILER | 13.31 | NATURAL GAS | 17.5 | MMBTU/H |  | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 34189 | T/YR | 12 MONTH ROLLING TOTAL | BACT-PSD |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N |  | COMBINED LIMIT WITH TWO CALP LINE BOILERS
AL-0307 | ALLOYS PLANT | CONSTELLIUM | COLBERT | AL | 35661 | USA | STEVE RICKMAN | 2563866759 | STEVE.RICKMAN@CONSTELLIUM.COM | 4 | AL001 | ALABAMA DEPT OF ENVIRONMENTAL MGMT | MR. DALE HURST | (334) 271-7882 | ADH@ADEM.STATE.AL.US | TYLER PHILLIPS | 701-0007-X121-X126 | 3353 | 331315 | 110000516683 | 08/11/2015 &nbsp;ACT | 10/09/2015 &nbsp;ACT | 2016-03-04 | 2017-11-30 | D | HTTP: | SECONDARY ALUMINUM PROCESSING |  | 2 CALP LINE BOILERS | 13.31 | NATURAL GAS | 24.59 | MMBTU/H | 2 IDENTICAL BOILERS | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 34189 | T/YR | 12 MONTH ROLLING TOTAL | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | EMISSIONS LIMIT IS TOTAL FOR PACKAGE BOILER AND CALP LINE BIOLERS
TX-0634 | LONE STAR NGL, MONT BELVIEU GAS PLANT | ENERGY TRANSFER PARTNERS, LP | CHAMBERS | TX | 77580 | USA | CLINT COWAN | 2104037670 | CLINT.COWAN@ENERGYTRANSFER.COM | 6 | OT007 | EPA REGION VI | MS. ASHLEY MOHR | (214) 665-7289 | MOHR.ASHLEY@EPA.GOV |  | PSD-TX-93813-GHG | 1321 | 211112 | Not Available | 12/07/2011 &nbsp;ACT | 10/12/2012 &nbsp;ACT | 2013-09-04 | 2014-01-07 | D |  |  | The facility will modify the existing fractionation (FRAC I) train and construct a second fractionation (FRAC II) train at the Mont Belvieu Gas Plant in Chambers County, Texas. The FRAC I and FRAC II trains are identical. The first stage in each fractionation train (FRAC J and FRAC II) is an amine unit. Both fractionation trains (FRAC I and FRAC IT) will employ a hot oil system that will provide heat to the process. | Thermal Oxidizers | 13.31 | Natural Gas | 0 |  | Two Thermal Oxidizers (Combustion Unit) for control of waste gas streams. 012-THERMO and 002-THERMO. The thermal oxidizer is designed to combust low-VOC concentration waste gas from the amjne units and has a fuel rating of 10 MMBtu/hr when firing natural gas. | Carbon Dioxide Equivalent (CO2e) | Other - Equation C-2a in 40 CFR Part 98 Subpart C | (Greenhouse Gasses (GHG)) | CO2e | N |  | 36406 | T/YR | 365-DAY ROLLING AVERAGE | BACT-PSD |  | U | 0 | U | 42703 | T/YR | 365-DAY ROLLING AVERAGE | 0 |  |  | 0 | 0 | N |  | Limit is for each of the two thermal oxidizers.(OO2-THERMO and 012-THERMO)
IA-0107 | MARSHALLTOWN GENERATING STATION | INTERSTATE POWER AND LIGHT | MARSHALL | IA | 50158 | USA | ALAN ARNOLD | 319-786-4476 | ALANARNOLD@ALLIANTENERGY.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV |  | 13-A-499-P | 4911 | 221112 | Unknown | 10/03/2013 &nbsp;ACT | 04/14/2014 &nbsp;ACT | 2014-04-15 | 2016-05-04 | B | http://www.iowadnr.gov/InsideDNR/RegulatoryAir/ConstructionPermits/PermitSearch.aspx | Utility electric generating station | Two combined cycle turbines without duct burning. | dew point heater | 13.31 | natural gas | 13.32 | mmBtu/hr |  | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 6860 | TON/YR | 12-MONTH ROLLING TOTAL | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IA-0107 | MARSHALLTOWN GENERATING STATION | INTERSTATE POWER AND LIGHT | MARSHALL | IA | 50158 | USA | ALAN ARNOLD | 319-786-4476 | ALANARNOLD@ALLIANTENERGY.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV |  | 13-A-499-P | 4911 | 221112 | Unknown | 10/03/2013 &nbsp;ACT | 04/14/2014 &nbsp;ACT | 2014-04-15 | 2016-05-04 | B | http://www.iowadnr.gov/InsideDNR/RegulatoryAir/ConstructionPermits/PermitSearch.aspx | Utility electric generating station | Two combined cycle turbines without duct burning. | dew point heater | 13.31 | natural gas | 13.32 | mmBtu/hr |  | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 6860 | TON/YR | 12-MONTH ROLLING TOTAL | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
KS-0029 | THE EMPIRE DISTRICT ELECTRIC COMPANY | THE EMPIRE DISTRICT ELECTRIC COMPANY | CHEROKEE | KS | 66770 | USA | JEFF BURKETT | 417-625-4236 | JBURKETT@EMPIREDISCTRICT.COM | 7 | KS001 | KANSAS DEPT. OF HEALTH & ENVIRONMENT, BR. OF AIR & RADIATION, KS | GYANENDRA PRASAI, PE | 785-296-6427 | Gyanendra.X.Prasai@ks.gov | Gerald McIntyre, E-mail address: Gerald.McIntyre@ks.gov; Susana Pjesky, E-mail address: Susana.Pjesky@ks.gov | C-12987 | 4911 | 221112 | Not Found | 07/02/2015 &nbsp;ACT | 07/14/2015 &nbsp;ACT | 2017-04-06 | 2018-06-21 | U |  | The Empire District Electric Company â€“ Riverton Plant (EDEC) (Source ID: 0210002) is a fossil fuel electricity generation facility located in Cherokee County, Kansas. | This PSD permit with tracking number C-12987 is a modification of PSD permits C-12670 (Administrative Amendment, issued on 2/19/2015) and C-10913 (original PSD Permit for the proposed project, issued on 7/11/2013). | Auxiliary boiler | 13.31 | Natural gas | 18.6 | MMBTU/HR | One (1) 18.6 MMBtu/hr natural gas-fired auxiliary boiler with the capacity to produce 15,000 pounds of steam per hour (approximately 18.6 MMBtu/hr) | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 9521.5 | TON/YR | 12-MONTH ROLLING AVERAGE BASIS | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Compliance with the CO2e BACT limit shall be demonstrated with an oxygen (O2) concentration monitor in accordance with CO2 calculations provided in 40 CFR Part 75. Calculations shall consist of CO2 emissions only, which account for 99.9% of total CO2e emissions.
IA-0107 | MARSHALLTOWN GENERATING STATION | INTERSTATE POWER AND LIGHT | MARSHALL | IA | 50158 | USA | ALAN ARNOLD | 319-786-4476 | ALANARNOLD@ALLIANTENERGY.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV |  | 13-A-499-P | 4911 | 221112 | Unknown | 10/03/2013 &nbsp;ACT | 04/14/2014 &nbsp;ACT | 2014-04-15 | 2016-05-04 | B | http://www.iowadnr.gov/InsideDNR/RegulatoryAir/ConstructionPermits/PermitSearch.aspx | Utility electric generating station | Two combined cycle turbines without duct burning. | auxiliary boiler | 13.31 | natural gas | 60.1 | mmBtu/hr | fuel limit of 288.7 million cubic feet of natural gas per 12-month rolling period | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 17313 | TON/YR | 12-MONTH ROLLING TOTAL | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IA-0107 | MARSHALLTOWN GENERATING STATION | INTERSTATE POWER AND LIGHT | MARSHALL | IA | 50158 | USA | ALAN ARNOLD | 319-786-4476 | ALANARNOLD@ALLIANTENERGY.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV |  | 13-A-499-P | 4911 | 221112 | Unknown | 10/03/2013 &nbsp;ACT | 04/14/2014 &nbsp;ACT | 2014-04-15 | 2016-05-04 | B | http://www.iowadnr.gov/InsideDNR/RegulatoryAir/ConstructionPermits/PermitSearch.aspx | Utility electric generating station | Two combined cycle turbines without duct burning. | auxiliary boiler | 13.31 | natural gas | 60.1 | mmBtu/hr | fuel limit of 288.7 million cubic feet of natural gas per 12-month rolling period | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 17313 | TON/YR | 12-MONTH ROLLING TOTAL | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*PA-0309 | LACKAWANNA ENERGY CTR/JESSUP | LACKAWANNA ENERGY CENTER, LLC | LACKAWANNA | PA | 18434 | USA |  |  |  | 3 | PA001 | PENNSYLVANIA DEPT OF ENVIRONMENTAL PROTECTION, BUREAU OF AIR QUALITY | MR. ROBERT COOK | (717)772-3974 | rwcook@pa.gov |  | 35-00069A | 4911 | 221112 | 110069993385 | 07/11/2014 &nbsp;ACT | 12/23/2015 &nbsp;ACT | 2017-07-18 | 2017-07-20 | A |  | This plan approval is for the construction and temporary operation of three (3) identical General Electric Model 7HA.02 natural gas fired combustion turbines and heat recovery steam generator with duct burners (CT/HRSG). Each CT/HRSG combined-cycle process block includes one (1) combustion gas turbine and one (1) heat recovery steam generator with duct burners with all three (3) CT/HRSG sharing one (1) steam turbine. The entire power block is rated at 1,500 MW. Additional equipment includes: one (1) 2,000 kW diesel-fired emergency generator one (1) 315 HP diesel-fired emergency fire water pump one (1) 184.8 MM BTU/hr natural gas fired boiler one (1) 12 MMBTU/hr natural gas fuel gas heater two (2) Diesel fuel storage tanks four (4) lubricating oil tanks one (1) aqueous ammonia storage tank |  | Auxillary Boiler | 13.31 | Natural gas | 13.31 | MMBtu/hr | Fired only on natural gas supplied by a public utility. Limited to 4000 hrs per year on a 12 month rolling basis. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 44107 | Ton/yr | 12-MONTH ROLLING BASIS | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
AK-0083 | KENAI NITROGEN OPERATIONS | AGRIUM U.S. INC. | USA | AK | 99611 | USA | TED HARTMAN | 913 302 7469 | TED.HARTMAN@AGRIUM.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV |  | AQ0083CPT06 | 2873 | 325311 | 110030488620 | 11/25/2014 &nbsp;ACT | 01/06/2015 &nbsp;ACT | 2015-01-29 | 2016-02-19 | A | http://dec.alaska.gov/Applications/Air/airtoolsweb/Home/ViewAttachment/16672291/KQZafTqmYd8SVnZ3RUWQfQ2 | The Kenai Nitrogen Operations Facility is located at Mile 21 of the Kenai Spur Highway, near Kenai Alaska. It is classified as a nitrogenous fertilizer manufacturing facility under Standard Industrial Classification code 2873 and under North American Industrial Classification code 325311. The facility will produce ammonia and urea for bulk sale. There are two ammonia and two urea plants at Agriumâ€™s KNO facility. This permit authorizes the restart of one ammonia and one urea plant (plants 4 and 5). The ammonia plant converts natural gas with added steam and air to produce ammonia (NH3) and carbon dioxide (CO2). Feedstocks for the urea plant include CO2 and NH3. The utility plant generates the power and steam needed to operate the ammonia and urea plants. Final products are loaded at the Product Loading Wharf for shipment. |  | Five (5) Waste Heat Boilers | 13.31 | Natural Gas | 50 | MMBTU/H | Five (5) Natural Gas-Fired 50 MMBtu/hr Waste Heat Boilers. Installed in 1986. | Carbon Dioxide Equivalent (CO2e) | Unspecified | (Greenhouse Gasses (GHG)) | CO2e | N |  | 131405 | TONS/YEAR | 3-HR AVG | BACT-PSD |  | U | 0 | U | 131405 | TONS/YEAR | COMBINED | 0 |  |  | 0 | 0 | N