## All Pollutants_Small Gas Boiler
RBLCID | FACILITY_NAME | CORPORATE_OR_COMPANY_NAME | FACILITY_COUNTY | FACILITY_STATE | FACILITY_ZIP_CODE | FACILITY_COUNTRY | FACILTY_CONTACT_NAME | FACILITY_PHONE | FACILITY_CONTACT_EMAIL | EPA_REGION | AGENCY_CODE | AGENCY_NAME | AGENCY_CONTACT | AGENCY_PHONE | AGENCY_EMAIL | OTHER_AGENCY_CONTACT_INFO | PERMIT_NUM | SIC_CODE | NAICS_CODE | FACILITY_REGISTRY_SYSTEM_NUMBER | COMPLETE_APPLICATION_DATE | PERMIT_ISSUANCE_DATE | DATE_DETERMINATION_ENTERED_INTO_RBLC | DATE_DETERMINATION_LAST_UPDATED | PERMIT_TYPE | PERMIT_URL | FACILITY_DESCRIPTION | PERMIT_NOTES | PROCESS_NAME | PROCCESS_TYPE | PRIMARY_FUEL | THROUGHPUT | THROUGHPUT_UNIT | PROCESS_NOTES | POLLUTANT | TESTMETHOD | POLLUTANT_GROUP(S) | CAS_NUMBER | CONTROL_METHOD_CODE | CONTROL_METHOD_DESCRIPTION | EMISSION_LIMIT_1 | EMISSION_LIMIT_1_UNIT | EMISSION_LIMIT_1_AVG_TIME_CONDITION | CASE-BY-CASE_BASIS | OTHER_ APPLICABLE_REQUIREMENTS | OTHER_FACTORS | PERCENT_EFFICIENCY | COMPLIANCE_VERIFIED | EMISSION_LIMIT_2 | EMISSION_LIMIT_2_UNIT | EMISSION_LIMIT_2_AVGERAGE_TIME_CONDITION | STANDARAD_EMISSION_LIMIT | STANDARD_EMISSION_LIMIT_UNIT | STANDARD_LIMIT_AVERAGE_TIME_CONDITION | COST_EFFECTIVENESS | INCREMENTAL_COST_EFFECTIVENESS | Cost_Verified | DOLLAR_YEAR_USED_IN_COST_ESTIMATES | POLLUTANT_COMPLIANCE_NOTES
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Reactor Charge Heater - 53B001 | 13.31 | Natural Gas | 10.1 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GCP Combustion controls (proper burner design and operation using natural gas) | 0.0054 | LB/MMBTU | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0.24 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054 LB/MMBTU (12-Hour Rolling Average)
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Regeneraton Heater - 51B001 | 13.31 | Natural Gas | 61 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GCP Combustion controls (proper burner design and operation using natural gas) | 0.0054 | LB/MMBTU | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 1.44 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054 LB/MMBTU (12-Month Rolling Average)
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Recycle Gas Heater - 51B002A | 13.31 | Natural Gas | 33 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GCP Combustion controls (proper burner design and operation using natural gas) | 0.0054 | LB/MMBTU | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0.77 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054 LB/MMBTU (12-Month Rolling Average)
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Recycle Gas Heater - 51B002B | 13.31 | Natural Gas | 33 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GCP Combustion controls (proper burner design and operation using natural gas) | 0.0054 | LB/MMBTU | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0.77 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054 LB/MMBTU (12-Month Rolling Average)
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Recycle Gas Heater - 51B002C | 13.31 | Natural Gas | 33 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GCP Combustion controls (proper burner design and operation using natural gas) | 0.0054 | LB/MMBTU | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0.77 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054 LB/MMBTU (12-Month Rolling Average)
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Recycle Gas Heater - 51B002D | 13.31 | Natural Gas | 33 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GCP Combustion controls (proper burner design and operation using natural gas) | 0.0054 | LB/MMBTU | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0.77 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054 LB/MMBTU (12-Month Rolling Average)
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Recycle Gas Heater - 51B002E | 13.31 | Natural Gas | 33 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GCP Combustion controls (proper burner design and operation using natural gas) | 0.0054 | LB/MMBTU | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0.77 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054 LB/MMBTU (12-Month Rolling Average)
AR-0140 | BIG RIVER STEEL LLC | BIG RIVER STEEL LLC | MISSISSIPPI | AR | 72370 | USA | DAVID STICKLER | 3309080813 |  | 6 | AR001 | ARKANSAS DEPT OF ENVIRONMENTAL QUALITY | MR. THOMAS RHEAUME | (501) 682-0762 | rheaume@adeq.state.ar.us |  | 2305-AOP-R0 | 3312 | 331111 | 110067436625 | 03/14/2013 &nbsp;ACT | 09/18/2013 &nbsp;ACT | 2016-11-09 | 2016-12-13 | A | HTTP: | THE FACILITY WILL CONSIST OF TWO ELECTRIC ARC FURNACES TO MELT SCRAP IRON AND STEEL, LADLE METALLURGY FURNACES (LMF) TO ADJUST THE CHEMISTRY, A RH DEGASSER AND BOILER FOR FURTHER REFINEMENT, AND CASTERS. |  | BOILERS SN-26 AND 27, GALVANIZING LINE | 13.31 | NATURAL GAS | 24.5 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GCP COMBUSTION OF NATURAL GAS AND GOOD COMBUSTION PRACTICE | 0.0054 | LB/MMBTU |  | BACT-PSD |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
AR-0140 | BIG RIVER STEEL LLC | BIG RIVER STEEL LLC | MISSISSIPPI | AR | 72370 | USA | DAVID STICKLER | 3309080813 |  | 6 | AR001 | ARKANSAS DEPT OF ENVIRONMENTAL QUALITY | MR. THOMAS RHEAUME | (501) 682-0762 | rheaume@adeq.state.ar.us |  | 2305-AOP-R0 | 3312 | 331111 | 110067436625 | 03/14/2013 &nbsp;ACT | 09/18/2013 &nbsp;ACT | 2016-11-09 | 2016-12-13 | A | HTTP: | THE FACILITY WILL CONSIST OF TWO ELECTRIC ARC FURNACES TO MELT SCRAP IRON AND STEEL, LADLE METALLURGY FURNACES (LMF) TO ADJUST THE CHEMISTRY, A RH DEGASSER AND BOILER FOR FURTHER REFINEMENT, AND CASTERS. |  | FURNACES SN-40 AND SN-42, DECARBURIZING LINE | 13.31 | NATURAL GAS | 22 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GCP COMBUSTION OF NATURAL GAS AND GOOD COMBUSTION PRACTICE | 0.0054 | LB/MMBTU |  | BACT-PSD |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
MI-0410 | THETFORD GENERATING STATION | CONSUMERS ENERGY COMPANY | GENESEE | MI | 48548-9722 | USA | JAMES WALKER | 517-788-0428 | JAMES.WALKER@CMSENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | For technical questions regarding this permit action, please contact the permit engineer, David Riddle, at 517-284-6798 or at RIDDLED@michigan.gov. Thank you. | 191-12 | 4911 | 221112 | 2604900033 | 05/08/2013 &nbsp;ACT | 07/25/2013 &nbsp;ACT | 2014-08-01 | 2016-05-04 | B |  | Four (4) natural gas fired combined cycle combustion turbine generators (CTG) and heat recovery steam generators (HRSG) with duct burner firing capability; ancillary facility equipment. | Existing substation property to be used for new construction of this generating station--4 CTG/HRSG. Additional equipment included in the permit: 315 hp diesel RICE fire pump engine; two natural gas auxiliary boilers < 100 MMBtu/hr; two natural gas fired fuel heaters; two peaker units (natural gas fired simple cycle combustion turbine driving an electrical generator--CTG). | FGAUXBOILERS: Two auxiliary boilers &lt; 100 MMBTU/H heat input each | 13.31 | natural gas | 100 | MMBTU/H heat input each | There are two auxiliary boilers each rated at less than 100 MMBTU/H heat input. Fuel usage limited to not more than 416.3 MMscf of natural gas in each boiler per 12-month rolling timeperiod as determined at the end of each month. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GCP Efficient combustion; natural gas fuel. | 0.008 | LB/MMBTU | HEAT INPUT; TEST PROTOCOL WILL SPECIFY | BACT-PSD | N/A | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The limit is 0.008 LB/MMBTU heat input for each boiler. Test protocol will specify the averaging time. Fuel usage is limited to not more than 416.3 MMscf of natural gas in each boiler per 12 month rolling time period as determined at the end of each month.
AL-0307 | ALLOYS PLANT | CONSTELLIUM | COLBERT | AL | 35661 | USA | STEVE RICKMAN | 2563866759 | STEVE.RICKMAN@CONSTELLIUM.COM | 4 | AL001 | ALABAMA DEPT OF ENVIRONMENTAL MGMT | MR. DALE HURST | (334) 271-7882 | ADH@ADEM.STATE.AL.US | TYLER PHILLIPS | 701-0007-X121-X126 | 3353 | 331315 | 110000516683 | 08/11/2015 &nbsp;ACT | 10/09/2015 &nbsp;ACT | 2016-03-04 | 2017-11-30 | D | HTTP: | SECONDARY ALUMINUM PROCESSING |  | PACKAGE BOILER | 13.31 | NATURAL GAS | 17.5 | MMBTU/H |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | GCP | 0.006 | LB/MMBTU |  | BACT-PSD | MACT , SIP |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
AL-0307 | ALLOYS PLANT | CONSTELLIUM | COLBERT | AL | 35661 | USA | STEVE RICKMAN | 2563866759 | STEVE.RICKMAN@CONSTELLIUM.COM | 4 | AL001 | ALABAMA DEPT OF ENVIRONMENTAL MGMT | MR. DALE HURST | (334) 271-7882 | ADH@ADEM.STATE.AL.US | TYLER PHILLIPS | 701-0007-X121-X126 | 3353 | 331315 | 110000516683 | 08/11/2015 &nbsp;ACT | 10/09/2015 &nbsp;ACT | 2016-03-04 | 2017-11-30 | D | HTTP: | SECONDARY ALUMINUM PROCESSING |  | 2 CALP LINE BOILERS | 13.31 | NATURAL GAS | 24.59 | MMBTU/H | 2 IDENTICAL BOILERS | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 18 | (Volatile Organic Compounds (VOC)) | VOC | P | GCP | 0.006 | LB/MMBTU |  | BACT-PSD | MACT , SIP |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
OK-0156 | NORTHSTAR AGRI IND ENID | NORTHSTAR AGRI INDUSTRIES | GARFIELD | OK | 73701 | USA | JIM DUDLEY | 701-478-5848 | JDUDLEY@NORTHSTARAGRI.COM | 6 | OK001 | OKLAHOMA DEPARTMENT OF ENVIRONMENTAL QUALITY | MR. LEE WARDEN | (405)702-4182 | LEE.WARDEN@DEQ.OK.GOV |  | 2013-0109-C PSD | 2076 | 311223 | Not Found | 01/31/2013 &nbsp;ACT | 07/31/2013 &nbsp;ACT | 2014-06-19 | 2018-05-11 | A |  | The new Northstar Agri Industries â€“ Enid facility will be designed to convert 2,500 TPD of seeds into crude oil and RBD oil. The facility consists of several processing steps to prepare seed and remove up to 100 million gallons per year of crude oil and RBD oil. | FRS Entered as &lsquo;&lsquo;047-00098&lsquo;&lsquo;. Too short for a FRS. The new Northstar Agri Industries â€“ Enid facility will be designed to convert 2,500 TPD of seeds into crude oil and RBD oil. The facility consists of several processing steps to prepare seed and remove up to 100 million gallons per year of crude oil and RBD oil. | Gas-fired Boiler | 13.31 | Natural Gas | 95 | MMBTUH |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion | 0.006 | LB/MMBTU | 3-HOUR | BACT-PSD | SIP | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Mfg Data (3 boilers)
MI-0412 | HOLLAND BOARD OF PUBLIC WORKS - EAST 5TH STREET | HOLLAND BOARD OF PUBLIC WORKS | OTTAWA | MI | 49423 | USA | DAVID KOSTER | 616-355-1562 | DKOSTER@HOLLANDBPW.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Catherine Asselin, at 517-284-6786 or at AsselinC@michigan.gov, for technical questions regarding this permit. Thank you. | 107-13 | 4931 | 221112 | 26139P0465 | 10/17/2013 &nbsp;ACT | 12/04/2013 &nbsp;ACT | 2014-08-15 | 2016-05-05 | A |  | Natural gas combined heat and power plant. |  | Auxiliary Boiler A (EUAUXBOILERA) | 13.31 | natural gas | 55 | MMBTU/H | One natural gas-fired auxiliary boiler rated at 55 MMBTU/hr fuel heat input (EUAUXBOILERA within flexible group FGAUXBOILERS). | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion control | 0.008 | LB/MMBTU | TEST PROTOCOL | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | An oxidation catalyst is greater than $12,000/ton for CO and VOC together.
FL-0335 | SUWANNEE MILL | KLAUSER HOLDING USA, INC. | SUWANNEE COUNTY | FL | 32060 | USA | MICHEL FUNK | 843-626-9600 | MICHAEL.FUNK@KLAUSNER-GROUP.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us | David Read is the permitting engineer for this project, 850-717-9075. | 1210468-001-AC(PSD-FL-417) | 2421 | 321113 | Not Available | 01/09/2012 &nbsp;ACT | 09/05/2012 &nbsp;ACT | 2012-10-29 | 2013-05-30 | U |  | The Suwannee Mill produces dimensional kiln dried lumber and timber byproducts consisting of bark, wood chips, sawdust, and dry shavings. When the facility is fully constructed, the mill has a maximum annual production capacity of 700 MMBF/yr. The mill processes tree-length green saw logs into dimensional lumber. Raw materials, finished lumber and saleable by-products are received and dispatched from the facility by truck or rail. | The Suwannee Mill produces dimensional kiln dried lumber and timber byproducts consisting of bark, wood chips, sawdust, and dry shavings. When the facility is fully constructed, the mill has a maximum annual production capacity of 700 MMBF/yr. The mill processes tree-length green saw logs into dimensional lumber. Raw materials, finished lumber and saleable by-products are received and dispatched from the facility by truck or rail. The mill will operate kilns that heat the green rough sawn lumber to reduce the moisture content to meet required finished product market specifications. The kilns are heated with hot water that is generated in four natural gas-fired boilers (46 million British thermal units per hour (MMBtu/hr)) and two biomass-fired boilers (120 MMBtu/hr). The biomass boilers are fired by untreated bark, wood chips, and sawdust that are byproducts of the mills operation. Clean, untreated woody biomass obtained from off-site sources may also be fired in the biomass boilers | Four(4) Natural Gas Boilers - 46 MMBtu/hour | 13.31 | Natural Gas | 46 | MMBTU/H | The four natural gas boilers are used to generate the hot water that is used in the lumber kiln drying process. Two boilers each share a common stack for a total of two stacks. In the initial phase of construction, two natural gas fired boilers will supply hot water to one block of kilns. As other kiln blocks are completed, the two other natural gas boilers will be constructed and brought online. Finally, the two biomass boilers will be built and brought on line. | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion Practice | 0.003 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IN-0158 | ST. JOSEPH ENEGRY CENTER, LLC | ST. JOSEPH ENERGY CENTER, LLC | ST. JOSEPH | IN | 46552 | USA | MR. WILLARD LADD | 9144682404 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: JOSIAH BALOGUN 317-234-5257 JBALOGUN@IDEM.IN.GOV SECTION CHIEF: MATT STUCKEY 317-233-0203 MSTUCKEY@IDEM.IN.GOV | 141-31003-00579 | 4911 | 221112 | 110054881963 | 10/03/2011 &nbsp;ACT | 12/03/2012 &nbsp;ACT | 2013-08-15 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/31003F.PDF | STATIONARY ELECTRIC UTILITY GENERATING STATION |  | TWO (2) NATURAL GAS AUXILIARY BOILERS | 13.31 | NATURAL GAS | 80 | MMBTU/H | BOTH BOILERS, LABELED AS B001 AND B002, ARE EQUIPPED WITH LOW NOX BURNERS WITH FLUE GAS REGULATION. THIS IS CONSIDERED A STEAM GENERATING UNIT. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GOOD COMBUSTION PRACTICES | 0.005 | LB/MMBTU | 3 HOURS | BACT-PSD |  |  | 0 |  | 0.4 | LB/H | 3 HOURS | 0 |  |  | 0 | 0 | N |  | LIMIT ONE AND TWO ARE FOR EACH BOILER
MI-0412 | HOLLAND BOARD OF PUBLIC WORKS - EAST 5TH STREET | HOLLAND BOARD OF PUBLIC WORKS | OTTAWA | MI | 49423 | USA | DAVID KOSTER | 616-355-1562 | DKOSTER@HOLLANDBPW.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Catherine Asselin, at 517-284-6786 or at AsselinC@michigan.gov, for technical questions regarding this permit. Thank you. | 107-13 | 4931 | 221112 | 26139P0465 | 10/17/2013 &nbsp;ACT | 12/04/2013 &nbsp;ACT | 2014-08-15 | 2016-05-05 | A |  | Natural gas combined heat and power plant. |  | Auxiliary Boiler B (EUAUXBOILERB) | 13.31 | natural gas | 95 | MMBTU/H | One natural gas-fired auxiliary boiler rated at 95 MMBtu/hr fuel heat input (EUAUXBOILERB within flexible group FGAUXBOILERS). | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices | 0.008 | LB/MMBTU | TEST PROTOCOL | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | An oxidation catalyst is greater than $13,000/ton for CO and VOC together.
*MI-0435 | BELLE RIVER COMBINED CYCLE POWER PLANT | DTE ELECTRIC COMPANY | ST. CLAIR | MI | 48054 | USA | MATTHEW PAUL | 313-235-3374 | MATTHEW.PAUL@DTEENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | For technical questions regarding the permit, please contact the permit engineer, Mr. John Vial, at 517-284-6805 or at vialj@michigan.gov. Thank you. | 19-18 | 4911 | 221112 | Not Found | 06/22/2018 &nbsp;ACT | 07/16/2018 &nbsp;ACT | 2018-08-23 | 2018-08-24 | B |  | Natural gas combined-cycle power plant | The new combined cycle plant is proposed to be located near DTE's existing Belle River and St. Clair coal fired power plants. The three plants will be considered a single stationary source. It will have a capacity of 1,150 megawatts. | EUAUXBOILER: Auxiliary Boiler | 13.31 | Natural gas | 99.9 | MMBTU/H | A natural gas-fired auxiliary boiler, rated at 99.9 MMBTU/H to facilitate startup of the CTG/HRSG trains and to provide steam to the steam turbine generator seals. The auxiliary boiler is equipped with low NOx burners (LNB) and flue gas recirculation (FGR). | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices | 0.008 | LB/MMBTU | HOURLY | BACT-PSD | SIP | N | 0 | N | 0.8 | LB/H | HOURLY | 0 |  |  | 0 | 0 | N
MO-0082 | ARCHER DANIELS MIDLAND-MEXICO | ARCHER DANIELS MIDLAND | AUDRAIN | MO | 65265 | USA | KEITH STUMPE | 2174512476 |  | 7 | MO001 | MISSOURI DNR, AIR POLL CONTROL PROGRAM | MS. SUSAM HECKENKAMP | (573) 526-3835 | susan.heckenkamp@dnr.mo.gov |  | 102010-003 | 2075 | 311222 | 110017981656 | 07/03/2007 &nbsp;ACT | 10/05/2010 &nbsp;ACT | 2012-11-15 | 2015-04-01 | A | HTTP://WWW.DNR.MO.GOV/ENV/APCP/PERMITS/ADM-MEXICO2010CP.PDF | A SOYBEAN FACILITY WHICH CONSISTS OF AN OIL EXTRACTION PLANT AND A BIODIESEL PLANT. THE EXPANSION CONSISTED OF LENGTHENING THE EXTRACTOR TO INCREASE THE FLAKE RESIDENCE TIME, WHICH WILL ALSO ALLOW ADM TO INCREASE THE PROCESSING CAPACITY OF THE EXTRACTOR. IN ORDER TO INCREASE THE EXTRACTOR'S SPEED, SEVERAL OTHER PIECES OF EQUIPMENT WERE MODIFIED. ON THE PREPARATION SIDE, THE BEAN CLEANING ASPIRATORS WERE REPLACED BY A NEW UNIT; ADDITIONAL BEAN HEATERS COILS WERE INSTALLED; A THIRD DEHULLING LINE, WHICH CONSISTS OF A HULLOOSENATOR, ASPIRATOR, CRACKING ROLL AND CONDITIONER WEREINSTALLED; AND THREE NEW FLAKING ROLLS WERE INSTALLED. ON THE EXTRACTION SIDE, THE SOLVENT RECOVERY SYSTEM WERE MODIFIED BY REPLACING THE FIRST-EFFECT EVAPORATOR WITH A LARGER EVAPORATOR AND ADDING A VAPOR CONTACTOR. IN ADDITION TO MODIFYING THE VAPOR RECOVERY SYSTEM, THE DRYER/COOLER WERE MODIFIED BY ADDING AN ADDITIONAL DRYER DECK. THE CAPACITY OF THE EXPANDED PLANT IS 2100 TONS OF SOYBEANS PER DAY. ADM ALSO INSTALLED A NEW 85.6 MILLION BRITISH THERMAL UNITS PER HOUR (MMBTU/HR) NEBRASKA BOILER WATER-TUBE BOILER. THE BOILER WILL COMBUST PRIMARILY NATURAL GAS, BUT IS CAPABLE OF COMBUSTING FUEL OIL, BIODIESEL AND VEGETABLE OIL | THE EXPANSION CONSISTED OF LENGTHENING THE EXTRACTOR TO INCREASE THE FLAKE RESIDENCE TIME, WHICH WILL ALSO ALLOW ADM TO INCREASE THE PROCESSING CAPACITY OF THE EXTRACTOR. IN ORDER TO INCREASE THE EXTRACTOR'S SPEED, SEVERAL OTHER PIECES OF EQUIPMENT WERE MODIFIED. ON THE PREPARATION SIDE, THE BEAN CLEANING ASPIRATORS WERE REPLACED BY A NEW UNIT; ADDITIONAL BEAN HEATERS COILS WERE INSTALLED; A THIRD DEHULLING LINE, WHICH CONSISTS OF A HULLOOSENATOR, ASPIRATOR, CRACKING ROLL AND CONDITIONER WEREINSTALLED; AND THREE NEW FLAKING ROLLS WERE INSTALLED. ON THE EXTRACTION SIDE, THE SOLVENT RECOVERY SYSTEM WERE MODIFIED BY REPLACING THE FIRST-EFFECT EVAPORATOR WITH A LARGER EVAPORATOR AND ADDING A VAPOR CONTACTOR. IN ADDITION TO MODIFYING THE VAPOR RECOVERY SYSTEM, THE DRYER/COOLER WERE MODIFIED BY ADDING AN ADDITIONAL DRYER DECK. THE CAPACITY OF THE EXPANDED PLANT IS 2100 TONS OF SOYBEANS PER DAY. ADM ALSO INSTALLED A NEW 85.6 MILLION BRITISH THERMAL UNITS PER HOUR (MMBTU/HR) NEBRASKA BOILER WATER-TUBE BOILER. THE BOILER WILL COMBUST PRIMARILY NATURAL GAS, BUT IS CAPABLE OF COMBUSTING FUEL OIL, BIODIESEL AND VEGETABLE OIL | DUAL-FIRED 85.6 MMBTU/HR WATER-TUBE BOILER | 13.31 | NATURAL GAS | 85.6 | MMBTU/H | BOILER PROVIDES ADDITIONAL STEAM FOR TEH SOYBEAN SOLVENT EXTRACTION. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GOOD COMBUSTION PRACTICES | 0.0055 | LB/MMBTU | TEST METHOD AVG | BACT-PSD |  | U | 0 | U | 0.001 | LB/MMBTU | TEST METHOD AVG | 0 |  |  | 0 | 0 | N |  | 0.0055 LB/MMBTU IS LIMIT WHEN BURNING NATURAL GAS. 0.001 LB/MMBTU LIMIT IS WHEN BURNING OTHER FUELS.
WY-0067 | ECHO SPRINGS GAS PLANT | WILLIAMS FIELD SERVICES COMPANY | CARBON | WY | 82336 | USA | CORTNIE MORRELL | 3078722880 | CORTNIE.MORRELL@WILLIAMS.COM | 8 | WY001 | WYOMING AIR QUAL DIVISION, AIR QUALITY | MR. ANDREW KEYFAUVER | (307)777-7340 | andrew.keyfauver@wyo.gov | MS. JAMIE SHARP WY DEQ AIR QUALITY DIVISION 122 WEST 25TH STREET CHEYENNE, WY 82002 307-777-7817 | MD-7837 | 1321 | 211112 | 110010144628 | 05/29/2008 &nbsp;ACT | 04/01/2009 &nbsp;ACT | 2009-04-02 | 2009-04-16 | A |  |  |  | HOT OIL HEATER S38 | 13.31 | NATURAL GAS | 84 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N | GOOD COMBUSTION PRACTICES | 0.02 | LB/MMBTU |  | BACT-PSD | NSPS , NESHAP | N | 0 |  | 7 | T/YR |  | 0 |  |  | 0 | 0 | N |  | BASELINE
WY-0075 | CHEYENNE PRAIRIE GENERATING STATION | BLACK HILLS POWER, INC | LARAMIE | WY | 82009 | USA | TIM ROGERS | (605) 721-2286 | TIM.ROGERS@BLACKHILLSCORP.COM | 8 | WY001 | WYOMING AIR QUAL DIVISION, AIR QUALITY | MR. ANDREW KEYFAUVER | (307)777-7340 | andrew.keyfauver@wyo.gov |  | MD-16173 | 491 | 221122 | Not Found | 05/01/2014 &nbsp;ACT | 07/16/2014 &nbsp;ACT | 2014-06-16 | 2018-05-11 | B |  | Nominal 220 megawatt (MW) gross electrical facility. | Installation of a 25.06 MMBtu/hr Auxiliary Boiler (Cleaver Brooks CBEX Elite 600). Subject to PSD based on project aggregation. | Auxiliary Boiler | 13.31 | natual gas | 25.06 | MMBtu/h |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 0.0017 | LB/MMBTU | 3 HOUR AVERAGE | BACT-PSD | NSPS | N | 0 | U | 0.1 | LB/H | 3 HOUR AVERAGE | 0 |  |  | 0 | 0 | N
AL-0312 | BELK CHIP-N-SAW FACILITY | GEORGIA-PACIFIC WOOD PRODUCTS LLC | FAYETTE | AL | 35545 | USA | RONALD MCKEE | 2059323243 | RONALD.MCKEE@GAPAC.COM | 4 | AL001 | ALABAMA DEPT OF ENVIRONMENTAL MGMT | MR. DALE HURST | (334) 271-7882 | ADH@ADEM.STATE.AL.US |  | X006, X008, X009 | 2421 | 321113 | Not Found | 12/17/2015 &nbsp;ACT | 05/26/2016 &nbsp;ACT | 2017-10-25 | 2017-11-30 | B | HTTP:APP.ADEM.ALABAMA.GOV/EFILE/ | DIMENSIONAL PINE LUMBER SAWMILLX006 - 115,000 MBF/YR CONTINUOUS DIRECT-FIRED LUMBER DRY KILN D (ES-006) WITH 35 MMBTU/HR WOOD-FIRED AND 7 MMBTU/HR NATURAL GAS-FIRED BURNERS X008 - 60 MMBTU/HR NATURAL GAS-FIRED BOILER (ES-008) X009 - 115,000 MBF/YR CONTINUOUS DIRECT-FIRED LUMBER DRY KILN E (ES-009) WITH 35 MMBTU/HR WOOD-FIRED AND 7 MMBTU/HR NATURAL GAS-FIRED BURNERS | X006 - 115,000 MBF/YR CONTINUOUS DIRECT-FIRED LUMBER DRY KILN D (ES-006) WITH 35 MMBTU/HR WOOD-FIRED AND 7 MMBTU/HR NATURAL GAS-FIRED BURNERS X008 - 60 MMBTU/HR NATURAL GAS-FIRED BOILER (ES-008) X009 - 115,000 MBF/YR CONTINUOUS DIRECT-FIRED LUMBER DRY KILN E (ES-009) WITH 35 MMBTU/HR WOOD-FIRED AND 7 MMBTU/HR NATURAL GAS-FIRED BURNERS | 60 MMBTU/HR NATURAL GAS-FIRED BOILER (ES-008) | 13.31 | NATURAL GAS | 60 | MMBTU/H |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | N | GOOD COMBUSTION PRACTICES | 0.0054 | LB/MMBTU INPUT |  | BACT-PSD | NSPS , MACT , SIP , OPERATING PERMIT |  | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
AL-0280 | LENZING FIBERS, INC. | LENZING FIBERS, INC. | MOBILE | AL | 36505 | USA | MR. KEVIN, PLANT MANAGER ALLEN | 251-679-2814 | K.ALLEN@LENZING.COM | 4 | AL001 | ALABAMA DEPT OF ENVIRONMENTAL MGMT | MR. DALE HURST | (334) 271-7882 | ADH@ADEM.STATE.AL.US |  | 503-0047-X011 | 2823 | 325221 | 110043792278 | 09/15/2011 &nbsp;ACT | 12/06/2011 &nbsp;ACT | 2015-03-17 | 2016-05-09 | D |  | Production of lyocell cellulose fiber by solvent spinning process. | NAICS Code: 325220 | Natural Gas Fired Broiler #3 | 13.31 | Natural Gas | 100 | MMBTU/Hr |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25 | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices | 0.0054 | LB/MMBTU | LB/MM SCF OF NATURAL GAS USED | BACT-PSD | NSPS , OPERATING PERMIT | U | 0 | U | 0.0054 | LB/MMBTU |  | 0 |  |  | 0 | 0 | N
OK-0164 | MIDWEST CITY AIR DEPOT | TINKER AIR FORCE BASE LOGISTICS CENTER | OKLAHOMA | OK | 73145 | USA | COL. CHRISTOPHER AZZANO | 405-734-2102 | 72ABW.WORKFLOW@TINKER.AF.MIL | 6 | OK001 | OKLAHOMA DEPARTMENT OF ENVIRONMENTAL QUALITY | MR. LEE WARDEN | (405)702-4182 | LEE.WARDEN@DEQ.OK.GOV |  | 2009-394-C(M-2)PSD | 9711 | 928110 | 109-00090 | 04/09/2014 &nbsp;ACT | 01/08/2015 &nbsp;ACT | 2015-08-07 | 2016-07-06 | B |  | In February 2011, the U.S. Air Force (USAF) selected the Boeing KC-767 to replace its aging KC-135 tankers and assigned the new aircraft the designation KC-46A. Tinker AFB was selected to perform the programmed depot-level maintenance of the KC-46A aircraft. | Applicant requests authorization to construct facilities to accommodate new workload associated with the KC-46 aircraft. | Heaters/Boilers | 13.31 | Natural Gas | 0 | MMBTUH | Eight 17.3-MMBTUH hot water boilers, four 14.5-MMBTUH and four 13.5-MMBTUH steam boilers will be subject to 40 CFR 60, NSPS, Subpart Dc, and 40 CFR 63 Subpart DDDDD. Note: Avg. Time/Condition for both VOC and GHG is a total for all units. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion Practices and Pipeline Quality Nat. Gas | 0.005 | lb/MMBtu | TOTAL FOR ALL UNITS. | BACT-PSD | NSPS , MACT | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
OH-0352 | OREGON CLEAN ENERGY CENTER | ARCADIS, US, INC. | LUCAS | OH | 43616 | USA | LYNN GRESOCK | 978-322-4520 | LYNN.GRESOCK@ARCADIS-US.CO | 5 | OH001 | OHIO ENVIRONMENTAL PROTECTION AGENCY | MR. DANA THOMPSON | 614-644-3701 | Dana.thompson@epa.ohio.gov |  | P0110840 | 4931 | 221112 | 110064669737 | 04/03/2013 &nbsp;ACT | 06/18/2013 &nbsp;ACT | 2013-07-15 | 2016-05-04 | A |  | 799 Megawatt Combined Cycle Combustion Turbine Power Plant | The permit is set up to install either 2 Mitsubishi M501 GAC units or 2 Siemens SGT-8000H units, not both; with dedicated heat recovery steam generators (HRSG), steam turbine generator, and electric generator. | Auxillary Boiler | 13.31 | Natural Gas | 99 | MMBtu/H | 99 MMBTU/H auxillary boiler with low-NOx burners and flue gas re-circulation, burning only natural gas. Boiler restricted to 2000 hours of operation per rolling 12-months. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices and using combustion optimization technologies | 0.006 | LB/MMBTU |  | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0.59 | T/YR | PER ROLLING 12-MONTHS | 0.006 | LB/MMBTU |  | 0 | 0 | N |  | BACT: 0.006 LB/MMBTU. Restricted to 2000 hours of operation per rolling 12-months.
AL-0282 | LENZING FIBERS, INC. | LENZING FIBERS, INC. | MOBILE | AL | 36505 | USA | MR. KEVIN, PLANT MANAGER ALLEN | 251-679-2814 | K.ALLEN@LENZING.COM | 4 | AL001 | ALABAMA DEPT OF ENVIRONMENTAL MGMT | MR. DALE HURST | (334) 271-7882 | ADH@ADEM.STATE.AL.US |  | 503-0047-X014 | 2823 | 325221 | 110043792278 | 11/19/2013 &nbsp;ACT | 01/22/2014 &nbsp;ACT | 2015-03-17 | 2016-05-09 | B |  | Production of lyocell fiber by solvent spinning process. | NAICS Code: 325220 | Natural Gas Fired Boilers (3) | 13.31 | Natural Gas | 100 | mm btu/hr |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 18 | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion Practices. | 0.0054 | LB/MMBTU |  | BACT-PSD | NSPS , OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
MI-0406 | RENAISSANCE POWER LLC | LS POWER DEVELOPMENT LLC | MONTCALM | MI | 48811 | USA | BRADLEY COOLEY | 636-534-3268 | BCOOLEY@LSPOWER.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Melissa Byrnes, at 517-284-6790 or at BYRNESM@michigan.gov for technical questions regarding this permit. Thank you. | 51-13 | 4911 | 221112 | 2611705287 | 07/13/2013 &nbsp;ACT | 11/01/2013 &nbsp;ACT | 2014-03-19 | 2016-07-07 | C |  | For technical questions regarding this permit, please contact the permit engineer, Melissa Byrnes, at 517-284-6790. Thank you. | Other facility-wide pollutants not listed below (tpy): PM10=211.19+ PM2.5=205.24+ Lead=0.0027+ CO2e=5,398,441+ Sulfuric Acid Mist=5.67+ | FG-AUXBOILER1-2; Two (2) natural gas-fired auxiliary boilers. | 13.31 | natural gas | 40 | MMBTU/H | Two (2) natural gas-fired auxiliary boilers. 40 MMBTU/H each. Fuel restriction = 360.8 MMSCF/YR total for both units. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices. | 0.005 | LB/MMBTU | TEST PROTOCOL; EACH UNIT. | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The VOC emission limit of 0.005 LB/MMBTU applies to each unit.
MI-0424 | HOLLAND BOARD OF PUBLIC WORKS - EAST 5TH STREET | HOLLAND BOARD OF PUBLIC WORKS | OTTAWA | MI | 49423 | USA | DAVID KOSTER | 616-355-1562 | DKOSTER@HOLLANDBPW.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | For technical questions regarding the permit, please contact: Michelle Rogers at 517-284-6799; ROGERSM13@michigan.gov; OR Catherine Asselin at 517-284-6786; ASSELINC@michigan.gov Thank you. | 107-13C | 4931 | 221112 | Not Found | 10/17/2016 &nbsp;ACT | 12/05/2016 &nbsp;ACT | 2017-07-28 | 2018-03-08 | A |  | Natural gas combined heat and power plant. | Permit Number 107-13E revised Permit 107-13C as follows: 1) All ppmdv limits were changed to ppmvd in the CTGHRSG section for NOx, CO and VOC. Also, 2) The process notes for the natural gas emergency engine and the diesel fire pump emergency engine were revised as well. No other changes were made. As such, this RBLC entry includes the updated information as identified above. Additionally, this is an updated determination for this facility, which is still under construction and has not yet operated. The original RBLC determination for the facility is identified as MI-0412. | EUAUXBOILER (Auxiliary boiler) | 13.31 | natural gas | 83.5 | MMBTU/H | One natural gas fired auxiliary boiler rated at 83.5 MMBTU/hr fuel heat input (EUAUXBOILER). | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices. | 0.008 | LB/MMBTU | TEST PROTOCOL WILL SPECIFY AVG TIME | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | An oxidation catalyst is greater than $8900/ton for CO and VOC together.
*MI-0433 | MEC NORTH, LLC AND MEC SOUTH LLC | MARSHALL ENERGY CENTER LLC | CALHOUN | MI | 49068 | USA | WILLARD LADD | 914-468-2402 | WLADD@DEVELOPMENTPARTNERS.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | There are two plants (MEC North, LLC and MEC South, LLC) that will operate as separate entities but they are considered a single stationary source and the installation of the two new plants was reviewed as a single project. There are two Air Permits to Install for the two plants (167-17 and 168-17). For technical questions regarding either of the two permits, please contact the permit engineer Ms. Catherine Asselin at 517-284-6786 or at asselinc@michigan.gov. Thank you. | 167-17 AND 168-17 | 4911 | 221112 | Not Found | 05/22/2018 &nbsp;ACT | 06/29/2018 &nbsp;ACT | 2018-08-17 | 2018-08-22 | A |  | Natural gas combined cycle power plant (two plants: north and south) | There are two plants that will operate as separate entities and each received a separate Air Permit to Install, but they are considered one stationary source and were reviewed as one project. | EUAUXBOILER (North Plant): Auxiliary Boilder | 13.31 | Natural gas | 61.5 | MMBTU/H | A natural gas-fired auxiliary boiler, rated at 61.5 MMBTU/H (HHV) to facilitate startup of the CTGHRSG train and to provide the required steam to support the startup of the facility, including but not limited to steam for sparging, STG seals, etc. The auxiliary boiler is equipped with low NOx burners (LNB) and flue gas recirculation (FGR). | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices. | 0.004 | LB/MMBTU | HOURLY | BACT-PSD | SIP | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The cost of an oxidation catalyst is between $6,000 to $31,000/ton (average $18,500) for CO and VOC together.
*MI-0433 | MEC NORTH, LLC AND MEC SOUTH LLC | MARSHALL ENERGY CENTER LLC | CALHOUN | MI | 49068 | USA | WILLARD LADD | 914-468-2402 | WLADD@DEVELOPMENTPARTNERS.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | There are two plants (MEC North, LLC and MEC South, LLC) that will operate as separate entities but they are considered a single stationary source and the installation of the two new plants was reviewed as a single project. There are two Air Permits to Install for the two plants (167-17 and 168-17). For technical questions regarding either of the two permits, please contact the permit engineer Ms. Catherine Asselin at 517-284-6786 or at asselinc@michigan.gov. Thank you. | 167-17 AND 168-17 | 4911 | 221112 | Not Found | 05/22/2018 &nbsp;ACT | 06/29/2018 &nbsp;ACT | 2018-08-17 | 2018-08-22 | A |  | Natural gas combined cycle power plant (two plants: north and south) | There are two plants that will operate as separate entities and each received a separate Air Permit to Install, but they are considered one stationary source and were reviewed as one project. | EUAUXBOILER (South Plant): Auxiliary Boiler | 13.31 | Natural gas | 61.5 | MMBTU/h | A natural gas-fired auxiliary boiler, rated at 61.5 MMBTU/H (HHV) to facilitate startup of the CTGHRSG train and to provide the required steam to support the startup of the facility, including but not limited to steam for sparging, STG seals, etc. The auxiliary boiler is equipped with low NOx burners (LNB) and flue gas recirculation (FGR). | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good combustion practices. | 0.004 | LB/MMBTU | HOURLY | BACT-PSD | SIP | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The cost of an oxidation catalyst is between $6,000 to $31,000/ton (average of $18,500) for CO and VOC together.
MI-0421 | GRAYLING PARTICLEBOARD | ARAUCO NORTH AMERICA | CRAWFORD | MI | 49738 | USA | RICH WEBER | 803-431-2046 | RICH.WEBER@ARAUCO-NA.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Mr. Andrew Drury, at 517-284-6792 or at drurya@michigan.gov for technical questions related to the permit. Thank you. | 59-16 | 2493 | 321219 | Not Found | 06/30/2016 &nbsp;ACT | 08/26/2016 &nbsp;ACT | 2017-01-27 | 2017-07-20 | A |  | Particleboard manufacturing |  | EUFLTOS1 in FGTOH (Thermal Oil System for Thermally Fused Lamination Lines) | 13.31 | Natural gas | 34 | MMBTU/H | One natural gas fired thermal oil system for thermally fused lamination lines rated at 10.2 MMBTU/H fuel heat input (EUFLTOS1 in FGTOH). | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good design and operating/combustion practices. | 0.0054 | LB/MMBTU | TEST PROTOCOL WILL SPECIFY AVG TIME | BACT-PSD | NESHAP , MACT | N | 0 | N | 0.24 | T/YR | BASED UPON A 12-MO ROLLING TIME PERIOD | 0 |  |  | 0 | 0 | N |  | The control options were not economically feasible. The lowest estimated cost was $389,000/ton for thermal regenerative oxidation to control 0.8 tpy VOC from the press/sifter thermal oil heater. All other costs for other control options were higher. Given this high cost, control would not be cost effective for the smaller heater.
MI-0421 | GRAYLING PARTICLEBOARD | ARAUCO NORTH AMERICA | CRAWFORD | MI | 49738 | USA | RICH WEBER | 803-431-2046 | RICH.WEBER@ARAUCO-NA.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Mr. Andrew Drury, at 517-284-6792 or at drurya@michigan.gov for technical questions related to the permit. Thank you. | 59-16 | 2493 | 321219 | Not Found | 06/30/2016 &nbsp;ACT | 08/26/2016 &nbsp;ACT | 2017-01-27 | 2017-07-20 | A |  | Particleboard manufacturing |  | EUTOH (In FGTOH)--Thermal Oil Heater | 13.31 | Natural gas | 34 | MMBTU/H | One natural gas fired thermal oil heater for press and sifter rated at 34 MMBTU/H fuel heat input (EUTOH in FGTOH). All falls under RBLC Process Type Code 30.590. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good design and operating/combustion practices. | 0.0054 | LB/MMBTU | TEST PROTOCOL WILL SPECIFY AVG TIME | BACT-PSD | NESHAP , MACT | N | 0 | N | 0.8 | T/YR | BASED UPON A 12-MO ROLLING TIME PERIOD | 0 |  |  | 0 | 0 | N |  | The control options were not economically feasible. The lowest estimated cost was $389,000/ton for thermal regenerative oxidation to control 0.8 tpy VOC. All other costs for other control options were higher.
MI-0425 | GRAYLING PARTICLEBOARD | ARAUCO NORTH AMERICA | CRAWFORD | MI | 49738 | USA | RICH WEBER | 803-431-2046 | RICH.WEBER@ARAUCO-NA.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Mr. Andrew Drury, at 517-284-6792 or at drurya@michigan.gov for technical questions regarding this permit. Thank you. | 59-16A | 2493 | 321219 | Not Found | 03/06/2017 &nbsp;ACT | 05/09/2017 &nbsp;ACT | 2017-08-02 | 2017-11-15 | A |  | Particleboard manufacturing. |  | EUTOH in FGTOH | 13.31 | Natural gas | 38 | MMBTU/H | One natural gas-fired thermal oil heater for press and sifter rated at 38 MMBTU/hr fuel heat input (EUTOH in FGTOH). Also falls under the RBLC Process Type Code 30.590. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good design and operating/combustion practices. | 0.0054 | LB/MMBTU | TEST PROTOCOL SHALL SPECIFY | BACT-PSD | SIP | N | 0 | N | 0.9 | T/YR | 12-MO ROLLING TIME PERIOD | 0 |  |  | 0 | 0 | N |  | The control options were not economically feasible. The lowest estimated cost was $389,000/ton for thermal regenerative oxidation to control 0.8 tpy VOC. All other costs for other control options were higher. The small increase in heat input capacity (4 MMBTU/HR) does not make add on control cost effective.
MI-0425 | GRAYLING PARTICLEBOARD | ARAUCO NORTH AMERICA | CRAWFORD | MI | 49738 | USA | RICH WEBER | 803-431-2046 | RICH.WEBER@ARAUCO-NA.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Mr. Andrew Drury, at 517-284-6792 or at drurya@michigan.gov for technical questions regarding this permit. Thank you. | 59-16A | 2493 | 321219 | Not Found | 03/06/2017 &nbsp;ACT | 05/09/2017 &nbsp;ACT | 2017-08-02 | 2017-11-15 | A |  | Particleboard manufacturing. |  | EUFLTOS1 in FGTOH | 13.31 | Natural gas | 10.2 | MMBTU/H | One natural gas-fired thermal oil system for thermally fused lamination lines rated at 10.2 MMBTU/H fuel heat input (EUFLTOS1 in FGTOH). Note: The throughput capacity, 10.2 MMBTU/H, is not a change but instead a correction from the previous entry. The previous entry is under MI-0421 for the original permit. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good design and operating/combustion practices. | 0.0054 | LB/MMBTU | TEST PROTOCOL SHALL SPECIFY | BACT-PSD | SIP | N | 0 | N | 0.24 | T/YR | 12-MO ROLLING TIME PERIOD | 0 |  |  | 0 | 0 | N |  | The control options were not economically feasible. The lowest estimated cost was $389,000/ton for thermal regenerative oxidation to control 0.8 tpy VOC from the press/sifter thermal oil heater. All other costs for other control options were higher. Given this high cost, control would not be cost effective for the smaller heater.
IA-0106 | CF INDUSTRIES NITROGEN, LLC - PORT NEAL NITROGEN COMPLEX | CF INDUSTRIES NITROGEN, LLC | WOODBURY | IA | 51054 | USA | MIKE MAAS | 712-233-6222 | MMAAS@CFINDUSTRIES.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV | Christopher A. Roling, PE Environmental Engineer Senior Iowa DNR - Air Quality Bureau 7900 Hickman Rd, Suite 1 Windsor Heights, IA 50324 (515) 242-6002 chris.roling@dnr.iowa.gov | PN 13-037 | 2873 | 325311 | 110000414089 | 02/01/2013 &nbsp;ACT | 07/12/2013 &nbsp;ACT | 2013-07-16 | 2016-05-04 | B |  | Nitrogenous fertilizer manufacturing including ammonia, urea, and urea-ammonium nitrate (UAN) solutions. |  | Startup Heater | 13.31 | natural gas | 58.8 | MMBTU/H | Limited to 5.76 MMCF of natural gas/yr | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | good operating practices & use of natural gas | 0.0014 | LB/MMBTU | AVERAGE OF THREE (3) STACK TEST RUNS | BACT-PSD |  | U | 0 | U | 0.004 | TONS/YR | ROLLING TWELVE (12) MONTH TOTAL | 0 |  |  | 0 | 0 | N
SC-0112 | NUCOR STEEL - BERKELEY | NUCOR STEEL | BERKELEY | SC | 29450 | USA | RAY SIMS | 8433366123 | SIMSR@NUCORSTEEL.COM | 4 | SC001 | SOUTH CAROLINA DEPT OF HEALTH & ENV CTRL, BUREAU OF AIR QUALITY | MR. DENNIS CAMIT | (803)898-4284 | camitdr@dhec.sc.gov | WANDA PARNELL (803) 898-4123 | 0420-0060-DO | 3312 | 331111 | 110000353527 | 12/06/2007 &nbsp;ACT | 05/05/2008 &nbsp;ACT | 2012-05-09 | 2013-10-30 | D |  | SCRAP STEEL RECYCLING MILL |  | VACUUM DEGASSER BOILER | 13.31 | NATURAL GAS | 50.21 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | NATURAL GAS COMBUSTION WITH GOOD COMBUSTION PRACTICES PER MANUFACTURER'S GUIDANCE | 0.0026 | LB/MMBTU |  | BACT-PSD |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
SC-0112 | NUCOR STEEL - BERKELEY | NUCOR STEEL | BERKELEY | SC | 29450 | USA | RAY SIMS | 8433366123 | SIMSR@NUCORSTEEL.COM | 4 | SC001 | SOUTH CAROLINA DEPT OF HEALTH & ENV CTRL, BUREAU OF AIR QUALITY | MR. DENNIS CAMIT | (803)898-4284 | camitdr@dhec.sc.gov | WANDA PARNELL (803) 898-4123 | 0420-0060-DO | 3312 | 331111 | 110000353527 | 12/06/2007 &nbsp;ACT | 05/05/2008 &nbsp;ACT | 2012-05-09 | 2013-10-30 | D |  | SCRAP STEEL RECYCLING MILL |  | TUNNEL FURNACE BURNERS | 13.31 | NATURAL GAS | 58 | MMBTU/H | THIS PROJECT IS ADDING AN ADDITIONAL 58 MILLION BTU/HR HEAT INPUT TO EXISTING TUNNEL FURNACE SYSTEM. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | NATURAL GAS COMBUSTION WITH GOOD COMBUSTION PRACTICES PER MANUFACTURER'S GUIDANCE | 0.0055 | LB/MMBTU |  | BACT-PSD |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
OK-0128 | MID AMERICAN STEEL ROLLING MILL | MID AMERICAN STEEL AND WIRE COMPANY | MARSHALL | OK | 73446 | USA |  |  |  | 6 | OK001 | OKLAHOMA DEPARTMENT OF ENVIRONMENTAL QUALITY | MR. LEE WARDEN | (405)702-4182 | LEE.WARDEN@DEQ.OK.GOV |  | 2003-106-C(M-1) PSD | 3312 | 331111 | 110022524062 | 03/26/2008 &nbsp;ACT | 09/08/2008 &nbsp;ACT | 2008-12-31 | 2010-12-17 | B |  | THE FACILITY WAS CONSTRUCTED UNDER PERMIT NO. 2003-106-C ISSUED MARCH 25, 2003, AND IS CURRENTLY OPERATED UNDER PERMIT NO. 2003-106-O ISSUED JANUARY 3, 2005. THE FACILITY CURRENTLY OPERATES A SINGLE 74 MMBTUH GAS-FIRED FURNACE FOR SOFTENING STEEL BILLETS SO THAT THEY CAN BE DRAWN IN TO WIRE. | MID AMERICAN PROPOSES TO INSTALL TWO ELECTRIC ARC STEEL MELTING FURNACES. THE FURNACES WERE FABRICATED IN 2000 FOR INSTALLATION AT ANOTHER COMPANY SITE THAT WAS NOT CONSTRUCTED, THE PROPOSED GRIFFIN WHEEL PLANT AT TULSA. THE PROPOSED FURNACES WILL BE CAPABLE OF PRODUCING A TOTAL OF APPROXIMATELY 80 TONS/HR (640,000 TONS PER YEAR) OF Â¿BILLETÂ¿ Â¿ (BAR-SHAPED INGOTS) STEEL. THE STEEL MAY BE USED ON-SITE IN THE EXISTING WIRE PRODUCTION UNIT OR SOLD TO OTHER MILLS. | Ladle pre-heater and refractory drying | 13.31 | natural gas | 0 |  |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Natural gas fuel | 0.0055 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
OK-0173 | CMC STEEL OKLAHOMA | COMMERCIAL METALS COMPANY | BRYAN | OK | 74701 | USA | RANDALL WALKER | 830-372-8507 | RANDALL.WALKER@CMC.COM | 6 | OK001 | OKLAHOMA DEPARTMENT OF ENVIRONMENTAL QUALITY | MR. LEE WARDEN | (405)702-4182 | LEE.WARDEN@DEQ.OK.GOV |  | 2015-0643-C PSD | 3312 | 331111 | 013-00047 | 09/09/2015 &nbsp;ACT | 01/19/2016 &nbsp;ACT | 2016-01-19 | 2016-07-07 | A |  | In this steel mill, CMC will manufacture steel products from scrap steel. Iron ore will not be processed at the mill. Scrap metal will be transported into the facility to be used as feedstock for the Melt Shop. Once the molten steel reaches the desired conditions, it will be transferred to a large refractory-lined vessel known as a ladle. The ladle will be transported to a continuous caster, where the steel will be poured into a refractory-lined surge vessel called a tundish and subsequently into a water-cooled mold. After casting, the continuous steel strand will be rolled to the desired shape. After rolling, the steel will be cooled, bundled, and stored. To produce some structural material such as angles and channels, the rebar will be unbundled and passed through a straightener roller process. The finished products will be shipped off-site by truck as needed for use by customers. | Emissions of NOx, CO, VOC, SO2,PM10/PM2.5, and GHG exceed the applicable SER. Therefore, each is subject to PSD review. | Heaters (Gas-Fired) | 13.31 | Natural Gas | 0 |  | Numerous gas-fired heaters will be installed. The application requested that the sizes all be kept confidential. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Natural Gas Fuel. | 0.0055 | LB/MMBTU |  | BACT-PSD | N/A | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*WV-0029 | HARRISON COUNTY POWER PLANT | ESC HARRISON COUNTY POWER, LLC | HARRISON | WV | 26301 | USA | ANDREW DORN | 7163121042 | DREWDORN@ENSOLCONSORTIUM.COM | 3 | WV001 | WEST VIRGINIA DEPT. OF ENVRIONMENTAL PROTECTION; DIV. OF AIR QUALITY | MR. JOE KESSLER, PE | (304)926-0499X1219 | Joseph.r.kessler@wv.gov | Permit Engineer: Mr. Steve Pursley 304-926-0499 x1218 steven.r.pursley@wv.gov | R14-0036 | 4911 | 221112 | Not Found | 04/26/2017 &nbsp;ACT | 03/27/2018 &nbsp;ACT | 2018-06-25 | 2018-06-25 | A | https://dep.wv.gov/daq/Documents/March 2018 Permits and Evals/033-00264_PERM_R14-0036.pdf | Nominal 640 mWe natural gas-fired combined-cycle power plant. Small sources: Emergency Generator, Fire Water Pump, Fuel Gas Heater not included in RBLC - may request info or see permit for details. |  | Auxiliary Boiler | 13.31 | Natural Gas | 77.8 | mmBtu/hr | Annual emission based on 4600 hours/year. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GCP Use of Natural Gas, Good Combustion Practices | 0.008 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 1.42 | TONS/YEAR |  | 0.008 | LB/MMBTU |  | 0 | 0 | N
OR-0050 | TROUTDALE ENERGY CENTER, LLC | TROUTDALE ENERGY CENTER, LLC | MULTNOMAH | OR | 97060 | USA | WILLARD LADD | 914-468-2400 |  | 10 | OR001 | OREGON DEPT OF ENVIRONMENTAL QUALITY | JILL INAHARA | (503) 229-5001 | inahara.jill@deq.state.or.us | George Davis 503-229-5534 | 26-0235 | 4911 | 221112 | 110057118417 | 04/05/2013 &nbsp;ACT | 03/05/2014 &nbsp;ACT | 2015-01-06 | 2016-05-05 | A |  | Troutdale Energy Center (TEC) proposes to construct and operate a 653 megawatt (MW) electric generating plant in Troutdale, Oregon. TEC proposes to generate electricity with three natural gas-fired turbines, one of which will be a combined-cycle unit with duct burner and heat recovery steam generator. |  | Auxiliary boiler | 13.31 | natural gas | 39.8 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | A |  | 0.005 | LB/MMBTU | 3-HR BLOCK AVERAGE | BACT-PSD | NSPS | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
SC-0160 | US8 FACILITY | MICHELIN NORTH AMERICA, INC. | ANDERSON | SC | 29684 | USA | CARTER, SHANARI | 8642602077 | SHANARI.CARTER@US.MICHELIN.COM | 4 | SC001 | SOUTH CAROLINA DEPT OF HEALTH & ENV CTRL, BUREAU OF AIR QUALITY | MR. DENNIS CAMIT | (803)898-4284 | camitdr@dhec.sc.gov | (PERMIT WRITER) MICHAEL ROBERTSON 803-898-4123 ROBERTM2@DHEC.SC.GOV | 0200-0150-CE.R1 | 3011 | 326211 | 110002183887 | 08/02/2012 &nbsp;ACT | 12/13/2012 &nbsp;ACT | 2014-08-13 | 2016-05-05 | A |  | THE FACILITY PRODUCES SEMI-FINISHED RUBBER PRODUCTS FOR UTILIZATION AT MICHELINâ€™S TIRE ASSEMBLY PLANTS. IN THE COMPOUNDING PROCESS, NATURAL AND SYNTHETIC RUBBER ARE BLENDED IN DESIRED RATIOS AND MIXED WITH VARIOUS FILLERS (CARBON BLACK AND SILICA), AND RUBBER COMPOUNDING ADDITIVES. THE RUBBER, FILLERS, ADDITIVES AND PROCESS OILS ARE ADDED VIA VARIOUS METHODS TO THE PROCESS. AFTER MILLING, THE RUBBER IS COOLED AND MARKED WITH IDENTIFICATION CODES. IT IS THEN STORED FOR SHIPPING TO THE TIRE ASSEMBLY PLANTS. MICHELIN SUBMITTED AN APPLICATION TO OBTAIN A CONSTRUCTION PERMIT TO INSTALL MIXING GROUP 3, DDE AND GN/GP (CHIPPING PROCESSES), PABU (SOLID ADDITIVE MIXING AND PACKAGING), AND UPGRADING THE TWO EXISTING 600 HP (20.1 MMBTU/HR) EACH BOILER, BL01 AND BL02 TO 800 HP (33.6 MMBTU/HR) EACH. | MICHELIN SUBMITTED AN APPLICATION TO OBTAIN A CONSTRUCTION PERMIT TO INSTALL MIXING GROUP 3, DDE AND GN/GP (CHIPPING PROCESSES), PABU (SOLID ADDITIVE MIXING AND PACKAGING), AND UPGRADING THE TWO EXISTING 600 HP (20.1 MMBTU/HR) EACH BOILER, BL01 AND BL02 TO 800 HP (33.6 MMBTU/HR) EACH. | BOILERS (BL01) &amp; (BL02) | 13.31 | NATURAL GAS | 33.6 | MMBTU/H | THE CONSTRUCTION PERMIT AUTHORIZES THE MODIFICATION TO THE TWO EXISTING BOILERS BY ADDING LARGER BURNERS. THIS PROCESS AND POLLUTANT INFORMATION IS FOR ONE BOILER | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0054 | LB/MMBTU |  | BACT-PSD |  | N | 0 | N | 0.0054 | LB/MMBTU |  | 0 |  |  | 0 | 0 | N
AK-0083 | KENAI NITROGEN OPERATIONS | AGRIUM U.S. INC. | USA | AK | 99611 | USA | TED HARTMAN | 913 302 7469 | TED.HARTMAN@AGRIUM.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV |  | AQ0083CPT06 | 2873 | 325311 | 110030488620 | 11/25/2014 &nbsp;ACT | 01/06/2015 &nbsp;ACT | 2015-01-29 | 2016-02-19 | A | http://dec.alaska.gov/Applications/Air/airtoolsweb/Home/ViewAttachment/16672291/KQZafTqmYd8SVnZ3RUWQfQ2 | The Kenai Nitrogen Operations Facility is located at Mile 21 of the Kenai Spur Highway, near Kenai Alaska. It is classified as a nitrogenous fertilizer manufacturing facility under Standard Industrial Classification code 2873 and under North American Industrial Classification code 325311. The facility will produce ammonia and urea for bulk sale. There are two ammonia and two urea plants at Agriumâ€™s KNO facility. This permit authorizes the restart of one ammonia and one urea plant (plants 4 and 5). The ammonia plant converts natural gas with added steam and air to produce ammonia (NH3) and carbon dioxide (CO2). Feedstocks for the urea plant include CO2 and NH3. The utility plant generates the power and steam needed to operate the ammonia and urea plants. Final products are loaded at the Product Loading Wharf for shipment. |  | Five (5) Waste Heat Boilers | 13.31 | Natural Gas | 50 | MMBTU/H | Five (5) Natural Gas-Fired 50 MMBtu/hr Waste Heat Boilers. Installed in 1986. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0054 | LB/MMBTU | 3-HR AVG | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
FL-0364 | SEMINOLE GENERATING STATION | SEMINOLE ELECTRIC COOPERATIVE, INC. | PUTNAM | FL | 32177 | USA | CHRIS WEBER | 813-739-1359 | CWEBER@SEMINOLE-ELECTRIC.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us |  | 1070025-028-AC / PSD-FL-443 | 4911 | 221112 | 110041142304 | 12/11/2017 &nbsp;ACT | 03/21/2018 &nbsp;ACT | 2018-04-13 | 2018-05-11 | B | https://arm-permit2k.dep.state.fl.us/nontv/1070025.028.AC.F.ZIP | Existing fossil-fueled power plant. Two coal-fired units each rated at 736 MW. Project entails retirement of one coal-fired unit and construction of a 2-on-1 natural gas combined cycle unit. | Technical evaluation available at https://arm-permit2k.dep.state.fl.us/nontv/1070025.028.AC.D.ZIP | Two natural gas heaters (&lt; 10 MMBtu/hr each) | 13.31 | Natural gas | 9.9 | MMBtu/hr | Two natural gas heaters, each less than 10 MMBtu/hr | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.005 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Design specification only. No testing required.
IA-0107 | MARSHALLTOWN GENERATING STATION | INTERSTATE POWER AND LIGHT | MARSHALL | IA | 50158 | USA | ALAN ARNOLD | 319-786-4476 | ALANARNOLD@ALLIANTENERGY.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV |  | 13-A-499-P | 4911 | 221112 | Unknown | 10/03/2013 &nbsp;ACT | 04/14/2014 &nbsp;ACT | 2014-04-15 | 2016-05-04 | B | http://www.iowadnr.gov/InsideDNR/RegulatoryAir/ConstructionPermits/PermitSearch.aspx | Utility electric generating station | Two combined cycle turbines without duct burning. | auxiliary boiler | 13.31 | natural gas | 60.1 | mmBtu/hr | fuel limit of 288.7 million cubic feet of natural gas per 12-month rolling period | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.005 | LB/MMBTU | AVERAGE OF 3 ONE-HOUR TEST RUNS | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
OK-0148 | BUFFALO CREEK PROCESSING PLANT | MARKWEST BUFFALO CREEK GAS CO LLC | BECKHAM | OK | 73662 | USA | KRISTIN IKARD |  | KRISTIN.IKARD@ACCESSMIDSTREAM.COM | 6 | OK001 | OKLAHOMA DEPARTMENT OF ENVIRONMENTAL QUALITY | MR. LEE WARDEN | (405)702-4182 | LEE.WARDEN@DEQ.OK.GOV |  | 2012-1026-C PSD | 1321 | 211112 | Not Found | 02/21/2012 &nbsp;ACT | 09/12/2012 &nbsp;ACT | 2014-06-13 | 2018-05-11 | A |  | Mid-America Midstream Gas Services (MAMGS)proposes to construct a natural gas plant with ten natural gas-fired reciprocating internal combustion engines, two natural gas-fired turbines, a 230-MMSCFD amine unit with a 11.04 MMBTUH reboiler, an acid gas flare, eight condensate tanks, and six produced water tanks. Associated support operations include condensate truck loading, blowdowns and fugitive emissions. | FRS Entered as &lsquo;&lsquo;009-00118&lsquo;&lsquo;. Too short for a FRS. MAMGS proposes to construct a natural gas plant with ten natural gas-fired reciprocating internal combustion engines, two natural gas-fired turbines, a 230-MMSCFD amine unit with a 11.04 MMBTUH reboiler, an acid gas flare, eight condensate tanks, and six produced water tanks. Associated support operations include condensate truck loading, blowdowns and fugitive emissions. | Commercial/Institutional Boilers (&lt;100 MMBTUH) | 13.31 | Natural Gas | 11.04 | MMBTUH |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0054 | LB/MMBTU |  | BACT-PSD | N/A | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | AP-42 and Good Combustion
[40 empty] | min GCP | 0.0014
[40 empty] | max GCP | 0.02