## All Pollutants_Large Boilers 11
RBLCID | FACILITY_NAME | CORPORATE_OR_COMPANY_NAME | FACILITY_COUNTY | FACILITY_STATE | FACILITY_ZIP_CODE | FACILITY_COUNTRY | FACILTY_CONTACT_NAME | FACILITY_PHONE | FACILITY_CONTACT_EMAIL | EPA_REGION | AGENCY_CODE | AGENCY_NAME | AGENCY_CONTACT | AGENCY_PHONE | AGENCY_EMAIL | OTHER_AGENCY_CONTACT_INFO | PERMIT_NUM | SIC_CODE | NAICS_CODE | FACILITY_REGISTRY_SYSTEM_NUMBER | COMPLETE_APPLICATION_DATE | PERMIT_ISSUANCE_DATE | DATE_DETERMINATION_ENTERED_INTO_RBLC | DATE_DETERMINATION_LAST_UPDATED | PERMIT_TYPE | PERMIT_URL | FACILITY_DESCRIPTION | PERMIT_NOTES | PROCESS_NAME | PROCCESS_TYPE | PRIMARY_FUEL | THROUGHPUT | THROUGHPUT_UNIT | PROCESS_NOTES | POLLUTANT | TESTMETHOD | POLLUTANT_GROUP(S) | CAS_NUMBER | CONTROL_METHOD_CODE | CONTROL_METHOD_DESCRIPTION | EMISSION_LIMIT_1 | EMISSION_LIMIT_1_UNIT | EMISSION_LIMIT_1_AVG_TIME_CONDITION | CASE-BY-CASE_BASIS | OTHER_ APPLICABLE_REQUIREMENTS | OTHER_FACTORS | PERCENT_EFFICIENCY | COMPLIANCE_VERIFIED | EMISSION_LIMIT_2 | EMISSION_LIMIT_2_UNIT | EMISSION_LIMIT_2_AVGERAGE_TIME_CONDITION | STANDARAD_EMISSION_LIMIT | STANDARD_EMISSION_LIMIT_UNIT | STANDARD_LIMIT_AVERAGE_TIME_CONDITION | COST_EFFECTIVENESS | INCREMENTAL_COST_EFFECTIVENESS | Cost_Verified | DOLLAR_YEAR_USED_IN_COST_ESTIMATES | POLLUTANT_COMPLIANCE_NOTES
TX-0656 | GAS TO GASOLINE PLANT | NATGASOLINE | JEFFERSON | TX |  | USA | KEVIN STRUVE |  |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Cheryl Covone 512-239-1248 | PSDTX1340 AND 107764 | 2911 | 325199 | 110064577006 | 01/16/2013 &nbsp;ACT | 05/16/2014 &nbsp;ACT | 2014-05-20 | 2016-05-12 | A |  | Chemical Plant |  | Boiler | 11.31 | natural gas and fuel gas | 950 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | clean fuel and good combustion practices | 14 | T/YR |  | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Utility Boiler 1 | 11.31 | Natural Gas | 656 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Combustion controls (proper burner design and operation using natural gas) | 3.54 | LB/H | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 15.5 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054 LB/MMBTU (12-Month Rolling Average)
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Utility Boiler 2 | 11.31 | Natural Gas | 656 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Combustion controls (proper burner design and operation using natural gas) | 3.54 | LB/H | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 15.5 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054LB/MMBTU (12-Month Rolling Average)
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Utility Boiler 3 | 11.31 | Natural Gas | 656 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Combustion controls (proper burner design and operation using natural gas) | 3.54 | LB/H | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 15.5 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054LB/MMBTU (12-Month Rolling Average)
TX-0650 | DIRECT REDUCED IRON AND HOT BRIQUETTING FACILITY | VOESTALPINE TEXAS LLC | SAN PATRICIO | TX |  | USA | MATTHIAS PASTL | 361-452-0746 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Dois Webb, Phone: 512-239-1575 e-mail: dois.webb@tceq.texas.gov | 108113/PSDTX1344 | 3312 | 331111 | UNKNOWN | 02/05/2013 &nbsp;ACT | 03/18/2014 &nbsp;ACT | 2014-03-27 | 2016-07-29 | A |  | Converts iron ore pellets into iron briquettes |  | GAS REFORMER | 11.31 | NATURAL GAS | 1591 | MMBTU/H |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25 | (Volatile Organic Compounds (VOC)) | VOC | P | EMISSION LIMIT AND GOOD COMBUSTION PRACTICE | 0.005 | LB VOC/MMBTU |  | BACT-PSD | NSPS , NESHAP , MACT , SIP | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0774 | BISHOP FACILITY | TICONA POLYMERS, INC. | NUECES | TX |  | USA | WILLIAM CHIDESTER | (361) 584-6614 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Daniel Guthrie (512) 239-1319 daniel.guthrie@tceq.texas.gov | 123216, PSDTX1438 AND GHGPSDTX | 2869 | 325199 | 110031352649 | 08/28/2015 &nbsp;ACT | 11/12/2015 &nbsp;ACT | 2015-11-09 | 2016-07-06 | B |  | Methanol Synthesis Plant |  | Reformer | 11.31 | natural gas | 1190 | MMBTU/H | Primary reformer for methanol production process which utilizes steam methane and auto-thermal reforming technologies. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Firing of pipeline quality natural gas and high-hydrogen process gas. | 26.27 | TPY |  | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
VA-0320 | CELANESE ACETATE LLC | CELANESE ACETATE LLC | GILES | VA | 24124 | USA | RICHARD MITCHELL | 540-921-6207 |  | 3 | VA001 | VIRGINIA DEPT. OF ENVIRONMENTAL QUALITY; DIVISION OF AIR QUALITY | MR. YOGESH DOSHI | (804)698-4017 | Yogesh.doshi@deq.virginia.gov | For technical information about this facility, please contact the Air Permit Writer, Mr. Patrick Corbett, by phone at (434)-582-6230 or by e-mail: Patrick.Corbett@deq.virginia.gov | 20304-025 | 2823 | 325221 | 110037519236 | 08/15/2012 &nbsp;ACT | 12/06/2012 &nbsp;ACT | 2013-03-26 | 2015-05-29 | C | http://www.deq.virginia.gov/Programs/Air/PermittingCompliance/Permitting/IssuedPSDNANSRPermits.aspx | The facility manufactures cellulose acetate flake and fiber (SIC Codes 2821 and 2823, NAICS Codes 325211 and 325221). The facility also manufactures acetic anhydride as an intermediate product for use in manufacturing cellulose acetate flake (SIC Code 2869 and NAICS Code 325199). In addition, extrusion jets are produced on site to support the fiber manufacturing areas (SIC Code 3471 and NAICS Code 332813). | (7) coal-fired boilers replaced with (6) natural gas-fired boilers. | NATURAL GAS FIRED BOILERS, (6) | 11.31 | Natural Gas | 400 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good combusion practices | 2.2 | LB/H | ROLLING 24-H AVG INCLUDING SSM | BACT-PSD | NSPS | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0650 | DIRECT REDUCED IRON AND HOT BRIQUETTING FACILITY | VOESTALPINE TEXAS LLC | SAN PATRICIO | TX |  | USA | MATTHIAS PASTL | 361-452-0746 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Dois Webb, Phone: 512-239-1575 e-mail: dois.webb@tceq.texas.gov | 108113/PSDTX1344 | 3312 | 331111 | UNKNOWN | 02/05/2013 &nbsp;ACT | 03/18/2014 &nbsp;ACT | 2014-03-27 | 2016-07-29 | A |  | Converts iron ore pellets into iron briquettes |  | REACTOR FURNACE TOP EXHAUST TO HOT PRESSURE RELIEF FLARE | 11.31 | NATURAL GAS | 458 | SCF/HR |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25 | (Volatile Organic Compounds (VOC)) | VOC | P | GOOD COMBUSTION PRACTICE | 20.26 | LB/H |  | BACT-PSD | NSPS , NESHAP , MACT , SIP | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IA-0105 | IOWA FERTILIZER COMPANY | IOWA FERTILIZER COMPANY | LEE | IA | 52658 | USA | DAVE PEARSON | (319) 246-2308 | DAVE.PEARSON@IOWAFERTILIZERS.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV | CHRISTOPHER A. ROLING, PE ENVIRONMENTAL ENGINEER SENIOR (515) 725-9557 CHRIS.ROLING@DNR.IOWA.GOV | 12-219 | 2873 | 325311 | 110054890392 | 08/03/2012 &nbsp;ACT | 10/26/2012 &nbsp;ACT | 2012-11-01 | 2013-08-13 | A | https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp | NITROGENEOUS FERTILIZER MANUFACTURING | THE PROJECT WAS AMENDED ON 3/13/14 DUE TO SOME DESIGN CHANGES WHICH INCLUDED ADDITIONAL EMISSION UNITS/POINTS. THE NEW PROJECT IS UNDER PROJECT NUMBER/PERMIT NUMBER 13-355 | Auxiliary Boiler | 11.31 | natural gas | 472.4 | MMBTU/H |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 0.0014 | LB/MMBTU | AVERAGE OF 3 STACK TEST RUNS | BACT-PSD |  | U | 0 | U | 0.62 | TONS/YR | ROLLING 12 MONTH TOTAL | 0 |  |  | 0 | 0 | N
*ND-0033 | GRAND FORKS FERTILIZER PLANT | NORTHERN PLAINS NITROGEN | GRAND FORKS | ND | 58203 | USA | LARRY MACKIE |  | LARRYMACKIE@GMAIL.COM | 8 | ND001 | NORTH DAKOTA DEPARTMENT OF HEALTH | MR. CRAIG THORSTENSON | 701-328-5188 | CTHORSTENSON@ND.GOV |  | PTC15052 | 2873 | 325311 |  | 01/20/2015 &nbsp;ACT | 08/10/2015 &nbsp;ACT | 2015-08-24 | 2015-08-24 | A | http://www.ndhealth.gov/AQ/ActivePermits.aspx | Fertilizer manufacturing plant designed to produce both feedstock and saleable products in the following nominal capacities: 2425 tpd ammonia, 2540 tpd ammonium nitrate solution, 300 tpd DEF, 3000 tpd urea solution, 3000 tpd granular urea, 2000 tpd nitric acid, 5620 tpd UAN, 441 tpd ammonium thiosulfate and 1080 tpd APP |  | Ammonia Plant Primary Reformer | 11.31 | Natural gas | 1006 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion Practices | 0.0014 | LB/MM BTU | 1-HOUR AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IN-0234 | GRAIN PROCESSING CORPORATION | GRAIN PROCESSING CORPORATION | DAVIESS | IN | 47501 | USA | WENDY BOUVIER | 8122572759 | WENDY.BOUVIER@GRAINPROCESSING.COM | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | MADHURIMA MOULIK 317-233-0868 JASON KRAWCZYK, SECTION CHIEF IDEM OFFICE OF AIR QUALITY 100 N. SENATE AVENUE 317-234-5174 | 027-35177-00046 | 2046 | 311221 | 110041204265 | 11/26/2014 &nbsp;ACT | 12/08/2015 &nbsp;ACT | 2016-02-25 | 2016-07-06 | B | HTTP:PERMITS.AIR.IDEM.IN.GOV/35177F.PDF | THIS FACILITY IS A STATIONARY CORN WET MILLING PLANT. |  | BOILER 1 | 11.31 | NATURAL GAS | 271 | MMBTU/H | NATURAL GAS FIRED, ALSO CAPACBLE OF BURNING ALCOHOL. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GOOD COMBUSTION PRACTICES | 0.0015 | LB/MMBTU | NATURAL GAS ALONE | BACT-PSD |  | N | 0 |  | 0.003 | LB/MMBTU | NATURAL GAS AND ALCOHOL | 0 |  |  | 0 | 0 | N |  | SHALL NOT EXCEED 0.41 LB/HR FOR NATURAL GAS ALONE AND 0.81 LB/HR FOR NATURAL GAS IN COMBINATION WITH ALCOHOL.
IN-0234 | GRAIN PROCESSING CORPORATION | GRAIN PROCESSING CORPORATION | DAVIESS | IN | 47501 | USA | WENDY BOUVIER | 8122572759 | WENDY.BOUVIER@GRAINPROCESSING.COM | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | MADHURIMA MOULIK 317-233-0868 JASON KRAWCZYK, SECTION CHIEF IDEM OFFICE OF AIR QUALITY 100 N. SENATE AVENUE 317-234-5174 | 027-35177-00046 | 2046 | 311221 | 110041204265 | 11/26/2014 &nbsp;ACT | 12/08/2015 &nbsp;ACT | 2016-02-25 | 2016-07-06 | B | HTTP:PERMITS.AIR.IDEM.IN.GOV/35177F.PDF | THIS FACILITY IS A STATIONARY CORN WET MILLING PLANT. |  | BOILER 2 | 11.31 | NATURAL GAS | 271 | MMBTU/H | NATURAL GAS BOILER WITH CAPABILITY OF BURNING ALCOHOL | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GOOD COMBUSTION PRACTICES | 0.0015 | LB/MMBTU | NATURAL GAS ALONE | BACT-PSD |  |  | 0 |  | 0.003 | LB/MMBTU | NATURAL GAS WITH ALCOHOL | 0 |  |  | 0 | 0 | N |  | 0.41 LB/HR FOR NATURAL GAS ALONE AND 0.81 LB/HR FOR NATURAL GAS WITH ALCOHOL
TX-0704 | UTILITY PLANT | M & G RESINS USA LLC | NUECES | TX |  | USA | MAURO FENOGLIO | (281) 874-8074 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Mr. Sean O'Brien 512-239-1137 sean.obrien@tceq.texas.gov | 108819 PSDTX1354 | 4911 | 221112 | unknown | 02/22/2013 &nbsp;ACT | 12/02/2014 &nbsp;ACT | 2015-03-20 | 2016-05-09 | A |  | In support of the new PET (polyethylene terephthalate) unit and new PTA (terephthalic acid) plant proposed by M&amp;G Resins USA LLC, the company also proposes a Utility Plant that will consist of either one of two options. All steam generated from the Utility Plant will be used as process steam. There is no steam driven electrical generator. |  | (2) boilers | 11.31 | natural gas | 450 | MMBTU/H | Auxiliary Boilers A1 and A2 are rated at 450 MMBtu/hr each. Auxiliary Boiler A1 and A2 were represented by the applicant to potentially operate 8,760 hours per year each. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 0.004 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0704 | UTILITY PLANT | M & G RESINS USA LLC | NUECES | TX |  | USA | MAURO FENOGLIO | (281) 874-8074 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Mr. Sean O'Brien 512-239-1137 sean.obrien@tceq.texas.gov | 108819 PSDTX1354 | 4911 | 221112 | unknown | 02/22/2013 &nbsp;ACT | 12/02/2014 &nbsp;ACT | 2015-03-20 | 2016-05-09 | A |  | In support of the new PET (polyethylene terephthalate) unit and new PTA (terephthalic acid) plant proposed by M&amp;G Resins USA LLC, the company also proposes a Utility Plant that will consist of either one of two options. All steam generated from the Utility Plant will be used as process steam. There is no steam driven electrical generator. |  | boiler | 11.31 | natural gas | 250 | MMBTU/H | Auxiliary Boiler B is rated at 250 MMBtu/hr. Auxiliary Boiler B was represented by the applicant to potentially operate 8,760 hours per year. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 0.004 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*FL-0330 | PORT DOLPHIN ENERGY LLC |  | HILLSBOROUGH | FL | 33616 | USA |  |  |  | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us |  | DPA-EPA-R4001 | 4923 | 213112 | 110029520141 | &nbsp; | 12/01/2011 &nbsp;ACT | 2012-02-03 | 2018-03-23 | A |  | Port Dolphin is a deepwater port designed to moor liquefied natural gas shuttle and regasification vessels 28 miles off the cost of Florida. |  | Boilers (4 - 278 mmbtu/hr each) | 11.31 | natural gas | 0 |  |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion Practices | 0.0054 | LB/MMBTU | 3-HOUR ROLLING AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IL-0114 | CRONUS CHEMICALS, LLC | CRONUS CHEMICALS, LLC | DOUGLAS | IL | 60601 | USA | ERZIN ATAC | 312-863-8638 | ERZIN.ATAC@CRONUCHEM.COM | 5 | IL001 | ILLINOIS EPA, BUREAU OF AIR | MR. RAY PILAPIL | (217) 782-2113 | ray.pilapil@illinois.gov | Permit Writer: Bob Smet 217-785-9250 robert.smet@illinois.gov | 13060007 | 2873 | 325311 | 110055568522 | 02/14/2014 &nbsp;ACT | 09/05/2014 &nbsp;ACT | 2014-12-24 | 2016-05-05 | A | http://yosemite.epa.gov/r5/in_permt.nsf/6f1ebc583aad45448625763f0053e08e/02fa71769b748f8886257da2004e4f4f!OpenDocument | Plant will produce urea and ammonia, but ammonia production will be limited to a maximum of 3 months of the year (4,880 tpd urea and 2,789 tpd ammonia). |  | Boiler | 11.31 | natural gas | 864 | MMBTU/H |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 0.0054 | LB/MMBTU | 3-HOUR AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*ND-0033 | GRAND FORKS FERTILIZER PLANT | NORTHERN PLAINS NITROGEN | GRAND FORKS | ND | 58203 | USA | LARRY MACKIE |  | LARRYMACKIE@GMAIL.COM | 8 | ND001 | NORTH DAKOTA DEPARTMENT OF HEALTH | MR. CRAIG THORSTENSON | 701-328-5188 | CTHORSTENSON@ND.GOV |  | PTC15052 | 2873 | 325311 |  | 01/20/2015 &nbsp;ACT | 08/10/2015 &nbsp;ACT | 2015-08-24 | 2015-08-24 | A | http://www.ndhealth.gov/AQ/ActivePermits.aspx | Fertilizer manufacturing plant designed to produce both feedstock and saleable products in the following nominal capacities: 2425 tpd ammonia, 2540 tpd ammonium nitrate solution, 300 tpd DEF, 3000 tpd urea solution, 3000 tpd granular urea, 2000 tpd nitric acid, 5620 tpd UAN, 441 tpd ammonium thiosulfate and 1080 tpd APP |  | Boilers | 11.31 | Natural gas | 187.5 | MMBTU/H | Facility includes 3 boilers of identical size (187.5 MM Btu/hr each) | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion Practices | 0.0054 | LB/MM BTU | 1-HOUR AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0248 | DIRECT REDUCTION IRON PLANT | CONSOLIDATED ENVIRONMENTAL MANAGEMENT INC - NUCOR | ST JAMES PARISH | LA | 70723 | USA | STEVE ROWLAN | (704) 366-7000 |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | KERMIT WITTENBURG, KERMIT.WITTENBURG@LA.GOV | PSD-LA-751 | 3312 | 331111 | 110037583442 | 10/31/2010 &nbsp;ACT | 01/27/2011 &nbsp;ACT | 2011-06-28 | 2011-12-08 | B |  | THE DRI PROCESS REDUCES THE IRON OXIDE CONTENT OF IRON ORE PELLETS INTO IRON METAL THROUGH DIRECT CONTACT WITH A REDUCING GAS. THE EFFECTIVENESS OF THIS REDUCTION PROCESS IS CALLED METALLIZATION, AND THE PROCESS EQUIPMENT WILL BE DESIGNED TO ACHIEVE A METALLIZATION RATE OF AT LEAST 92% OF THE OXIDES WITHIN THE ORE. THE REDUCTION WILL TAKE PLACE IN A COUNTERCURRENT VERTICAL SHAFT FURNACE, WHERE REDUCING GAS PASSES UP THROUGH IRON OXIDE PELLETS, WHICH FEED THROUGH THE FURNACE BY GRAVITY. THE MAJOR ELEMENTS OF THE DRI PROCESS INCLUDE THE FOLLOWING: (1) IRON OXIDE PREPARATION; (2) REDUCING GAS PREPARATION; (3) DRI REACTOR SHAFT FURNACE; (4) SPENT REDUCING GAS PREPARATION FOR REUSE, (5) DRI PRODUCT HANDLING; AND (6) ANCILLARY OPERATIONS, INCLUDING A PACKAGE BOILER, TWO COOLING TOWERS, AND A FLARE FOR EMERGENCY SITUATIONS. | ON 1/27/11, LDEQ ISSUED TO NUCOR TITLE V (TV) AND PSD PERMITS AUTHORIZING TWO DRI UNITS (MIDREX DESIGN). ON 9/29/11, NUCOR REQUESTED APPROVAL TO CONVERT ONE UNIT TO A DESIGN DEVELOPED BY TENOVA HYL. THE ONLY SIGNIFICANT DIFFERENCE BETWEEN THE MIDREX AND HYL DESIGNS IS THE POINT IN THE PROCESS WHERE NATURAL GAS IS REFORMED INTO CO & H2. LDEQ APPROVED NUCORâ€™S APPLICATION AND MODIFIED THE TV PERMIT ON 3/8/12. HOWEVER, LDEQ CONCLUDED THAT ITS INITIAL BACT DETERMINATIONS REMAINED APPROPRIATE AND DID NOT MODIFY THE PSD PERMIT. LDEQ SUBSEQUENTLY DECIDED TO REOPEN PSD-LA-751 FOR THE LIMITED PURPOSE OF CONFIRMING LDEQâ€™S INITIAL ASSESSMENT. LDEQ REQUIRED NUCOR TO PROVIDE AN ANALYSIS DEMONSTRATING THAT 1.) BACT FOR THE HYL EQUIPMENT IS NOT MORE STRINGENT THAN THAT PROVIDED BY PSD-LA-751, AND 2.) USE OF HYL EQUIPMENT IN ONE UNIT OF THE DRI FACILITY DOES NOT MATERIALLY CHANGE THE ORIGINAL AIR QUALITY ANALYSIS. LDEQ AGAIN CONCLUDED THAT NO CHANGES TO THE EXISTING BACT DETERMINATIONS WERE WARRANTED AND THAT THE HYL DESIGN DOES NOT RESULT IN ADVERSE AIR QUALITY IMPACTS. THEREFORE, LDEQ REVISED PSD-LA-751 ON 11/16/12 ONLY TO CLARIFY THAT IT COVERS THE HYL (I.E., IN SITU REFORMING) EQUIPMENT. MORE SPECIFICALLY, PSD-LA-751(M-1) REFLECTED THE FOLLOWING CHANGES: 1. REPLACEMENT OF THE DRI UNIT NO. 1 REFORMER (DRI-108) WITH A PROCESS HEATER. 2. REVISION OF THE PM10/PM2.5 BACT LIMIT FOR DRI-108 FROM 0.0027 GR/DSCF TO 0.006 LB/MM BTU TO ACCOUNT FOR BOTH FILTERABLE AND CONDENSABLE PM. 3. DELETION OF THE DRI UNIT NO. 1 UPPER SEAL GAS VENT. 4. REMOVAL OF SEAL GAS EMISSIONS FROM THE DRI UNIT NO. 1 FURNACE DUST COLLECTION. 5. LOWERING OF THE FIRING RATE OF THE DRI UNIT NO. 1 PACKAGE BOILER FROM 290 TO 100 MM BTU/HR. 6. REVISION OF THE EMISSIONS LIMITATIONS FOR THE DRI UNIT NO. 1 HOT FLARE TO REFLECT THAT IT WILL NOW BE UTILIZED FOR ONLY SU/SD OPERATIONS INSTEAD OF INTERMITTENTLY DURING NORMAL OPERATIONS. | DRI-209 - DRI Unit #2 Package Boiler Flue Stack | 11.31 | Natural Gas | 1760 | Billion Btu/yr | The package boilers provide steam to each DRI unit. The steam is primarily used to heat the reboiler in the acid gas absorption system, as well as for utility purposes. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 1.19 | LB/H |  | BACT-PSD |  | N | 0 | U | 4.75 | T/YR |  | 0 |  |  | 0 | 0 | N
LA-0248 | DIRECT REDUCTION IRON PLANT | CONSOLIDATED ENVIRONMENTAL MANAGEMENT INC - NUCOR | ST JAMES PARISH | LA | 70723 | USA | STEVE ROWLAN | (704) 366-7000 |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | KERMIT WITTENBURG, KERMIT.WITTENBURG@LA.GOV | PSD-LA-751 | 3312 | 331111 | 110037583442 | 10/31/2010 &nbsp;ACT | 01/27/2011 &nbsp;ACT | 2011-06-28 | 2011-12-08 | B |  | THE DRI PROCESS REDUCES THE IRON OXIDE CONTENT OF IRON ORE PELLETS INTO IRON METAL THROUGH DIRECT CONTACT WITH A REDUCING GAS. THE EFFECTIVENESS OF THIS REDUCTION PROCESS IS CALLED METALLIZATION, AND THE PROCESS EQUIPMENT WILL BE DESIGNED TO ACHIEVE A METALLIZATION RATE OF AT LEAST 92% OF THE OXIDES WITHIN THE ORE. THE REDUCTION WILL TAKE PLACE IN A COUNTERCURRENT VERTICAL SHAFT FURNACE, WHERE REDUCING GAS PASSES UP THROUGH IRON OXIDE PELLETS, WHICH FEED THROUGH THE FURNACE BY GRAVITY. THE MAJOR ELEMENTS OF THE DRI PROCESS INCLUDE THE FOLLOWING: (1) IRON OXIDE PREPARATION; (2) REDUCING GAS PREPARATION; (3) DRI REACTOR SHAFT FURNACE; (4) SPENT REDUCING GAS PREPARATION FOR REUSE, (5) DRI PRODUCT HANDLING; AND (6) ANCILLARY OPERATIONS, INCLUDING A PACKAGE BOILER, TWO COOLING TOWERS, AND A FLARE FOR EMERGENCY SITUATIONS. | ON 1/27/11, LDEQ ISSUED TO NUCOR TITLE V (TV) AND PSD PERMITS AUTHORIZING TWO DRI UNITS (MIDREX DESIGN). ON 9/29/11, NUCOR REQUESTED APPROVAL TO CONVERT ONE UNIT TO A DESIGN DEVELOPED BY TENOVA HYL. THE ONLY SIGNIFICANT DIFFERENCE BETWEEN THE MIDREX AND HYL DESIGNS IS THE POINT IN THE PROCESS WHERE NATURAL GAS IS REFORMED INTO CO & H2. LDEQ APPROVED NUCORâ€™S APPLICATION AND MODIFIED THE TV PERMIT ON 3/8/12. HOWEVER, LDEQ CONCLUDED THAT ITS INITIAL BACT DETERMINATIONS REMAINED APPROPRIATE AND DID NOT MODIFY THE PSD PERMIT. LDEQ SUBSEQUENTLY DECIDED TO REOPEN PSD-LA-751 FOR THE LIMITED PURPOSE OF CONFIRMING LDEQâ€™S INITIAL ASSESSMENT. LDEQ REQUIRED NUCOR TO PROVIDE AN ANALYSIS DEMONSTRATING THAT 1.) BACT FOR THE HYL EQUIPMENT IS NOT MORE STRINGENT THAN THAT PROVIDED BY PSD-LA-751, AND 2.) USE OF HYL EQUIPMENT IN ONE UNIT OF THE DRI FACILITY DOES NOT MATERIALLY CHANGE THE ORIGINAL AIR QUALITY ANALYSIS. LDEQ AGAIN CONCLUDED THAT NO CHANGES TO THE EXISTING BACT DETERMINATIONS WERE WARRANTED AND THAT THE HYL DESIGN DOES NOT RESULT IN ADVERSE AIR QUALITY IMPACTS. THEREFORE, LDEQ REVISED PSD-LA-751 ON 11/16/12 ONLY TO CLARIFY THAT IT COVERS THE HYL (I.E., IN SITU REFORMING) EQUIPMENT. MORE SPECIFICALLY, PSD-LA-751(M-1) REFLECTED THE FOLLOWING CHANGES: 1. REPLACEMENT OF THE DRI UNIT NO. 1 REFORMER (DRI-108) WITH A PROCESS HEATER. 2. REVISION OF THE PM10/PM2.5 BACT LIMIT FOR DRI-108 FROM 0.0027 GR/DSCF TO 0.006 LB/MM BTU TO ACCOUNT FOR BOTH FILTERABLE AND CONDENSABLE PM. 3. DELETION OF THE DRI UNIT NO. 1 UPPER SEAL GAS VENT. 4. REMOVAL OF SEAL GAS EMISSIONS FROM THE DRI UNIT NO. 1 FURNACE DUST COLLECTION. 5. LOWERING OF THE FIRING RATE OF THE DRI UNIT NO. 1 PACKAGE BOILER FROM 290 TO 100 MM BTU/HR. 6. REVISION OF THE EMISSIONS LIMITATIONS FOR THE DRI UNIT NO. 1 HOT FLARE TO REFLECT THAT IT WILL NOW BE UTILIZED FOR ONLY SU/SD OPERATIONS INSTEAD OF INTERMITTENTLY DURING NORMAL OPERATIONS. | DRI-109 - DRI Unit #1 Package Boiler Flue Stack | 11.31 | Natural Gas | 1760 | Billion Btu/yr | The package boilers provide steam to each DRI unit. The steam is primarily used to heat the reboiler in the acid gas absorption system, as well as for utility purposes. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 1.56 | LB/H |  | BACT-PSD |  | N | 0 | U | 4.75 | T/YR |  | 0 |  |  | 0 | 0 | N
*LA-0312 | ST. JAMES METHANOL PLANT | SOUTH LOUISIANA METHANOL LP | ST. JAMES | LA |  | USA | BRIAN JONES | (512) 394-7346 |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Mr. Christopher Smith, (225) 219-3439 | PSD-LA-780(M-1) | 2869 | 325998 | Not Found | 09/30/2015 &nbsp;ACT | 06/30/2017 &nbsp;ACT | 2017-03-10 | 2017-12-27 | A |  | New MeOH plant designed to produce 5,275 metric tons per day of refined methanol from natural gas and carbon dioxide (CO2) feedstock | New methanol plant designed to produce 5,275 metric tons per day of refined methanol from natural gas and carbon dioxide (CO2) feedstock | B1-13 - Boiler 1 (EQT0003) | 11.31 | Natural Gas | 350 | MM BTU/hr |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion Practices | 1.89 | LB/HR |  | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0.0054 | LB/MMBTU |  | 0 |  |  | 0 | 0 | N
*LA-0312 | ST. JAMES METHANOL PLANT | SOUTH LOUISIANA METHANOL LP | ST. JAMES | LA |  | USA | BRIAN JONES | (512) 394-7346 |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Mr. Christopher Smith, (225) 219-3439 | PSD-LA-780(M-1) | 2869 | 325998 | Not Found | 09/30/2015 &nbsp;ACT | 06/30/2017 &nbsp;ACT | 2017-03-10 | 2017-12-27 | A |  | New MeOH plant designed to produce 5,275 metric tons per day of refined methanol from natural gas and carbon dioxide (CO2) feedstock | New methanol plant designed to produce 5,275 metric tons per day of refined methanol from natural gas and carbon dioxide (CO2) feedstock | B2-13 - Boiler 2 (EQT0004) | 11.31 | Natural Gas | 350 | MM BTU/hr |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion Practices | 1.89 | LB/HR |  | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0.0054 | LB/MMBTU |  | 0 |  |  | 0 | 0 | N
TX-0666 | PINCREST ENERGY CENTER | PINECREST ENERGY CENTER, LLC | ANGELINA COUNTY | TX | 75904 | USA | KATHLEEN SMITH | 281-253-4385 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Marc Sturdivant marc.sturdivant@tceq.texas.gov 512-239-1313 | PSD-TX-1298, 103839 | 4911 | 221112 | UNKNOWN | 11/12/2014 &nbsp;ACT | 07/31/2014 &nbsp;ACT | 2015-02-02 | 2016-07-29 | A |  | New natural gas fired combined cycle electric generating plant. |  | Combined-cycle gas turbine electric generating facility | 11.31 | natural gas | 637 | MW | three possible turbines: General Electric 7Fa.05, Siemens SGT6-5000F(4), or Siemens SGT6-5000F(B). | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 2 | PPMVD @ 15% O2 | ROLLING 3-HR AVERAGE | BACT-PSD | NSPS , MACT | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0815 | PORT ARTHUR ETHANE SIDE CRACKER | TOTAL PETROCHEMICALS & REFINING USA, INC. | JEFFERSON | TX |  | USA | DOROTHY BARTOL | (409) 963-6800 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Mr. Daniel Guthrie, (512) 239-1319, Daniel.Guthrie@tceq.texas.gov | 122353, PSDTX1426, GHGPSDTX114 | 2869 | 325110 | Not Found | 11/17/2016 &nbsp;ACT | 01/17/2017 &nbsp;ACT | 2017-01-18 | 2017-11-16 | B |  | Ethylene Production |  | Pyrolysis Furnaces | 11.31 | NATURAL GAS | 1000 | kT / YR | 7 furnaces | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 24.68 | T/YR |  | BACT-PSD | NSPS | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | NSPS RRR
IN-0173 | MIDWEST FERTILIZER CORPORATION | MIDWEST FERTILIZER CORPORATION | POSEY | IN | 47620 | USA | MICHAEL CHORLTON | 3176258315 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: DAVID MATOUSEK (317) 232-8253 DMATOUSE@IDEM.IN.GOV SECTION CHIEF: NATHAN BELL (317) 233-5670 NBELL@IDEM.IN.GOV | 129-33576-00059 | 2873 | 325311 | 110059696841 | 08/26/2013 &nbsp;ACT | 06/04/2014 &nbsp;ACT | 2014-07-17 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/33576F.PDF | A STATIONARY NITROGEN FERTILIZER MANUFACTURING FACILITY |  | REFORMER FURNACE | 11.31 | NATURAL GAS, PROCESS GAS | 950.64 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GOOD COMBUSTION PRACTICES AND PROPER DESIGN | 5.5 | LB/MMCF | 3-HR AVERAGE | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
IN-0180 | MIDWEST FERTILIZER CORPORATION | MIDWEST FERTILIZER CORPORATION | POSEY | IN | 47620 | USA | MICHAEL CHORLTON | 3176258315 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: DAVID MATOUSEK (317) 232-8253 DMATOUSE@IDEM.IN.GOV SECTION CHIEF: NATHAN BELL (317) 233-5670 NBELL@IDEM.IN.GOV | 129-33576-00059 | 2873 | 325311 | 110059696841 | 08/26/2013 &nbsp;ACT | 06/04/2014 &nbsp;ACT | 2014-08-12 | 2016-05-05 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/33576F.PDF | A STATIONARY NITROGEN FERTILIZER MANUFACTURING FACILITY |  | REFORMER FURNACE | 11.31 | NATURAL GAS, PROCESS GAS | 950.64 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GOOD COMBUSTION PRACTICES AND PROPER DESIGN | 5.5 | LB/MMCF | 3-HR AVERAGE | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0277 | COMONIMER-1 UNIT | SASOL CHEMICALS (USA) LLC | CALCASIEU | LA | 70669 | USA | ERIC RODRIGUEZ | 281-588-3761 | ERIC.RODRIGUEZ@SASOL.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Dan Nguyen, (225) 219-3395 | PSD-LA-814 | 2869 | 325199 | 110017418061 | 04/30/2016 &nbsp;ACT | 09/01/2016 &nbsp;ACT | 2016-06-23 | 2017-04-28 | B |  | Production unit to produce 1-hexene and 1-octene | Permit was modified (PSD-LA-814(M1)) 10/20/16 | Utility Steam Boilers (3 units) | 11.31 |  | 418.5 | MM BTU/hr | Fuels: CH4, Ethane, Refinery Fuel Gas, H2-Rich Waste Gas Existing boilers, only economizers are added | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good Operating Practices | 3.23 | LBS/HR | HOURLY MAXIMUM | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IA-0106 | CF INDUSTRIES NITROGEN, LLC - PORT NEAL NITROGEN COMPLEX | CF INDUSTRIES NITROGEN, LLC | WOODBURY | IA | 51054 | USA | MIKE MAAS | 712-233-6222 | MMAAS@CFINDUSTRIES.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV | Christopher A. Roling, PE Environmental Engineer Senior Iowa DNR - Air Quality Bureau 7900 Hickman Rd, Suite 1 Windsor Heights, IA 50324 (515) 242-6002 chris.roling@dnr.iowa.gov | PN 13-037 | 2873 | 325311 | 110000414089 | 02/01/2013 &nbsp;ACT | 07/12/2013 &nbsp;ACT | 2013-07-16 | 2016-05-04 | B |  | Nitrogenous fertilizer manufacturing including ammonia, urea, and urea-ammonium nitrate (UAN) solutions. |  | Boilers | 11.31 | natural gas | 456 | MMBTU/H | There are two (2) identical boilers | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | good operating practices and use of natural gas | 0.0014 | LB/MMBTU | AVERAGE OF THREE (3) STACK TEST RUNS | BACT-PSD |  | U | 0 | U | 2.8 | TONS/YR | ROLLING TWELVE (12) MONTH TOTAL | 0 |  |  | 0 | 0 | N
*TX-0671 | PROJECT JUMBO | M&G RESINS USA, LLC | NUECES | TX |  | USA | MAURO FENOGLIO | 281-874-8074 | MAURO.FENOGLIO@GRUPPOMG.COM | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Ozden Tamer, Phone 512-239-4577 | 108446/PSDTX1352 | 2821 | 325211 |  | 02/22/2013 &nbsp;ACT | 12/01/2014 &nbsp;ACT | 2015-03-03 | 2017-11-17 | A |  | Plastic Resin Manufacturing Plant | M&G proposes to install 4 HTF process heaters each with a heat input of 141.82 MMBtu/hr (HHV). Each heater will be fired with natural gas and supplemental methane-rich biogas as fuel and will also combust two process waste gas streams. NOx emissions from the HTF heaters will be reduced using selective catalytic reduction (SCR) technology involving injection of aqueous ammonia. | Flare | 11.31 | Natural gas | 0 |  | Flare is required to meet 40CFR60.18, and a DRE of 99% for compounds up to three carbons, 98% for others. No flaring of halogenated compounds is allowed. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Meet 40CFR60.18 for steam assisted flare | 99 | PERCENT | DRE AT ALL TIMES | BACT-PSD | NSPS , NESHAP | U | 99 | U | 0.01 | LB/H AND T/YR | VOC, HOURLY | 0 |  |  | 0 | 0 | N
CT-0156 | MONTVILLE POWER LLC | NRG ENERGY |  | CT | 6382 | USA | ROBERT SPOONER | 860-982-0459 | ROBERT.SPOONER@NRGENERGY.COM | 1 | CT001 | CONNECTICUT DEPT OF ENERGY & ENVIRONMENTAL PROTECTION | MR. GARY ROSE | (860)424-3468 | gary.rose@ct.gov | JAMES GRILLO (860) 424-4152 | 107-0056 | 4911 | 221119 | 900700108 | 05/11/2009 &nbsp;ACT | 04/06/2010 &nbsp;ACT | 2010-04-13 | 2013-05-30 | D |  | 43 MW STOKER FIRED BIOMASS; 82 MW TANGENTIALLY FIRED NATURAL GAS/ULS DISTILLATE UTILITY BOILER (7% ANNUAL CAPACITY FACTOR) |  | 82 MW Utility Boiler | 11.31 | Natural Gas | 995 | MMBTU/H | 7% annual capacity factor for distillate and natural gas firing. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | A | Oxidation Catalyst | 5.5 | LB/H |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0245 | HYDROGEN PLANT | VALERO REFINING - NEW ORLEANS, LLC | ST. CHARLES | LA | 70079 | USA | ROBERT MARTIN | (985)764-8611 | ROB.MARTIN@VALERO.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Dan Nguyen - 225-219-3395 | PSD-LA-750 | 2911 | 324110 | Not Available | 08/18/2010 &nbsp;ACT | 12/15/2010 &nbsp;ACT | 2011-03-29 | 2011-07-06 | B |  | A plant to produce hydrogen by steam reforming natural gas. | Application Accepted Received Date = Date of completeness Determination | SMR Heaters (EQT0400 and EQT0401) | 11.31 | Fuel Gas | 1055 | MMBTU/H | Two identical units | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Proper equipment designs and operations, good combustion practices | 0.0054 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 5.69 | LB/H | HOURLY MAXIMUM (EACH UNIT) | 0 |  |  | 0 | 0 | N
TX-0541 | POWER LANE STEAM PLANT | GEUS | HUNT | TX | 75401 | USA |  |  |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | MS. KATHERINE STINCHCOMB (512) 239-1583 | 86301 | 4911 | 221121 | UNKNOWN | 09/26/2008 &nbsp;ACT | 05/18/2009 &nbsp;ACT | 2009-11-06 | 2009-11-06 | A |  | GREENVILLE ELECTRIC UTILITY SYSTEM (GEUS) IS PROPOSING TO ADD THREE SPARK IGNITION INTERNAL COMBUSTION ENGINES WITH SUPPORT EQUIPMENT AT THEIR EXISTING GREENVILLE BOILER PLANT IN GREENVILLE, TEXAS. THE ENGINES (20V34SG BY WARTSILA) WILL BE FUELED BY NATURAL GAS WITH A NOMINAL ELECTRICAL OUTPUT OF APPROXIMATELY 8.439 MW EACH (25 MW TOTAL). THE AUXILIARY EQUIPMENT TO BE INSTALLED WITH THIS PROJECT CONSISTS OF A DIESEL FIRE PUMP, A NATURAL GAS FIRED HEATER, AND A UREA STORAGE TANK. | PSDTX1173 | ELECTRICAL GENERATION | 11.31 | NATURAL GAS | 8.44 | MW | GREENVILLE ELECTRIC UTILITY SYSTEM (GEUS) IS PROPOSING TO ADD THREE SPARK IGNITION INTERNAL COMBUSTION ENGINES WITH SUPPORT EQUIPMENT AT THEIR EXISTING GREENVILLE BOILER PLANT IN GREENVILLE, TEXAS. THE ENGINES (20V34SG BY WARTSILA) WILL BE FUELED BY NATURAL GAS WITH A NOMINAL ELECTRICAL OUTPUT OF APPROXIMATELY 8.439 MW EACH (25 MW TOTAL). THE AUXILIARY EQUIPMENT TO BE INSTALLED WITH THIS PROJECT CONSISTS OF A DIESEL FIRE PUMP, A NATURAL GAS FIRED HEATER, AND A UREA STORAGE TANK. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | TCEQÂ¿S CURRENT BACT GUIDELINES FOR GAS-FIRED, SPARK-IGNITED INTERNAL COMBUSTION ENGINES IS 1 G /BHP-HR. GEUS PROPOSES GOOD COMBUSTION PRACTICES AND AN OXIDATION CATALYST AS BACT AND WILL BE EMITTING VOCS AT 0.3 G/BHP HR | 1 | G/B-HP-H |  | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0254 | NINEMILE POINT ELECTRIC GENERATING PLANT | ENTERGY LOUISIANA LLC | JEFFERSON | LA | 70094 | USA | CHRISTEE HERBERT | (504) 576-5699 | CHERBER@ENTERGY.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | PERMIT WRITER: CHRIS SMITH, (225) 219-3417 | PSD-LA-752 | 4911 | 221112 | 110002049328 | 09/14/2010 &nbsp;ACT | 08/16/2011 &nbsp;ACT | 2011-09-22 | 2011-12-12 | B |  | 1827 MW POWER PLANT (PRE-PROJECT). NATURAL GAS IS PRIMARY FUEL; NO. 2 &amp; NO. 4 FUEL OIL ARE SECONDARY FUELS. PROJECT INVOLVES DECOMMISSIONING OF 2 BOILERS AND THE CONSTRUCTION OF 2 COMBINED CYCLE GAS TURBINES WITH DUCT BURNERS, A NATURAL GAS-FIRED AUXILIARY BOILER, A DIESEL GENERATOR, 2 COOLING TOWERS, A FUEL OIL STORAGE TANK, A DIESEL-FIRED FIREWASTER PUMP, AND AN ANHYDROUS AMMONIA TANK. FUELS FOR THE TURBINES INCLUDE NATURAL GAS, NO. 2 FUEL OIL, AND ULTRA LOW SULFUR DIESEL. | APPLICATION ACCEPTED RECEIVED DATE = DATE OF ADMINISTRATIVE COMPLETENESS BACT FOR GREENHOUSE GASES (CO2E) FROM THE COMBINED CYCLE TURBINE GENERATORS (UNITS 6A & 6B) IS OPERATING PROPERLY AND PERFORMING NECESSARY ROUTINE MAINTENANCE, REPAIR, AND REPLACEMENT TO MAINTAIN THE GROSS HEAT RATE AT OR BELOW 7630 BTU/KW-HR (HHV) (ANNUAL AVERAGE). | AUXILIARY BOILER (AUX-1) | 11.31 | NATURAL GAS | 338 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | USE OF PIPELINE QUALITY NATURAL GAS AND GOOD COMBUSTION PRACTICES | 5.5 | LB/MMSCF | ANNUAL AVERAGE | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0 |  |  | 5.5 | LB/MMSCF | ANNUAL AVERAGE | 0 | 0 | N
CA-1173 | NASSCO | NASSCO | SAN DIEGO | CA | 92113 | USA |  |  |  | 9 | CA030 | SAN DIEGO COUNTY APCD, CA | MR. GARY SMITH | (858)586-2722 | gary.smith@sdcounty.ca.gov | Arturo Gonzalez (858)-586-2721 Art.Gonzalez@SDCounty.ca.gov | 986868-72 | 3731 | 336611 | CAR000161455 | &nbsp; | 08/14/2008 &nbsp;ACT | 2010-09-20 | 2011-04-11 | A |  |  |  | Concentrator/RTO | 11.31 | Natural gas | 5000 | SCFM |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | A | VOC concentrator and RTO | 2 | T/YR |  | BACT-PSD | OTHER | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
AL-0271 | GEORGIA PACIFIC BRETON LLC | GEORGIA PACIFIC LLC | ESCAMBIA | AL | 36427 | USA | ROBERTO FLORES | 251-867-8358 | ROBERTO.FLORES@GAPAC.COM | 4 | AL001 | ALABAMA DEPT OF ENVIRONMENTAL MGMT | MR. DALE HURST | (334) 271-7882 | ADH@ADEM.STATE.AL.US |  | 502-0001-X049 | 2631 | 322130 | Unknown | 04/18/2014 &nbsp;ACT | 06/11/2014 &nbsp;ACT | 2014-07-11 | 2016-05-04 | D |  | Kraft Pulp &amp; Paper mdu | NAICS Code: 322130 | No.4 Power Boiler | 11.31 | Natural Gas | 425 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0053 | LB/MMBTU |  | BACT-PSD | MACT | U | 0 | N | 2.3 | LB/H |  | 0 |  |  | 0 | 0 | N |  | Good Combustion Practices
AK-0083 | KENAI NITROGEN OPERATIONS | AGRIUM U.S. INC. | USA | AK | 99611 | USA | TED HARTMAN | 913 302 7469 | TED.HARTMAN@AGRIUM.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV |  | AQ0083CPT06 | 2873 | 325311 | 110030488620 | 11/25/2014 &nbsp;ACT | 01/06/2015 &nbsp;ACT | 2015-01-29 | 2016-02-19 | A | http://dec.alaska.gov/Applications/Air/airtoolsweb/Home/ViewAttachment/16672291/KQZafTqmYd8SVnZ3RUWQfQ2 | The Kenai Nitrogen Operations Facility is located at Mile 21 of the Kenai Spur Highway, near Kenai Alaska. It is classified as a nitrogenous fertilizer manufacturing facility under Standard Industrial Classification code 2873 and under North American Industrial Classification code 325311. The facility will produce ammonia and urea for bulk sale. There are two ammonia and two urea plants at Agriumâ€™s KNO facility. This permit authorizes the restart of one ammonia and one urea plant (plants 4 and 5). The ammonia plant converts natural gas with added steam and air to produce ammonia (NH3) and carbon dioxide (CO2). Feedstocks for the urea plant include CO2 and NH3. The utility plant generates the power and steam needed to operate the ammonia and urea plants. Final products are loaded at the Product Loading Wharf for shipment. |  | Primary Reformer Furnace | 11.31 | Natural Gas, Process Gas | 1350 | MMBTU/H | Natural Gas-, Process Gas-Fired 1,350 MMBtu/hr Primary Reformer Furnace. Installed in 1976. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0054 | LB/MMBTU | 3-HR AVG | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
ID-0021 | MAGNIDA | MAGNOLIA NITROGEN IDAHO LLC | POWER | ID | 83211 | USA | TOM HORNYAK | 303-905-2675 | THORNYAK@MAGNIDA.COM | 10 | ID001 | IDAHO DEPT OF ENVIRONMENTAL QUALITY | MR. BILL ROGERS | (208)373-0437 | WILLIAM.ROGERS@DEQ.IDAHO.GOV | DAN PITMAN, P.E., PERMIT WRITER | P-2013.0030 | 2873 | 325311 | Not Found | 12/02/2013 &nbsp;ACT | 04/21/2014 &nbsp;ACT | 2017-05-19 | 2017-09-11 | A | NO LONGER AVAILABLE ON-LINE AS THE PERMIT IS EXPIRED | MAGNOLIA NITROGEN IDAHO LLC (MAGNIDA) IS PROPOSING TO CONSTRUCT A NEW COMPLEX FOR MANUFACTURING NITROGEN-BASED FERTILIZERS FROM NATURAL GAS. THE FACILITY WILL PRODUCE AMMONIA, GRANULATED UREA, UREA AMMONIUM NITRATE (UAN), AND DEISEL EXHAUST FLUID (DEF) FOR COMMERCIAL USE. | THIS PERMIT EXPIRED IN NOV. 2016; THE PROJECT WILL NOT BE PURSUED BY MAGNOLIA/MAGNIDA. There is one non-emissions BACT limit: Startup Heater Code 19.6 - has only a gas usage limit of 2.7 MMSCF per rolling 12-month period. | PACKAGE BOILER | 11.31 | Natural Gas | 275 | MMBtu/hr (HHV) | Provides heat throughout facility. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0054 | LB/MMBTU | 3 TEST RUN AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
AL-0276 | MOUNT VERNON MILL | THYSSENKRUP STEEL USA, LLC | MOBILE | AL | 36513 | USA | JORDAN COLLINS | 251-289-3833 | JORDAN.COLLINS@ARCELORMITTAL.COM | 4 | AL001 | ALABAMA DEPT OF ENVIRONMENTAL MGMT | MR. DALE HURST | (334) 271-7882 | ADH@ADEM.STATE.AL.US |  | 503-0095-X001 | 3312 | 331221 | Unknown | 08/03/2009 &nbsp;ACT | 03/25/2010 &nbsp;ACT | 2015-02-27 | 2016-05-05 | C |  | The carbon steel mill would receive slabs primarily by barge. These carbon steel slabs would be heated and rolled to from a long strip in the hot strip mill. After rolling, the coils would be prepared for sale or would proceed to the picklin lines. After pickling, if needed, the strips would be cold-rolled for sale or would be further processed in the galvanizing lines. |  | Walking Beam Furnaces | 11.31 | Natural Gas | 845 | MMBTU/H | Throughput Capacity/Size: 845 mmbtu/hr (51-53) | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0055 | LB/MMBTU |  | BACT-PSD |  | U | 0 | N | 4.65 | LB/H |  | 0 |  |  | 0 | 0 | N |  | Test Method Info: 18 or 25A
AR-0094 | JOHN W. TURK JR. POWER PLANT | SOUTHWEST ELECTRIC POWER COMPANY | FULTON | AR | 71838 | USA | KRIS GAUS | 214771113 | KPGAIS@AEP.COM | 6 | AR001 | ARKANSAS DEPT OF ENVIRONMENTAL QUALITY | MR. THOMAS RHEAUME | (501) 682-0762 | rheaume@adeq.state.ar.us |  | 2123-AOP-R0 | 4911 | 221112 | UNKNOWN | 07/08/2008 &nbsp;ACT | 11/05/2008 &nbsp;ACT | 2009-01-09 | 2010-04-09 | A |  | 600 MW POWDER RIVER BASIN SUB-BITUMINOUS PULVERIZED COAL FIRED POWER PLANT | PSD AND 112(G) PERMIT DECISION | AUXILIARY BOILER | 11.31 | NATURAL GAS | 555 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0055 | LB/MMBTU | 3 HOUR AVERAGE | BACT-PSD |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
IA-0096 | VERASUN CHARLES CITY, LLC |  | FLOYD | IA | 50616 | USA | JENNIFER BURTON | 6417153015 |  | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV | KAREN KUHN KAREN.KUHN@DNR.IOWA.GOV (515) 281-4306 | 08-A-660-P | 2869 | 325193 | 110024519225 | 12/26/2007 &nbsp;ACT | 11/18/2008 &nbsp;ACT | 2008-12-31 | 2009-02-10 | B |  | DRY MILL ETHANOL PLANT, ALSO MAKING CORN OIL USING HEXANE EXTRACTION FROM DDGS |  | COE BOILER | 11.31 | NATURAL GAS | 50 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.27 | LB/H | AVG. OF 3 TEST RUNS | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N