## All Pollutants_Large Boilers 11
RBLCID | FACILITY_NAME | CORPORATE_OR_COMPANY_NAME | FACILITY_COUNTY | FACILITY_STATE | FACILITY_ZIP_CODE | FACILITY_COUNTRY | FACILTY_CONTACT_NAME | FACILITY_PHONE | FACILITY_CONTACT_EMAIL | EPA_REGION | AGENCY_CODE | AGENCY_NAME | AGENCY_CONTACT | AGENCY_PHONE | AGENCY_EMAIL | OTHER_AGENCY_CONTACT_INFO | PERMIT_NUM | SIC_CODE | NAICS_CODE | FACILITY_REGISTRY_SYSTEM_NUMBER | COMPLETE_APPLICATION_DATE | PERMIT_ISSUANCE_DATE | DATE_DETERMINATION_ENTERED_INTO_RBLC | DATE_DETERMINATION_LAST_UPDATED | PERMIT_TYPE | PERMIT_URL | FACILITY_DESCRIPTION | PERMIT_NOTES | PROCESS_NAME | PROCCESS_TYPE | PRIMARY_FUEL | THROUGHPUT | THROUGHPUT_UNIT | PROCESS_NOTES | POLLUTANT | TESTMETHOD | POLLUTANT_GROUP(S) | CAS_NUMBER | CONTROL_METHOD_CODE | CONTROL_METHOD_DESCRIPTION | EMISSION_LIMIT_1 | EMISSION_LIMIT_1_UNIT | EMISSION_LIMIT_1_AVG_TIME_CONDITION | CASE-BY-CASE_BASIS | OTHER_ APPLICABLE_REQUIREMENTS | OTHER_FACTORS | PERCENT_EFFICIENCY | COMPLIANCE_VERIFIED | EMISSION_LIMIT_2 | EMISSION_LIMIT_2_UNIT | EMISSION_LIMIT_2_AVGERAGE_TIME_CONDITION | STANDARAD_EMISSION_LIMIT | STANDARD_EMISSION_LIMIT_UNIT | STANDARD_LIMIT_AVERAGE_TIME_CONDITION | COST_EFFECTIVENESS | INCREMENTAL_COST_EFFECTIVENESS | Cost_Verified | DOLLAR_YEAR_USED_IN_COST_ESTIMATES | POLLUTANT_COMPLIANCE_NOTES
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Utility Boiler 1 | 11.31 | Natural Gas | 656 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Combustion controls (proper burner design and operation using natural gas) | 0.0054 | LB/MMBTU | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 15.5 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054 LB/MMBTU (12-Month Rolling Average)
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Utility Boiler 2 | 11.31 | Natural Gas | 656 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Combustion controls (proper burner design and operation using natural gas) | 0.0054 | LB/MMBTU | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 15.5 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054LB/MMBTU (12-Month Rolling Average)
*LA-0315 | G2G PLANT | BIG LAKE FUELS LLC | CALCASIEU | LA | 70605 | USA |  |  |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-781 | 2869 | 325110 | Not Found | 09/04/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2017-03-13 | 2017-03-16 | A |  | The G2G Plant will be a natural gas to gasoline production facility which will use natural gas to produce methanol that will be subsequently converted into gasoline. |  | Utility Boiler 3 | 11.31 | Natural Gas | 656 | MMBTU/HR |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Combustion controls (proper burner design and operation using natural gas) | 0.0054 | LB/MMBTU | HOURLY MAXIMUM | BACT-PSD | OPERATING PERMIT | U | 0 | U | 15.5 | T/YR | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | BACT Limit = 0.0054LB/MMBTU (12-Month Rolling Average)
TX-0650 | DIRECT REDUCED IRON AND HOT BRIQUETTING FACILITY | VOESTALPINE TEXAS LLC | SAN PATRICIO | TX |  | USA | MATTHIAS PASTL | 361-452-0746 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Dois Webb, Phone: 512-239-1575 e-mail: dois.webb@tceq.texas.gov | 108113/PSDTX1344 | 3312 | 331111 | UNKNOWN | 02/05/2013 &nbsp;ACT | 03/18/2014 &nbsp;ACT | 2014-03-27 | 2016-07-29 | A |  | Converts iron ore pellets into iron briquettes |  | GAS REFORMER | 11.31 | NATURAL GAS | 1591 | MMBTU/H |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25 | (Volatile Organic Compounds (VOC)) | VOC | P | EMISSION LIMIT AND GOOD COMBUSTION PRACTICE | 0.005 | LB/MMBTU |  | BACT-PSD | NSPS , NESHAP , MACT , SIP | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*LA-0312 | ST. JAMES METHANOL PLANT | SOUTH LOUISIANA METHANOL LP | ST. JAMES | LA |  | USA | BRIAN JONES | (512) 394-7346 |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Mr. Christopher Smith, (225) 219-3439 | PSD-LA-780(M-1) | 2869 | 325998 | Not Found | 09/30/2015 &nbsp;ACT | 06/30/2017 &nbsp;ACT | 2017-03-10 | 2017-12-27 | A |  | New MeOH plant designed to produce 5,275 metric tons per day of refined methanol from natural gas and carbon dioxide (CO2) feedstock | New methanol plant designed to produce 5,275 metric tons per day of refined methanol from natural gas and carbon dioxide (CO2) feedstock | B1-13 - Boiler 1 (EQT0003) | 11.31 | Natural Gas | 350 | MM BTU/hr |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion Practices | 0.0054 | LB/MMBTU |  | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0.0054 | LB/MMBTU |  | 0 |  |  | 0 | 0 | N
*LA-0312 | ST. JAMES METHANOL PLANT | SOUTH LOUISIANA METHANOL LP | ST. JAMES | LA |  | USA | BRIAN JONES | (512) 394-7346 |  | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Mr. Christopher Smith, (225) 219-3439 | PSD-LA-780(M-1) | 2869 | 325998 | Not Found | 09/30/2015 &nbsp;ACT | 06/30/2017 &nbsp;ACT | 2017-03-10 | 2017-12-27 | A |  | New MeOH plant designed to produce 5,275 metric tons per day of refined methanol from natural gas and carbon dioxide (CO2) feedstock | New methanol plant designed to produce 5,275 metric tons per day of refined methanol from natural gas and carbon dioxide (CO2) feedstock | B2-13 - Boiler 2 (EQT0004) | 11.31 | Natural Gas | 350 | MM BTU/hr |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion Practices | 0.0054 | LB/MMBTU |  | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0.0054 | LB/MMBTU |  | 0 |  |  | 0 | 0 | N
*ND-0033 | GRAND FORKS FERTILIZER PLANT | NORTHERN PLAINS NITROGEN | GRAND FORKS | ND | 58203 | USA | LARRY MACKIE |  | LARRYMACKIE@GMAIL.COM | 8 | ND001 | NORTH DAKOTA DEPARTMENT OF HEALTH | MR. CRAIG THORSTENSON | 701-328-5188 | CTHORSTENSON@ND.GOV |  | PTC15052 | 2873 | 325311 |  | 01/20/2015 &nbsp;ACT | 08/10/2015 &nbsp;ACT | 2015-08-24 | 2015-08-24 | A | http://www.ndhealth.gov/AQ/ActivePermits.aspx | Fertilizer manufacturing plant designed to produce both feedstock and saleable products in the following nominal capacities: 2425 tpd ammonia, 2540 tpd ammonium nitrate solution, 300 tpd DEF, 3000 tpd urea solution, 3000 tpd granular urea, 2000 tpd nitric acid, 5620 tpd UAN, 441 tpd ammonium thiosulfate and 1080 tpd APP |  | Ammonia Plant Primary Reformer | 11.31 | Natural gas | 1006 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion Practices | 0.0014 | LB/MM BTU | 1-HOUR AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*ND-0033 | GRAND FORKS FERTILIZER PLANT | NORTHERN PLAINS NITROGEN | GRAND FORKS | ND | 58203 | USA | LARRY MACKIE |  | LARRYMACKIE@GMAIL.COM | 8 | ND001 | NORTH DAKOTA DEPARTMENT OF HEALTH | MR. CRAIG THORSTENSON | 701-328-5188 | CTHORSTENSON@ND.GOV |  | PTC15052 | 2873 | 325311 |  | 01/20/2015 &nbsp;ACT | 08/10/2015 &nbsp;ACT | 2015-08-24 | 2015-08-24 | A | http://www.ndhealth.gov/AQ/ActivePermits.aspx | Fertilizer manufacturing plant designed to produce both feedstock and saleable products in the following nominal capacities: 2425 tpd ammonia, 2540 tpd ammonium nitrate solution, 300 tpd DEF, 3000 tpd urea solution, 3000 tpd granular urea, 2000 tpd nitric acid, 5620 tpd UAN, 441 tpd ammonium thiosulfate and 1080 tpd APP |  | Boilers | 11.31 | Natural gas | 187.5 | MMBTU/H | Facility includes 3 boilers of identical size (187.5 MM Btu/hr each) | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion Practices | 0.0054 | LB/MM BTU | 1-HOUR AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IA-0105 | IOWA FERTILIZER COMPANY | IOWA FERTILIZER COMPANY | LEE | IA | 52658 | USA | DAVE PEARSON | (319) 246-2308 | DAVE.PEARSON@IOWAFERTILIZERS.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV | CHRISTOPHER A. ROLING, PE ENVIRONMENTAL ENGINEER SENIOR (515) 725-9557 CHRIS.ROLING@DNR.IOWA.GOV | 12-219 | 2873 | 325311 | 110054890392 | 08/03/2012 &nbsp;ACT | 10/26/2012 &nbsp;ACT | 2012-11-01 | 2013-08-13 | A | https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp | NITROGENEOUS FERTILIZER MANUFACTURING | THE PROJECT WAS AMENDED ON 3/13/14 DUE TO SOME DESIGN CHANGES WHICH INCLUDED ADDITIONAL EMISSION UNITS/POINTS. THE NEW PROJECT IS UNDER PROJECT NUMBER/PERMIT NUMBER 13-355 | Auxiliary Boiler | 11.31 | natural gas | 472.4 | MMBTU/H |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 0.0014 | LB/MMBTU | AVERAGE OF 3 STACK TEST RUNS | BACT-PSD |  | U | 0 | U | 0.62 | TONS/YR | ROLLING 12 MONTH TOTAL | 0 |  |  | 0 | 0 | N
IN-0234 | GRAIN PROCESSING CORPORATION | GRAIN PROCESSING CORPORATION | DAVIESS | IN | 47501 | USA | WENDY BOUVIER | 8122572759 | WENDY.BOUVIER@GRAINPROCESSING.COM | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | MADHURIMA MOULIK 317-233-0868 JASON KRAWCZYK, SECTION CHIEF IDEM OFFICE OF AIR QUALITY 100 N. SENATE AVENUE 317-234-5174 | 027-35177-00046 | 2046 | 311221 | 110041204265 | 11/26/2014 &nbsp;ACT | 12/08/2015 &nbsp;ACT | 2016-02-25 | 2016-07-06 | B | HTTP:PERMITS.AIR.IDEM.IN.GOV/35177F.PDF | THIS FACILITY IS A STATIONARY CORN WET MILLING PLANT. |  | BOILER 1 | 11.31 | NATURAL GAS | 271 | MMBTU/H | NATURAL GAS FIRED, ALSO CAPACBLE OF BURNING ALCOHOL. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GOOD COMBUSTION PRACTICES | 0.0015 | LB/MMBTU | NATURAL GAS ALONE | BACT-PSD |  | N | 0 |  | 0.003 | LB/MMBTU | NATURAL GAS AND ALCOHOL | 0 |  |  | 0 | 0 | N |  | SHALL NOT EXCEED 0.41 LB/HR FOR NATURAL GAS ALONE AND 0.81 LB/HR FOR NATURAL GAS IN COMBINATION WITH ALCOHOL.
IN-0234 | GRAIN PROCESSING CORPORATION | GRAIN PROCESSING CORPORATION | DAVIESS | IN | 47501 | USA | WENDY BOUVIER | 8122572759 | WENDY.BOUVIER@GRAINPROCESSING.COM | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | MADHURIMA MOULIK 317-233-0868 JASON KRAWCZYK, SECTION CHIEF IDEM OFFICE OF AIR QUALITY 100 N. SENATE AVENUE 317-234-5174 | 027-35177-00046 | 2046 | 311221 | 110041204265 | 11/26/2014 &nbsp;ACT | 12/08/2015 &nbsp;ACT | 2016-02-25 | 2016-07-06 | B | HTTP:PERMITS.AIR.IDEM.IN.GOV/35177F.PDF | THIS FACILITY IS A STATIONARY CORN WET MILLING PLANT. |  | BOILER 2 | 11.31 | NATURAL GAS | 271 | MMBTU/H | NATURAL GAS BOILER WITH CAPABILITY OF BURNING ALCOHOL | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | GOOD COMBUSTION PRACTICES | 0.0015 | LB/MMBTU | NATURAL GAS ALONE | BACT-PSD |  |  | 0 |  | 0.003 | LB/MMBTU | NATURAL GAS WITH ALCOHOL | 0 |  |  | 0 | 0 | N |  | 0.41 LB/HR FOR NATURAL GAS ALONE AND 0.81 LB/HR FOR NATURAL GAS WITH ALCOHOL
TX-0704 | UTILITY PLANT | M & G RESINS USA LLC | NUECES | TX |  | USA | MAURO FENOGLIO | (281) 874-8074 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Mr. Sean O'Brien 512-239-1137 sean.obrien@tceq.texas.gov | 108819 PSDTX1354 | 4911 | 221112 | unknown | 02/22/2013 &nbsp;ACT | 12/02/2014 &nbsp;ACT | 2015-03-20 | 2016-05-09 | A |  | In support of the new PET (polyethylene terephthalate) unit and new PTA (terephthalic acid) plant proposed by M&amp;G Resins USA LLC, the company also proposes a Utility Plant that will consist of either one of two options. All steam generated from the Utility Plant will be used as process steam. There is no steam driven electrical generator. |  | (2) boilers | 11.31 | natural gas | 450 | MMBTU/H | Auxiliary Boilers A1 and A2 are rated at 450 MMBtu/hr each. Auxiliary Boiler A1 and A2 were represented by the applicant to potentially operate 8,760 hours per year each. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 0.004 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0704 | UTILITY PLANT | M & G RESINS USA LLC | NUECES | TX |  | USA | MAURO FENOGLIO | (281) 874-8074 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Mr. Sean O'Brien 512-239-1137 sean.obrien@tceq.texas.gov | 108819 PSDTX1354 | 4911 | 221112 | unknown | 02/22/2013 &nbsp;ACT | 12/02/2014 &nbsp;ACT | 2015-03-20 | 2016-05-09 | A |  | In support of the new PET (polyethylene terephthalate) unit and new PTA (terephthalic acid) plant proposed by M&amp;G Resins USA LLC, the company also proposes a Utility Plant that will consist of either one of two options. All steam generated from the Utility Plant will be used as process steam. There is no steam driven electrical generator. |  | boiler | 11.31 | natural gas | 250 | MMBTU/H | Auxiliary Boiler B is rated at 250 MMBtu/hr. Auxiliary Boiler B was represented by the applicant to potentially operate 8,760 hours per year. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 0.004 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*FL-0330 | PORT DOLPHIN ENERGY LLC |  | HILLSBOROUGH | FL | 33616 | USA |  |  |  | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us |  | DPA-EPA-R4001 | 4923 | 213112 | 110029520141 | &nbsp; | 12/01/2011 &nbsp;ACT | 2012-02-03 | 2018-03-23 | A |  | Port Dolphin is a deepwater port designed to moor liquefied natural gas shuttle and regasification vessels 28 miles off the cost of Florida. |  | Boilers (4 - 278 mmbtu/hr each) | 11.31 | natural gas | 0 |  |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | Good Combustion Practices | 0.0054 | LB/MMBTU | 3-HOUR ROLLING AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IL-0114 | CRONUS CHEMICALS, LLC | CRONUS CHEMICALS, LLC | DOUGLAS | IL | 60601 | USA | ERZIN ATAC | 312-863-8638 | ERZIN.ATAC@CRONUCHEM.COM | 5 | IL001 | ILLINOIS EPA, BUREAU OF AIR | MR. RAY PILAPIL | (217) 782-2113 | ray.pilapil@illinois.gov | Permit Writer: Bob Smet 217-785-9250 robert.smet@illinois.gov | 13060007 | 2873 | 325311 | 110055568522 | 02/14/2014 &nbsp;ACT | 09/05/2014 &nbsp;ACT | 2014-12-24 | 2016-05-05 | A | http://yosemite.epa.gov/r5/in_permt.nsf/6f1ebc583aad45448625763f0053e08e/02fa71769b748f8886257da2004e4f4f!OpenDocument | Plant will produce urea and ammonia, but ammonia production will be limited to a maximum of 3 months of the year (4,880 tpd urea and 2,789 tpd ammonia). |  | Boiler | 11.31 | natural gas | 864 | MMBTU/H |  | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | good combustion practices | 0.0054 | LB/MMBTU | 3-HOUR AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IA-0106 | CF INDUSTRIES NITROGEN, LLC - PORT NEAL NITROGEN COMPLEX | CF INDUSTRIES NITROGEN, LLC | WOODBURY | IA | 51054 | USA | MIKE MAAS | 712-233-6222 | MMAAS@CFINDUSTRIES.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV | Christopher A. Roling, PE Environmental Engineer Senior Iowa DNR - Air Quality Bureau 7900 Hickman Rd, Suite 1 Windsor Heights, IA 50324 (515) 242-6002 chris.roling@dnr.iowa.gov | PN 13-037 | 2873 | 325311 | 110000414089 | 02/01/2013 &nbsp;ACT | 07/12/2013 &nbsp;ACT | 2013-07-16 | 2016-05-04 | B |  | Nitrogenous fertilizer manufacturing including ammonia, urea, and urea-ammonium nitrate (UAN) solutions. |  | Boilers | 11.31 | natural gas | 456 | MMBTU/H | There are two (2) identical boilers | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | P | good operating practices and use of natural gas | 0.0014 | LB/MMBTU | AVERAGE OF THREE (3) STACK TEST RUNS | BACT-PSD |  | U | 0 | U | 2.8 | TONS/YR | ROLLING TWELVE (12) MONTH TOTAL | 0 |  |  | 0 | 0 | N
LA-0245 | HYDROGEN PLANT | VALERO REFINING - NEW ORLEANS, LLC | ST. CHARLES | LA | 70079 | USA | ROBERT MARTIN | (985)764-8611 | ROB.MARTIN@VALERO.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Dan Nguyen - 225-219-3395 | PSD-LA-750 | 2911 | 324110 | Not Available | 08/18/2010 &nbsp;ACT | 12/15/2010 &nbsp;ACT | 2011-03-29 | 2011-07-06 | B |  | A plant to produce hydrogen by steam reforming natural gas. | Application Accepted Received Date = Date of completeness Determination | SMR Heaters (EQT0400 and EQT0401) | 11.31 | Fuel Gas | 1055 | MMBTU/H | Two identical units | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | P | Proper equipment designs and operations, good combustion practices | 0.0054 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 5.69 | LB/H | HOURLY MAXIMUM (EACH UNIT) | 0 |  |  | 0 | 0 | N
AL-0271 | GEORGIA PACIFIC BRETON LLC | GEORGIA PACIFIC LLC | ESCAMBIA | AL | 36427 | USA | ROBERTO FLORES | 251-867-8358 | ROBERTO.FLORES@GAPAC.COM | 4 | AL001 | ALABAMA DEPT OF ENVIRONMENTAL MGMT | MR. DALE HURST | (334) 271-7882 | ADH@ADEM.STATE.AL.US |  | 502-0001-X049 | 2631 | 322130 | Unknown | 04/18/2014 &nbsp;ACT | 06/11/2014 &nbsp;ACT | 2014-07-11 | 2016-05-04 | D |  | Kraft Pulp &amp; Paper mdu | NAICS Code: 322130 | No.4 Power Boiler | 11.31 | Natural Gas | 425 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0053 | LB/MMBTU |  | BACT-PSD | MACT | U | 0 | N | 2.3 | LB/H |  | 0 |  |  | 0 | 0 | N |  | Good Combustion Practices
AK-0083 | KENAI NITROGEN OPERATIONS | AGRIUM U.S. INC. | USA | AK | 99611 | USA | TED HARTMAN | 913 302 7469 | TED.HARTMAN@AGRIUM.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV |  | AQ0083CPT06 | 2873 | 325311 | 110030488620 | 11/25/2014 &nbsp;ACT | 01/06/2015 &nbsp;ACT | 2015-01-29 | 2016-02-19 | A | http://dec.alaska.gov/Applications/Air/airtoolsweb/Home/ViewAttachment/16672291/KQZafTqmYd8SVnZ3RUWQfQ2 | The Kenai Nitrogen Operations Facility is located at Mile 21 of the Kenai Spur Highway, near Kenai Alaska. It is classified as a nitrogenous fertilizer manufacturing facility under Standard Industrial Classification code 2873 and under North American Industrial Classification code 325311. The facility will produce ammonia and urea for bulk sale. There are two ammonia and two urea plants at Agriumâ€™s KNO facility. This permit authorizes the restart of one ammonia and one urea plant (plants 4 and 5). The ammonia plant converts natural gas with added steam and air to produce ammonia (NH3) and carbon dioxide (CO2). Feedstocks for the urea plant include CO2 and NH3. The utility plant generates the power and steam needed to operate the ammonia and urea plants. Final products are loaded at the Product Loading Wharf for shipment. |  | Primary Reformer Furnace | 11.31 | Natural Gas, Process Gas | 1350 | MMBTU/H | Natural Gas-, Process Gas-Fired 1,350 MMBtu/hr Primary Reformer Furnace. Installed in 1976. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0054 | LB/MMBTU | 3-HR AVG | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
ID-0021 | MAGNIDA | MAGNOLIA NITROGEN IDAHO LLC | POWER | ID | 83211 | USA | TOM HORNYAK | 303-905-2675 | THORNYAK@MAGNIDA.COM | 10 | ID001 | IDAHO DEPT OF ENVIRONMENTAL QUALITY | MR. BILL ROGERS | (208)373-0437 | WILLIAM.ROGERS@DEQ.IDAHO.GOV | DAN PITMAN, P.E., PERMIT WRITER | P-2013.0030 | 2873 | 325311 | Not Found | 12/02/2013 &nbsp;ACT | 04/21/2014 &nbsp;ACT | 2017-05-19 | 2017-09-11 | A | NO LONGER AVAILABLE ON-LINE AS THE PERMIT IS EXPIRED | MAGNOLIA NITROGEN IDAHO LLC (MAGNIDA) IS PROPOSING TO CONSTRUCT A NEW COMPLEX FOR MANUFACTURING NITROGEN-BASED FERTILIZERS FROM NATURAL GAS. THE FACILITY WILL PRODUCE AMMONIA, GRANULATED UREA, UREA AMMONIUM NITRATE (UAN), AND DEISEL EXHAUST FLUID (DEF) FOR COMMERCIAL USE. | THIS PERMIT EXPIRED IN NOV. 2016; THE PROJECT WILL NOT BE PURSUED BY MAGNOLIA/MAGNIDA. There is one non-emissions BACT limit: Startup Heater Code 19.6 - has only a gas usage limit of 2.7 MMSCF per rolling 12-month period. | PACKAGE BOILER | 11.31 | Natural Gas | 275 | MMBtu/hr (HHV) | Provides heat throughout facility. | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0054 | LB/MMBTU | 3 TEST RUN AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
AL-0276 | MOUNT VERNON MILL | THYSSENKRUP STEEL USA, LLC | MOBILE | AL | 36513 | USA | JORDAN COLLINS | 251-289-3833 | JORDAN.COLLINS@ARCELORMITTAL.COM | 4 | AL001 | ALABAMA DEPT OF ENVIRONMENTAL MGMT | MR. DALE HURST | (334) 271-7882 | ADH@ADEM.STATE.AL.US |  | 503-0095-X001 | 3312 | 331221 | Unknown | 08/03/2009 &nbsp;ACT | 03/25/2010 &nbsp;ACT | 2015-02-27 | 2016-05-05 | C |  | The carbon steel mill would receive slabs primarily by barge. These carbon steel slabs would be heated and rolled to from a long strip in the hot strip mill. After rolling, the coils would be prepared for sale or would proceed to the picklin lines. After pickling, if needed, the strips would be cold-rolled for sale or would be further processed in the galvanizing lines. |  | Walking Beam Furnaces | 11.31 | Natural Gas | 845 | MMBTU/H | Throughput Capacity/Size: 845 mmbtu/hr (51-53) | Volatile Organic Compounds (VOC) | EPA/OAR Mthd 25A | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0055 | LB/MMBTU |  | BACT-PSD |  | U | 0 | N | 4.65 | LB/H |  | 0 |  |  | 0 | 0 | N |  | Test Method Info: 18 or 25A
AR-0094 | JOHN W. TURK JR. POWER PLANT | SOUTHWEST ELECTRIC POWER COMPANY | FULTON | AR | 71838 | USA | KRIS GAUS | 214771113 | KPGAIS@AEP.COM | 6 | AR001 | ARKANSAS DEPT OF ENVIRONMENTAL QUALITY | MR. THOMAS RHEAUME | (501) 682-0762 | rheaume@adeq.state.ar.us |  | 2123-AOP-R0 | 4911 | 221112 | UNKNOWN | 07/08/2008 &nbsp;ACT | 11/05/2008 &nbsp;ACT | 2009-01-09 | 2010-04-09 | A |  | 600 MW POWDER RIVER BASIN SUB-BITUMINOUS PULVERIZED COAL FIRED POWER PLANT | PSD AND 112(G) PERMIT DECISION | AUXILIARY BOILER | 11.31 | NATURAL GAS | 555 | MMBTU/H |  | Volatile Organic Compounds (VOC) | Unspecified | (Volatile Organic Compounds (VOC)) | VOC | N |  | 0.0055 | LB/MMBTU | 3 HOUR AVERAGE | BACT-PSD |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
[40 empty] | Min GCP & Clean Fuels | 0.0014 | LB/MMBTU
[40 empty] | MaxGCP & Clean Fuels | 0.0054 | LB/MMBTU