## All Pollutants_Large RICE 17.11
RBLCID | FACILITY_NAME | CORPORATE_OR_COMPANY_NAME | FACILITY_COUNTY | FACILITY_STATE | FACILITY_ZIP_CODE | FACILITY_COUNTRY | FACILTY_CONTACT_NAME | FACILITY_PHONE | FACILITY_CONTACT_EMAIL | EPA_REGION | AGENCY_CODE | AGENCY_NAME | AGENCY_CONTACT | AGENCY_PHONE | AGENCY_EMAIL | OTHER_AGENCY_CONTACT_INFO | PERMIT_NUM | SIC_CODE | NAICS_CODE | FACILITY_REGISTRY_SYSTEM_NUMBER | COMPLETE_APPLICATION_DATE | PERMIT_ISSUANCE_DATE | DATE_DETERMINATION_ENTERED_INTO_RBLC | DATE_DETERMINATION_LAST_UPDATED | PERMIT_TYPE | PERMIT_URL | FACILITY_DESCRIPTION | PERMIT_NOTES | PROCESS_NAME | PROCCESS_TYPE | PRIMARY_FUEL | THROUGHPUT | THROUGHPUT_UNIT | PROCESS_NOTES | POLLUTANT | TESTMETHOD | POLLUTANT_GROUP(S) | CAS_NUMBER | CONTROL_METHOD_CODE | CONTROL_METHOD_DESCRIPTION | EMISSION_LIMIT_1 | EMISSION_LIMIT_1_UNIT | EMISSION_LIMIT_1_AVG_TIME_CONDITION | CASE-BY-CASE_BASIS | OTHER_ APPLICABLE_REQUIREMENTS | OTHER_FACTORS | PERCENT_EFFICIENCY | COMPLIANCE_VERIFIED | EMISSION_LIMIT_2 | EMISSION_LIMIT_2_UNIT | EMISSION_LIMIT_2_AVGERAGE_TIME_CONDITION | STANDARAD_EMISSION_LIMIT | STANDARD_EMISSION_LIMIT_UNIT | STANDARD_LIMIT_AVERAGE_TIME_CONDITION | COST_EFFECTIVENESS | INCREMENTAL_COST_EFFECTIVENESS | Cost_Verified | DOLLAR_YEAR_USED_IN_COST_ESTIMATES | POLLUTANT_COMPLIANCE_NOTES
FL-0348 | MURPHY EXPLORATION & PRODUCTION CO. | MURPHY EXPLORATION & PRODUCTION CO. | NA | FL |  | USA |  |  |  | 4 | OT005 | EPA REGION IV | MS. KATY R. FORNEY | (404) 562-9130 | forney.kathleen@epa.gov |  | OCS-EPA-R4009 | 1381 | 213111 | NA | 04/22/2011 &nbsp;ACT | 05/15/2012 &nbsp;ACT | 2015-09-21 | 2016-07-07 | A | http://www2.epa.gov/caa-permitting/murphy-exploration-and-production-co-outer-continental-shelf-ocs-final-permit | The facility consists of the dynamically positioned Diamond Offshore deepwater drilling vessel Ocean Confidence and an associated support fleet to conduct exploratory drilling and well completion for up to 90 calendar days within a two year period at a single well location within its Lloyd Ridge lease block 317. The drill site is located on the OCS in the Gulf of Mexico, approximately 135 miles southeast of the mouth of the Mississippi River and 180 miles from the Florida shoreline. | The United States Environmental Protection Agency (EPA) issued this permit pursuant to section 328 of the CAA, 42 U.S.C. Â§ 7627, and the implementing OCS Air Regulations at 40 CFR part 55, which incorporate by reference the PSD Regulations at 40 CFR Â§ 52.21. This permit is based upon the permit application materials submitted to EPA by Murphy Exploration & Production Co. (Murphy) dated January 13, 2011, March 21, 2011, June 22, 2011, September 12, 2011 and supplemental submittals in the administrative record for this permit action, and upon the technical analysis performed by EPA. | Source Wide Emission Limit | 17.11 | Diesel | 0 |  |  | Sulfur Dioxide (SO2) | Other - Mass Balance | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Determine and record sulfur content by certification or testing of each fuel shipment of fuel from fuel supplier. | 500 | ppm | BY WEIGHT | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
FL-0310 | SHADY HILLS GENERATING STATION | SHADY HILLS POWER COMPANY | PASCO | FL | 6927 | USA | ROY S. BELDEN | 2033576820 | ROY.BELDEN@GE.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us | SYED ARIF, PROJECT ENGINEER PHONE 850/ 921-9528 SYED.ARIF@DEP.STATE.FL.US TERESA HERON PHONE 850/921-9529 TERESA.HERON@DEP.STATE.FL.US | PSD-FL-402 | 4911 | 221122 | 1210100373 | 05/13/2008 &nbsp;ACT | 01/12/2009 &nbsp;ACT | 2009-07-29 | 2010-01-26 | B |  | THIS FACILITY CONSISTS OF THREE, DUAL-FUEL, NOMINAL 170 MW GENERAL ELECTRIC MODEL PG7241FA (GE 7FA) SIMPLE CYCLE COMBUSTION TURBINES-ELECTRICAL GENERATORS, THREE EXHAUST STACKS THAT ARE 18 FEET IN DIAMETER AND 75 FEET TALL, AND ONE 2.8-MILLION GALLON DISTILLATE FUEL OIL STORAGE TANK. THE COMBUSTION TURBINE UNITS CAN OPERATE IN SIMPLE-CYCLE MODE AND INTERMITTENT DUTY MODE. THE UNITS ARE EQUIPPED WITH DRY LOW-NITROGEN OXIDES (NOX) COMBUSTORS AND WATER INJECTION CAPABILITY. THE THREE COMBUSTION TURBINES ARE REGULATED UNDER PHASE II OF THE FEDERAL ACID RAIN PROGRAM. THIS FACILITY OPERATES DURING PEAK HOURS OF ELECTRICAL USE. |  | 2.5 MW EMERGENCY GENERATOR | 17.11 | ULTRA LOW S OIL | 2.5 | MW | MAXIMUM HOURS OF OPERATION: 500 HRS/YR | Sulfur Dioxide (SO2) | Other - ULSO | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | FIRING ULTRA LOW SULFUR OIL WITH A MAXIMUM HOURS OF OPERATION OF 500 HRS/YR. | 15 | ppm | NA/RECORDKEEPING | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | COMPLIANCE DEMOSTRATED BY VERIFICATION DELIVERY RECEIPTS
FL-0356 | OKEECHOBEE CLEAN ENERGY CENTER | FLORIDA POWER & LIGHT | OKEECHOBEE | FL | 34972 | USA | JOHN HAMPP |  | JOHN.HAMPP@FPL.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us | John Dawson, john.dawson@dep.state.fl.us, 850-717-9085 | 0930117-001-AC | 4911 | 221112 | Unknown | 09/25/2015 &nbsp;ACT | 03/09/2016 &nbsp;ACT | 2016-03-14 | 2016-07-06 | A | http://depedms.dep.state.fl.us:80/Oculus/servlet/shell?command=getEntity&[guid=75.93290.1]&[profile=Permitting_Authorization] | Fossil-fueled power plant, consisting of a 3-on-1 combined cycle unit and auxiliary equipment. The combined cycle unit consists of three GE 7HA.02 turbines, each with nominal generating capacity of 350 MW. The total generating capacity for the combined cycle unit is 1,600 MW. | Technical evaluation of project available at http://depedms.dep.state.fl.us/Oculus/servlet/shell?command=getEntity&[guid=75.89000.1]&[profile=Permitting_Authorization] | Three 3300-kW ULSD emergency generators | 17.11 | ULSD | 0 |  | BACT limits equal to NSPS Subpart IIII limits. Will use IIII certified engine. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Use of ULSD | 15 | ppm |  | BACT-PSD | NSPS | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
FL-0332 | HIGHLANDS BIOREFINERY AND COGENERATION PLANT | HIGHLANDS ENVIROFUELS (HEF), LLC | HIGHLAND COUNTY | FL | 33852 | USA | BRADLEY KROHN | 813-425-5478 | BKROHN@USENVIROFUELS.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us | KRIS LANH - RBLC COORDINATOR ( KRIS.LANH@DEP.STATE.FL.US ) DAVID REED - PERMIT ENGINEER FOR THIS PROJECT, EMAIL: DAVID.REED@DEP.STATE.FL.US PH. 850-717-9075 | PSD-FL-416, 0550063-001-AC | 2869 | 221119 | No FRS Number | 06/28/2011 &nbsp;ACT | 09/23/2011 &nbsp;ACT | 2012-05-17 | 2012-10-11 | U | http://appprod.dep.state.fl.us/air/emission/apds/listpermits.asp | THIS PROJECT INVOLVES THE CONSTRUCTION OF A SUGARCANE AND SWEET SORGHUM-TO-ETHANOL ADVANCED BIOREFINERY WITH A MAXIMUM ANNUAL ETHANOL (C2H5OH) PRODUCTION RATE OF 36 MILLION GALLONS PER YEAR (MGPY). THE CANE (I.E. THE SUGARCANE AND SORGHUM) WILL BE GROWN ON NEARBY FARMLAND. THE JUICE WILL BE SQUEEZED FROM THE FEEDSTOCK STALKS, FERMENTED, DISTILLED AND BLENDED TO MAKE A RANGE OF ETHANOL/GASOLINE PRODUCTS, INCLUDING E-85 (AN 85/15 ETHANOL/GASOLINE BLEND). THE LEFTOVER STALK FIBER (BAGASSE) WILL BE COMBUSTED IN A COGENERATION BIOMASS BOILER (458.5 MMBTU/HR ON A 24-HOUR BASIS) TO MAKE PROCESS STEAM AND UP TO 30 MEGAWATTS (MW, GROSS) OF ELECTRICITY. IN ADDITION TO BAGASSE, THE BOILER WILL USE SUPPLEMENTAL BIOMASS CONSISTING OF ENERGY CROPS, WOOD CHIPS AND VEGETATIVE DEBRIS. NATURAL GAS WILL BE USED FOR STARTUP SHUTDOWN AND FLAME STABILIZATION AND DURING A DISRUPTION IN THE BIOMASS SUPPLY. | THE ONLY SIGNIFICANT EMISSION UNITS ARE THE BIOMASS BOILER (EU 002) AND THE ETHANOL PRODUCTION PROCESS (EU 004). | 2000 KW Emergency Equipment | 17.11 |  | 0 |  | One emergency generator rated at 2,000 kW (2,682 HP) will be installed to provide backup electrical power in the event of a power outage at the HEF facility. The generator will fire ULSD fuel oil or natural gas and will be limited to 500 hours per year of operation during emergencies. The unit will be operated no more than 100 hours per year for testing and maintenance purposes per 40 CFR 60, Subpart IIII. The engine will be designed to meet US EPAâ€™s emission standards listed in 40 CFR Part 60 Subpart IIII for model year 2006 or later. | Sulfur Dioxide (SO2) | Other - Compliance with the NSPS, Subpart IIII | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | See Pollutant Notes. | 15 | ppm |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | This unit shall fire ULSD fuel oil or natural gas. The ULSD fuel oil shall contain no more than 0.0015% sulfur by weight.
FL-0332 | HIGHLANDS BIOREFINERY AND COGENERATION PLANT | HIGHLANDS ENVIROFUELS (HEF), LLC | HIGHLAND COUNTY | FL | 33852 | USA | BRADLEY KROHN | 813-425-5478 | BKROHN@USENVIROFUELS.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us | KRIS LANH - RBLC COORDINATOR ( KRIS.LANH@DEP.STATE.FL.US ) DAVID REED - PERMIT ENGINEER FOR THIS PROJECT, EMAIL: DAVID.REED@DEP.STATE.FL.US PH. 850-717-9075 | PSD-FL-416, 0550063-001-AC | 2869 | 221119 | No FRS Number | 06/28/2011 &nbsp;ACT | 09/23/2011 &nbsp;ACT | 2012-05-17 | 2012-10-11 | U | http://appprod.dep.state.fl.us/air/emission/apds/listpermits.asp | THIS PROJECT INVOLVES THE CONSTRUCTION OF A SUGARCANE AND SWEET SORGHUM-TO-ETHANOL ADVANCED BIOREFINERY WITH A MAXIMUM ANNUAL ETHANOL (C2H5OH) PRODUCTION RATE OF 36 MILLION GALLONS PER YEAR (MGPY). THE CANE (I.E. THE SUGARCANE AND SORGHUM) WILL BE GROWN ON NEARBY FARMLAND. THE JUICE WILL BE SQUEEZED FROM THE FEEDSTOCK STALKS, FERMENTED, DISTILLED AND BLENDED TO MAKE A RANGE OF ETHANOL/GASOLINE PRODUCTS, INCLUDING E-85 (AN 85/15 ETHANOL/GASOLINE BLEND). THE LEFTOVER STALK FIBER (BAGASSE) WILL BE COMBUSTED IN A COGENERATION BIOMASS BOILER (458.5 MMBTU/HR ON A 24-HOUR BASIS) TO MAKE PROCESS STEAM AND UP TO 30 MEGAWATTS (MW, GROSS) OF ELECTRICITY. IN ADDITION TO BAGASSE, THE BOILER WILL USE SUPPLEMENTAL BIOMASS CONSISTING OF ENERGY CROPS, WOOD CHIPS AND VEGETATIVE DEBRIS. NATURAL GAS WILL BE USED FOR STARTUP SHUTDOWN AND FLAME STABILIZATION AND DURING A DISRUPTION IN THE BIOMASS SUPPLY. | THE ONLY SIGNIFICANT EMISSION UNITS ARE THE BIOMASS BOILER (EU 002) AND THE ETHANOL PRODUCTION PROCESS (EU 004). | 600 HP Emergency Equipment | 17.11 | Ultra-Low Sulfur Oil | 0 |  | One 600 hp diesel fire pump engine will be installed to provide firewater during power outages. This unit will fire ULSD fuel oil or natural gas and will be limited to 500 hours per year of operation. This unit will be operated no more than 100 hours per year for testing and maintenance purposes per 40 CFR 60, Subpart IIII. The engine will be designed to meet US EPAâ€™s emission standards listed in 40 CFR Part 60 Subpart IIII for model year 2009 or later. | Sulfur Dioxide (SO2) | Other - Compliance with the NSPS, Subpart IIII | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | See Pollutant Notes. | 15 | ppm |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The emergency fire pump engine shall comply with the following emission limits and demonstrate compliance in accordance with the procedures given in NSPS 40 CFR 60, Subpart IIII. Manufacturer certification may be provided to the Department in lieu of actual testing.
*KS-0036 | WESTAR ENERGY - EMPORIA ENERGY CENTER | WESTAR ENERGY | LYON | KS | 66801 | USA | STEPHANIE HIRNER | 785-575-8447 |  | 7 | KS001 | KANSAS DEPT. OF HEALTH & ENVIRONMENT, BR. OF AIR & RADIATION, KS | GYANENDRA PRASAI, PE | 785-296-6427 | Gyanendra.X.Prasai@ks.gov | Gerald McIntyre, E-mail address: Gerald.McIntyre@ks.gov; | C-10656 | 4911 | 221112 | Not Found | 10/16/2012 &nbsp;ACT | 03/18/2013 &nbsp;ACT | 2017-08-23 | 2017-08-25 | C |  | The Westar Energy - Emporia Energy Center (Source ID: 1110046) is a fossil fuel power generation facility located in Emporia, Kansas. | This PSD permit with tracking number C-10656 is a modification of PSD permits C-9132 (issued on 5/5/2011) and C-7072 (issued 4/17/2007). | Caterpillar C18DITA Diesel Engine Generator | 17.11 | No. 2 Distillate Fuel Oil | 900 | BHP |  | Sulfur Dioxide (SO2) | EPA/OAR Mthd 6 | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | use low sulfur fuel oil | 500 | ppm |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
NV-0047 | NELLIS AIR FORCE BASE | 99 CIVIL ENGINEER SQUADRON OF USAF | CLARK | NV | 891555210 | USA | SHIMI MATHEW | 7026522548 |  | 9 | NV002 | CLARK CO. DEPT. OF AIR QUALITY | MR. SANTOSH MATHEW | (702)455-5942 | Mathew@ClarkCountyNV.gov | DAVID C. LEE, RBLC COORDINATOR, TEL: 702-455-1673 | 114 | 9711 | 928110 | 110027848319 | 09/26/2007 &nbsp;ACT | 02/26/2008 &nbsp;ACT | 2008-10-21 | 2008-10-21 | A |  | THE FACILITY IS A MILITARY INSTALLATION WITH A LARGE NUMBER OF PROCESSES SUPPORTING THE AIR FORCE'S OPERATIONS. | THIS REPORT IS BASED ON THE PERMIT ISSUED TO THE NELLIS AIR FORCE BASE FOR MODIFICATION 37, REVISION 2. THE FACILITY IS A MAJOR STATIONARY SOURCE FOR NITROGEN OXIDES. THE FACILITY IS LOCATED IN A NON-ATTAINMENT AREA FOR OZONE, PM-10, AND CARBON MONOXIDE. A FEW MINOR PROCESSES, WHICH WERE NOT REVIEWED IN THIS PERMITTING ACTION, ARE NOT INCLUDED IN THIS REPORT. A PART 70 PERMIT FOR THIS NEW MAJOR SOURCE IS YET TO BE ISSUED. | LARGE INTERNAL COMBUSTION ENGINES (&gt;500 HP) | 17.11 | DIESEL OIL |  |  | THE FACILITY HAS A TOTAL OF TEN (10) LARGE DIESEL GENERATORS, INCLUDING FOUR NEW ONES APPROVED IN THE PERMITTING ACTION. ALL OF THEM ARE SUBJECT TO THE LIMIT OF OPERATING TIME FOR TESTING AND MAINTENANCE FOR 90 HOURS PER YEAR. EMISSION UNIT G010 (ONAN GENERATOR, 1,350 HP) IS SELECTED TO SHOW THE BACT DETERMINATIONS. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | LIMITING SULFUR CONTENT IN THE DIESEL OIL TO 0.05% | 500 | ppm |  | BACT-PSD | SIP , OPERATING PERMIT | N | 0 | U | 0.06 | LB/H |  | 0 |  |  | 0 | 0 | N
*TX-0671 | PROJECT JUMBO | M&G RESINS USA, LLC | NUECES | TX |  | USA | MAURO FENOGLIO | 281-874-8074 | MAURO.FENOGLIO@GRUPPOMG.COM | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MS. ANNE INMAN | (512) 239-1267 | anne.inman@tceq.texas.gov | Ozden Tamer, Phone 512-239-4577 | 108446/PSDTX1352 | 2821 | 325211 |  | 02/22/2013 &nbsp;ACT | 12/01/2014 &nbsp;ACT | 2015-03-03 | 2017-11-17 | A |  | Plastic Resin Manufacturing Plant | M&G proposes to install 4 HTF process heaters each with a heat input of 141.82 MMBtu/hr (HHV). Each heater will be fired with natural gas and supplemental methane-rich biogas as fuel and will also combust two process waste gas streams. NOx emissions from the HTF heaters will be reduced using selective catalytic reduction (SCR) technology involving injection of aqueous ammonia. | Engines | 17.11 | ultra low sulfur diesel fuel | 0 |  | Two mergency diesel fired generators proposed. Each engine will be 4000 kW. Ultra low sulfur fuel is burned in the engines to meet the sulfur requirement of 15 ppm in 40CFR80.510(b). Each emergency engine is being permitted for maintenance and testing for maximum 100 hrs/yr. They are not being permitted for the actual emergency emissions | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Ultra low sulfur fuel engines burn will meet the sulfur requirement of 15 ppm in 40CFR80.510(b) | 15 | ppm |  | BACT-PSD | NSPS | U | 0 | U | 0.01 | T/YR |  | 0 |  |  | 0 | 0 | N
IN-0158 | ST. JOSEPH ENEGRY CENTER, LLC | ST. JOSEPH ENERGY CENTER, LLC | ST. JOSEPH | IN | 46552 | USA | MR. WILLARD LADD | 9144682404 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: JOSIAH BALOGUN 317-234-5257 JBALOGUN@IDEM.IN.GOV SECTION CHIEF: MATT STUCKEY 317-233-0203 MSTUCKEY@IDEM.IN.GOV | 141-31003-00579 | 4911 | 221112 | 110054881963 | 10/03/2011 &nbsp;ACT | 12/03/2012 &nbsp;ACT | 2013-08-15 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/31003F.PDF | STATIONARY ELECTRIC UTILITY GENERATING STATION |  | TWO (2) EMERGENCY DIESEL GENERATORS | 17.11 | DIESEL | 1006 | HP EACH | THE TWO INTERNAL COMBUSTION ENGINES, IDENTIFIED AS EG01 AND EG02, EXHAUST THROUGH TWO (2) VENTS. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | ULTRA LOW SULFUR DISTILLATE AND USAGE LIMITS | 15 | PPM |  | BACT-PSD |  |  | 0 |  | 500 | HOURS OF OPERATION | YEARLY | 0 |  |  | 0 | 0 | N |  | LIMIT ONE AND TWO ARE FOR EACH GENERATOR
IN-0158 | ST. JOSEPH ENEGRY CENTER, LLC | ST. JOSEPH ENERGY CENTER, LLC | ST. JOSEPH | IN | 46552 | USA | MR. WILLARD LADD | 9144682404 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: JOSIAH BALOGUN 317-234-5257 JBALOGUN@IDEM.IN.GOV SECTION CHIEF: MATT STUCKEY 317-233-0203 MSTUCKEY@IDEM.IN.GOV | 141-31003-00579 | 4911 | 221112 | 110054881963 | 10/03/2011 &nbsp;ACT | 12/03/2012 &nbsp;ACT | 2013-08-15 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/31003F.PDF | STATIONARY ELECTRIC UTILITY GENERATING STATION |  | EMERGENCY DIESEL GENERATOR | 17.11 | DIESEL | 2012 | HP | THIS ONE (1) INTERNAL COMBUSTION ENGINE, IDENTIFIED AS EG03, EXHAUSTS THROUGH ONE (1) VENT. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | ULTRA LOW SULFUR DISTILLATE AND UASGE LIMITS | 15 | PPM | 3 HOURS | BACT-PSD |  |  | 0 |  | 500 | HOURS OF OPERATOIN | YEARLY | 0 |  |  | 0 | 0 | N |  | LIMIT ONE AND TWO ARE FOR EACH GENERATOR
OK-0128 | MID AMERICAN STEEL ROLLING MILL | MID AMERICAN STEEL AND WIRE COMPANY | MARSHALL | OK | 73446 | USA |  |  |  | 6 | OK001 | OKLAHOMA DEPARTMENT OF ENVIRONMENTAL QUALITY | MR. LEE WARDEN | (405)702-4182 | LEE.WARDEN@DEQ.OK.GOV |  | 2003-106-C(M-1) PSD | 3312 | 331111 | 110022524062 | 03/26/2008 &nbsp;ACT | 09/08/2008 &nbsp;ACT | 2008-12-31 | 2010-12-17 | B |  | THE FACILITY WAS CONSTRUCTED UNDER PERMIT NO. 2003-106-C ISSUED MARCH 25, 2003, AND IS CURRENTLY OPERATED UNDER PERMIT NO. 2003-106-O ISSUED JANUARY 3, 2005. THE FACILITY CURRENTLY OPERATES A SINGLE 74 MMBTUH GAS-FIRED FURNACE FOR SOFTENING STEEL BILLETS SO THAT THEY CAN BE DRAWN IN TO WIRE. | MID AMERICAN PROPOSES TO INSTALL TWO ELECTRIC ARC STEEL MELTING FURNACES. THE FURNACES WERE FABRICATED IN 2000 FOR INSTALLATION AT ANOTHER COMPANY SITE THAT WAS NOT CONSTRUCTED, THE PROPOSED GRIFFIN WHEEL PLANT AT TULSA. THE PROPOSED FURNACES WILL BE CAPABLE OF PRODUCING A TOTAL OF APPROXIMATELY 80 TONS/HR (640,000 TONS PER YEAR) OF Â¿BILLETÂ¿ Â¿ (BAR-SHAPED INGOTS) STEEL. THE STEEL MAY BE USED ON-SITE IN THE EXISTING WIRE PRODUCTION UNIT OR SOLD TO OTHER MILLS. | Emergency Generator | 17.11 | No. 2 diesel | 1200 | HP |  | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | 500 hours per year, 0.05% sulfur diesel fuel | 500 | PPM |  | BACT-PSD |  | U | 95 | U | 0.05 | % SULFUR IN FUEL |  | 0 |  |  | 0 | 0 | N
OK-0129 | CHOUTEAU POWER PLANT | ASSOCIATED ELECTRIC COOPERATIVE INC | MAYES | OK | 74362 | USA |  |  |  | 6 | OK001 | OKLAHOMA DEPARTMENT OF ENVIRONMENTAL QUALITY | MR. LEE WARDEN | (405)702-4182 | LEE.WARDEN@DEQ.OK.GOV |  | 2007-115-C(M-1)PSD | 4911 | 221112 | 4009700017 | 06/19/2008 &nbsp;ACT | 01/23/2009 &nbsp;ACT | 2009-11-20 | 2010-02-18 | B |  |  |  | EMERGENCY DIESEL GENERATOR (2200 HP) | 17.11 | LOW SULFUR DIESEL | 2200 | HP |  | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | N | LOW SULFUR DIESEL 0.05%S | 500 | PPM |  | BACT-PSD | NSPS | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0296 | LAKE CHARLES CHEMICAL COMPLEX LDPE UNIT | SASOL CHEMICALS (USA) LLC | CALCASIEU | LA | 70669 | USA | ERIC RODRIGUEZ | (281) 588-3761 | ERIC.RODRIGUEZ@US.SASOL.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV |  | PSD-LA-779 | 2821 | 325211 | 110017418061 | 05/02/2013 &nbsp;ACT | 05/23/2014 &nbsp;ACT | 2016-09-12 | 2017-04-28 | B |  | The Low Density Polyethylene (LDPE) Unit will produce LDPE by the high pressure polymerization of ethylene. | Complete application date = date of administrative completeness This RBLC entry addresses the Low Density Polyethylene (LDPE) Unit of the Lake Charles Cracker Project (LCCP). This entry also addresses the Emergency Diesel Generators associated with the entire LCCP, as all of the permitted units are identical. | Emergency Diesel Generators (EQTs 622, 671, 773, 850, 994, 995, 996, 1033, 1077, 1105, &amp; 1202) | 17.11 | Diesel | 2682 | HP | Non-emergency use is limited to 100 hours per year. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Compliance with 40 CFR 60 Subpart IIII; operating the engine in accordance with the engine manufacturerâ€™s instructions and/or written procedures (consistent with safe operation) designed to maximize combustion efficiency and minimize fuel usage. | 15 | PPM | HOURLY MAXIMUM | BACT-PSD | NSPS , OPERATING PERMIT | U | 0 | U | 0.002 | TPY | ANNUAL MAXIMUM | 0 |  |  | 0 | 0 | N |  | Fuel sulfur content is limited to 15 ppm. BACT is determined to be compliance with the limitations imposed by 40 CFR 60 Subpart IIII and its associated monitoring, recordkeeping, and reporting requirements; and operating the engine in accordance with the engine manufacturerâ€™s instructions and/or written procedures (consistent with safe operation) designed to maximize combustion efficiency and minimize fuel usage.
NY-0104 | CPV VALLEY ENERGY CENTER | CPV VALLEY LLC | ORANGE | NY | 10940 | USA |  |  |  | 2 | NY001 | NEW YORK DEPT. OF ENVIRONMENTAL CONSERVATION | MR. NICK ONDERDONK-MILNE | (518)402-8403 | nick.onderdonk-milne@dec.ny.gov | DEC Region 3 845-256-3000 | 3-335600136/00001 | 4911 | 221112 | 110043332471 | 08/01/2013 &nbsp;ACT | 08/01/2013 &nbsp;ACT | 2017-08-25 | 2017-09-28 | A |  | CPV Valley Energy Center is a 680 MW combined cycle electric generating facility located in Middletown, NY. The combustion turbines are rated at 2,234 MMBTU/H firing natural gas and 2,145 MMBTU/H firing diesel fuel. The duct burners are rated for 500 MMBTU/H firing natural gas. In addition to the turbines their emission limits for the auxiliary boiler (73.5 MMBTU/H), emergency generator, fire pump, and gas heater. | State Facility Permit | Emergency generator | 17.11 | ultra low sulfur diesel | 0 |  |  | Sulfur Dioxide (SO2) | Other - EPA approved method | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Ultra low sulfur diesel with maximum sulfur content 0.0015 percent. | 15 | PPM | 1 H | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
FL-0338 | SAKE PROSPECT DRILLING PROJECT | BHP BILLITON PETROLEUM, INC. |  | FL |  | USA |  |  |  | 4 | OT005 | EPA REGION IV | MS. KATY R. FORNEY | (404) 562-9130 | forney.kathleen@epa.gov |  | OCS-EPA-R4008 | 1381 | 211111 | NA | 03/10/2011 &nbsp;ACT | 05/30/2012 &nbsp;ACT | 2014-02-28 | 2016-05-04 | A | http://www.regulations.gov/#!documentDetail;D=EPA-R04-OAR-2012-0239-0037 | The facility consists of a mobile offshore drilling unit (MODU) using either the Transocean ultra-deepwater C.R. Luigs or the Transocean semisubmersible DD1 to conduct exploratory oil and natural gas drilling in lease blocks within the DeSoto Canyon area of the Gulf of Mexico. | The United States Environmental Protection Agency (EPA) issued this permit pursuant to section 328 of the CAA, 42 U.S.C. Â§ 7627, and the implementing OCS Air Regulations at 40 CFR part 55, which incorporate by reference the PSD Regulations at 40 CFR Â§ 52.21 and the title V Operating Permit Program at 40 CFR part 71. This permit is based upon application materials submitted to EPA by BHP Billiton Petroleum, Inc. (BHPB), dated October 14, 2010, February 9, 2011, September 30, 2011, October 14, 2011, December 21, 2011, January 18, 2012, supplemental submittals in the administrative record for this permit action, and upon the technical analysis performed by EPA. | Source-Wide Limits | 17.11 | Diesel | 0 |  |  | Sulfur Dioxide (SO2) | Other - Mass Balance | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Use of ultral low sulfur oil fuel. | 15 | PPM | NONE | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
FL-0347 | ANADARKO PETROLEUM CORPORATION - EGOM | ANADARKO PETROLEUM CORPORATION |  | FL |  | USA |  |  |  | 4 | OT005 | EPA REGION IV | MS. KATY R. FORNEY | (404) 562-9130 | forney.kathleen@epa.gov |  | OCS-EPA-R4015 | 1381 | 211111 | NA | 08/12/2013 &nbsp;ACT | 09/16/2014 &nbsp;ACT | 2015-09-21 | 2016-07-06 | A | http://www.regulations.gov/contentStreamer?documentId=EPA-R04-OAR-2014-0487-0069&disposition=attachment&contentType=pdf | The facility consists of a mobile offshore drilling unit using the Transocean Discoverer Spirit and associated support vessels. The drilling sites are located east of longitude 87.5, west of the Military Mission Line (86Â°41' west longitude), at least 100 miles from the Louisiana shoreline, and at least 125 miles from the Florida shoreline. | The United States Environmental Protection Agency (EPA) issued this permit pursuant to section 328 of the CAA, 42 U.S.C. Â§ 7627, and the implementing OCS Air Regulations at 40 CFR part 55, which incorporate by reference the PSD regulations at 40 CFR Â§ 52.21 and the title V Operating Permit Program regulations at 40 CFR part 71. This permit is based upon application materials submitted to EPA by Anadarko Petroleum Corporation (Anadarko) dated December 26, 2012, March 27,2013, April 26,2013, May 3, 2013, and July 2, 2013; supplemental submittals and information in the administrative record for this permit action; and upon the technical analysis performed by EPA. | Source Wide Emissions | 17.11 | Diesel | 0 |  |  | Sulfur Dioxide (SO2) | Other - Mass Balance | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Use diesel fuel with a sulfur content no greater than 15 parts per million (ppm) by weight in any diesel fueled emission unit on the Discoverer Spirit or on any support vessel | 15 | PPM | BY WEIGHT | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
FL-0349 | STATOIL GULF SERVICES, LLC | STATOIL GULF SERVICES, LLC | NA | FL |  | USA |  |  |  | 4 | OT005 | EPA REGION IV | MS. KATY R. FORNEY | (404) 562-9130 | forney.kathleen@epa.gov |  | OCS-EPA-R4012 | 1381 | 213111 | NA | 07/02/2013 &nbsp;ACT | 08/14/2014 &nbsp;ACT | 2015-09-30 | 2016-07-07 | A | http://www2.epa.gov/caa-permitting/shell-offshore-inc-outer-continental-shelf-ocs-final-permit-documents | The facility consists of the either the Transocean Discoverer Americas drillship or the Maersk Developer drill rig and support vessels, which Statoil intends to operate within its DeSoto Canyon area lease locations on the OCS in the Gulf of Mexico, approximately 160 miles southeast of the mouth of the Mississippi River and greater than 200 miles southwest of Panama City, Florida. The exploratory drilling operation will last up to 180 days per year at multiple locations within the lease blocks for approximately 5 to 10 years. | The United States Environmental Protection Agency (EPA) issued this permit pursuant to section 328 of the CAA, 42 U.S.C. Â§ 7627, and the implementing OCS Air Regulations at 40 CFR part 55, which incorporate by reference the PSD Regulations at 40 CFR Â§ 52.21 and the Title V Operating Permit Program at 40 CFR part 71. This permit is based upon application materials submitted to EPA by Statoil Gulf Services, LLC (Statoil) dated September 5, 2012, December 7, 2012, January 28, 2013, and June 27, 2013, supplemental submittals and information included in the administrative record for this permit action, and upon the technical analysis performed by the EPA. | Source Wide Limits | 17.11 | diesel | 0 |  |  | Sulfur Dioxide (SO2) | Other - Mass Balance | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Certification of sulfur content of fuel from fuel supplier | 15 | PPM | BY WEIGHT | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
FL-0350 | ANADARKO PETROLEUM, INC DIAMOND BLACKHAWK DRILLING PROJECT | ANADARKO PETROLEUM, INC. | NA | FL |  | USA |  |  |  | 4 | OT005 | EPA REGION IV | MS. KATY R. FORNEY | (404) 562-9130 | forney.kathleen@epa.gov |  | OCS-EPA-R4019 | 1381 | 213111 | NA | 02/20/2014 &nbsp;ACT | 12/31/2014 &nbsp;ACT | 2015-09-30 | 2016-07-07 | A | http://www2.epa.gov/caa-permitting/anadarko-petroleum-corp-diamond-blackhawk-drilling-project-outer-continental-shelf | The facility consists of the BlackHawk drillship owned by Diamond Offshore Drilling Inc., and associated support vessels. The support vessels may include a combination of supply boats, anchor handling boats, tug boats, barges, stimulation vessels and well evaluation vessels. The proposed project will consist of three phases: the drilling phase, the well completion phase, and the production well maintenance phase. Anadarko will conduct drilling activities at multiple locations in the Outer Continental Shelf in the Eastern Gulf of Mexico. The drilling sites are located east of longitude 87.5Â°, west of the Military Mission Line (86Â°41â€™ west longitude), at least 100 miles from the Louisiana shoreline, and at least 125 miles from the Florida shoreline. | The United States Environmental Protection Agency (EPA) issues this permit pursuant to section 328 of the CAA, 42 U.S.C. Â§ 7627, and the implementing OCS Air Regulations at 40 CFR part 55, which incorporate by reference the PSD regulations at 40 CFR Â§ 52.21 and the title V Operating Permit Program regulations at 40 CFR part 71. This permit is based upon application materials submitted to EPA by Anadarko Petroleum Corporation (Anadarko) dated September 5, 2013; supplemental submittals dated on September 18, 2013, November 26, 2013, December 5, 2013, February 11, 2014, July 15, 2014, September 2, 2014 and September 10, 2014, in the administrative record for this permit action; and upon the technical analysis performed by EPA. | Sourcewide Limits | 17.11 | Diesel | 0 |  |  | Sulfur Dioxide (SO2) | Other - ASTM | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Obtain certification of sulfur content from the fuel supplier for all diesel fuel used on the BlackHawk and used in all equipment and vessels used during well completion | 15 | PPM | BY WEIGHT | BACT-PSD | OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
MI-0423 | INDECK NILES, LLC | INDECK NILES, LLC | CASS | MI | 49120 | USA | MICHAEL DUBOIS | 847-520-3212 | MDUBOIS@INDECKENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Catherine Asselin at 517-284-6786, or at asselinc@michigan.gov, for technical questions regarding the permit. Thank you. | 75-16 | 4911 | 221112 | Not Found | 10/25/2016 &nbsp;ACT | 01/04/2017 &nbsp;ACT | 2017-06-02 | 2018-03-08 | A |  | Natural gas combined cycle power plant. | The permit includes equipment not entered into the RBLC due to a lack of emission limits or material limits; these include a cold cleaner, a number of space heaters, and two fuel tanks. | EUEMENGINE (Diesel fuel emergency engine) | 17.11 | Diesel Fuel | 22.68 | MMBTU/H | a 2,922 horsepower (HP) (2,179 kilowatts (kW)) diesel fueled emergency engine manufactured in 2011 or later and a displacement of <10 liters/cylinder. Restricted to 4 hours/day, except during emergency conditions and stack testing, and 500 hours/year on a 12-month rolling time period basis. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Good combustion practices and meeting NSPS Subpart IIII requirements. | 15 | PPM | FUEL SUPPLIER CERTIFICATION RECORDS | BACT-PSD | NSPS , SIP | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | NOTE: The &lsquo;&lsquo;Avg. Time/Conditions&lsquo;&lsquo; for the emission limit of 15 ppm identified above is fuel supplier certification records or fuel sample test data, for each delivery of diesel fuel oil. The diesel material limit is 15 ppm of sulfur (0.0015 percent) by weight.
*MI-0433 | MEC NORTH, LLC AND MEC SOUTH LLC | MARSHALL ENERGY CENTER LLC | CALHOUN | MI | 49068 | USA | WILLARD LADD | 914-468-2402 | WLADD@DEVELOPMENTPARTNERS.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | There are two plants (MEC North, LLC and MEC South, LLC) that will operate as separate entities but they are considered a single stationary source and the installation of the two new plants was reviewed as a single project. There are two Air Permits to Install for the two plants (167-17 and 168-17). For technical questions regarding either of the two permits, please contact the permit engineer Ms. Catherine Asselin at 517-284-6786 or at asselinc@michigan.gov. Thank you. | 167-17 AND 168-17 | 4911 | 221112 | Not Found | 05/22/2018 &nbsp;ACT | 06/29/2018 &nbsp;ACT | 2018-08-17 | 2018-08-22 | A |  | Natural gas combined cycle power plant (two plants: north and south) | There are two plants that will operate as separate entities and each received a separate Air Permit to Install, but they are considered one stationary source and were reviewed as one project. | EUEMENGINE (North Plant): Emergency Engine | 17.11 | Diesel | 1341 | HP | A 1,341 HP (1,000 kilowatts (KW)) diesel-fired emergency engine with a model year of 2011 or later, and a displacement of <10 liters/cylinder. The engine is designed to be compliant with Tier IV emission standards. Equipped with a diesel particulate filter. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Good combustion practices and meeting NSPS Subpart IIII requirements. | 15 | PPM | FUEL SUPPLIER CERTIF. RECORDS | BACT-PSD | NSPS , SIP | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The emission limit above is the diesel material limit of 15 ppm of sulfur (0.0015 percent) by weight. Fuel supplier certification records or fuel sample test data, for each delivery of diesel fuel oil is compliance method.
*MI-0433 | MEC NORTH, LLC AND MEC SOUTH LLC | MARSHALL ENERGY CENTER LLC | CALHOUN | MI | 49068 | USA | WILLARD LADD | 914-468-2402 | WLADD@DEVELOPMENTPARTNERS.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | There are two plants (MEC North, LLC and MEC South, LLC) that will operate as separate entities but they are considered a single stationary source and the installation of the two new plants was reviewed as a single project. There are two Air Permits to Install for the two plants (167-17 and 168-17). For technical questions regarding either of the two permits, please contact the permit engineer Ms. Catherine Asselin at 517-284-6786 or at asselinc@michigan.gov. Thank you. | 167-17 AND 168-17 | 4911 | 221112 | Not Found | 05/22/2018 &nbsp;ACT | 06/29/2018 &nbsp;ACT | 2018-08-17 | 2018-08-22 | A |  | Natural gas combined cycle power plant (two plants: north and south) | There are two plants that will operate as separate entities and each received a separate Air Permit to Install, but they are considered one stationary source and were reviewed as one project. | EUEMENGINE (South Plant): Emergency Engine | 17.11 | Diesel | 1341 | HP | A 1,341 HP (1,000 kilowatts (kW)) diesel-fired emergency engine with a model year of 2011 or later, and a displacement of <10 liters/cylinder. The engine is designed to be compliant with Tier IV emission standards. Equipped with a diesel particulate filter. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Good combustion practices and meeting NSPS Subpart IIII requirements. | 15 | PPM | FUEL SUPPLIER RECORDS OR SMPLE TEST DATA | BACT-PSD | NSPS , SIP | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The diesel material limit is 15 ppm of sulfur (0.0015 percent) by weight. Fuel supplier certification records or fuel sample test data, for each deliver of diesel fuel oil.
*FL-0363 | DANIA BEACH ENERGY CENTER | FLORIDA POWER AND LIGHT COMPANY | BROWARD | FL | 33314 | USA | JOHN HAMPP | 561-691-2894 | JOHN.HAMPP@FPL.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us |  | 0110037-017-AC | 4911 | 221112 | 110002044065 | 07/27/2017 &nbsp;ACT | 12/04/2017 &nbsp;ACT | 2018-04-03 | 2018-04-11 | B | https://arm-permit2k.dep.state.fl.us/nontv/0110037.017.AC.F.ZIP | 1200 megawatt 2-on-1 combined cycle facility, natural gas-fired, with limited ULSD use. GE 7HA turbines | Technical evaluation available at https://arm-permit2k.dep.state.fl.us/nontv/0110037.017.AC.D.ZIP | Two 3300 kW emergency generators | 17.11 | ULSD | 0 |  | Two ULSD-fueled emergency engines. BACT = Subpart IIII limits. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | Clean fuel | 15 | PPM S IN FUEL |  | BACT-PSD | NSPS | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | ULSD only
IN-0166 | INDIANA GASIFICATION, LLC | INDIANA GASIFICATION, LLC | SPENCER | IN | 47635 | USA | MARK LUBBERS | 3174905078 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: JOSIAH BALOGUN 317-234-5257 JBALOGUN@IDEM.IN.GOV SECTION CHIEF: MATT STUCKEY 317-233-0203 MSTUCKEY@IDEM.IN.GOV | T147-30464-00060 | 4925 | 221210 | 110045439888 | 04/20/2011 &nbsp;ACT | 06/27/2012 &nbsp;ACT | 2013-08-16 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/30464F.PDF | THE PERMITTEE OWNS AND OPERATES A STATIONARY SUBSTITUTE NATURAL GAS (SNG) AND LIQUEFIED CARBON DIOXIDE (CO2) PRODUCTION PLANT ALSO SIC: 2819 NAICS: 211112 | ALSO SIC: 2819 NAICS: 211112 | TWO (2) EMERGENCY GENERATORS | 17.11 | DIESEL | 1341 | HORSEPOWER, EACH | IDENTIFIED AS EU-009A AND EU-009B | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | USE OF LOW-S DIESEL AND LIMITED HOURS OF NON-EMERGENCY OPERATION | 15 | PPM SULFUR |  | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N |  | EMISSION LIMIT: EACH EMERGENCY GENERATOR SHALL NOT EXCEED 52 HOURS PER YEAR OF NONEMERGENCY OPERATION.
IN-0166 | INDIANA GASIFICATION, LLC | INDIANA GASIFICATION, LLC | SPENCER | IN | 47635 | USA | MARK LUBBERS | 3174905078 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: JOSIAH BALOGUN 317-234-5257 JBALOGUN@IDEM.IN.GOV SECTION CHIEF: MATT STUCKEY 317-233-0203 MSTUCKEY@IDEM.IN.GOV | T147-30464-00060 | 4925 | 221210 | 110045439888 | 04/20/2011 &nbsp;ACT | 06/27/2012 &nbsp;ACT | 2013-08-16 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/30464F.PDF | THE PERMITTEE OWNS AND OPERATES A STATIONARY SUBSTITUTE NATURAL GAS (SNG) AND LIQUEFIED CARBON DIOXIDE (CO2) PRODUCTION PLANT ALSO SIC: 2819 NAICS: 211112 | ALSO SIC: 2819 NAICS: 211112 | THREE (3) FIREWATER PUMP ENGINES | 17.11 | DIESEL | 575 | HORSEPOWER, EACH | IDENTIFIED AS EU-010A-C. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | USE OF LOW-S DIESEL AND LIMITED HOURS OF NON-EMERGENCY OPERATION | 15 | PPM SULFUR |  | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N |  | EMISSION LIMITS: EACH EMERGENCY GENERATOR SHALL NOT EXCEED 52 HOURS PER YEAR OF NONEMERGENCY OPERATION.
FL-0346 | LAUDERDALE PLANT | FLORIDA POWER & LIGHT | BROWARD | FL | 33314 | USA | JOHN HAMPP |  | JOHN.HAMPP@FPL.COM | 4 | FL001 | FLORIDA DEPT. OF ENVIRONMENTAL PROTECTION | MR. DAVID READ | (850) 717-9000 | David.Read@dep.state.fl.us |  | 0110037-011-AC | 4911 | 221112 | 110002044065 | 11/01/2013 &nbsp;ACT | 04/22/2014 &nbsp;ACT | 2015-01-08 | 2016-05-05 | D | http://arm-permit2k.dep.state.fl.us/nontv/0110037.011.AC.F.ZIP | Large natural gas- and oil-fired power facility, consisting of four combined cycle units, and many combustion turbines. Small peaking units being replaced with larger combustion turbines. | In this project, 24 peaking turbines from the Lauderdale facility are being replaced with five 200 MW combustion turbines at Lauderdale. The turbines will fire primarily natural gas, but may also fire ULSD fuel oil. Triggers PSD for NOx, PM, CO, VOC, and GHG. GHG permit issued by US EPA Region 4. Technical evaluation available at http://arm-permit2k.dep.state.fl.us/nontv/0110037.011.AC.D.ZIP | Four 3100 kW black start emergency generators | 17.11 | ULSD | 2.32 | MMBtu/hr (HHV) per engine | Fired with ULSD | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | ULSD required | 15 | PPM SULFUR IN FUEL |  | BACT-PSD | NSPS | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | BACT = NSPS IIII; Certified IIII engine meets BACT. ULSD required in NSPS.
AK-0066 | ENDICOTT PRODUCTION FACILITY, LIBERTY DEVELOPMENT PROJECT | BRITISH PETROLEUM EXPLORATION ALASKA (BPXA) | PRUDHOE BAY | AK |  | USA | ALISON COOKE | 9075644838 |  | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV | SALLY RYAN, (907) 269-6271 MATT WILKINSON, (907) 465-5124 | AQ0181CPT06, REVISION 2 | 1311 | 211111 | UNKNOWN | &nbsp; | 06/15/2009 &nbsp;ACT | 2009-06-03 | 2009-08-06 | B |  | AT ENDICOTT, BPXA PROCESSES CRUDE OIL PRODUCTION FLUIDS RECEIVED FROM VARIOUS CRUDE OIL ACCUMULATIONS LOCATED ON THE NORTH SLOPE OF ALASKA. THE STATIONARY SOURCE IS CURRENTLY SITUATED ON TWO OFF-SHORE PRODUCTION ISLANDS, WHICH ARE LOCATED IN THE BEAUFORT SEA, AND CONNECTED BY A 3.5 MILE CAUSEWAY. ENDICOTT IS CURRENTLY CAPABLE OF PROCESSING 120,000 BARRELS OF CRUDE OIL PER DAY AND 480 MILLION STANDARD CUBIC FEET OF GAS. PRODUCTION FLUIDS CONSIST MAINLY OF CRUDE OIL, HYDROCARBON GAS, AND WATER. THE CRUDE OIL IS PROCESSED TO REMOVE HYDROCARBON GAS AND WATER IN ORDER TO MEET SPECIFIC CRUDE-OIL SALES SPECIFICATIONS. THE HYDROCARBON GAS IS DEHYDRATED, STRIPPED OF HEAVIER HYDROCARBONS THAT MAY BE PRESENT AND COMPRESSED FOR RE-INJECTION INTO THE OIL-BEARING RESERVOIR OR USED AS FUEL. WATER IS PROCESSED TO REMOVE ENTRAINED CRUDE OIL BEFORE RE-INJECTION. THE ENERGY NEEDED TO SUPPORT OPERATIONS COMES PRIMARILY FROM THE COMBUSTION OF PRODUCED HYDROCARBON GAS. |  | EU ID 58, CAMP ENGINE 3 | 17.11 | DISTILLATE | 1041 | HP |  | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | LIMIT SULFUR IN FUEL | 15 | PPMW |  | BACT-PSD | OTHER | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | BASELINE SELECTED AS BACT THIS FUEL SULFUR LIMIT APPLIES OR WILL APPLY TO ALL NEW EMISSION UNITS IN PRUDHOE BAY
SC-0113 | PYRAMAX CERAMICS, LLC | PYRAMAX CERAMICS, LLC | ALLENDALE | SC | 29810 | USA | RICHARD DERBAWKA | 7705690079 | R.DERBAWKA@PYRAMAXCERAMICS.COM | 4 | SC001 | SOUTH CAROLINA DEPT OF HEALTH & ENV CTRL, BUREAU OF AIR QUALITY | MS. ALYSON HAYES | (803)898-3836 | camitdr@dhec.sc.gov | GEORGE S. ROBINSON (803) 898-4123 | 0160-0023 | 3295 | 327992 | Not Available | 09/16/2011 &nbsp;ACT | 02/08/2012 &nbsp;ACT | 2012-05-09 | 2012-10-17 | A |  | PYRAMAX CERAMICS PLANS TO CONSTRUCT A MANUFACTURING FACILITY FOR THE PRODUCTION OF PROPPANT BEADS FOR USE IN THE OIL AND GAS INDUSTRY. THE MAJOR RAW MATERIAL IS CLAY. THE CLAY IS MIXED WITH CHEMICALS AND THEN FIRED IN A KILN TO PRODUCE CERAMIC BEADS. INITIAL CONSTRUCTION PERMIT FOR A GREENFIELD FACILITY. | INITIAL CONSTRUCTION PERMIT FOR A GREENFIELD FACILITY. | EMERGENCY GENERATORS 1 THRU 8 | 17.11 | DIESEL | 757 | HP | THE CONSTRUCTION PERMIT AUTHORIZES THE CONSTRUCTION OF EIGHT (8) IDENTICAL EMERGENCY GENERATORS. THIS PROCESS AND POLLUTANT INFORMATION IS FOR ONE SINGLE EMERGENCT GENERATOR. | Sulfur Dioxide (SO2) | Unspecified | (InOrganic Compounds,Oxides of Sulfur (SOx)) | 2025884 | P | USE OF LOW SULFUR FUEL DIESEL, SULFUR CONTENT LESS THAN 0.0015 PERCENT. OPERATING HOURS LESS THAN 100 HOURS PER YEAR FOR MAINTENACE AND TESTING. | 15 | PPM SULFUR |  | BACT-PSD |  | Y | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | SULFUR CONTENT OF DIESEL FUEL TO BE LESS THAT 0.0015 PERCENT. SUPPLIER CERTIFICATION OF FUEL SULFUR CONTENT SHALL BE MAINTAINED.