## Medium Gas-Fired Boilers 12.31_
RBLCID | FACILITY_NAME | CORPORATE_OR_COMPANY_NAME | FACILITY_COUNTY | FACILITY_STATE | FACILITY_ZIP_CODE | FACILITY_COUNTRY | FACILTY_CONTACT_NAME | FACILITY_PHONE | FACILITY_CONTACT_EMAIL | EPA_REGION | AGENCY_CODE | AGENCY_NAME | AGENCY_CONTACT | AGENCY_PHONE | AGENCY_EMAIL | OTHER_AGENCY_CONTACT_INFO | PERMIT_NUM | SIC_CODE | NAICS_CODE | FACILITY_REGISTRY_SYSTEM_NUMBER | COMPLETE_APPLICATION_DATE | PERMIT_ISSUANCE_DATE | DATE_DETERMINATION_ENTERED_INTO_RBLC | DATE_DETERMINATION_LAST_UPDATED | PERMIT_TYPE | PERMIT_URL | FACILITY_DESCRIPTION | PERMIT_NOTES | PROCESS_NAME | PROCCESS_TYPE | PRIMARY_FUEL | THROUGHPUT | THROUGHPUT_UNIT | PROCESS_NOTES | POLLUTANT | TESTMETHOD | POLLUTANT_GROUP(S) | CAS_NUMBER | CONTROL_METHOD_CODE | CONTROL_METHOD_DESCRIPTION | EMISSION_LIMIT_1 | EMISSION_LIMIT_1_UNIT | EMISSION_LIMIT_1_AVG_TIME_CONDITION | CASE-BY-CASE_BASIS | OTHER_ APPLICABLE_REQUIREMENTS | OTHER_FACTORS | PERCENT_EFFICIENCY | COMPLIANCE_VERIFIED | EMISSION_LIMIT_2 | EMISSION_LIMIT_2_UNIT | EMISSION_LIMIT_2_AVGERAGE_TIME_CONDITION | STANDARAD_EMISSION_LIMIT | STANDARD_EMISSION_LIMIT_UNIT | STANDARD_LIMIT_AVERAGE_TIME_CONDITION | COST_EFFECTIVENESS | INCREMENTAL_COST_EFFECTIVENESS | Cost_Verified | DOLLAR_YEAR_USED_IN_COST_ESTIMATES | POLLUTANT_COMPLIANCE_NOTES
TX-0731 | CORPUS CHRISTI TERMINAL CONDENSATE SPLITTER | MAGELLAN PROCESSING LP | NUECES | TX |  | USA | SHAHANA BANOO | 918-574-7767 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MICHAEL PARTEE | (512) 239-3312 | michael.partee@tceq.texas.gov | Jesse Lovegren, 512-239-1284, jesse.lovegren@tceq.texas.gov | 118270 AND PSDTX1398 | 2911 | 324110 | 110017840782 | 02/19/2015 &nbsp;ACT | 04/10/2015 &nbsp;ACT | 2015-04-14 | 2016-05-16 | B |  | 100 MBpd topping refinery |  | Industrial-Size Boilers/Furnaces | 12.31 | natural gas | 129 | MMBTU/H | (2) 129 Million British Thermal Units per hour (MMBtu/hr) direct-fired process heaters and (2) 106 MMBtu/hr thermal fluid heaters (one pair for each train) | Nitrogen Oxides (NOx) | Other - 40 CFR Pt. 60, Appendices B, F | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | A | Selective catalytic reduction (SCR) | 0.006 | LB/MMBTU | 12-MONTH AVG | BACT-PSD |  | N | 0 | U | 0.01 | LB/MMBTU | BLOCK 1-HR AVG | 0 |  |  | 0 | 0 | N
CA-1206 | STOCKTON COGEN COMPANY | APMC STOCKTON COGEN | SAN JOAQUIN COUNTY | CA | 95206 | USA | GLENN SIZEMORE |  |  | 9 | OT010 | EPA REGION IX | MR. GERARDO RIOS | (415)972-3974 | rios.gerardo@epa.gov |  | SJ 85-04 | 4911 | 221112 | 110000484930 | 04/24/2009 &nbsp;ACT | 09/16/2011 &nbsp;ACT | 2012-11-11 | 2014-01-14 | C | http://www.epa.gov/region09/air/permit/r9-permits-issued.html | 49.9 MW COGENERATION POWER PLANT OWNED BY AIR PRODUCTS MANUFACTURING CORPORATION (APMC) STOCKTON COGEN AND LOCATED IN STOCKTON, CALIFORNIA | PSD permit amended to allow increased operation of facility's natural gas-fired auxiliary boiler and reduced operation of its coal-fired circulating fluidized bed boiler. Facilitywide emission increases less than the PSD significant thresholds. | AUXILIARY BOILER | 12.31 | NATURAL GAS | 178 | MMBTU/H |  | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | N |  | 0.0085 | LB/MMBTU | @3% O2 | BACT-PSD |  | U | 0 | U | 0.0085 | LB/MMBTU |  | 0 |  |  | 0 | 0 | N |  | OTHER LIMITS: AUX BOILER AND CIRCULATING FLUIDIZED BED BOILER MAY ONLY BE OPERATED SIMULTANEOUSLY FOR UP TO 250 HRS PER YEAR, DURING CIRCULATING FLUIDIZED BED BOILER STARTUP AND SHUTDOWN PERIODS, AND PERIODS OF LESS THAN 10 HRS DURATION TO CONDUCT EMISSIONS TESTING
AK-0083 | KENAI NITROGEN OPERATIONS | AGRIUM U.S. INC. | USA | AK | 99611 | USA | TED HARTMAN | 913 302 7469 | TED.HARTMAN@AGRIUM.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV |  | AQ0083CPT06 | 2873 | 325311 | 110030488620 | 11/25/2014 &nbsp;ACT | 01/06/2015 &nbsp;ACT | 2015-01-29 | 2016-02-19 | A | http://dec.alaska.gov/Applications/Air/airtoolsweb/Home/ViewAttachment/16672291/KQZafTqmYd8SVnZ3RUWQfQ2 | The Kenai Nitrogen Operations Facility is located at Mile 21 of the Kenai Spur Highway, near Kenai Alaska. It is classified as a nitrogenous fertilizer manufacturing facility under Standard Industrial Classification code 2873 and under North American Industrial Classification code 325311. The facility will produce ammonia and urea for bulk sale. There are two ammonia and two urea plants at Agriumâ€™s KNO facility. This permit authorizes the restart of one ammonia and one urea plant (plants 4 and 5). The ammonia plant converts natural gas with added steam and air to produce ammonia (NH3) and carbon dioxide (CO2). Feedstocks for the urea plant include CO2 and NH3. The utility plant generates the power and steam needed to operate the ammonia and urea plants. Final products are loaded at the Product Loading Wharf for shipment. |  | Three (3) Package Boilers | 12.31 | Natural Gas | 243 | MMBTU/H | Three (3) New Natural Gas-Fired 243 MMBtu/hr Package Boilers | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | A | Ultra Low NOx Burners | 0.01 | LB/MMBTU | 30-DAY AVERAGE | BACT-PSD |  | U | 70 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
VA-0328 | C4GT, LLC | NOVI ENERGY | USA | VA | 23030 | USA | ANAND GANGADHARAN | (248) 735-6684 | AGANGADH@NOVIENERGY.COM | 3 | VA001 | VIRGINIA DEPT. OF ENVIRONMENTAL QUALITY; DIVISION OF AIR QUALITY | PAT CORBETT | (804)698-4016 | patrick.corbett@deq.virginia.gov | Permit Writer, Alison Sinclair: Email: Alison.Sinclair@deq.virginia.gov Phone: 804-527-5155 | 52588 | 4911 | 221112 | Not Found | 11/15/2017 &nbsp;ACT | 04/26/2018 &nbsp;ACT | 2018-05-09 | 2019-06-19 | A |  | Natural gas-fired combined cycle power plant | The permit was written with two options for the turbines: Option 1 - GE 7HA.02 Option 2 - Siemens SGT6-8000H Facility Wide Pollutants for Siemens: CO: 293.5 NOx: 295.8 PM: 253.8 SOx: 39.3 VOC: 113.7 | Auxiliary Boiler | 12.31 | Natural Gas | 902 | mmcf/y |  | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | Low NOx burners | 0.011 | LB/MMBTU | CORRECTED TO 3% O2 | BACT-PSD | NSPS , SIP | N | 0 | N | 1.2 | LB/H |  | 0 |  |  | 0 | 0 | N |  | Annual limit of 5.1 tons/yr on a 12-month rolling total. Compliance based on stack test and annual fuel throughout
OH-0363 | NTE OHIO, LLC |  | BUTLER | OH | 45044 | USA | MICHAEL SCHUSTER | (904)436-6896 | MSCHUSTER@NTEENERGY.COM | 5 | OH001 | OHIO ENVIRONMENTAL PROTECTION AGENCY | MICHAEL MALESKI | (614) 644-3613 | Michael.Maleski@epa.ohio.gov |  | P0116610 | 4911 | 221112 | 110070379584 | 04/07/2014 &nbsp;ACT | 11/05/2014 &nbsp;ACT | 2019-02-22 | 2019-04-01 | A |  | Combined-cycle, natural gas-fired power plant | Initial installation of either one (1) Mitsubishi Hitachi Power Systems Americas M501JAC or one (1) Mitsubishi Hitachi Power Systems Americas M501GAC single power block in a 1x1 combined-cycle multi-shaft configuration, including a combustion turbine and heat recovery steam generator with duct burners and a steam turbine to be known as the Middletown Energy Center. | Auxiliary Boiler (B001) | 12.31 | Natural gas | 150 | MMBTU/H | A natural gas-fired auxiliary boiler, rated at 150 MMBtu/hr will be used primarily to provide high-temperature steam when the CTG is offline in order to accommodate more rapid startups after extended shutdowns and potentially to provide fuel gas heating. | Nitrogen Oxides (NOx) | EPA/OAR Mthd 7E | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | Ultra low NOx burner | 0.011 | LB/MMBTU |  | BACT-PSD | NSPS | U | 0 | U | 3.3 | T/YR | PER ROLLING 12 MONTH PERIOD | 0.011 | LB/MMBTU |  | 0 | 0 | N
MI-0389 | KARN WEADOCK GENERATING COMPLEX | CONSUMERS ENERGY | BAY | MI | 48732-9601 | USA | JAMES M. WALKER | 5177880428 | JMWALKER@CMSENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | FOR TECHNICAL QUESTIONS ABOUT THIS PERMIT, PLEASE CONTACT THE PERMIT ENGINEER - DAVID K. RIDDLE RIDDLED@MICHIGAN.GOV (517-373-7081) | 341-07 | 4911 | 221112 | 26-01700033 | 10/15/2007 &nbsp;ACT | 12/29/2009 &nbsp;ACT | 2010-03-08 | 2010-12-16 | U |  | ELECTRICITY GENERATING FACILITY, EXISTING CAPACITY GREATER THAN 2,000 MW. | AFTER CONSTRUCTION CONSUMERS WILL RETIRE 5 TO 7 COAL-FIRED BOILERS (638 - 958 MW) STATEWIDE. FINAL CONDITIONS WILL BE AT WWW.DEQ.STATE.MI.US/APS/FINALCONDITIONS.SHTML. MATERIAL HANDLING - CONTACT PERMIT ENGINEER FOR TECHNICAL INFORMATION (DAVID RIDDLE, 517-373-7081). INCLUDES 9 EMISSION UNITS. COAL, LIMESTONE, SORBENT AND ASH HANDLING PROCESSES. VARIOUS BACT LIMITS FOR OPACITY, PM AND PM10. BACT FOR THE MATERIAL HANDLING EQUIPMENT CONSISTED OF A COMBINATION OF PASSIVE CONTROL EQUIPMENT SUCH AS WET/CHEMICAL SUPPRESSION SYSTEMS AND ENCLOSED CONVEYORS; AND ACTIVE CONTROL SUCH AS FABRIC FILTERS. ACTIVE CONTROL IS LIMITED TO 0.004 GR/DSCF. | AUXILARY BOILER | 12.31 | NATURAL GAS | 220 | MMBTU/H |  | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | LOW NOX BURNER | 0.018 | LB/MMBTU | 30-DAY ROLLING | BACT-PSD | NSPS | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | EMISSION LIMIT EQUALS 15 PPM.
AR-0121 | EL DORADO CHEMICAL COMPANY | LSB INDUSTRIES, INC. | UNION | AR | 71730 | USA | GREG WITHROW | 8708631484 | GWITHROW@EDC-ARK.COM | 6 | AR001 | ARKANSAS DEPT OF ENVIRONMENTAL QUALITY | MR. THOMAS RHEAUME | (501) 682-0762 | rheaume@adeq.state.ar.us | THOMAS RHEAUME, PERMIT BRANCH MANAGER JOSEPH HURT, ENGINEER | 0573-AOP-R16 | 2873 | 325311 | 110000746373 | 01/31/2013 &nbsp;ACT | 11/18/2013 &nbsp;ACT | 2015-08-12 | 2016-06-17 | B | HTTP://WWW.ADEQ.STATE.AR.US/FTPROOT/PUB/WEBDATABASES/PERMITSONLINE/AIR/0573-AOP-R16.PDF | CHEMICAL MANUFACTURING, INCLUDING NITRIC ACID PRODUCTION, SUFLURIC ACID PRODUCTION, AMMONIA PRODUCTION, AND AMMONIA NITRATE PRODUCTION |  | START-UP BOILER | 12.31 | NATURAL GAS | 240 | MMBTU/H |  | Nitrogen Oxides (NOx) | EPA/OAR Mthd 7E | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | LOW NOX BURNERS AND FLUE GAS RECIRCULATION | 0.018 | LB/MMBTU | ROLLING 3 HOUR AVERAGE | BACT-PSD | SIP | N | 0 | N | 0.018 | LB/MMBTU | ROLLING 3 HOUR AVERAGE | 0 |  |  | 0 | 0 | N |  | PERIODIC STACK TESTING TO VERIFY COMPLIANCE
ID-0017 | POWER COUNTY ADVANCED ENERGY CENTER | SOUTHEAST IDAHO ENERGY, LLC | POWER | ID | 83211 | USA | TOM HORNYAK | 3039534297 | T.HORNYAK@REHINC.COM | 10 | ID001 | IDAHO DEPT OF ENVIRONMENTAL QUALITY | MR. BILL ROGERS | (208)373-0437 | WILLIAM.ROGERS@DEQ.IDAHO.GOV |  | P-2008.0066 | 2873 | 113210 | UNKNOWN | 04/29/2008 &nbsp;ACT | 02/10/2009 &nbsp;ACT | 2009-10-19 | 2010-02-05 | A |  | COAL/PETCOKE GASIFICATION PLANT PRODUCING AMMONIA, UREA, UAN, AND ELEMENTAL SULFUR. | FACILITY LOCATION: LAMB WESTON ROAD, AMERICAN FALLS, IDAHO. DESIGNATED FACILITY (FUEL CONVERSION PLANT AND CHEMICAL PLANT). PSD THRESHOLD IS 100 T/YR. BACT REQ'D FOR PM, PM10, CO, AND NOX. | 250 MMBTU/H PACKAGE BOILER, SRC24 | 12.31 | NAT GAS | 250 | MMBTU/H | OPERATED ONLY DURING STARTUP AND SHUTDOWN, RAMPS DOWN/UP AS STEAM SUPERHEATER BOILER RAMPS UP/DOWN. COMBINED HEAT INPUT BALANCED <= 250 MMBTU/HR. | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | B | LOW-NOX BURNER AND FGR | 0.02 | LB/MMBTU |  | BACT-PSD | NSPS | Y | 95 | N | 5 | LB/H |  | 0 |  |  | 0 | 0 | N |  | LIMITS APPLY TO PACKAGE BOILER AND STEAM SUPERHEATER COMBINED EMISSIONS.
OH-0374 | GUERNSEY POWER STATION LLC | GUERNSEY POWER STATION LLC | GUERNSEY | OH | 43723 | USA | MARY KING | (317)447-4513 | MARY@APEXPOWERGROUP.COM | 5 | OH001 | OHIO ENVIRONMENTAL PROTECTION AGENCY | MICHAEL MALESKI | (614) 644-3613 | Michael.Maleski@epa.ohio.gov |  | P0122594 | 4911 | 221112 | 110070379546 | 04/14/2017 &nbsp;ACT | 10/23/2017 &nbsp;ACT | 2019-03-08 | 2019-06-19 | A |  | 1,650 MW combined cycle combustion turbine electrical generating facility | Installation PTI for a new 1,650 MW combined cycle natural-gas fired turbine plant and associated auxiliary boiler, firewater pumps, emergency generators and fuel gas heaters | Auxiliary Boiler (B001) | 12.31 | Natural gas | 185 | MMBTU/H | 185.0 MMBtu/hr natural gas-fired boiler with low-NOx burners and flue gas recirculation (FGR) | Nitrogen Oxides (NOx) | Other - CEM for NOx | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | A | low-NOx burners and flue gas recirculation | 0.02 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 9.25 | T/YR | PER ROLLING 12 MONTH PERIOD | 0.02 | LB/MMBTU |  | 0 | 0 | N
TX-0708 | LA PALOMA ENERGY CENTER | LA PALOMA ENERGY CENTER, LLC | CAMERON | TX |  | USA | GARY NEUS | (281) 682-8448 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MICHAEL PARTEE | (512) 239-3312 | michael.partee@tceq.texas.gov | Mr. Randy Hamilton 512-239-1512 randy.hamilton@tceq.texas.gov | 101542 PSDTX1288 | 4911 | 221112 | unknown | 03/15/2012 &nbsp;ACT | 02/07/2013 &nbsp;ACT | 2015-03-20 | 2016-05-09 | A |  | The proposed project is a new electric power plant, fueled by pipeline quality natural gas. The design of the plant is standard combined cycle (CC) technology. |  | boiler | 12.31 | natural gas | 150 | MMBTU/H | annual usage limitation to 876 hours per year | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | low-NOx burners, limited use | 0.02 | LB/MMBTU | 3-HR ROLLING AVERAGE | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
WV-0025 | MOUNDSVILLE COMBINED CYCLE POWER PLANT | MOUNDSVILLE POWER, LLC | MARSHALL | WV | 26041 | USA | JON WILLIAMS | 716-856-3333 | JMWILLIAMS@MOUNDSVILLE-POWER.COM | 3 | WV001 | WEST VIRGINIA DEPT. OF ENVRIONMENTAL PROTECTION; DIV. OF AIR QUALITY | MR. JOE KESSLER, PE | (304)926-0499X1219 | Joseph.r.kessler@wv.gov | Permit Writer: Mr. Steve Pursley, PE WV Division of Air Quality 304-926-0499 x1218 | R14-0030 | 4911 | 221112 | Not Found | 05/14/2014 &nbsp;ACT | 11/21/2014 &nbsp;ACT | 2015-01-05 | 2018-05-01 | U |  | Nominal 549 mW(output) natural gas-fired combined cycle power plant. |  | Auxiliary Boiler | 12.31 | Natural Gas | 100 | mmBtu/hr | Limited to 2,000 hours of operation per year. | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | Ultra Low-NOx Burners, Flue-Gas Recirculation, & Good Combustion Practices | 0.02 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0.02 | LB/MMBTU |  | 0 | 0 | N
LA-0331 | CALCASIEU PASS LNG PROJECT | VENTURE GLOBAL CALCASIEU PASS, LLC | CAMERON | LA | 70631 | USA | GRAHAM MCARTHUR | 202-759-6741 | GMCARTHUR@VGLNG.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Ms. Mei Wu, (225)219-3180 | PDS-LA-805 | 4925 | 221210 | Not Found | 06/25/2018 &nbsp;ACT | 09/21/2018 &nbsp;ACT | 2019-02-14 | 2019-06-19 | A |  | New Liquefied Natural Gas (LNG) production, storage, and export terminal. | Application Received September 2, 2015. | Hot Oil Heaters (HOH1 to HOH6) | 12.31 | Natural Gas | 115 | MM BTU/h |  | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | A | Ultra Low NOx Burners and Good Combustion Practices | 0.038 | LB/MM BTU | 3-HOUR AVERAGE | BACT-PSD | NSPS , OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Subject to 40 CFR 60 Subpart Db
MI-0427 | FILER CITY STATION | FILER CITY STATION LIMITED PARTNERSHIP | MANISTEE | MI | 49634 | USA | ALLEN ADKINS | 313-336-7189 | ALLEN.ADKINS@CMSENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Ms. Michelle Rogers, for any technical questions regarding this permit application. She may be reached at 517-284-6799 or at rogersm13@michigan.gov. Thank you. | 66-17 | 4931 | 221112 | Not Found | 07/17/2017 &nbsp;ACT | 11/17/2017 &nbsp;ACT | 2018-01-26 | 2018-03-08 | B |  | New natural gas combined heat and power plant proposed at existing cogenerating power plant permitted to burn wood, coal and tire derived fuel. |  | EUAUXBOILER (Auxiliary boiler) | 12.31 | Natural gas | 182 | MMBTU/H | A natural gas fired auxiliary boiler, rated at 182 MMBTU/H to provide auxiliary steam when the plant is off-line, used to maintain warm drums on the HRSG and maintain the steam turbine generator seals. | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | B | LNB that incorporate internal (within the burner) FGR and good combustion practices. | 0.04 | LB/MMBTU | 30 DAY ROLLING AVERAGE | BACT-PSD | SIP | N | 70 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The emission limit as required in 40 CFR 60.44b(l)(1) is 0.20 lb/MMBTU (expressed as NO2) at a high heat release rate. The emission limit above subsumes the NSPS emission limit. Selective catalytic reduction (SCR) is greater than $44,000/ton for NOx.
MI-0423 | INDECK NILES, LLC | INDECK NILES, LLC | CASS | MI | 49120 | USA | MICHAEL DUBOIS | 847-520-3212 | MDUBOIS@INDECKENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Catherine Asselin at 517-284-6786, or at asselinc@michigan.gov, for technical questions regarding the permit. Thank you. | 75-16 | 4911 | 221112 | Not Found | 10/25/2016 &nbsp;ACT | 01/04/2017 &nbsp;ACT | 2017-06-02 | 2018-03-08 | A |  | Natural gas combined cycle power plant. | The permit includes equipment not entered into the RBLC due to a lack of emission limits or material limits; these include a cold cleaner, a number of space heaters, and two fuel tanks. | EUAUXBOILER (Auxiliary Boiler) | 12.31 | natural gas | 182 | MMBTU/H | One natural gas-fired auxiliary boiler rated at 182 MMBTU/H fuel heat input. | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | B | Low NOx burners/Flue gas recirculation and good combustion practices. | 0.04 | LB/MMBTU | 30 DAY ROLLING AVG TIME PERIOD | BACT-PSD | NSPS , SIP | N | 70 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Selective catalytic reduction (SCR) is greater than $10,000/ton for NOx.
LA-0314 | INDORAMA LAKE CHARLES FACILITY | INDORAMA VENTURES OLEFINS, LLC | CALCASIEU | LA | 70669 | USA | SUSAN WEDEMEYER | 337-476-7451 | SUSAN.WEDEMEYER@US.INDORAMA.NET | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Dan Nguyen (225)219-3395 | PSD-LA-813 | 2869 | 325199 | 110000748040 | 04/30/2016 &nbsp;ACT | 08/03/2016 &nbsp;ACT | 2017-03-13 | 2017-04-28 | C |  | modify and restart-up a mothballed facility to produce 1,009 million lbs/yr of ethylene |  | boiler B-201 | 12.31 | natural gas/fuel gas | 229 | mm btu |  | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | good combustion practices; fueled by natural gas or process fuel gas; ULNB (FGR and economizer) | 0.06 | LB/MM BTU | THREE ONE-HOUR TEST AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0314 | INDORAMA LAKE CHARLES FACILITY | INDORAMA VENTURES OLEFINS, LLC | CALCASIEU | LA | 70669 | USA | SUSAN WEDEMEYER | 337-476-7451 | SUSAN.WEDEMEYER@US.INDORAMA.NET | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Dan Nguyen (225)219-3395 | PSD-LA-813 | 2869 | 325199 | 110000748040 | 04/30/2016 &nbsp;ACT | 08/03/2016 &nbsp;ACT | 2017-03-13 | 2017-04-28 | C |  | modify and restart-up a mothballed facility to produce 1,009 million lbs/yr of ethylene |  | boiler A and B (010 and 011) | 12.31 | natural gas/fuel gas | 248 | mm btu/hr (each) |  | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | good combustion practices; fueled by natural gas or process fuel gas; ULNB (FGR and economizer) | 0.06 | LB/MM BTU | THREE ONE-HOUR TEST AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
OH-0379 | PETMIN USA INCORPORATED | PETMIN USA INCORPORATED | ASHTABULA | OH | 44004 | USA | PALMIRA FARINHA | (216)479-6876 | PALMIRA@PETMIN.CO.ZA | 5 | OH001 | OHIO ENVIRONMENTAL PROTECTION AGENCY | MICHAEL MALESKI | (614) 644-3613 | Michael.Maleski@epa.ohio.gov |  | P0125024 | 3312 | 331111 | Not Found | 09/13/2018 &nbsp;ACT | 02/06/2019 &nbsp;ACT | 2019-04-02 | 2019-06-19 | A |  | Merchant Pig Iron Production | Initial PTI to convert iron ore pellets to merchant pig iron, including the installation of a process gas heater, electric arc furnace, startup boiler, black start generator, emergency generators, ladle preheaters, quenching & wastewater treatment, material handling and roadways. | Process gas heater (P001) | 12.31 | Natural gas | 218.9 | MMBTU/H | Process gas preheater, natural gas, indirect fired with maximum heat input of 218.9 MMBtu/hr, emissions are vented to a stack. | Nitrogen Oxides (NOx) | EPA/OAR Mthd 7E | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | B | Low NOX burners, use of natural gas and good combustion practices | 0.064 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 61.36 | T/YR | PER ROLLING 12 MONTH PERIOD | 0.064 | LB/MMBTU |  | 0 | 0 | N
IL-0114 | CRONUS CHEMICALS, LLC | CRONUS CHEMICALS, LLC | DOUGLAS | IL | 60601 | USA | ERZIN ATAC | 312-863-8638 | ERZIN.ATAC@CRONUCHEM.COM | 5 | IL001 | ILLINOIS EPA, BUREAU OF AIR | MR. RAY PILAPIL | (217) 782-2113 | ray.pilapil@illinois.gov | Permit Writer: Bob Smet 217-785-9250 robert.smet@illinois.gov | 13060007 | 2873 | 325311 | 110055568522 | 02/14/2014 &nbsp;ACT | 09/05/2014 &nbsp;ACT | 2014-12-24 | 2016-05-05 | A | http://yosemite.epa.gov/r5/in_permt.nsf/6f1ebc583aad45448625763f0053e08e/02fa71769b748f8886257da2004e4f4f!OpenDocument | Plant will produce urea and ammonia, but ammonia production will be limited to a maximum of 3 months of the year (4,880 tpd urea and 2,789 tpd ammonia). |  | Startup Heater | 12.31 | natural gas | 104 | MMBTU/H |  | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | B | low-nox burners | 0.08 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
AK-0083 | KENAI NITROGEN OPERATIONS | AGRIUM U.S. INC. | USA | AK | 99611 | USA | TED HARTMAN | 913 302 7469 | TED.HARTMAN@AGRIUM.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV |  | AQ0083CPT06 | 2873 | 325311 | 110030488620 | 11/25/2014 &nbsp;ACT | 01/06/2015 &nbsp;ACT | 2015-01-29 | 2016-02-19 | A | http://dec.alaska.gov/Applications/Air/airtoolsweb/Home/ViewAttachment/16672291/KQZafTqmYd8SVnZ3RUWQfQ2 | The Kenai Nitrogen Operations Facility is located at Mile 21 of the Kenai Spur Highway, near Kenai Alaska. It is classified as a nitrogenous fertilizer manufacturing facility under Standard Industrial Classification code 2873 and under North American Industrial Classification code 325311. The facility will produce ammonia and urea for bulk sale. There are two ammonia and two urea plants at Agriumâ€™s KNO facility. This permit authorizes the restart of one ammonia and one urea plant (plants 4 and 5). The ammonia plant converts natural gas with added steam and air to produce ammonia (NH3) and carbon dioxide (CO2). Feedstocks for the urea plant include CO2 and NH3. The utility plant generates the power and steam needed to operate the ammonia and urea plants. Final products are loaded at the Product Loading Wharf for shipment. |  | Startup Heater | 12.31 | Natural Gas | 101 | MMBTU/H | Natural Gas-Fired 101 MMBtu/hr Startup Heater. Installed in 1976. | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | Limited Use (200 hr/yr) | 0.098 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 55705 | 0 | N | 2014 | The economic analysis indicates the level of NOx reduction does not justify installing selective catalytic reduction. Based on the excessive cost per ton of NOx removed per year, installation of selective catalytic reduction on the startup heater is not considered a feasible option for reducing NOx emissions.
AR-0140 | BIG RIVER STEEL LLC | BIG RIVER STEEL LLC | MISSISSIPPI | AR | 72370 | USA | DAVID STICKLER | 3309080813 |  | 6 | AR001 | ARKANSAS DEPT OF ENVIRONMENTAL QUALITY | MR. THOMAS RHEAUME | (501) 682-0762 | rheaume@adeq.state.ar.us |  | 2305-AOP-R0 | 3312 | 331111 | 110067436625 | 03/14/2013 &nbsp;ACT | 09/18/2013 &nbsp;ACT | 2016-11-09 | 2016-12-13 | A | HTTP: | THE FACILITY WILL CONSIST OF TWO ELECTRIC ARC FURNACES TO MELT SCRAP IRON AND STEEL, LADLE METALLURGY FURNACES (LMF) TO ADJUST THE CHEMISTRY, A RH DEGASSER AND BOILER FOR FURTHER REFINEMENT, AND CASTERS. |  | TUNNEL FURNACES SN-20 AND 21 | 12.31 | NATURAL GAS | 234 | MMBTU/H | 2 TUNNEL FURNCE SECTIONS 234 MMBTU/HR AND 192 MMBTU/HR MADE UP OF A SERIES OF INDIVIDUAL 3 MMBTU BURNERS. | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | B | LOW NOX BURNERS COMBUSTION OF CLEAN FUEL GOOD COMBUSTION PRACTICES | 0.1 | LB/MMBTU |  | BACT-PSD |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
IA-0105 | IOWA FERTILIZER COMPANY | IOWA FERTILIZER COMPANY | LEE | IA | 52658 | USA | DAVE PEARSON | (319) 246-2308 | DAVE.PEARSON@IOWAFERTILIZERS.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV | CHRISTOPHER A. ROLING, PE ENVIRONMENTAL ENGINEER SENIOR (515) 725-9557 CHRIS.ROLING@DNR.IOWA.GOV | 12-219 | 2873 | 325311 | 110054890392 | 08/03/2012 &nbsp;ACT | 10/26/2012 &nbsp;ACT | 2012-11-01 | 2013-08-13 | A | https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp | NITROGENEOUS FERTILIZER MANUFACTURING | THE PROJECT WAS AMENDED ON 3/13/14 DUE TO SOME DESIGN CHANGES WHICH INCLUDED ADDITIONAL EMISSION UNITS/POINTS. THE NEW PROJECT IS UNDER PROJECT NUMBER/PERMIT NUMBER 13-355 | Startup Heater | 12.31 | Natural gas | 110.12 | MMBTU/H |  | Nitrogen Oxides (NOx) | EPA/OAR Mthd 7E | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | good combustion practices | 0.119 | LB/MMBTU | AVERAGE OF 3 STACK TEST RUNS | BACT-PSD |  | U | 0 | U | 0.63 | TONS/YR | ROLLING 12 MONTH TOTAL | 0 |  |  | 0 | 0 | N
AK-0073 | INTERNATIONAL STATION POWER PLANT | CHUGACH ELECTRIC ASSOCIATION | ANCHORAGE | AK | 99518 | USA | GREGORY ARTHUR | 907 762 4492 |  | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV | Kwame Agyei, Permit Engineer, kwame.agyei@alaska.gov | AQ0164CPT01 | 4911 | 221112 | 110046491854 | 04/14/2010 &nbsp;ACT | 12/20/2010 &nbsp;ACT | 2012-02-22 | 2014-01-08 | D |  | Power plant that contains four combustion turbines, four duct burners, a black start generator, and an auxiliary heater. |  | Fuel Combustion | 12.31 | Natural Gas | 140 | MMBTU/H | EU IDs 9-12 Duct Burners | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | A | SCR | 5 | PPM | 4-HR AVG. | BACT-PSD |  | U | 85 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
AK-0071 | INTERNATIONAL STATION POWER PLANT | CHUGACH ELECTRIC ASSOCIATION, INC. | MUNCIPALITY OF ANCHORAGE | AK | 99518-1074 | USA | GREG ARTHUR | (907) 762-4492 | GREG_ARTHUR@CHUGACHELECTRIC.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV | Dr. Fathima Zeena" Siddeek 410 Willoughby Way Ste. 303 Juneau | AK 99811" | AQ0164CPT01 | 4911 | 221112 | Not Applicable | 03/31/2010 &nbsp;ACT | 12/20/2010 &nbsp;ACT | 2010-12-20 | 2012-03-27 | http://dec.alaska.gov/air/ap/docs/AQ0164CPT01finper.pdf | Combined Cycle Power Power Plant |  | Duct Burners (4) | 12.31 | Natural Gas | 140 | MMBTU/H | Each duct burner-turbine pair exhaust through a common stack | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | A | Selective Catalytic Reduction | 5 | PPMDV | 4-HOUR AVERAGE | BACT-PSD |  | U | 90 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Emission limit is for each turbine-duct burner pair due to common exhaust stack. BACT limit commences 70 minutes after startup of turbines. Cost analysis not conducted since cost was not a factor in BACT determination.
TX-0712 | TRINIDAD GENERATING FACILITY | SOUTHERN POWER COMPANY | HENDERSON | TX |  | USA | KELLI MCCULLOUGH | (205) 257-6720 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MICHAEL PARTEE | (512) 239-3312 | michael.partee@tceq.texas.gov | Mr. Tzvi Shalem 512-239-1310 tzvi.shalem@tceq.texas.gov | 111393 PSDTX1368 | 4911 | 221112 | 110007199735 | 06/27/2013 &nbsp;ACT | 11/20/2014 &nbsp;ACT | 2015-03-20 | 2016-05-09 | B |  | Southern Power Company (SPC) is proposing to construct an electric generating facility near Trinidad, Henderson County, Texas. The Trinidad Generating Facility (TGF) will include a natural gas-fired combined cycle combustion turbine generator (CTG) equipped with heat recovery steam generator (HRSG) and duct burners (DB). |  | boiler | 12.31 | natural gas | 110 | MMBTU/H | limited to a maximum annual operation of 1,500 hours | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | ultra-low NOx burners, limited use | 9 | PPMVD | @15% O2 | BACT-PSD |  | N | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
CA-1212 | PALMDALE HYBRID POWER PROJECT | CITY OF PALMDALE | LOS ANGELES | CA | 93535 | USA | STEVE WILLIAMS |  |  | 9 | OT010 | EPA REGION IX | MR. GERARDO RIOS | (415)972-3974 | rios.gerardo@epa.gov |  | SE 09-01 | 4911 | 221112 |  | 08/19/2011 &nbsp;ACT | 10/18/2011 &nbsp;ACT | 2012-11-11 | 2014-01-27 | A | http://www.epa.gov/region9/air/permit/r9-permits-issued.html | 570 MW NATURAL GAS FIRED COMBINED CYCLE POWER PLANT WITH AN INTEGRATED 50 MW SOLAR THERMAL PLANT | NOTE: FINAL PSD PERMIT ISSUED ON 11/18/2011. PERMIT APPEALED TO THE ENVIRONMENTAL APPEALS BOARD, AND EAB DENIED REVIEW OF THIS APPEAL ON 9/17/2012. PETITIONER FILED A PETITION FOR REVIEW WITH THE 9TH CIRCUIT FEDERAL COURT. THIS COURT CASE WAS DISMISSED ON 10/28/2013. | AUXILIARY BOILER | 12.31 | NATURAL GAS | 110 | MMBTU/H |  | Nitrogen Oxides (NOx) | EPA/OAR Mthd 7E | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | N |  | 9 | PPMVD | @3% O2, 3-HR AVG | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
TX-0641 | PINECREST ENERGY CENTER | PINECREST ENERGY CENTER LLC | ANGELINA | TX |  | USA | KATHLEEN SMITH | 281-253-4385 |  | 6 | TX001 | TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) | MICHAEL PARTEE | (512) 239-3312 | michael.partee@tceq.texas.gov | Mr. Marc Sturdivant 512-239-1313 marc.sturdivant@tceq.texas.gov | PSDTX1298 | 4911 | 221122 | Not Found | 06/22/2012 &nbsp;ACT | 11/12/2013 &nbsp;ACT | 2013-11-21 | 2019-03-06 | A |  | Combinec Cycle Electric Generating Plant | 103839 | Auxiliary boiler | 12.31 | natural gas | 150 | MMBTU/H | limited to 876 hours per year of operation | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | low NOx burners | 16 | PPMVD | INITIAL STACK TEST, 3% OXYGEN | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0244 | LAKE CHARLES CHEMICAL COMPLEX - LAB UNIT | SASOL NORTH AMERICA, INC. | CALCASIEU | LA | 70669 | USA | MAGGIE PAGELS | 337-494-5769 | MARGARET.PAGELS@US.SASOL.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Dan Nguyen (225) 219-3395 | PSD-LA-291(M3) | 2869 | 325110 | 110017418061 | 09/17/2009 &nbsp;ACT | 11/29/2010 &nbsp;ACT | 2011-03-29 | 2011-07-06 | C |  | Chemical Production Unit for Linear Alkyl Benzene (LAB)production. | Modification to an existing PSD Permit (PSD-LA-291(M2), dated October 18, 1988) to increase operating time of the heater. Emissions will not be increased above the permitted limits. Existing BACT will not be revised. | EQT0029 - Hot Oil Heater H-601 | 12.31 | natural gas | 170 | MMBTU/H |  | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | low nox burners | 19.69 | LB/H | HOURLY MAXIMUM | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | BACT was determined in 1983
IN-0263 | MIDWEST FERTILIZER COMPANY LLC | MIDWEST FERTILIZER COMPANY LLC | POSEY | IN | 47620 | USA | RON OGLESBY | 9703057850 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: DEENA P. LEVERING 317-234-5400 DLEVERIN@IDEM.IN.GOV SECTION CHIEF: TRIPURARI SINHA PH.D. 317-234-4907 | 129-36943-00059 | 2873 | 325311 | 110059696841 | 03/11/2016 &nbsp;ACT | 03/23/2017 &nbsp;ACT | 2017-07-07 | 2017-08-22 | C | HTTP:PERMITS.AIR.IDEM.IN.GOV/36943F.PDF | STATIONARY NITROGEN FERTILIZER MANUFACTURING FACILITY |  | NATURAL GAS AUXILIARY BOILERS (EU-012A, EU-012B, EU-012C) | 12.31 | NATURAL GAS | 218.6 | MMBTU/H |  | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | P | LOW NOX BURNERS WITH FLUE GAS RECIRCULATION AND GOOD COMBUSTION PRACTICES | 20.4 | LB/MMCF EACH | 3 HOUR AVERAGE | BACT-PSD |  | N | 0 |  | 1877.39 | MMCF/12 MONTH EACH | ROLLING AVERAGE | 0 |  |  | 0 | 0 | N | 2016 | LIMIT 3: SHALL COMBUST NATURAL GAS
IN-0179 | OHIO VALLEY RESOURCES, LLC | OHIO VALLEY RESOURCES, LLC | SPENCER | IN | 47635 | USA | DOUG WILSON | 6185990015 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | SECTION CHIEF: NATHAN BELL (317) 233-5670 NBELL@IDEM.IN.GOV PERMIT WRITER: DAVID MATOUSEK (317) 232-8253 DMATOUSE@IDEM.IN.GOV | 147-32322-00062 | 2873 | 325311 | 110055148273 | 09/17/2012 &nbsp;ACT | 09/25/2013 &nbsp;ACT | 2014-08-12 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/32322F.PDF | NITROGENOUS FERTILIZER PRODUCTION PLANT |  | FOUR (4) NATURAL GAS-FIRED BOILERS | 12.31 | NATURAL GAS | 218 | MMBTU/HR, EACH | FUEL INPUT TO ALL FOUR BOILERS SHALL NOT EXCEED 2,802 MMCF/YEAR | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | B | ULTRA LOW NOX BURNERS FLUE GAS RECIRCULATION | 20.4 | LB/MMCF | 24-HR AVERAGE | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
OH-0310 | AMERICAN MUNICIPAL POWER GENERATING STATION | AMERICAN MUNICIPAL POWER | MEIGS | OH | 45771 | USA | RANDY MEYER | 6143376222 | RMEYER@AMP-OHIO.ORG | 5 | OH001 | OHIO ENVIRONMENTAL PROTECTION AGENCY | MICHAEL MALESKI | (614) 644-3613 | Michael.Maleski@epa.ohio.gov |  | P0104461 | 4911 | 221112 | 110000384325 | 05/15/2006 &nbsp;ACT | 10/08/2009 &nbsp;ACT | 2008-04-15 | 2009-11-06 | A |  | TWO 5191 MMBTU/HOUR PULVERIZED COAL-FIRED BOILERS; ONE 150 MMBTU/HOUR NATURAL GAS AUXILIARY BOILER, ONE FLY ASH AND GYPSUM LANDFILL, COAL STORAGE, CRUSHERS, FERTILIZER PLANT, LIMESTONE AND FLY ASH HANDLING EQUIPMENT, AND COOLING CELLS. ADMINISTRATIVE MODIFICATION 10/09 TO ADD CASE-BY-CASE MACT FOR BOILERS. 1ST ISSUED 2/7/08 AS PTI#06-08138; STILL INITIAL INSTALLATION | FUGITIVE EMISSIONS FROM STORAGE PILES (COAL,LIMESTONE, UREA), CONVEYING, HANDLING, ROADWAYS, BARGE OR TRUCK UNLOADING WERE NOT ENTERED INTO THE DATABASE DUE TO THE INSIGNIFICANT EMISSIONS (MOST < 1 TON FUGITIVE PM) AND LACK OF PROCESS CODES TO ENTER THEM. | AUXILIARY BOILER | 12.31 | NATURAL GAS | 150 | MMBTU/H |  | Nitrogen Oxides (NOx) | Unspecified | (InOrganic Compounds,Oxides of Nitrogen (NOx),Particulate Matter (PM)) | 10102 | N |  | 21 | LB/H |  | BACT-PSD | SIP | U | 0 | U | 9.2 | T/YR | PER ROLLING 12 MONTHS | 140 | LB/MMCF |  | 0 | 0 | N