## Medium Gas-Fired Boilers 12.31_
RBLCID | FACILITY_NAME | CORPORATE_OR_COMPANY_NAME | FACILITY_COUNTY | FACILITY_STATE | FACILITY_ZIP_CODE | FACILITY_COUNTRY | FACILTY_CONTACT_NAME | FACILITY_PHONE | FACILITY_CONTACT_EMAIL | EPA_REGION | AGENCY_CODE | AGENCY_NAME | AGENCY_CONTACT | AGENCY_PHONE | AGENCY_EMAIL | OTHER_AGENCY_CONTACT_INFO | PERMIT_NUM | SIC_CODE | NAICS_CODE | FACILITY_REGISTRY_SYSTEM_NUMBER | COMPLETE_APPLICATION_DATE | PERMIT_ISSUANCE_DATE | DATE_DETERMINATION_ENTERED_INTO_RBLC | DATE_DETERMINATION_LAST_UPDATED | PERMIT_TYPE | PERMIT_URL | FACILITY_DESCRIPTION | PERMIT_NOTES | PROCESS_NAME | PROCCESS_TYPE | PRIMARY_FUEL | THROUGHPUT | THROUGHPUT_UNIT | PROCESS_NOTES | POLLUTANT | TESTMETHOD | POLLUTANT_GROUP(S) | CAS_NUMBER | CONTROL_METHOD_CODE | CONTROL_METHOD_DESCRIPTION | EMISSION_LIMIT_1 | EMISSION_LIMIT_1_UNIT | EMISSION_LIMIT_1_AVG_TIME_CONDITION | CASE-BY-CASE_BASIS | OTHER_ APPLICABLE_REQUIREMENTS | OTHER_FACTORS | PERCENT_EFFICIENCY | COMPLIANCE_VERIFIED | EMISSION_LIMIT_2 | EMISSION_LIMIT_2_UNIT | EMISSION_LIMIT_2_AVGERAGE_TIME_CONDITION | STANDARAD_EMISSION_LIMIT | STANDARD_EMISSION_LIMIT_UNIT | STANDARD_LIMIT_AVERAGE_TIME_CONDITION | COST_EFFECTIVENESS | INCREMENTAL_COST_EFFECTIVENESS | Cost_Verified | DOLLAR_YEAR_USED_IN_COST_ESTIMATES | POLLUTANT_COMPLIANCE_NOTES
AR-0140 | BIG RIVER STEEL LLC | BIG RIVER STEEL LLC | MISSISSIPPI | AR | 72370 | USA | DAVID STICKLER | 3309080813 |  | 6 | AR001 | ARKANSAS DEPT OF ENVIRONMENTAL QUALITY | MR. THOMAS RHEAUME | (501) 682-0762 | rheaume@adeq.state.ar.us |  | 2305-AOP-R0 | 3312 | 331111 | 110067436625 | 03/14/2013 &nbsp;ACT | 09/18/2013 &nbsp;ACT | 2016-11-09 | 2016-12-13 | A | HTTP: | THE FACILITY WILL CONSIST OF TWO ELECTRIC ARC FURNACES TO MELT SCRAP IRON AND STEEL, LADLE METALLURGY FURNACES (LMF) TO ADJUST THE CHEMISTRY, A RH DEGASSER AND BOILER FOR FURTHER REFINEMENT, AND CASTERS. |  | TUNNEL FURNACES SN-20 AND 21 | 12.31 | NATURAL GAS | 234 | MMBTU/H | 2 TUNNEL FURNCE SECTIONS 234 MMBTU/HR AND 192 MMBTU/HR MADE UP OF A SERIES OF INDIVIDUAL 3 MMBTU BURNERS. | Particulate matter, filterable (FPM) | Unspecified | (Particulate Matter (PM)) | PM | P | GCP and Clean Fuel | 0.00052 | LB/MMBTU |  | BACT-PSD |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
AR-0140 | BIG RIVER STEEL LLC | BIG RIVER STEEL LLC | MISSISSIPPI | AR | 72370 | USA | DAVID STICKLER | 3309080813 |  | 6 | AR001 | ARKANSAS DEPT OF ENVIRONMENTAL QUALITY | MR. THOMAS RHEAUME | (501) 682-0762 | rheaume@adeq.state.ar.us |  | 2305-AOP-R0 | 3312 | 331111 | 110067436625 | 03/14/2013 &nbsp;ACT | 09/18/2013 &nbsp;ACT | 2016-11-09 | 2016-12-13 | A | HTTP: | THE FACILITY WILL CONSIST OF TWO ELECTRIC ARC FURNACES TO MELT SCRAP IRON AND STEEL, LADLE METALLURGY FURNACES (LMF) TO ADJUST THE CHEMISTRY, A RH DEGASSER AND BOILER FOR FURTHER REFINEMENT, AND CASTERS. |  | TUNNEL FURNACES SN-20 AND 21 | 12.31 | NATURAL GAS | 234 | MMBTU/H | 2 TUNNEL FURNCE SECTIONS 234 MMBTU/HR AND 192 MMBTU/HR MADE UP OF A SERIES OF INDIVIDUAL 3 MMBTU BURNERS. | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | Unspecified | (Particulate Matter (PM)) | PM | P | GCP and Clean Fuel | 0.00052 | LB/MMBTU |  | BACT-PSD |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
IN-0179 | OHIO VALLEY RESOURCES, LLC | OHIO VALLEY RESOURCES, LLC | SPENCER | IN | 47635 | USA | DOUG WILSON | 6185990015 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | SECTION CHIEF: NATHAN BELL (317) 233-5670 NBELL@IDEM.IN.GOV PERMIT WRITER: DAVID MATOUSEK (317) 232-8253 DMATOUSE@IDEM.IN.GOV | 147-32322-00062 | 2873 | 325311 | 110055148273 | 09/17/2012 &nbsp;ACT | 09/25/2013 &nbsp;ACT | 2014-08-12 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/32322F.PDF | NITROGENOUS FERTILIZER PRODUCTION PLANT |  | FOUR (4) NATURAL GAS-FIRED BOILERS | 12.31 | NATURAL GAS | 218 | MMBTU/HR, EACH | FUEL INPUT TO ALL FOUR BOILERS SHALL NOT EXCEED 2,802 MMCF/YEAR | Particulate matter, filterable (FPM) | Unspecified | (Particulate Matter (PM)) | PM | P | GCP and Clean Fuel | 0.0019 | LB/MMBtu | 3-HR AVERAGE | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
IN-0263 | MIDWEST FERTILIZER COMPANY LLC | MIDWEST FERTILIZER COMPANY LLC | POSEY | IN | 47620 | USA | RON OGLESBY | 9703057850 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: DEENA P. LEVERING 317-234-5400 DLEVERIN@IDEM.IN.GOV SECTION CHIEF: TRIPURARI SINHA PH.D. 317-234-4907 | 129-36943-00059 | 2873 | 325311 | 110059696841 | 03/11/2016 &nbsp;ACT | 03/23/2017 &nbsp;ACT | 2017-07-07 | 2017-08-22 | C | HTTP:PERMITS.AIR.IDEM.IN.GOV/36943F.PDF | STATIONARY NITROGEN FERTILIZER MANUFACTURING FACILITY |  | NATURAL GAS AUXILIARY BOILERS (EU-012A, EU-012B, EU-012C) | 12.31 | NATURAL GAS | 218.6 | MMBTU/H |  | Particulate matter, total (TPM) | Unspecified | (Particulate Matter (PM)) | PM | P | GCP and Clean Fuel | 0.0019 | LB/MMBtu | 3 HOUR AVERAGE | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N | 2016 | LIMIT 2: SHALL COMBUST NATURAL GAS LIMIT 3: EACH SHALL NOT EXCEED 1,877.39 MMCF PER 12 CONSECUTIVE MONTH PERIOD
IN-0179 | OHIO VALLEY RESOURCES, LLC | OHIO VALLEY RESOURCES, LLC | SPENCER | IN | 47635 | USA | DOUG WILSON | 6185990015 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | SECTION CHIEF: NATHAN BELL (317) 233-5670 NBELL@IDEM.IN.GOV PERMIT WRITER: DAVID MATOUSEK (317) 232-8253 DMATOUSE@IDEM.IN.GOV | 147-32322-00062 | 2873 | 325311 | 110055148273 | 09/17/2012 &nbsp;ACT | 09/25/2013 &nbsp;ACT | 2014-08-12 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/32322F.PDF | NITROGENOUS FERTILIZER PRODUCTION PLANT |  | FOUR (4) NATURAL GAS-FIRED BOILERS | 12.31 | NATURAL GAS | 218 | MMBTU/HR, EACH | FUEL INPUT TO ALL FOUR BOILERS SHALL NOT EXCEED 2,802 MMCF/YEAR | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | Unspecified | (Particulate Matter (PM)) | PM | P | GCP and Clean Fuel | 0.0075 | LB/MMBtu | 3-HR AVERAGE | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
IN-0179 | OHIO VALLEY RESOURCES, LLC | OHIO VALLEY RESOURCES, LLC | SPENCER | IN | 47635 | USA | DOUG WILSON | 6185990015 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | SECTION CHIEF: NATHAN BELL (317) 233-5670 NBELL@IDEM.IN.GOV PERMIT WRITER: DAVID MATOUSEK (317) 232-8253 DMATOUSE@IDEM.IN.GOV | 147-32322-00062 | 2873 | 325311 | 110055148273 | 09/17/2012 &nbsp;ACT | 09/25/2013 &nbsp;ACT | 2014-08-12 | 2016-05-04 | A | HTTP://PERMITS.AIR.IDEM.IN.GOV/32322F.PDF | NITROGENOUS FERTILIZER PRODUCTION PLANT |  | FOUR (4) NATURAL GAS-FIRED BOILERS | 12.31 | NATURAL GAS | 218 | MMBTU/HR, EACH | FUEL INPUT TO ALL FOUR BOILERS SHALL NOT EXCEED 2,802 MMCF/YEAR | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | P | GCP and Clean Fuel | 0.0075 | LB/MMBtu | 3-HR AVERAGE | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N
IN-0263 | MIDWEST FERTILIZER COMPANY LLC | MIDWEST FERTILIZER COMPANY LLC | POSEY | IN | 47620 | USA | RON OGLESBY | 9703057850 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: DEENA P. LEVERING 317-234-5400 DLEVERIN@IDEM.IN.GOV SECTION CHIEF: TRIPURARI SINHA PH.D. 317-234-4907 | 129-36943-00059 | 2873 | 325311 | 110059696841 | 03/11/2016 &nbsp;ACT | 03/23/2017 &nbsp;ACT | 2017-07-07 | 2017-08-22 | C | HTTP:PERMITS.AIR.IDEM.IN.GOV/36943F.PDF | STATIONARY NITROGEN FERTILIZER MANUFACTURING FACILITY |  | NATURAL GAS AUXILIARY BOILERS (EU-012A, EU-012B, EU-012C) | 12.31 | NATURAL GAS | 218.6 | MMBTU/H |  | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | P | GCP and Clean Fuel | 0.0075 | LB/MMBtu | 3 HOUR AVERAGE | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N | 2016 | LIMIT 2:SHALL COMBUST NATURAL GAS LIMIT 3: EACH SHALL NOT EXCEED 1877.39 MMCF/ 12 MONTH CONSECUTIVE PERIOD
IN-0263 | MIDWEST FERTILIZER COMPANY LLC | MIDWEST FERTILIZER COMPANY LLC | POSEY | IN | 47620 | USA | RON OGLESBY | 9703057850 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | PERMIT WRITER: DEENA P. LEVERING 317-234-5400 DLEVERIN@IDEM.IN.GOV SECTION CHIEF: TRIPURARI SINHA PH.D. 317-234-4907 | 129-36943-00059 | 2873 | 325311 | 110059696841 | 03/11/2016 &nbsp;ACT | 03/23/2017 &nbsp;ACT | 2017-07-07 | 2017-08-22 | C | HTTP:PERMITS.AIR.IDEM.IN.GOV/36943F.PDF | STATIONARY NITROGEN FERTILIZER MANUFACTURING FACILITY |  | NATURAL GAS AUXILIARY BOILERS (EU-012A, EU-012B, EU-012C) | 12.31 | NATURAL GAS | 218.6 | MMBTU/H |  | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | Unspecified | (Particulate Matter (PM)) | PM | P | GCP and Clean Fuel | 0.0075 | LB/MMBtu | 3 HOUR AVERAGE | BACT-PSD |  | N | 0 |  | 0 |  |  | 0 |  |  | 0 | 0 | N | 2016 | LIMIT 2: SHALL COMBUST NATURAL GAS LIMIT 3: EACH SHALL NOT EXCEED 1877.39 MMCF/ 12 CONSECUTIVE MONTH PERIOD
AK-0073 | INTERNATIONAL STATION POWER PLANT | CHUGACH ELECTRIC ASSOCIATION | ANCHORAGE | AK | 99518 | USA | GREGORY ARTHUR | 907 762 4492 |  | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV | Kwame Agyei, Permit Engineer, kwame.agyei@alaska.gov | AQ0164CPT01 | 4911 | 221112 | 110046491854 | 04/14/2010 &nbsp;ACT | 12/20/2010 &nbsp;ACT | 2012-02-22 | 2014-01-08 | D |  | Power plant that contains four combustion turbines, four duct burners, a black start generator, and an auxiliary heater. |  | Fuel Combustion | 12.31 | Natural Gas | 140 | MMBTU/H | EU IDs 9-12 Duct Burners | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | P | GCPs and Clean Fuel | 0.0074 | LB/MMBTU | 3-HR AVG | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0331 | CALCASIEU PASS LNG PROJECT | VENTURE GLOBAL CALCASIEU PASS, LLC | CAMERON | LA | 70631 | USA | GRAHAM MCARTHUR | 202-759-6741 | GMCARTHUR@VGLNG.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Ms. Mei Wu, (225)219-3180 | PDS-LA-805 | 4925 | 221210 | Not Found | 06/25/2018 &nbsp;ACT | 09/21/2018 &nbsp;ACT | 2019-02-14 | 2019-06-19 | A |  | New Liquefied Natural Gas (LNG) production, storage, and export terminal. | Application Received September 2, 2015. | Hot Oil Heaters (HOH1 to HOH6) | 12.31 | Natural Gas | 115 | MM BTU/h |  | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | P | GCPs and Clean Fuel | 0.0075 | LB/MM BTU | 3 HOUR AVERAGE | BACT-PSD | NSPS , OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Subject to 40 CFR 60 Subpart Db
LA-0331 | CALCASIEU PASS LNG PROJECT | VENTURE GLOBAL CALCASIEU PASS, LLC | CAMERON | LA | 70631 | USA | GRAHAM MCARTHUR | 202-759-6741 | GMCARTHUR@VGLNG.COM | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Ms. Mei Wu, (225)219-3180 | PDS-LA-805 | 4925 | 221210 | Not Found | 06/25/2018 &nbsp;ACT | 09/21/2018 &nbsp;ACT | 2019-02-14 | 2019-06-19 | A |  | New Liquefied Natural Gas (LNG) production, storage, and export terminal. | Application Received September 2, 2015. | Hot Oil Heaters (HOH1 to HOH6) | 12.31 | Natural Gas | 115 | MM BTU/h |  | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | Unspecified | (Particulate Matter (PM)) | PM | P | GCPs and Clean Fuel | 0.0075 | LB/MM BTU | 3 HOUR AVERAGE | BACT-PSD | NSPS , OPERATING PERMIT | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Subject to 40 CFR 60 Subpart Db
IL-0114 | CRONUS CHEMICALS, LLC | CRONUS CHEMICALS, LLC | DOUGLAS | IL | 60601 | USA | ERZIN ATAC | 312-863-8638 | ERZIN.ATAC@CRONUCHEM.COM | 5 | IL001 | ILLINOIS EPA, BUREAU OF AIR | MR. RAY PILAPIL | (217) 782-2113 | ray.pilapil@illinois.gov | Permit Writer: Bob Smet 217-785-9250 robert.smet@illinois.gov | 13060007 | 2873 | 325311 | 110055568522 | 02/14/2014 &nbsp;ACT | 09/05/2014 &nbsp;ACT | 2014-12-24 | 2016-05-05 | A | http://yosemite.epa.gov/r5/in_permt.nsf/6f1ebc583aad45448625763f0053e08e/02fa71769b748f8886257da2004e4f4f!OpenDocument | Plant will produce urea and ammonia, but ammonia production will be limited to a maximum of 3 months of the year (4,880 tpd urea and 2,789 tpd ammonia). |  | Startup Heater | 12.31 | natural gas | 104 | MMBTU/H |  | Particulate matter, filterable (FPM) | EPA/OAR Mthd 5 | (Particulate Matter (PM)) | PM | P | good combustion practices | 0.0019 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IA-0105 | IOWA FERTILIZER COMPANY | IOWA FERTILIZER COMPANY | LEE | IA | 52658 | USA | DAVE PEARSON | (319) 246-2308 | DAVE.PEARSON@IOWAFERTILIZERS.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV | CHRISTOPHER A. ROLING, PE ENVIRONMENTAL ENGINEER SENIOR (515) 725-9557 CHRIS.ROLING@DNR.IOWA.GOV | 12-219 | 2873 | 325311 | 110054890392 | 08/03/2012 &nbsp;ACT | 10/26/2012 &nbsp;ACT | 2012-11-01 | 2013-08-13 | A | https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp | NITROGENEOUS FERTILIZER MANUFACTURING | THE PROJECT WAS AMENDED ON 3/13/14 DUE TO SOME DESIGN CHANGES WHICH INCLUDED ADDITIONAL EMISSION UNITS/POINTS. THE NEW PROJECT IS UNDER PROJECT NUMBER/PERMIT NUMBER 13-355 | Startup Heater | 12.31 | Natural gas | 110.12 | MMBTU/H |  | Particulate matter, total &lt; 10 Âµ (TPM10) | EPA/OAR Mthd 201 and 202 | (Particulate Matter (PM)) | PM | P | good combustion practices | 0.0024 | LB/MMBTU | AVERAGE OF 3 STACK TEST RUNS | BACT-PSD |  | U | 0 | U | 0.01 | TONS/YR | ROLLING 12 MONTH TOTAL | 0 |  |  | 0 | 0 | N
IA-0105 | IOWA FERTILIZER COMPANY | IOWA FERTILIZER COMPANY | LEE | IA | 52658 | USA | DAVE PEARSON | (319) 246-2308 | DAVE.PEARSON@IOWAFERTILIZERS.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV | CHRISTOPHER A. ROLING, PE ENVIRONMENTAL ENGINEER SENIOR (515) 725-9557 CHRIS.ROLING@DNR.IOWA.GOV | 12-219 | 2873 | 325311 | 110054890392 | 08/03/2012 &nbsp;ACT | 10/26/2012 &nbsp;ACT | 2012-11-01 | 2013-08-13 | A | https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp | NITROGENEOUS FERTILIZER MANUFACTURING | THE PROJECT WAS AMENDED ON 3/13/14 DUE TO SOME DESIGN CHANGES WHICH INCLUDED ADDITIONAL EMISSION UNITS/POINTS. THE NEW PROJECT IS UNDER PROJECT NUMBER/PERMIT NUMBER 13-355 | Startup Heater | 12.31 | Natural gas | 110.12 | MMBTU/H |  | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | EPA/OAR OTM 27 and 28 | (Particulate Matter (PM)) | PM | P | good combustion practices | 0.0024 | LB/MMBTU | AVERAGE OF 3 STACK TEST RUNS | BACT-PSD |  | U | 0 | U | 0.01 | TONS/YR | ROLLING 12 MONTH TOTAL | 0 |  |  | 0 | 0 | N
IA-0105 | IOWA FERTILIZER COMPANY | IOWA FERTILIZER COMPANY | LEE | IA | 52658 | USA | DAVE PEARSON | (319) 246-2308 | DAVE.PEARSON@IOWAFERTILIZERS.COM | 7 | IA001 | IOWA DEPARTMENT OF NATURAL RESOURCES AIR QUALITY | MR. GARY SMITH | (515) 725-9563 | GARY.SMITH@DNR.IOWA.GOV | CHRISTOPHER A. ROLING, PE ENVIRONMENTAL ENGINEER SENIOR (515) 725-9557 CHRIS.ROLING@DNR.IOWA.GOV | 12-219 | 2873 | 325311 | 110054890392 | 08/03/2012 &nbsp;ACT | 10/26/2012 &nbsp;ACT | 2012-11-01 | 2013-08-13 | A | https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp ,https://aqbweb.iowadnr.gov/airpermit/eepsdpermit.jsp | NITROGENEOUS FERTILIZER MANUFACTURING | THE PROJECT WAS AMENDED ON 3/13/14 DUE TO SOME DESIGN CHANGES WHICH INCLUDED ADDITIONAL EMISSION UNITS/POINTS. THE NEW PROJECT IS UNDER PROJECT NUMBER/PERMIT NUMBER 13-355 | Startup Heater | 12.31 | Natural gas | 110.12 | MMBTU/H |  | Particulate matter, total (TPM) | EPA/OAR Mthd 5 and 202 | (Particulate Matter (PM)) | PM | P | good combustion practices | 0.0024 | LB/MMBTU | AVERAGE OF 3 STACK TEST RUNS | BACT-PSD |  | U | 0 | U | 0.01 | TONS/YR | ROLLING 12 MONTH TOTAL | 0 |  |  | 0 | 0 | N
MI-0427 | FILER CITY STATION | FILER CITY STATION LIMITED PARTNERSHIP | MANISTEE | MI | 49634 | USA | ALLEN ADKINS | 313-336-7189 | ALLEN.ADKINS@CMSENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Ms. Michelle Rogers, for any technical questions regarding this permit application. She may be reached at 517-284-6799 or at rogersm13@michigan.gov. Thank you. | 66-17 | 4931 | 221112 | Not Found | 07/17/2017 &nbsp;ACT | 11/17/2017 &nbsp;ACT | 2018-01-26 | 2018-03-08 | B |  | New natural gas combined heat and power plant proposed at existing cogenerating power plant permitted to burn wood, coal and tire derived fuel. |  | EUAUXBOILER (Auxiliary boiler) | 12.31 | Natural gas | 182 | MMBTU/H | A natural gas fired auxiliary boiler, rated at 182 MMBTU/H to provide auxiliary steam when the plant is off-line, used to maintain warm drums on the HRSG and maintain the steam turbine generator seals. | Particulate matter, filterable (FPM) | Unspecified | (Particulate Matter (PM)) | PM | P | Good combustion practices | 0.005 | LB/MMBTU |  | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The low concentration of PM / PM10 / PM2.5 in the auxiliary boiler exhaust makes the cost of add-on control very high. Also, of the add-on control options evaluated (pulse jet fabric filter, dry and wet ESP, and venturi scrubber), only the venturi scrubber and wet ESP are expected to be able to effectively reduce condensable PM emissions. The following costs are estimated for the add-on control technologies: â€¢ Fabric Filter Control: over $47,000 per ton controlled (assuming 99.9 percent control of filterable PM/PM10/PM2.5) â€¢ Electrostatic Precipitator (ESP): over $34,000 per ton controlled (assuming 99.4 percent control of filterable PM/PM10/PM2.5) â€¢ Wet ESP: over $29,000 per ton controlled (assuming 99.2 percent control of filterable and condensable PM/PM10/PM2.5) â€¢ Venturi Scrubber: over $20,000 per ton controlled (assuming 99.0 percent control of filterable and condensable PM/PM10/PM2.5)
ID-0017 | POWER COUNTY ADVANCED ENERGY CENTER | SOUTHEAST IDAHO ENERGY, LLC | POWER | ID | 83211 | USA | TOM HORNYAK | 3039534297 | T.HORNYAK@REHINC.COM | 10 | ID001 | IDAHO DEPT OF ENVIRONMENTAL QUALITY | MR. BILL ROGERS | (208)373-0437 | WILLIAM.ROGERS@DEQ.IDAHO.GOV |  | P-2008.0066 | 2873 | 113210 | UNKNOWN | 04/29/2008 &nbsp;ACT | 02/10/2009 &nbsp;ACT | 2009-10-19 | 2010-02-05 | A |  | COAL/PETCOKE GASIFICATION PLANT PRODUCING AMMONIA, UREA, UAN, AND ELEMENTAL SULFUR. | FACILITY LOCATION: LAMB WESTON ROAD, AMERICAN FALLS, IDAHO. DESIGNATED FACILITY (FUEL CONVERSION PLANT AND CHEMICAL PLANT). PSD THRESHOLD IS 100 T/YR. BACT REQ'D FOR PM, PM10, CO, AND NOX. | 250 MMBTU/H PACKAGE BOILER, SRC24 | 12.31 | NAT GAS | 250 | MMBTU/H | OPERATED ONLY DURING STARTUP AND SHUTDOWN, RAMPS DOWN/UP AS STEAM SUPERHEATER BOILER RAMPS UP/DOWN. COMBINED HEAT INPUT BALANCED <= 250 MMBTU/HR. | Particulate Matter (PM) | Unspecified | (Particulate Matter (PM)) | PM | P | GOOD COMBUSTION PRACTICES | 0.0052 | LB/MMBTU |  | BACT-PSD | NSPS | Y | 0 |  | 1.3 | LB/H |  | 20 | % |  | 0 | 0 | N |  | LB/MMBTU AND LB/H LIMITS APPLY TO PACKAGE BOILER AND STEAM SUPERHEATER COMBINED EMISSIONS.
ID-0017 | POWER COUNTY ADVANCED ENERGY CENTER | SOUTHEAST IDAHO ENERGY, LLC | POWER | ID | 83211 | USA | TOM HORNYAK | 3039534297 | T.HORNYAK@REHINC.COM | 10 | ID001 | IDAHO DEPT OF ENVIRONMENTAL QUALITY | MR. BILL ROGERS | (208)373-0437 | WILLIAM.ROGERS@DEQ.IDAHO.GOV |  | P-2008.0066 | 2873 | 113210 | UNKNOWN | 04/29/2008 &nbsp;ACT | 02/10/2009 &nbsp;ACT | 2009-10-19 | 2010-02-05 | A |  | COAL/PETCOKE GASIFICATION PLANT PRODUCING AMMONIA, UREA, UAN, AND ELEMENTAL SULFUR. | FACILITY LOCATION: LAMB WESTON ROAD, AMERICAN FALLS, IDAHO. DESIGNATED FACILITY (FUEL CONVERSION PLANT AND CHEMICAL PLANT). PSD THRESHOLD IS 100 T/YR. BACT REQ'D FOR PM, PM10, CO, AND NOX. | 250 MMBTU/H PACKAGE BOILER, SRC24 | 12.31 | NAT GAS | 250 | MMBTU/H | OPERATED ONLY DURING STARTUP AND SHUTDOWN, RAMPS DOWN/UP AS STEAM SUPERHEATER BOILER RAMPS UP/DOWN. COMBINED HEAT INPUT BALANCED <= 250 MMBTU/HR. | Particulate matter, filterable &lt; 10 Âµ (FPM10) | Unspecified | (Particulate Matter (PM)) | PM | P | GOOD COMBUSTION PRACTICES | 0.0052 | LB/MMBTU |  | BACT-PSD |  | Y | 0 |  | 1.3 | LB/H |  | 0 |  |  | 0 | 0 | N |  | LIMITS APPLY TO PACKAGE BOILER AND STEAM SUPERHEATER COMBINED EMISSIONS.
IL-0114 | CRONUS CHEMICALS, LLC | CRONUS CHEMICALS, LLC | DOUGLAS | IL | 60601 | USA | ERZIN ATAC | 312-863-8638 | ERZIN.ATAC@CRONUCHEM.COM | 5 | IL001 | ILLINOIS EPA, BUREAU OF AIR | MR. RAY PILAPIL | (217) 782-2113 | ray.pilapil@illinois.gov | Permit Writer: Bob Smet 217-785-9250 robert.smet@illinois.gov | 13060007 | 2873 | 325311 | 110055568522 | 02/14/2014 &nbsp;ACT | 09/05/2014 &nbsp;ACT | 2014-12-24 | 2016-05-05 | A | http://yosemite.epa.gov/r5/in_permt.nsf/6f1ebc583aad45448625763f0053e08e/02fa71769b748f8886257da2004e4f4f!OpenDocument | Plant will produce urea and ammonia, but ammonia production will be limited to a maximum of 3 months of the year (4,880 tpd urea and 2,789 tpd ammonia). |  | Startup Heater | 12.31 | natural gas | 104 | MMBTU/H |  | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | P | good combustion practices | 0.0075 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
IL-0114 | CRONUS CHEMICALS, LLC | CRONUS CHEMICALS, LLC | DOUGLAS | IL | 60601 | USA | ERZIN ATAC | 312-863-8638 | ERZIN.ATAC@CRONUCHEM.COM | 5 | IL001 | ILLINOIS EPA, BUREAU OF AIR | MR. RAY PILAPIL | (217) 782-2113 | ray.pilapil@illinois.gov | Permit Writer: Bob Smet 217-785-9250 robert.smet@illinois.gov | 13060007 | 2873 | 325311 | 110055568522 | 02/14/2014 &nbsp;ACT | 09/05/2014 &nbsp;ACT | 2014-12-24 | 2016-05-05 | A | http://yosemite.epa.gov/r5/in_permt.nsf/6f1ebc583aad45448625763f0053e08e/02fa71769b748f8886257da2004e4f4f!OpenDocument | Plant will produce urea and ammonia, but ammonia production will be limited to a maximum of 3 months of the year (4,880 tpd urea and 2,789 tpd ammonia). |  | Startup Heater | 12.31 | natural gas | 104 | MMBTU/H |  | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | Unspecified | (Particulate Matter (PM)) | PM | P | good combustion practices | 0.0075 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
MI-0427 | FILER CITY STATION | FILER CITY STATION LIMITED PARTNERSHIP | MANISTEE | MI | 49634 | USA | ALLEN ADKINS | 313-336-7189 | ALLEN.ADKINS@CMSENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Ms. Michelle Rogers, for any technical questions regarding this permit application. She may be reached at 517-284-6799 or at rogersm13@michigan.gov. Thank you. | 66-17 | 4931 | 221112 | Not Found | 07/17/2017 &nbsp;ACT | 11/17/2017 &nbsp;ACT | 2018-01-26 | 2018-03-08 | B |  | New natural gas combined heat and power plant proposed at existing cogenerating power plant permitted to burn wood, coal and tire derived fuel. |  | EUAUXBOILER (Auxiliary boiler) | 12.31 | Natural gas | 182 | MMBTU/H | A natural gas fired auxiliary boiler, rated at 182 MMBTU/H to provide auxiliary steam when the plant is off-line, used to maintain warm drums on the HRSG and maintain the steam turbine generator seals. | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | P | Good combustion practices | 0.0075 | LB/MMBTU |  | BACT-PSD | SIP | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The low concentration of PM / PM10 / PM2.5 in the auxiliary boiler exhaust makes the cost of add-on control very high. Also, of the add-on control options evaluated (pulse jet fabric filter, dry and wet ESP, and venturi scrubber), only the venturi scrubber and wet ESP are expected to be able to effectively reduce condensable PM emissions. The following costs are estimated for the add-on control technologies: â€¢ Fabric Filter Control: over $47,000 per ton controlled (assuming 99.9 percent control of filterable PM/PM10/PM2.5) â€¢ Electrostatic Precipitator (ESP): over $34,000 per ton controlled (assuming 99.4 percent control of filterable PM/PM10/PM2.5) â€¢ Wet ESP: over $29,000 per ton controlled (assuming 99.2 percent control of filterable and condensable PM/PM10/PM2.5) â€¢ Venturi Scrubber: over $20,000 per ton controlled (assuming 99.0 percent control of filterable and condensable PM/PM10/PM2.5)
MI-0427 | FILER CITY STATION | FILER CITY STATION LIMITED PARTNERSHIP | MANISTEE | MI | 49634 | USA | ALLEN ADKINS | 313-336-7189 | ALLEN.ADKINS@CMSENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Ms. Michelle Rogers, for any technical questions regarding this permit application. She may be reached at 517-284-6799 or at rogersm13@michigan.gov. Thank you. | 66-17 | 4931 | 221112 | Not Found | 07/17/2017 &nbsp;ACT | 11/17/2017 &nbsp;ACT | 2018-01-26 | 2018-03-08 | B |  | New natural gas combined heat and power plant proposed at existing cogenerating power plant permitted to burn wood, coal and tire derived fuel. |  | EUAUXBOILER (Auxiliary boiler) | 12.31 | Natural gas | 182 | MMBTU/H | A natural gas fired auxiliary boiler, rated at 182 MMBTU/H to provide auxiliary steam when the plant is off-line, used to maintain warm drums on the HRSG and maintain the steam turbine generator seals. | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | Unspecified | (Particulate Matter (PM)) | PM | P | Good combustion practices | 0.0075 | LB/MMBTU |  | BACT-PSD | SIP | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | The low concentration of PM / PM10 / PM2.5 in the auxiliary boiler exhaust makes the cost of add-on control very high. Also, of the add-on control options evaluated (pulse jet fabric filter, dry and wet ESP, and venturi scrubber), only the venturi scrubber and wet ESP are expected to be able to effectively reduce condensable PM emissions. The following costs are estimated for the add-on control technologies: â€¢ Fabric Filter Control: over $47,000 per ton controlled (assuming 99.9 percent control of filterable PM/PM10/PM2.5) â€¢ Electrostatic Precipitator (ESP): over $34,000 per ton controlled (assuming 99.4 percent control of filterable PM/PM10/PM2.5) â€¢ Wet ESP: over $29,000 per ton controlled (assuming 99.2 percent control of filterable and condensable PM/PM10/PM2.5) â€¢ Venturi Scrubber: over $20,000 per ton controlled (assuming 99.0 percent control of filterable and condensable PM/PM10/PM2.5)
IN-0287 | DUKE ENERGY INDIANA, LLC - EDWARDSPORT GENERATING STATION | DUKE ENERGY INDIANA, LLC - EDWARDSPORT GENERATING | KNOX | IN | 47528 | USA | PATRICK COUGHLIN | 317-838-2108 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | Permit Writer: Mehul Sura 317-233-6868 msura@IDEM.IN.gov Section Chief - Tripurari P. Sinha Ph. D. 317-234-4907 | 083-38023-00003 | 4911 | 22 | Not Found | 12/22/2016 &nbsp;ACT | 07/10/2018 &nbsp;ACT | 2018-07-25 | 2019-03-07 | C | https://www.in.gov/apps/idem/caats/permitDetail.xhtml | stationary electric utility generating station |  | Auxiliary Boiler | 12.31 | natural gas | 213 | MMBtu/hr |  | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | P | good combustion practices | 0.0075 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | This BACT is for Startup and Shutdown emissions only
IN-0287 | DUKE ENERGY INDIANA, LLC - EDWARDSPORT GENERATING STATION | DUKE ENERGY INDIANA, LLC - EDWARDSPORT GENERATING | KNOX | IN | 47528 | USA | PATRICK COUGHLIN | 317-838-2108 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | Permit Writer: Mehul Sura 317-233-6868 msura@IDEM.IN.gov Section Chief - Tripurari P. Sinha Ph. D. 317-234-4907 | 083-38023-00003 | 4911 | 22 | Not Found | 12/22/2016 &nbsp;ACT | 07/10/2018 &nbsp;ACT | 2018-07-25 | 2019-03-07 | C | https://www.in.gov/apps/idem/caats/permitDetail.xhtml | stationary electric utility generating station |  | Auxiliary Boiler | 12.31 | natural gas | 213 | MMBtu/hr |  | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | Unspecified | (Particulate Matter (PM)) | PM | P | good combustion practices | 0.0075 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | This BACT is for Startup and Shutdown emissions only
IN-0287 | DUKE ENERGY INDIANA, LLC - EDWARDSPORT GENERATING STATION | DUKE ENERGY INDIANA, LLC - EDWARDSPORT GENERATING | KNOX | IN | 47528 | USA | PATRICK COUGHLIN | 317-838-2108 |  | 5 | IN001 | INDIANA DEPT OF ENV MGMT, OFC OF AIR | MR. MATT STUCKEY | (317) 233-0203 | mstuckey@idem.in.gov | Permit Writer: Mehul Sura 317-233-6868 msura@IDEM.IN.gov Section Chief - Tripurari P. Sinha Ph. D. 317-234-4907 | 083-38023-00003 | 4911 | 22 | Not Found | 12/22/2016 &nbsp;ACT | 07/10/2018 &nbsp;ACT | 2018-07-25 | 2019-03-07 | C | https://www.in.gov/apps/idem/caats/permitDetail.xhtml | stationary electric utility generating station |  | Auxiliary Boiler | 12.31 | natural gas | 213 | MMBtu/hr |  | Particulate matter, total (TPM) | Unspecified | (Particulate Matter (PM)) | PM | P | good combustion practices | 0.0075 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | This BACT is for Startup and Shutdown emissions only
AK-0071 | INTERNATIONAL STATION POWER PLANT | CHUGACH ELECTRIC ASSOCIATION, INC. | MUNCIPALITY OF ANCHORAGE | AK | 99518-1074 | USA | GREG ARTHUR | (907) 762-4492 | GREG_ARTHUR@CHUGACHELECTRIC.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV | Dr. Fathima Zeena" Siddeek 410 Willoughby Way Ste. 303 Juneau | AK 99811" | AQ0164CPT01 | 4911 | 221112 | Not Applicable | 03/31/2010 &nbsp;ACT | 12/20/2010 &nbsp;ACT | 2010-12-20 | 2012-03-27 | http://dec.alaska.gov/air/ap/docs/AQ0164CPT01finper.pdf | Combined Cycle Power Power Plant |  | Duct Burners (4) | 12.31 | Natural Gas | 140 | MMBTU/H | Each duct burner-turbine pair exhaust through a common stack | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | P | Good Combustion Practices | 0.0075 | LB/MMBtu | 3-HOUR AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Cost analysis not conducted since cost was not a factor in BACT determination.
AK-0071 | INTERNATIONAL STATION POWER PLANT | CHUGACH ELECTRIC ASSOCIATION, INC. | MUNCIPALITY OF ANCHORAGE | AK | 99518-1074 | USA | GREG ARTHUR | (907) 762-4492 | GREG_ARTHUR@CHUGACHELECTRIC.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV | Dr. Fathima Zeena" Siddeek 410 Willoughby Way Ste. 303 Juneau | AK 99811" | AQ0164CPT01 | 4911 | 221112 | Not Applicable | 03/31/2010 &nbsp;ACT | 12/20/2010 &nbsp;ACT | 2010-12-20 | 2012-03-27 | http://dec.alaska.gov/air/ap/docs/AQ0164CPT01finper.pdf | Combined Cycle Power Power Plant |  | Duct Burners (4) | 12.31 | Natural Gas | 140 | MMBTU/H | Each duct burner-turbine pair exhaust through a common stack | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | Unspecified | (Particulate Matter (PM)) | PM | P | Good Combustion Practices | 0.0075 | LB/MMBtu | 3-HOUR AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Cost analysis not conducted since cost was not a factor in BACT determination.
AK-0071 | INTERNATIONAL STATION POWER PLANT | CHUGACH ELECTRIC ASSOCIATION, INC. | MUNCIPALITY OF ANCHORAGE | AK | 99518-1074 | USA | GREG ARTHUR | (907) 762-4492 | GREG_ARTHUR@CHUGACHELECTRIC.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV | Dr. Fathima Zeena" Siddeek 410 Willoughby Way Ste. 303 Juneau | AK 99811" | AQ0164CPT01 | 4911 | 221112 | Not Applicable | 03/31/2010 &nbsp;ACT | 12/20/2010 &nbsp;ACT | 2010-12-20 | 2012-03-27 | http://dec.alaska.gov/air/ap/docs/AQ0164CPT01finper.pdf | Combined Cycle Power Power Plant |  | Duct Burners (4) | 12.31 | Natural Gas | 140 | MMBTU/H | Each duct burner-turbine pair exhaust through a common stack | Particulate matter, total (TPM) | Unspecified | (Particulate Matter (PM)) | PM | P | Good Combustion Practices | 0.0075 | LB/MMBtu | 3-HOUR AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N |  | Cost analysis not conducted since cost was not a factor in BACT determination.
MI-0423 | INDECK NILES, LLC | INDECK NILES, LLC | CASS | MI | 49120 | USA | MICHAEL DUBOIS | 847-520-3212 | MDUBOIS@INDECKENERGY.COM | 5 | MI001 | MICHIGAN DEPT OF ENVIRONMENTAL QUALITY | MS. CINDY SMITH | (517)284-6802 | SMITHC17@MICHIGAN.GOV | Please contact the permit engineer, Catherine Asselin at 517-284-6786, or at asselinc@michigan.gov, for technical questions regarding the permit. Thank you. | 75-16 | 4911 | 221112 | Not Found | 10/25/2016 &nbsp;ACT | 01/04/2017 &nbsp;ACT | 2017-06-02 | 2018-03-08 | A |  | Natural gas combined cycle power plant. | The permit includes equipment not entered into the RBLC due to a lack of emission limits or material limits; these include a cold cleaner, a number of space heaters, and two fuel tanks. | EUAUXBOILER (Auxiliary Boiler) | 12.31 | natural gas | 182 | MMBTU/H | One natural gas-fired auxiliary boiler rated at 182 MMBTU/H fuel heat input. | Particulate matter, filterable (FPM) | Unspecified | (Particulate Matter (PM)) | PM | P | Good combustion practices. | 0.005 | LB/MMBTU | TEST PROTOCOL WILL SPECIFY AVG TIME | BACT-PSD |  | N | 0 | N | 0 |  |  | 0 |  |  | 0 | 0 | N |  | At greater than $40,000 for the least expensive option, none of the control technologies are economically feasible. Control technologies evaluated were a scrubber and various types of fabric filters and ESPs.
LA-0314 | INDORAMA LAKE CHARLES FACILITY | INDORAMA VENTURES OLEFINS, LLC | CALCASIEU | LA | 70669 | USA | SUSAN WEDEMEYER | 337-476-7451 | SUSAN.WEDEMEYER@US.INDORAMA.NET | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Dan Nguyen (225)219-3395 | PSD-LA-813 | 2869 | 325199 | 110000748040 | 04/30/2016 &nbsp;ACT | 08/03/2016 &nbsp;ACT | 2017-03-13 | 2017-04-28 | C |  | modify and restart-up a mothballed facility to produce 1,009 million lbs/yr of ethylene |  | boiler B-201 | 12.31 | natural gas/fuel gas | 229 | mm btu |  | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | P | good combustion practices; fueled by natural gas or process fuel gas | 0.007 | LB/MM BTU | THREE ONE-HOUR TEST AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0314 | INDORAMA LAKE CHARLES FACILITY | INDORAMA VENTURES OLEFINS, LLC | CALCASIEU | LA | 70669 | USA | SUSAN WEDEMEYER | 337-476-7451 | SUSAN.WEDEMEYER@US.INDORAMA.NET | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Dan Nguyen (225)219-3395 | PSD-LA-813 | 2869 | 325199 | 110000748040 | 04/30/2016 &nbsp;ACT | 08/03/2016 &nbsp;ACT | 2017-03-13 | 2017-04-28 | C |  | modify and restart-up a mothballed facility to produce 1,009 million lbs/yr of ethylene |  | boiler B-201 | 12.31 | natural gas/fuel gas | 229 | mm btu |  | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | Unspecified | (Particulate Matter (PM)) | PM | P | good combustion practices; fueled by natural gas or process fuel gas | 0.007 | LB/MM BTU | THREE ONE-HOUR TEST AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0314 | INDORAMA LAKE CHARLES FACILITY | INDORAMA VENTURES OLEFINS, LLC | CALCASIEU | LA | 70669 | USA | SUSAN WEDEMEYER | 337-476-7451 | SUSAN.WEDEMEYER@US.INDORAMA.NET | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Dan Nguyen (225)219-3395 | PSD-LA-813 | 2869 | 325199 | 110000748040 | 04/30/2016 &nbsp;ACT | 08/03/2016 &nbsp;ACT | 2017-03-13 | 2017-04-28 | C |  | modify and restart-up a mothballed facility to produce 1,009 million lbs/yr of ethylene |  | boiler A and B (010 and 011) | 12.31 | natural gas/fuel gas | 248 | mm btu/hr (each) |  | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | P | good combustion practices; fueled by natural gas or process fuel gas | 0.007 | LB/MM BTU | THREE ONE-HOUR TEST AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
LA-0314 | INDORAMA LAKE CHARLES FACILITY | INDORAMA VENTURES OLEFINS, LLC | CALCASIEU | LA | 70669 | USA | SUSAN WEDEMEYER | 337-476-7451 | SUSAN.WEDEMEYER@US.INDORAMA.NET | 6 | LA001 | LOUISIANA DEPARTMENT OF ENV QUALITY | MR. BRYAN D. JOHNSTON | (225)219-3450 | BRYAN.JOHNSTON@LA.GOV | Permit Writer: Dan Nguyen (225)219-3395 | PSD-LA-813 | 2869 | 325199 | 110000748040 | 04/30/2016 &nbsp;ACT | 08/03/2016 &nbsp;ACT | 2017-03-13 | 2017-04-28 | C |  | modify and restart-up a mothballed facility to produce 1,009 million lbs/yr of ethylene |  | boiler A and B (010 and 011) | 12.31 | natural gas/fuel gas | 248 | mm btu/hr (each) |  | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | Unspecified | (Particulate Matter (PM)) | PM | P | good combustion practices; fueled by natural gas or process fuel gas | 0.007 | LB/MM BTU | THREE ONE-HOUR TEST AVERAGE | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
AK-0083 | KENAI NITROGEN OPERATIONS | AGRIUM U.S. INC. | USA | AK | 99611 | USA | TED HARTMAN | 913 302 7469 | TED.HARTMAN@AGRIUM.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV |  | AQ0083CPT06 | 2873 | 325311 | 110030488620 | 11/25/2014 &nbsp;ACT | 01/06/2015 &nbsp;ACT | 2015-01-29 | 2016-02-19 | A | http://dec.alaska.gov/Applications/Air/airtoolsweb/Home/ViewAttachment/16672291/KQZafTqmYd8SVnZ3RUWQfQ2 | The Kenai Nitrogen Operations Facility is located at Mile 21 of the Kenai Spur Highway, near Kenai Alaska. It is classified as a nitrogenous fertilizer manufacturing facility under Standard Industrial Classification code 2873 and under North American Industrial Classification code 325311. The facility will produce ammonia and urea for bulk sale. There are two ammonia and two urea plants at Agriumâ€™s KNO facility. This permit authorizes the restart of one ammonia and one urea plant (plants 4 and 5). The ammonia plant converts natural gas with added steam and air to produce ammonia (NH3) and carbon dioxide (CO2). Feedstocks for the urea plant include CO2 and NH3. The utility plant generates the power and steam needed to operate the ammonia and urea plants. Final products are loaded at the Product Loading Wharf for shipment. |  | Startup Heater | 12.31 | Natural Gas | 101 | MMBTU/H | Natural Gas-Fired 101 MMBtu/hr Startup Heater. Installed in 1976. | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | Unspecified | (Particulate Matter (PM)) | PM | P | Limited Use (200 hr/yr) | 0.0074 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
AK-0083 | KENAI NITROGEN OPERATIONS | AGRIUM U.S. INC. | USA | AK | 99611 | USA | TED HARTMAN | 913 302 7469 | TED.HARTMAN@AGRIUM.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV |  | AQ0083CPT06 | 2873 | 325311 | 110030488620 | 11/25/2014 &nbsp;ACT | 01/06/2015 &nbsp;ACT | 2015-01-29 | 2016-02-19 | A | http://dec.alaska.gov/Applications/Air/airtoolsweb/Home/ViewAttachment/16672291/KQZafTqmYd8SVnZ3RUWQfQ2 | The Kenai Nitrogen Operations Facility is located at Mile 21 of the Kenai Spur Highway, near Kenai Alaska. It is classified as a nitrogenous fertilizer manufacturing facility under Standard Industrial Classification code 2873 and under North American Industrial Classification code 325311. The facility will produce ammonia and urea for bulk sale. There are two ammonia and two urea plants at Agriumâ€™s KNO facility. This permit authorizes the restart of one ammonia and one urea plant (plants 4 and 5). The ammonia plant converts natural gas with added steam and air to produce ammonia (NH3) and carbon dioxide (CO2). Feedstocks for the urea plant include CO2 and NH3. The utility plant generates the power and steam needed to operate the ammonia and urea plants. Final products are loaded at the Product Loading Wharf for shipment. |  | Startup Heater | 12.31 | Natural Gas | 101 | MMBTU/H | Natural Gas-Fired 101 MMBtu/hr Startup Heater. Installed in 1976. | Particulate matter, total (TPM) | Unspecified | (Particulate Matter (PM)) | PM | P | Limited Use (200 hr/yr) | 0.0074 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
AK-0083 | KENAI NITROGEN OPERATIONS | AGRIUM U.S. INC. | USA | AK | 99611 | USA | TED HARTMAN | 913 302 7469 | TED.HARTMAN@AGRIUM.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV |  | AQ0083CPT06 | 2873 | 325311 | 110030488620 | 11/25/2014 &nbsp;ACT | 01/06/2015 &nbsp;ACT | 2015-01-29 | 2016-02-19 | A | http://dec.alaska.gov/Applications/Air/airtoolsweb/Home/ViewAttachment/16672291/KQZafTqmYd8SVnZ3RUWQfQ2 | The Kenai Nitrogen Operations Facility is located at Mile 21 of the Kenai Spur Highway, near Kenai Alaska. It is classified as a nitrogenous fertilizer manufacturing facility under Standard Industrial Classification code 2873 and under North American Industrial Classification code 325311. The facility will produce ammonia and urea for bulk sale. There are two ammonia and two urea plants at Agriumâ€™s KNO facility. This permit authorizes the restart of one ammonia and one urea plant (plants 4 and 5). The ammonia plant converts natural gas with added steam and air to produce ammonia (NH3) and carbon dioxide (CO2). Feedstocks for the urea plant include CO2 and NH3. The utility plant generates the power and steam needed to operate the ammonia and urea plants. Final products are loaded at the Product Loading Wharf for shipment. |  | Startup Heater | 12.31 | Natural Gas | 101 | MMBTU/H | Natural Gas-Fired 101 MMBtu/hr Startup Heater. Installed in 1976. | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | N |  | 0.0074 | LB/MMBTU |  | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
*NE-0059 | AGP SOY | AG PROCESSING INC., A COOPERATIVE | ADAMS | NE | 68901 | USA |  |  |  | 7 | NE001 | NEBRASKA DEPT. OF ENVIRONMENTAL QUALITY | GARY BUTTERMORE. | (402) 471-2189 | ndeq.airquality@nebraska.gov |  | CP14-007 | 2075 | 311225 |  | 12/19/2014 &nbsp;ACT | 03/25/2015 &nbsp;ACT | 2015-08-18 | 2015-08-18 | B |  | Soybean Processing Facility | Permit is currently being contested. | Boiler #1 | 12.31 | natural gas | 200 | MMBTU/H | The boiler is capable of combusting natural gas and Fuel Oil | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | N |  | 0.0074 | LB/MMBTU | 3-HOUR OR TEST METHOD AVERAGE | BACT-PSD | NESHAP | U | 0 | U | 0.024 | LB/MMBTU | 3-HOUR OR TEST METHOD AVERAGE | 0 |  |  | 0 | 0 | N |  | 0.0074 lb/MMBtu limit applies only when combusting natural gas. 0.024 lb/MMBtu limit applies only when combusting fuel oil
*NE-0059 | AGP SOY | AG PROCESSING INC., A COOPERATIVE | ADAMS | NE | 68901 | USA |  |  |  | 7 | NE001 | NEBRASKA DEPT. OF ENVIRONMENTAL QUALITY | GARY BUTTERMORE. | (402) 471-2189 | ndeq.airquality@nebraska.gov |  | CP14-007 | 2075 | 311225 |  | 12/19/2014 &nbsp;ACT | 03/25/2015 &nbsp;ACT | 2015-08-18 | 2015-08-18 | B |  | Soybean Processing Facility | Permit is currently being contested. | Boiler #2 | 12.31 | natural gas | 200 | MMBTU/H | The boiler is capable of combusting natural gas and Fuel Oil | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | N |  | 0.0074 | LB/MMBTU | 3-HOUR OR TEST METHOD AVERAGE | BACT-PSD | NESHAP | U | 0 | U | 0.024 | LB/MMBTU | 3-HOUR OR TEST METHOD AVERAGE | 0 |  |  | 0 | 0 | N |  | 0.0074 lb/MMBtu limit applies only when combusting natural gas. 0.024 lb/MMBtu limit applies only when combusting fuel oil
AK-0083 | KENAI NITROGEN OPERATIONS | AGRIUM U.S. INC. | USA | AK | 99611 | USA | TED HARTMAN | 913 302 7469 | TED.HARTMAN@AGRIUM.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV |  | AQ0083CPT06 | 2873 | 325311 | 110030488620 | 11/25/2014 &nbsp;ACT | 01/06/2015 &nbsp;ACT | 2015-01-29 | 2016-02-19 | A | http://dec.alaska.gov/Applications/Air/airtoolsweb/Home/ViewAttachment/16672291/KQZafTqmYd8SVnZ3RUWQfQ2 | The Kenai Nitrogen Operations Facility is located at Mile 21 of the Kenai Spur Highway, near Kenai Alaska. It is classified as a nitrogenous fertilizer manufacturing facility under Standard Industrial Classification code 2873 and under North American Industrial Classification code 325311. The facility will produce ammonia and urea for bulk sale. There are two ammonia and two urea plants at Agriumâ€™s KNO facility. This permit authorizes the restart of one ammonia and one urea plant (plants 4 and 5). The ammonia plant converts natural gas with added steam and air to produce ammonia (NH3) and carbon dioxide (CO2). Feedstocks for the urea plant include CO2 and NH3. The utility plant generates the power and steam needed to operate the ammonia and urea plants. Final products are loaded at the Product Loading Wharf for shipment. |  | Three (3) Package Boilers | 12.31 | Natural Gas | 243 | MMBTU/H | Three (3) New Natural Gas-Fired 243 MMBtu/hr Package Boilers | Particulate matter, total &lt; 10 Âµ (TPM10) | Unspecified | (Particulate Matter (PM)) | PM | N |  | 0.0074 | LB/MMBTU | 3-HR AVG | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
AK-0083 | KENAI NITROGEN OPERATIONS | AGRIUM U.S. INC. | USA | AK | 99611 | USA | TED HARTMAN | 913 302 7469 | TED.HARTMAN@AGRIUM.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV |  | AQ0083CPT06 | 2873 | 325311 | 110030488620 | 11/25/2014 &nbsp;ACT | 01/06/2015 &nbsp;ACT | 2015-01-29 | 2016-02-19 | A | http://dec.alaska.gov/Applications/Air/airtoolsweb/Home/ViewAttachment/16672291/KQZafTqmYd8SVnZ3RUWQfQ2 | The Kenai Nitrogen Operations Facility is located at Mile 21 of the Kenai Spur Highway, near Kenai Alaska. It is classified as a nitrogenous fertilizer manufacturing facility under Standard Industrial Classification code 2873 and under North American Industrial Classification code 325311. The facility will produce ammonia and urea for bulk sale. There are two ammonia and two urea plants at Agriumâ€™s KNO facility. This permit authorizes the restart of one ammonia and one urea plant (plants 4 and 5). The ammonia plant converts natural gas with added steam and air to produce ammonia (NH3) and carbon dioxide (CO2). Feedstocks for the urea plant include CO2 and NH3. The utility plant generates the power and steam needed to operate the ammonia and urea plants. Final products are loaded at the Product Loading Wharf for shipment. |  | Three (3) Package Boilers | 12.31 | Natural Gas | 243 | MMBTU/H | Three (3) New Natural Gas-Fired 243 MMBtu/hr Package Boilers | Particulate matter, total &lt; 2.5 Âµ (TPM2.5) | Unspecified | (Particulate Matter (PM)) | PM | N |  | 0.0074 | LB/MMBTU | 3-HR AVG | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
AK-0083 | KENAI NITROGEN OPERATIONS | AGRIUM U.S. INC. | USA | AK | 99611 | USA | TED HARTMAN | 913 302 7469 | TED.HARTMAN@AGRIUM.COM | 10 | AK001 | ALASKA DEPT OF ENVIRONMENTAL CONS | MR. JIM PLOSAY | (907) 465-5103 | JOHN.KUTERBACH@ALASKA.GOV |  | AQ0083CPT06 | 2873 | 325311 | 110030488620 | 11/25/2014 &nbsp;ACT | 01/06/2015 &nbsp;ACT | 2015-01-29 | 2016-02-19 | A | http://dec.alaska.gov/Applications/Air/airtoolsweb/Home/ViewAttachment/16672291/KQZafTqmYd8SVnZ3RUWQfQ2 | The Kenai Nitrogen Operations Facility is located at Mile 21 of the Kenai Spur Highway, near Kenai Alaska. It is classified as a nitrogenous fertilizer manufacturing facility under Standard Industrial Classification code 2873 and under North American Industrial Classification code 325311. The facility will produce ammonia and urea for bulk sale. There are two ammonia and two urea plants at Agriumâ€™s KNO facility. This permit authorizes the restart of one ammonia and one urea plant (plants 4 and 5). The ammonia plant converts natural gas with added steam and air to produce ammonia (NH3) and carbon dioxide (CO2). Feedstocks for the urea plant include CO2 and NH3. The utility plant generates the power and steam needed to operate the ammonia and urea plants. Final products are loaded at the Product Loading Wharf for shipment. |  | Three (3) Package Boilers | 12.31 | Natural Gas | 243 | MMBTU/H | Three (3) New Natural Gas-Fired 243 MMBtu/hr Package Boilers | Particulate matter, total (TPM) | Unspecified | (Particulate Matter (PM)) | PM | N |  | 0.0074 | LB/MMBTU | 3-HR AVG | BACT-PSD |  | U | 0 | U | 0 |  |  | 0 |  |  | 0 | 0 | N
OH-0310 | AMERICAN MUNICIPAL POWER GENERATING STATION | AMERICAN MUNICIPAL POWER | MEIGS | OH | 45771 | USA | RANDY MEYER | 6143376222 | RMEYER@AMP-OHIO.ORG | 5 | OH001 | OHIO ENVIRONMENTAL PROTECTION AGENCY | MICHAEL MALESKI | (614) 644-3613 | Michael.Maleski@epa.ohio.gov |  | P0104461 | 4911 | 221112 | 110000384325 | 05/15/2006 &nbsp;ACT | 10/08/2009 &nbsp;ACT | 2008-04-15 | 2009-11-06 | A |  | TWO 5191 MMBTU/HOUR PULVERIZED COAL-FIRED BOILERS; ONE 150 MMBTU/HOUR NATURAL GAS AUXILIARY BOILER, ONE FLY ASH AND GYPSUM LANDFILL, COAL STORAGE, CRUSHERS, FERTILIZER PLANT, LIMESTONE AND FLY ASH HANDLING EQUIPMENT, AND COOLING CELLS. ADMINISTRATIVE MODIFICATION 10/09 TO ADD CASE-BY-CASE MACT FOR BOILERS. 1ST ISSUED 2/7/08 AS PTI#06-08138; STILL INITIAL INSTALLATION | FUGITIVE EMISSIONS FROM STORAGE PILES (COAL,LIMESTONE, UREA), CONVEYING, HANDLING, ROADWAYS, BARGE OR TRUCK UNLOADING WERE NOT ENTERED INTO THE DATABASE DUE TO THE INSIGNIFICANT EMISSIONS (MOST < 1 TON FUGITIVE PM) AND LACK OF PROCESS CODES TO ENTER THEM. | AUXILIARY BOILER | 12.31 | NATURAL GAS | 150 | MMBTU/H |  | Particulate matter, filterable &lt; 10 Âµ (FPM10) | Unspecified | (Particulate Matter (PM)) | PM | N |  | 0.0075 | LB/MMBTU |  | BACT-PSD | SIP | U | 0 | U | 0.5 | T/YR | PER ROLLING 12-MONTHS | 7.6 | LB/MMCF |  | 0 | 0 | N