## Sheet1
Approved Planning Documents for Sanitation Projects in Rural Communities
e.g., Preliminary Engineering Reports, Technical Memorandums, Master Plans, Studies
Cost estimates included in the plan must be updated after a 5 year span.
Community | Plan/Study Title | Plan Date | Review Status | Index # | Project # | Letter signed on | Addressed to | Column1
Adak | Wastewater System PER | 2019-08-01 | Approved | ADK090619 | 18EQ53 | 2019-09-06 | VSW Menendez
Adak | Water Treatment Plant PER | 2017-06-22 | Approved. WTP siting, direct filtration, prefabricated building. | ADK062217 |  | 2017-06-22 | ANTHC Pollis
Adak | Water & Sewer Downsizing Feasibility Study | 2004-09-01 | Approved
Akiachak | Piped Water and Sewer System PEP | 2004-09-01 | Approved
Akiak | Water and Sewer to Six New Homes | 2025-June | Approved | AKI070125 |  | 2025-07-01 | CRW - Matt Edge
Akiak | Scattered Sites Streamlined PER | 2020-03-01 | Conditionally approved upon resubmission of the updated PER | AKI041420 |  | 2020-04-14 | Neimeyer Consulting
Akiak | Water and Sewer Service | 2018-06-01 | Preferred alternative approved; second alternative is conditionally approved. | AKI061918 | AN 16-U89 | 2018-06-19 | Elizabeth Merrill
Alakanuk | North Side Water and Sewer Improvements | 2021-02-01 | Approved | AUK031221 |  | 2021-03-12 | VSW Randlett
Alakanuk | Feasibility Study Water & Sewer for Service Area 7 | 2002-01-01 | Not approved
Alatna | Sewage Lagoon PER | 2020-02-01 | Approved | ALT061220 | AN 17-U0Z | 2020-06-12 | ANTHC Martin
Alatna | Landfill Study | 2014-12-12 | Approved but pop. doesn't meet VSW eligibility requirements - 25 minimum | AA-040615 |  | 2015-04-06 | Mia Heavener
Aleknagik | Wastewater System PER | 2021-01-01 | Approved | WKK040521 | AN 19-U1E | 2021-04-05 | ANTHC Acuna
Aleknagik | Water and Sewer Feasibility Study | 2007-06-06 | Approved
Allakaket | Wells & Septic PER | 2020-05-01 | Approved | AET062520 | AN 18-U0Z | 2020-06-25 | ANTHC Martin
Ambler | Main Erosion PER | 2019-11-01 | Approved | ABL020320 | AN 18-RN8 | 2020-02-03 | ANTHC McGee
Ambler | Water, Sewer & Solid Waste Facilities MP Update | 2003-05-03 | Phases 1-4 approved. Phase 5 not approved.
Ambler II | Sanitation Master Plan Update | 2011-12-12 | Approved
Anchor Point | WTP Deficiencies and Upgrade Evaluation | 2007-05-01 | Approved
Anchor Point | Sewer Feasibility Study | 2007-04-01 | Approved
Anderson | Wastewater Collection System | 2024-03-01 | Approved | AND102224 |  | 2024-10-22 | VSW Trenton Tellos
Angoon | Water Source | 2021-05-01 | Approved: 7/1/2021 | AGN071521 | 21-D-94328 | 2021-07-15 | ANTHC Ulrich
Angoon | Streets Repaving and Utility Rehabilitation PER | 2020-05-01 | USDA Approved. Not Approved by VSW or IHS |  |  | 2020-07-13 | ANTHC Ulrich
Angoon | Aanya Street Sewer Main Final PER | 2019-01-01 | Approved | AGN032819 | AN 15-U77 | 2019-03-28 | Ulrich
Angoon | Aanya Street Sewer Main 65% PER | 2017-08-01 | Critical Comments need to be addressed before review can be completed. | AGN090117 | AN 15-U77 | 2017-09-01 | Brenton Alexander
Angoon | Sanitation Facilities Master Plan | 2006-04-01 | Phase 3 approved. Ph 1&2 to be revisited. Ph 4 disapproved.
Anvik | Water and Sewer Feasibility Study | 2006-06-01 | Approved
Arctic Village | Sanitation Water & Sewer Haul Feasibility Study | 2006-09-01 | Approved
Atka | Water Source Impoundment Facility PER | 2017-12-01 | Approved | AKB012418 | 17RP96 | 2018-01-24 | Menendez
Atka | 2008 Update to the 2001 Sanitation Feasibility Study | 2008-05-08 | Items 4-6 approved. Items 7-12 not approved.
Atmautluak | Washeteria Improvements PER | 2019-01-19 | Approved | ATT022619 |  | 2019-02-26 | Merrill
Atmautluak | Sanitation Facilities Master Plan | 2015-06-01 | Not approved: piped water and pressure sewer system due to costs totaling ~$33 million, a capital cost per home of approximately $460,000. |  |  | 2015-09-23 | ANTHC Lohr
Beaver | Washeteria Replacement PER | 2019-02-01 | Approved | WBQ041619 | 18EQ56 | 2019-04-16 | VSW Randlett
Bethel | Water Distribution and Sewer Collection System PER | 2019-05-01 | Phases 1 and 2 approved. Phase 3 not approved. | BET073119 | 19RQ98 | 2019-07-31 | VSW Winter
Bethel | Water & Sewer Facilities Master Plan Update | 2005-04-01 | Approved
Bethel II | Water Distribution and Sewer Collection System PER | 2020-03-01 | Phase 3A approved, Phase 3B approval contingent on 3A results. | BET040620 | 19RQ98 | 2020-04-06 | VSW Winter
Birch Creek | Water Treatment Plant | 2022-Jun | Approved with comments. | KBC100422 | AN-19-N5T | 2022-10-04 | ANTHC Sind Kay
Birch Creek | First Service Water and Sewer | 2020-10-01 | Approved to provide service to up to five year-round occupied homes | KBC030821 | AN 19-N9T | 2021-03-08 | ANTHC Sind
Brevig Mission | Sanitation Facilities Master Plan | 2010-10-10 | Approved, contingent upon proj submittal to SDS
Buckland | Sewer System Tech Memo | 2024-04-01 | Approved | BKC070824 |  | 2024-07-08 | VSW Aaron Wheatall
Buckland | Landfill Preliminary Engineering Report Revision 2 | 2016-09-01 | Approved, being a solid waste project, it may not score highly enough for federal funding | BKC062217 | none, CIP | 2017-06-22 | VSW Addie
Chalkyitsik | Sewer Force Main Repairs Tech Memo | 2022-Jun | Approved. | CIK080922 |  | 2022-08-09 | ANTHC Sind Kay
Chalkyitsik | Water & Sewer Feasibility Study | 2001-06-01 | Approved
Chalkyitsik II | Water & Sewer Feasibility Study Update | 2015-03-01 | Approved: Existing Systems Deficiencies. Not approved: biomass boiler and water self-haul with separating toilets (Kivalina/ANTHC's PASS). | CIK092315 |  | 2015-09-23 | ANTHC Marszalik
Chefornak | Honeybucket Tundra Pond Closure PER | 2020-07-01 | Approved: 8/18/2021 | CFK083021 |  | 2021-08-30 | VSW Wheatall
Chenega Bay | Water and Sewer Feasibility Study | 2013-05-01 | Approved: Phase I (sludge disposal site) and Phase II (sewer system repairs). Disapproved: Phase III (water and sewer service to future subdivision). | NCN040116 |  | 2016-04-01 | ANTHC Hubbard
Chevak | Wastewater Lagoon PER | 2022-Mar | Approved with comments | VAK042622 |  | 2022-04-26 | ANTHC Ryan Beckett
Chevak | Sanitation Facilities Master Plan | 2014-03-03 | Approved | VAK050614 |  | 2014-05-06 | Eisberg
Chignik Bay | Raw Water Source & Transmission Line PER | 2018-03-01 | Approved up to $2M upon securing funds for remainder of capital cost (hydro). | KBW040618 | AN 16-U90 | 2018-04-09 | Charissa Williar
Chignik Bay | Water and Sewer Master Plan Update | 2007-05-01 | Phases 1-4 approved. Phase 5 not approved.
Chignik Lagoon | Backup Power Generator Tech Memo | 2024-03-07 | Approved | KCL070824 |  | 2024-07-08 | ANTHC Joyell Acuña
Chignik Lake | Water Treatment Plant and Water Storage Tank PER | 2024-03-01 | Approved | CKL080725 |  | 2024-07-08 | ANTHC Victoria Jelderks
Chignik Lake | Lift Station Refurbishment Tech Memo | 2024-03-01 | Approved | CKL070824 |  | 2024-07-08 | ANTHC Victoria Jelderks
Chignik Lake | Water & Sewer System Feasibility Study | 2000-09-01 | Approved
Circle | Water Treatment and Washeteria Upgrades Scope Change | 2024-05-01 | Approved | CRC092324 | AN 21-RQ1. | 2024-09-23 | ANTHC Greg Martin
Circle | Water Treatment Plant and Washeteria | 2019-10-01 | Approved | CRC040521 | AN 17-U0V | 2021-04-05 | ANTHC Martin
Coffman Cove | Luck Point Sewer Study Draft PER | 2017-03-24 | Approved. However, project may not score highly enough for funds. | KCC032417 | 17RP97 | 2017-03-24 | VSW Marino
Coffman Cove | Water & Sewer Feasibility Study | 2004-09-01 | Phases 1-2 approved. Phases 3-8 not approved.
Crooked Creek | Water Treatment Plant and Washeteria PER | 2019-10-01 | Approved | CDK121919 | AN 17-U0P | 2019-12-19 | ANTHC Williar
Crooked Creek | Water & Sewer Conceptual Design Report | 2012-02-01 | Not approved
Diomede | Water Storage Tank Technical Memorandum | 2019-07-01 | Approved | DIO090619 | none | 2019-09-06 | ANTHC McGee
Diomede | Water Source Development Study PER | 2018-03-01 | Not approved. Need to address critical comments. |  | AN 15-U78 | 2018-07-06 | ANTHC Williar
Diomede II | Water Source Development Study PER | 2018-06-01 | Approved | DIO030619 | AN 15-U78 | 2019-03-06 | Williar
Eagle Village | Sanitation Facilities Feasibility Study/Master Plan | 2001-05-01 | Approved
Eek | Water Treatment Plant Repairs Amendment | 2025-03-01 | Approved | EEK070125 |  | 2025-07-01 | ANTHC Ryan Beckett
Eek | Water Treatment Plant- Foundation Repair | 2021-07-01 | Approved: 7/29/2021 | EEK083021 | AN 19-U1s | 2021-08-30 | ANTHC Uhliq
Eek | Water and Sewer Project -- Master Plan Update | 2016-11-15 | Approved. Originally sent June 2016 lacking info; attachment #6 added. | EEK112216 |  | 2016-11-22 | ANTHC Sauers
Eek | Water and Sewer Master Plan Update | 2008-07-07 | Approved
Eek | Water and Sewer Master Plan | 2004-08-01 | Addendum/update approved
Ekwok | Wastewater System Preliminary Engineering Report | 2006-06-01 | Approved
Elfin Cove | Water and Sewer Feasibility Study | 2013-01-13 | Not approved (population considerations, etc.)
Elim | Water Source PER | 2024-Oct | Approved with comments | ELI022025 |  | 2025-02-21 | ANTHC Derek Hancey
Elim | Sewer Rehab PER | 2024-03-01 | Approved | ELI070824 |  | 2024-07-08 | ANTHC R. Scott Fezer
Elim | Water Storage Tank PER | 2017-07-01 | Approved | ELI012418 |  | 2018-01-24 | Ronald Yeager
Elim | Sanitation Facilities Master Plan | 2011-01-11 | Phases 2, 3, 4, and 5 approved.
Elim II | Shelby Subdivision Master Plan Update | 2015-08-14 | Approved. But must submit separate funding requests for each phase. | ELI111315 |  | 2015-11-13 | ANTHC Blackstone
Emmonak | Water and Sewer Main Extension and 5 Service Lines Streamlined PER | 2019-09-01 | Approved | EMK093019 | none | 2019-09-30 | VSW Sean Lee
Emmonak | Water and Wastewater Improvements PER | 2018-03-01 | Approved: Water intake. Not approved: Storage tank, wastewater alternative. | EMK040618 | 17RQ11 | 2018-04-09 | VSW Lee, Sean
Emmonak | Water Distrib & Vacuum Sewage Collection Upgrade | 2008-05-07 | Phase 1 & 2 approved. Phase 3 not approved.
False Pass | Water Treatment Improvements Final Design Analysis Report | 2020-05-01 | Not Approved |  |  | 2020-06-12 | ANTHC Ulrich
False Pass | On-site Wastewater Systems PER | 2017-12-01 | Resubmitted adding 1 non-native house as requested by USDA. Approved. | KFP012418 | AN 15-U79 | 2018-01-24 | ANTHC Marszalik, Soltis
Galena | Alexander Loop Water Main Replacement Tech Memo | 2023-05-01 | Approved | GAL053123 |  | 2023-06-22 | ANTHC Elena Navas
Gambell | Water Storage Tank Roof Repair PER | 2022-Mar | Approved with comments | GAM041422 |  | 2022-04-14 | VSW Oscar Menendez
Gambell | Water, Sewer, & Solid Waste Eng Feasibility Study | 2003-12-01 | R&R + upgrade components approved.
Glennallen | Water Improvement Feasibil Study Addendum, Ph 1-2 | 2009-05-05 | Approved
Golovin | Raw Water Intake/Transmission Line PER | 2022-May | Approved with comments. | GLV071222 | AN 20-RP2 | 2022-07-12 | ANTHC Ryan McLaughlin
Golovin | Sanitation Facilities Master Plan Update | 2012-12-07 | Upon review of additional estimates sent March 2016, the following was approved: pipes for upper village, rehabilitation of raw water intake, and sewage lagoon rehabilitation. | GLV101916 |  | 2016-10-19 | ANTHC MarcAurele
Grayling | Sanitation Facilities Project PER | 2018-05-01 | Only component E was approved. Components A, B, C, D not approved. | KGX070618 | AN 15-U80 | 2018-07-06 | Charissa Williar
Gulkana | Water Storage Tank PER | 2019-03-01 | Approved | GKN032919 | AN 16-RN2 | 2019-03-29 | Tinajero
Gulkana | Sanitation Master Plan/Feasibility Study | 2004-05-04 | WTP only approved.
Hoonah | Sanitation Facilities Master Plan Update – Final Report | 2016-03-01 | Approved: Phases 1, 2, and 3 after resubmitting with additional info requested. Originally submitted June 2016 but was not unclear what top priority project for Capital Improvement was. | HNH013117 | AN 11-U65 | 2017-01-31 | ANTHC Eisberg, Marszalik, Heavener
Hooper Bay | Old Town Water & Sewer Improvements PER | 2019-08-01 | Approved | HPB090619 | 18RQ47 | 2019-09-06 | VSW Donna Lee
Hooper Bay | Wastewater Lagoon | 2018-05-01 | Approved | HPB062018 | 17RQ12 17EQ44 | 2018-06-20 | VSW Donna Lee
Hooper Bay | Water Treatment Study | 2001-03-01 | Approved
Hughes | Low Pressure System Replacement PER | 2019-02-01 | Approved |  | none | 2019-09-06 | Martin
Hughes | Feasibility Engineering Study and Addendum | 2007-02-01 | Approved
Hughes | Eng Feasibility Study Update (as amended in 2006) | 2006-06-06 | Approved
Hughes II | Low Pressure System Replacement PER | 2019-03-01 | Approved | HUS090619 | none |  | ANTHC Greg Martin
Huslia | W&S Connections for Homes Outside the Piped Area PER | 2017-03-01 | Approved | HSL090117 | AN 15-U84 | 2017-09-01 | Brian Sanford
Huslia | Sanitation Facilities Improvement Plan | 2001-12-01 | Approved
Hydaburg | Source Storage Transmission PER | 2018-03-01 | Approved | HYG022519 | AN 16-U92 | 2019-02-25 | Ulrich
Hydaburg | Sewer Master Plan | 2018-02-01 | Not approved |  |  | 2018-08-02 | ANTHC Chadwick
Iguigig | Backup Power Generator Tech Memo | 2024-03-21 | Approved | IGG070824 |  | 2024-07-08 | ANTHC Joyell Acuña
Iliamna | Septic Pump Truck and Garage Tech Memo | 2024-03-07 | Not Approved |  |  | 2024-07-08 | ANTHC Joyell Acuña
Iliamna | Sludge Disposal Preliminary Engineering Report | 2017-02-01 | Not officially reviewed by SOA as EPA declined to fund project.
Kachemak Selo | Water Source Improvements PER | 2019-09-01 | Conditional approval | 093019 | 18EQ61 | 2019-09-30 | VSW Sean Lee
Kachemak Selo | Water System Feasibility Study | 2011-12-12 | 1st 3 priorities approved ONLY.
Kaltag | Water System Upgrades PER | 2018-03-01 | ANTHC to address EPA/Dennis Wagner's comments, resubmit to VSW |  | AN 15-U85 |  | Heavener
Kaltag II | Water System Upgrades PER | 2018-03-01 | All 6 phases approved | KAL041619 | AN15U85 | 2019-04-16 | ANTHC Tinajero
Karluk II | Sanitation Facilities Master Plan | 2015-08-01 | Not approved. Capital cost of upgrades is extremely high. |  |  | 2015-11-13 | ANTHC Heavener
Karluk | Sanitation Facilities Master Plan | 2006-09-01 | Approved
Karluk III | Water Master Plan Addendum | 2018-04-12 | Not approved |  |  | 2018-05-03 | Marszalik
Kasaan | Water Source PER | 2020-10-01 | Approved: 2/25/2021 | KXA030821 | AN 18-RN9 | 2021-03-08 | ANTHC Yount
Kasaan | Water Distribution System PER | 2017-03-01 | Not approved. Scope associated with O&M, not capital cost project. |  | AN 15-U82 | 2017-03-26 | ANTHC Marszalik, Soltis
Kasaan | Water & Sewer Master Plan + Update | 2007-01-01 | Phase 1 only approved.
Kasigluk | Landfill Development | 2025-07-01 | Approved | KUK091025
Kiana | Sanitation Facilities Master Plan Update | 2011-09-01 | Manhole repairs ($50K), service line installations ($80K), and Jackson service lines ($50K) approved.
Kiana II | Master Plan Update - Valley View Subdivision Ph 1 | 2014-12-14 | Approved: Revisions made to Phase 1 accommodating 5 new homes, specifically modifications to the gravity sewer collection main lines, lift station, water distribution main lines and number of homes served. | IAN111315 |  | 2015-11-13 | ANTHC Blackstone
Kiana III | Manganese Removal PER | 2018-01-01 | Approved but doesn't qualify as "Beneficial Need" thus may not be eligible | IAN070618 | NA | 2018-07-06 | ANTHC Yeager
Kiana | Glover Road Water Main Replacement Tech Memo | 2024-06-01 | Approved, pending by documentation of concurrence from the Maniilaq Association | IAN102224 |  | 2024-10-23 | ANTHC Derek Hancey
Kiana | Casanoff Street Sewer Improvements Tech Memo | 2025-Jan | Approved | IAN04072025
King Cove | Solid Waste | 2017-03-01 | Approved: 3/25/2021 | KVC040521 |  | 2021-04-05 | ANTHC Yount
Kipnuk | Sanitation Facilities Master Plan | 2002-04-01 | Not approved
Kipnuk | Water Distribution and Sewage Collection PER | 2019-03-01 | Not approved |  | AN 17-U0W | 2019-10-23 | ANTHC Uhlig
Kipnuk II | Sanitation Facilities Master Plan Update | 2015-12-01 | Approved following upgrades to existing facilities: Raise Raw Water Reservoir Berms and Raise Community Sewage Lagoon Berm. Disapproved: Piped system and 4 recommended upgrades. | IIK101916 |  | 2016-10-19 | ANTHC Pihlaja, Krista
Kipnuk III | Water Source Improvements PER | 2018-02-01 | Not approved. Waiting on feasibility study for piped distribution system. |  | Not specified | 2018-08-02 | ANTHC Lean
Kivalina | Washeteria Replacement/Upgrades PER | 2018-03-01 | Water Treatment Plant needs to be incorporated into PER scope for application to be considered. | KVL040618 | AN 16-U93 | 2018-04-12 | Ronald Yeager
Kivalina | Water and Sewer Feasibility Study | 2014-05-14
Klawock | Water Source | 2024-06-01 | Approved | KLW102224 |  | 2024-10-22 | ANTHC Kevin Ulrich
Klukwan | Sewer Feasibility Study | 2006-06-01 | Approved
Kobuk | Community Drainfield System Repairs Engineering Report | 2022-May | Approved | OBU050622 |  | 2022-05-05 | ANTHC Steven McGee
Kobuk | Sanitation Facilities Plan | 2012-04-04 | Approved except for new WST.
Kokhanok | Water Storage Tank Tech Memo | 2024-03-01 | Approved | KHK070824-B |  | 2024-07-08 | ANTHC Joyell Acuña
Kokhanok | Backup Power Generator Tech Memo | 2024-03-21 | Approved | KHK070824-A |  | 2024-07-08 | ANTHC Joyell Acuña
Kokhanok | Wastewater System | 2021-01-01 | Approval with conditions: 2/25/2021 | KNK030721 | AN 19-U1H | 2021-03-07 | ANTHC Acuna
Kokhanok | Water and Wastewater Feasibility Study | 2011-02-02 | Approved
Koliganek | Water Treatment Plant PER | 2020-03-01 | Conditional approval upon resubmission of updated PER | KGK042420 | AN 18-U1B | 2020-04-24 | ANTHC Jelderks
Koliganek | Sanitation Facilities Master Plan | 2006-10-01 | Approved
Koliganek II | New Koliganek Water Leak Study | 2013-03-01 | Approved: replacement of pipes for supply and return. Not approved: replacement of entire main. | JZZ110915 |  | 2015-11-09 | ANTHC Heavener
Kongiganak | Sanitation Facilities Master Plan Update | 2003-08-03 | Approved
Kongiganak II | Swg lagoon, HB dispose site, water point, laundry | 2018-04-01 | Conditional approval. | KKH070618 | AN 14-N6D | 2018-07-06 | Randlett
Kotlik | Lagoon Upgrades | 2024-05-01 | Approved, pending by documentation of concurrence from the YKHC | KOT102224 |  | 2024-10-22 | ANTHC Ivan Chikigak-Steadman
Kotlik | 21 Home Expansion PER | 2024-Dec | Approved with comments | KOT022025
Kotzebue | Kotzebue Lift Stations #1, 7, 9, & 12 Final PER | 2017-06-29 | Clarification from ANTHC received. Approved. | OTZ103117 | AN 16-U81 | 2017-10-31 | Pihlaja
Kotzebue | Sanitation Utilities Development Plan | 2005-07-01 | Approved
Koyuk | Water Source Upgrades Tech Memo | 2024-06-01 | Approved | KKA102224 |  | 2024-10-22
Koyuk | Sanitary Sewer Improvements | 2024-03-26 | Approved | KKA072424 |  | 2024-07-24 | ANTHC Derek Hancey
Koyuk | Wastewater Lagoon Improvements Tech Memo | 2020-01-01 | Approved | KKA070824 |  | 2024-07-08 | ANTHC Derek Hancey
Koyuk | Water Storage Tank PER | 2019-05-01 | Not reviewed
Koyuk | Laundromat Replacement PER | 2019-03-01 | Approved | AKKA040720 |  | 2020-04-07 | ANTHC McGee
Koyuk | Koyuk Sanitation Facilities Improvement Plan | 2010-08-08 | Approved except for Ph I (H2O study) + II (new H2O source)
Koyukuk | First Time Interior Plumbing for 22 Homes Tech Memo | 2020-05-01 | Approved | KYU061220 |  | 2020-06-12 | ANTHC Tinajero
Kwethluk | Water and Sewer Master Plan Update | 2011-03-03 | Approved
Kwigillingok | Water Storage Tank PER | 2019-03-01 | Approved | KWK071919 | AN 17-U0Q | 2019-07-19 | ANTHC Williar
Larsen Bay | Scope Expansion Memo for Water Distribution System Replacement PER | 2023-04-12 | Approved with comments | KLN050123 | Original 2020 PER Lite was not reviewed by the Review Committee, and was funded by IHS and EPA Tribal Set-Asides via AN 21-N7Z. | 2023-05-01 | ANTHC Kevin Ulrich
Levelock | Wastewater Feasibil Study&Drainfield Failure Investig | 2013-01-01 | Approved: replacement of 8 septic systems. | KLL101916 |  | 2016-10-19 | ANTHC Pihlaja, Krista
Lime Village | Sanitation Facilities for Individual Homes PER Supplemental Funding Request | 2017-07-01 | Approved | LVD042420 |  | 2020-04-24 | ANTHC Uhlig
Lowell Point | Water and Sewer Feasibility Study | 2008-11-11 | Approved
Lower Kalskag | Master Plan Capital Cost Update | 2008-05-08 | Approved
Marshall | Phase 9 Water Sewer Service | 2018-11-29 | Approved | MLL122018 | 17RP98 | 2018-12-20 | VSW Donna Lee
McGrath | Piped Water Distribution Replacement Tech Memo | 2024-04-10 | Approved | MCG070824 |  | 2024-07-08 | VSW Oscar Menendez
McGrath | Piped Water Distribution PER | 2017-09-01 | Approved: 10/12/2017 | MCG101317 | 17RQ13 | 2017-10-13 | VSW Wilson
McGrath | Wastewater Collection &Treatment PER | 2017-08-01 | Approved : 8/4/2017 | MCG080417 | 17RQ13 | 2017-08-04 | VSW Wilson
McGrath | Water & Sewer System Evaluation and Master Plan | 2003-08-01 | Approved
Mekoryuk | FT&H Replacement for 8 Homes and Washeteria Repairs | 2024-09-04 | Approved 3/5/2025 | MYU030525
Mekoryuk | Water Source Improvements Final PER | 2017-10-01 | Approved 10/12/2017 | MYU101217 | 17RQ14 | 2017-10-12 | VSW Marino
Metarvik | Water Source, Treatment, Storage, and Distribution PER | 2020-04-01 | Not Approved |  | AN 17-U0Y | 2021-03-11 | ANTHC Beckett
Metlakatla | Wastewater Treatment Plant Improvements PER | 2022-Mar | Approved | MTM042622 |  | 2022-04-26 | VSW Jake Dilley
Metlakatla | Chester Lake Dam PER | 2020-04-01 | Approved but requires alternate funding source | MTM042420 |  | 2020-04-24 | VSW Donna Lee
Metlakatla | Disinfection Byproduct Reduction & Pipe Corrosion | 2017-05-31 | Approved, but requires two separate funding applications | MTM062217 |  | 2017-06-22 | VSW Poage
Minto | Water Source Alternatives | 2025-January | Approved | MNT030725
Mountain Village | Water and Sewer Residential Arctic Box Replacement Tech Memo | 2024-Dec | Approved with comments | MOU020425 |  | 2024-02-04 | VSW Erin Anderson
Mountain Village | Community Water Supply Alternatives | 2017-12-01 | Approved but requires utility to enact policies to deter water-wasting, ensure viability of supply. | MOU012418 | 17RQ00 | 2018-01-24 | VSW Poage
Mountain Village | W&S Feasibility Study and Master Plan | 2011-03-03 | Not approved. More information requested.
Nanwalek | Masterplan Update | 2016-09-01 | Only approved: Replace water distribution system (Sub-phases 1, 2, 3) and Solid Waste Landfill (though federal funds may not be available) | KEB020317 | AN 12-U67 | 2017-02-03 | ANTHC Marszalik, Heavener
Nanwalek | Water Source, Transmission and Distribution Report | 2006-10-01 | Approved
Napakiak | Water Treatment System Upgrade PER | 2018-12-01 | Temporary Alternative approved; Permanent Alternative not approved. | WNA032619 | 17RQ01 | 2019-03-26 | Donna Lee
Nelson Lagoon | RWTL and WST Upgrades | 2024-06-01 | Approved, conditions provided in review letter | NNO102224 |  | 2024-10-22 | ANTHC Kevin Ulrich
Nelson Lagoon | Onsite Septic Systems | 2021-04-01 | Approved: 5/10/2021 | OUL052621 |  | 2021-05-26 | ANTHC Ulrich
Nelson Lagoon | Water System Improvement Plan | 2002-09-01 | Approved
Nenana | Sanitation Facilities Master Plan | 2005-07-01 | Tasks 1-9 approved. Tasks 10-14 not approved.
New Stuyahok | Landfill PER | 2024-03-01 | Approved | KNW070924 |  | 2024-07-09 | ANTHC Victoria Jelderks
New Stuyahok | Water Treatment Plant PER | 2018-03-01 | Approved. Modular WTP. | KNW040618 | AN 16-U94 | 2018-04-09 | Blahut, Kim
Newhalen | Water Treatment Plant PER | 2021-01-01 | Approved: 3/25/2021 | 40521 | AN 19-U1F | 2021-04-05 | ANTHC Acuna
Newhalen | Water and Wastewater Feasibility Study | 2006-09-01 | Approved
Nightmute | Water & Sewer Improvement Feasibility Study | 2004-08-01 | Approved
Nikolaevsk | Water System Improvements PER | 2017-04-07 | WST Freeze Protection & Backup Water Source approved; Water Service to Unserved Residences not approved due to inadequate documentation. | NK-050817 |  | 2017-05-08 | VSW Lee
Nikolaevsk | Water Facilities Feasibility Study | 2006-12-01 | Approved
Nikolai | Sanitation Facilities Master Plan | 2005-06-01 | Approved
Nikolski | Utility Master Plan Update | 2007-04-01 | Approved
Noatak | Wells and Transmission Line PER | 2024-Dec | Approved | WTK012325 |  | 2025-01-24 | ANTHC Elizabeth Hodges
Noatak | Water Treatment Plant Rehabilitation PER | 2024-Oct | Approved with comments | WTK022025 |  | 2025-02-21 | ANTHC Elizabeth Hodges
Noatak | Water Main Upgrades – West Loop | 2022-Jul | Approved with comments. | WTK072122 | WTKU1D-0999 | 2022-07-21 | ANTHC Kalen Stamp
Noatak | Water, Sewer & Solid Waste Facilities MP Update | 2003-05-01 | Phases 1-4 & 8 approved. Ph 5, 6, 7, 9 & 10 disapproved.
Nondalton | Water Treatment Plant Piping and HVAC Upgrades | 2025-April | Approved | NNL080425 |  | 2025-08-07 | ANTHC Victoria Jelderks
Nondalton | Wastewater System Improvements PER | 2020-11-01 | Approved: 10/21/2021 | NNL110421 | AN-19-U1k | 2021-11-04 | ANTHC Victoria Jelderks
Nondalton | Water Distribution System PER | 2019-04-01 | Approved | NNL041619 | AN17U0R | 2019-04-16 | ANTHC Blahut
Nondalton | Water & Sewer Engineering Feasibility Study | 2003-08-01 | Approved
Noorvik | Sanitation Utilidor Upgrades PER | 2022-Feb | Approved with comments | ORV051622. |  | 2022-05-16 | ANTHC Charissa Williar
Noorvik | Wastewater Lagoon Improvements PER | 2019-09-01 | Approved | ORV040620 | AN 16-U95 | 2020-04-06 | ANTHC Monville
Noorvik | Sanitation Facilities Master Plan Update | 2004-09-01 | Phases 1-3 approved. Phase 4 not approved.
Nulato | Water and Sewer Feasibility Study | 2007-05-01 | Phases 1-3 approved
Nunam Iqua | Water Quality Improvement | 2021-02-01 | Approved: 7/1/2021 | SXP071521 | AN19-U1Q | 2021-07-15 | ANTHC Uhliq
Nunam Iqua | Combined Utility Building Settlement PER | 2018-06-01 | Approved | SXP080218 | AN 15-U74 | 2018-08-02 | ANTHC Merrill
Nunapitchuk | Solid Waste | 2021-06-01 | Approved: 7/1/2021 | NUP071521 |  | 2021-07-15 | VSW Menendez
Nunapitchuk | Haul Lagoon Improvements Draft PER | 2017-03-01 | Approved on 8/4/2017 | NUP080417 | 17RQ03 | 2017-08-04 | Marino
Old Harbor | Wastewater System PER | 2022-08 | Approved with comments. | OLH080822 | AN-20-RP1 | 2022-08-08 | ANTHC Kevin Ulrich
Old Harbor | Water Distribution System PER | 2017-02-01 | Not approved. Scope associated with O&M, not capital cost project. |  | AN 15-U83 | 2017-03-26 | ANTHC Christopher Clark
Oscarville | Utility System PER | 2020-03-01 | Groundwater study approved. Construction funding conditional upon results of the groundwater study. | OSC040620 | AN 16-U96 | 2020-04-06 | ANTHC Brent Hove
Ouzinkie | Utilities Master Plan | 2000-12-01 | Approved
Pelican | Wastewater System Improvements PER | 2024-03-26 | Approved | PEC070824 |  | 2024-07-08 | VSW Anita Erickson
Pelican | Water and Sewer Preliminary Engineering Report | 1905-06-27 | Phases 1-2 approved. Phase 3 not approved
Perryville | Community Water Source PER | 2019-03-01 | Approved | KPV090619 | AN17-U0T | 2019-09-06 | ANTHC Williar
Perryville | Water Treatment Plant | 2018-05-01 | Approved | KPV061918 | None | 2018-06-19 | Blahut
Perryville | Sanitation Feasibility Study | 2014-05-01 | Not approved. Need for additional information: key elements needed in WTP, discussion and evaluation of various alternatives for WTP, realistic estimate of construction costs for a modular WTP. |  |  | 2015-11-09 | ANTHC Heavener
Pilot Point | Wastewater Collection System | 2024-06-01 | Approved, pending documentation of concurrence from the Bristol Bay Area Health Corporation | PIP102224 |  | 2024-10-22 | VSW Aaron Wheatall
Pilot Station | Water Distribution Loop PER | 2021-01-01 | Approved: 2/25/2021 | PQS030221 | AN 18-RO1 | 2021-03-02 | ANTHC Jahn
Pilot Station | Lagoon Relocation Feasibility Study | 2005-06-01 | Approved
Pilot Station | Landfill Relocation Feasibility Study | 2004-09-01 | Approved
Pilot Station II | Master Plan Update | 2014-11-14 | Approved: Phase 1 and 2 with critical comments. Disapproved: 3 and 4. | PQS040615 |  | 2015-04-06 | ANTHC Ben Chadwick
Platinum | Public Water System PER | 2019-03-01 | Approved | PTU032619 | 17RQ04 | 2019-03-26 | VSW Menendez
Port Protection | Drinking Water Supply PER | 2020-02-01 | Not approved |  |  | 2020-03-17 | VSW Randlett
Port Protection | Wastewater Engineering Study | 2004-08-01 | Approved
Port Alexander | Water Tank and Foundation Project Proposal | 2020-01-01 | Approved | PTD050720 |  | 2020-05-07 | VSW Winter
Port Graham | Port Graham Sewage Sludge Lagoon PER | 2017-10-01 | Approved. But may not score highly enough. | PGM120417 | AN 16-N0Z | 2017-12-04 | Marszalik
Port Graham | Outfall Consolidation Report | 2006-06-01 | Approved
Port Heiden | Sanitation Improvements Feasibility Study | 2004-05-01 | Approved
Quinhagak | Water Storage Tank Tech Memo | 2025-03-01 | Approved | KWN070125 |  | 2025-07-01 | VSW Arianna Sosnowski
Quinhagak | Water Treatment Plant Repairs | 2023-04-25 | Approved | KWN081423 |  | 2024-08-16 | VSW Jake Dilley
Rampart | Wells & Septic PER | 2020-05-01 | Approved | RMP062520 | AN 18-U0Z. | 2020-06-25 | ANTHC Martin
Rampart | Sewage Lagoon PER Supplemental Funding Request | 2020-04-01 | Approved | RMP050720 |  | 2020-05-07 | ANTHC Martin
Ruby | Centralized Services Rehabe PER Lite | 2024-07-01 | Approved, pending documentation of concurrence from the Tanana Chiefs Conference | RBY102224 |  | 2024-10-22 | ANTHC Bill Brooks
Ruby | Wells & Septic PER | 2020-05-01 | Approved | RBY062520 | AN 18-U0Z. | 2020-06-25 | ANTHC Martin
Ruby | Sanitation Facilities Master Plan | 2001-06-01 | Approved
Russian Mission | Water & Sewer Upgrades | 2024-07-01 | Approved, conditions provided in review letter | RSH102424 |  | 2024-10-24 | ANTHC Ivan Chikigak-Steadman
Saint George | Water and Sewer System Replacement PER | 2023-04-01 | Approved with comments | PBV052423 |  | 2023-06-06 | VSW Aaron Wheatall
Saint George | Water Storage Preliminary Engineering Report | 2017-06-15 | Approved. However, project may not score highly enough for funds. | STG062217 | 17RQ05 | 2017-06-22 | VSW Poage, Doug
Saint George | Water and Sewer Utility Plan Update | 2007-04-01 | Approved
Saint Mary's | Water Distribution Loop Replacement Tech Memo | 2023-Apr | Approved with comments | KSM040423 | Written in-house no assigned grant number | 2023-04-04 | ANTHC Uhlig
Saint Mary's | Andreafski Water Distribution Loop PER | 2020-02-01 | Approved | KSM042420 | AN 18-U1C | 2020-04-24 | ANTHC Uhlig
Saint Mary's | Water & Wastewater Feasibility Study | 2006-05-01 | Approved
Saint Micheals | Water Storage Tank PER | 2021-Aug | Approved with comments | SMK03072022 | AN 19-U1P | 2022-03-07 | ANTHC Steven McGee
Saint Paul | Wastewater Lift Station PER | 2020-02-01 | Approved | SNP041420 | 19ER33 | 2020-04-14 | VSW Winter
Saint Paul | Ellerman Heights Sewer System Improvements Feasibility Study | 2005-07-01 | Approved
Sand Point | Water Treatment Plant Updated Cost Estimate | 2022-Mar | Approved | SDP040922 |  | 2022-04-09 | ANTHC Jim Amundsen
Savoonga | Water Storage Tank Replacement Tech Memo | 2024-03-22 | Approved | SVA070924 |  | 2024-07-09 | ANTHC R. Scott Fezer
Savoonga | Secondary Well Replacement Tech Memo | 2023-11-27 | Approved | SVA020624 |  | 2024-02-06 | ANTHC Derek Hancey
Saxman | Water and Wastewater Facility Master Plan Update | 2007-05-01 | Ph 1, 2 & 4 approved. Ph 3 approved for KGB connect. Ph 5 not approved.
Saxman | Sewer Assesment and Infiltration and Inflow Study | 2025-07-01 | Approved | SAX090525 |  | 2025-09-19 | ANTHC Elizabeth Merrill
Scammon Bay | Sewage Lagoon Expansion PER Lite |  | Approved | SCM060822 |  | 2022-06-08 | ANTHC Brent Hove
Scammon Bay | Water System Improvements PER | 2019-04-01 | Approved | SCM041619 | AN17-U0U | 2019-04-16 | ANTHC Blahut
Selawik | Water & Sewer Expansion Feasibility Study | 2005-03-01 | Phase 1 approved. Phases 2-3 not approved.
Seldovia | Wastewater Treatment Facilities PER | 2023-04-01 | Approved with comments | SOV052423 |  | 2023-06-06 | VSW Anita Erickson
Seldovia | Slough Sewer Improvements PER | 2019-03-01 | Approved Alternative 2 conditional upon funding of ineligible houses | SOV120721 |  | 2021-12-07 | VSW Katie Winters
Shageluk | Preliminary Eng Report Water & Sewer System | 2017-12-08 | Approval with conditions. | SHX050918 |  | emailed 5/9/2018 | Pollis, dated May 3
Shageluk | Sanitation Facilities Master Plan Amendment | 2011-08-11 | Approved for exploratory well drilling only at this time.
Shaktoolik | Wastewater Improvements PER | 2025-Mar | Approved | SKK040425
Shaktoolik | Water Source | 2021-07-01 | Approved: 9/9/2021 | SKK092421 |  | 2021-09-24 | VSW Menendez
Shaktoolik | Sanitation Facilities Plan | 2013-04-13 | Ph 1,2,& 3 approved. Future applications must be made incrementally. | SKK050614 |  |  | George Wilson
Shaktoolik | Sanitation Master Plan | 2011-06-06 | Approved
Shishmaref | Sanitation Facilities Master Plan | 2010-09-09 | Phases 1,2,4,5 & 6 approved. Phase 3 not approved.
Shungnak | Sanitation Facilities Plan | 2012-04-04 | Approved
Slana | Onsite Wells & Septic Systems Tech Memo | 2024-04-01 | Approved | SLA070924 |  | 2024-07-09 | VSW Oscar Menendez
Slana | Water & Sewer Feasibility Study | 1999-04-01 | Approved
Sleetmute | Sanitation Facilities Improvement Plan 2002 Update | 2002-09-01 | Approved
South Naknek | Septic Pump Truck and Garage Tech Memo | 2024-03-07 | Approved for garage Not approved for septic pump truck | WSN070824 |  | 2024-07-08 | ANTHC Joyell Acuña
South Naknek | Wastewater Upgrades PER | 2017-06-01 | Not approved. ANTHC resubmitted on 11/3. VSW responded 12/4. |  | AN 15-U76 | 2017-09-01 | Kurt Sauers
Stebbins | Stebbins Honeybucket Disposal Site Draft Streamlined PER | 2021-11-01 | Approved: 11/18/2021 | WBB120721 | WBB-21-014/AN 19-U1O | 2021-12-07 | ANTHC Kalen Stamp
Stebbins | Piped Water and Sewer PER | 2020-04-01 | Approved. | WBB050520 | AN 19-I09 | 2020-05-05 | ANTHC Blackstone
Stebbins | Community Development Plan - Addendum | 2010-05-05 | Not approved
Tanacross | Landfill PER Lite | 2024-09-01 | Approved | TSG102224 |  | 2024-10-22 | ANTHC Kay Sind
Tanacross | Tanacross Sewer System Improvements | 2021-11-01 | Approved: 11/18/2021 | TSG120821 | ANTHC 20-D-89463 | 2021-12-08 | ANTHC Katherine Sind
Tanacross | Sanitation Master Plan Update | 2006-01-01 | Components 1-2 approved. Other components not approved.
Tanana | Sewage Lagoon Improvements and Water & Sewer Expansion | 2024-09-01 | Approved | TAL040925
Tanana | Sewage Lagoon Improvements & Service Expansion PER | 2024-01-01 | Approved Sewage Lagoon Improvements | TAL042224 |  | 2024-04-22 | VSW Erin Anderson
Tanana | Water and Sewer Feasibility Study Update | 2006-02-01 | Phases 1-3 approved. Phases 4-9 not approved
Tatitlek | Water Source Final PER | 2022-04-01 | Approved | TEK060822 |  | 2022-06-08 | ANTHC Kevin Ulrich
Teller | 95% PER Water and Wastewater Piped System | 2021-10-01 | Not approved |  | 21-VSW-TAL-011 | 2021-12-07 | VSW Aaron Wheatall
Teller | Sanitation Master Plan | 2014-05-14 | Approved | TLA050614 |  | Lori's word doc | Lynn Marino
Tetlin | Sewage Lagoon Upgrades PER | 2017-02-01 | Approved. Repair wastewater lagoon for $973,161.00 | TEH030117 |  | 2017-03-01 | ANTHC Merrill
Tetlin | Sanitation Facilities Master Plan Update | 2015-03-01 | Not approved. Need for additional info listed in review letter. |  |  | 2015-09-23 | ANTHC Heavener, Eisberg
Tetlin II | Sewage Lagoon Upgrades PER Supplemental Funding Request | 2020-04-01 | Approved | TEH050420 |  | 2020-05-04 | ANTHC Sind
Thorne Bay | 95% Tech Memo for WW Manhole and Lift Station Rehabilitation | 2023-03-01 | Approved with comments. | KTB042123 | prepared by VSW based on 2011 PER | 2023-04-21 | VSW Jake Dilley
Thorne Bay | Water Treatment Plant Improvements PER | 2017-06-01 | Approved. (Facility upgrades and Nanofiltration) | KTB062217 |  | 2017-06-22 | VSW Poage
Togiak | (Heights) Wastewater System Replacement PER | 2018-05-01 | Not approved. Funds available for current needs not preventative maintenance |  | AN 17-U98 | 2018-07-06 | Kim Blahut
Trapper Creek | Well & Watering Point PER | 2018-03-01 | Approved with request to model after Anchor Point Watering Point. | TC-040618 | 17RQ15 | 2018-04-09 | VSW Lee, Donna
Tuluksak | Supplement to Preliminary Engineering Study | 2006-03-01 | Approved
Tuluksak II | Water Treatment Plant and Washeteria PER | 2018-03-01 | Approved | TLT080218 |  | 2018-08-02 | ANTCH Merrill
Tuntutuliak | Water Treatment Plant/Washeteria PER | 2019-03-01 | Approved | WTL041619 | 18RQ48 | 2019-04-16 | VSW Randlett
Tununak | Water and Sewer System PER | 2021-02-01 | Approved: 4/8/2021 | TNK041921 |  | 2021-04-19 | VSW Poage
Tununak | Water Treatment Plant and Washeteria PER | 2020-04-01 | Approved | TNK050720 |  | 2020-05-07 | VSW Randlett
Tununak | Water Treatment Plant and Washeteria PER | 2017-04-14 | Approved | TNK050817 |  | 2017-05-08 | VSW Randlett
Twin Hills | Sanitation Facilities Master Plan | 2007-05-01 | Ph 1 & 4 approved. Ph 2, 3 &5 not approved
Twin Hills II | Water Distribution PER | 2018-03-01 | Not approved |  |  | 2018-08-02 | ANTHC Blahut
Twin Hills III | Water Distribution PER | 2019-03-01 | Approved | TWA041619 | AN16-U99 | 2019-04-16 | ANTHC Blahut
Tyonek | Sludge Disposal 95% PER | 2022-04-01 | Approved | TYE06092022 |  | 2022-06-09 | ANTHC Victoria Jelderks
Tyonek | Water Main and Service Line Rehabilitation | 2021-03-01 | Approved: 4/22/2021 | TYE051021 |  | 2021-05-10 | ANTHC Acuna
Tyonek | Surface Water Source, Treatment & Distribut Study | 2004-12-01 | Not approved
Unalakleet | Wastewater Collection Replacement Tech Memo | 2025-03-01 | Approved | UNK04082025
Unalakleet | Water Service Improvements | 2020-11-01 | Approved: 1/14/2021 | UNK012221 |  | 2021-01-22 | VSW Wheatall
Unalakleet | Happy Valley Lift Station Project PER | 2017-04-01 | Approved | UNK050817 |  | 2017-05-08 | VSW Wilson
Upper Kalskag | Lift Station Improvements Tech Memo | 2024-01-01 | Approved | KLG070924 |  | 2024-07-09 | VSW Aaron Wheatall
Upper Kalskag | Water Quality and Lagoon Improvements PER | 2019-12-01 | Approved | KLG040620 | 19ER36 | 2020-04-06 | VSW Wheatall
Venetie | Wells & Septic PER | 2020-05-01 | Approved | VEE062520 | AN 18-U0Z | 2020-06-25 | ANTHC Martin
Venetie | Water Treatment Plant and Washeteria Facility PER | 2017-06-01 | Approved (Modular Water Treatment Plant with Mechanical Reuse) | VEE062217 |  | 2017-06-22 | Pollis
Venetie | Sanitation Facilities Master Plan Update | 2017-01-01 | Phase 1 (New WTP) and Phase 3 (Landfill upgrades) approved. | VEE013117 |  | 2017-01-31 | ANTHC Eisberg
Venetie | Sanitation Facilities Master Plan/Feasibility Study | 2005-01-01 | Approved
Voznesenka | Water Improvements PER | 2018-04-01 | Approved with 2 clarifications: VSW eligible homes only, adequate wastewater. | VA-040618 | 17RQ08 | 2018-04-09 | VSW Lee, Sean
Wales | Honeybucket Disposal Improvements PER | 2018-12-01 | Approved | WAA022519 | 18RQ49 | 2019-02-25 | VSW Menendez
Wales | Sanitation Facilities Master Plan | 2002-09-01 | Approved for washeteria and WTP
White Mtn | Foundation Repairs Water Treatment Plant PER | 2024-03-01 | Approved | WMO031924 | AN 20-U1Z | 2024-03-19 | ANTHC Scott Fezer
White Mtn | Sanitation Facilities Improvement Plan | 2004-09-01 | Phases 1 and 2 approved. Phase 3 not approved.
Whittier | Station No. 5 Replacement | 2023-08-23 | Approved | WHI062824 |  | 2024-06-28 | VSW Arianna Sosnowski
Whittier | Water System Master Plan | 2005-06-01 | Phase III approved
Yakutat | Well and Pumphouse Upgrades PER | 2018-04-01 | Not approved |  |  | 2019-04-16 | ANTHC Chadwick
Yakutat | City and Borough Water & Sanitation Systems PER | 2017-06-01 | 5 projects approved. Not approved: Airport Service Area Wastewater Improvements | YAK062217 |  | 2017-06-22 | Driskill
Indicates most recent reviews
ePER/PER for first service - track here
Atmautluak | ePER First Service Water and Sewer Project | 2023-08-01 | Sustainability plan required to be eligible for CIP Construction funding | ATT101723 |  | 2023-10-17 | ANTHC Vanessa Nunnery
Gambell | PER Piped Water and Sewer Project | 2023-09-01 | Sustainability plan required to be eligible for CIP Construction funding | GAM092623 |  | 2023-09-26 | VSW Oscar Menendez
Wales | PER Piped Water and Sewer Project | 2023-01-01 | Sustainability plan required to be eligible for CIP Construction funding | WAA101723 |  | 2023-10-17 | VSW Oscar Menendez